| NOGRR Number | 058 | NOGRR Title | Deletion of Section 5, Planning |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Tabled |
| Date of Decision |  | July 7, 2011 |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Guide Section Requiring Revision |  | 1.4, Definitions 4.3.2, Real-Time and Short Term Planning (new) 5, Planning (delete) |  |  |
| Revision Description |  | This Nodal Operating Guide Revision Request (NOGRR) deletes Section 5 from the Nodal Operating Guides and moves specific policies, requirements, and terms related to transmission planning to Section 5 of the Planning Guide via Planning Guide Revision Request (PGRR) 005, New Planning Guide Section 5, Planning Criteria, and to other appropriate sections of the Nodal Operating Guides. |  |  |
| Reason for Revision |  | The Nodal Operating Guides contain specific policies, requirements, and terms that directly relate to transmission planning of the ERCOT System and thus are appropriate for inclusion in the Planning Guide. |  |  |
| Overall Market Benefit |  | Transmission planning requirements are located within the Planning Guide. |  |  |
| Overall Market Impact |  | Minimal since PGRR005 moves the existing Nodal Operating Guide language to the Planning Guide or other sections of the Nodal Operating Guides. |  |  |
| Consumer Impact |  | None. |  |  |
| Procedural History |  | - On 1/18/11, NOGRR058 was posted. - On 2/16/11, the Operations Working Group (OWG) considered NOGRR058. - On 2/22/11, an Impact Analysis was posted. - On 3/7/11, OWG considered the 2/16/11 OWG Report and Impact Analysis for NOGRR058. - On 4/1/11, ERCOT comments were posted. - On 4/11/11, ROS considered NOGRR058. - On 6/9/11, the Planning Working Group (PLWG) comments were posted. - On 6/16/11, ROS again considered NOGRR058. - On 7/7/11, TAC considered NPGRR058. |  |  |
| OWG Decision |  | On 2/16/11, OWG was in consensus to recommend approval of NOGRR058 as submitted. On 3/7/11, OWG was in consensus to endorse and forward the 2/16/11 OWG Report and Impact Analysis for NOGRR058 to ROS. |  |  |
| Summary of OWG Discussion |  | On 2/16/11, ERCOT Staff noted that Section 5 will be left blank in the Nodal Operating Guide once Section 5, Planning, is deleted. On 3/7/11, there was no discussion. |  |  |
| ROS Decision |  | On 4/11/11, ROS unanimously voted to table NOGRR058. All Market Segments were present for the vote. On 6/16/11, ROS unanimously voted to recommend approval of NOGRR058 as amended by the 6/9/11 PLWG comments. All Market Segments were present for the vote. |  |  |
| Summary of ROS Discussion |  | On 4/11/11, it was noted that since NOGRR058 deletes Section 5 from the Operating Guide, NOGRR058 should be tabled to allow for PGRR005 to catch up so that NOGRR058 is not approved and the content deleted prior to implementation of PGRR005. On 6/16/11, there was no discussion. |  |  |
| TAC Decision |  | On 7/711, TAC unanimously voted to table NOGRR058. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 7/7/11, it was noted NOGRR058 should be tabled until PGRR005 is approved by the ERCOT Board so that the content in Section 5 of the Nodal Operating Guides is not deleted prior to implementation of PGRR005. |  |  |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Transmission planning requirements are located within the Planning Guide. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Rob Lane on behalf of the PLWG |
| E-mail Address | Robert.lane@luminant.com |
| Company | Luminant Energy, LLC. |
| Phone Number | 214-875-9285 |
| Cell Number |  |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | 512-248-3867 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| ERCOT 040111 | Deleted Sections 5.1, Planning Criteria, through 5.5.1, System Assessments. |
| PLWG 060911 | Proposed revisions to remove or relocate specific policies, requirements, and terms related to transmission planning to other sections of the Nodal Operating Guides or to the Planning Guide via PGRR005. |

Proposed Guide Language Revision

1.4	Definitions

Credible Single Contingency for Operations Planning (for transmission planning purposes Credible Single Contingency for Transmission Planning is defined in the Planning Guide)

(1)	A single facility, comprised of transmission line, auto transformer, or other associated pieces of equipment.  This includes multiple equipment Outaged or interrupted during a single fault (single fault multiple element (SFME)).

(2)	The Forced Outage of a double-circuit transmission line (DCKT) in excess of 0.5 miles in length will always be considered a credible single contingency for all security constrained unit commitment decisions.  The Forced Outage of a DCKT in excess of 0.5 miles in length will only be considered a credible single contingency for energy deployment decisions for any of the following operating conditions characterized by high DCKT Outage probability or consequence:

(a)	High Outage Probability:

(i)	Severe weather conditions are forecasted by ERCOT in the vicinity of the DCKT.

(ii) 	During any ERCOT declared Watch or for any operating conditions characterized by high DCKT Outage probability or consequence.

(iii)	Weather conditions indicate a high risk of insulator flashover on the DCKT.

(iv)	Individual circuits that are part of the DCKT have experienced repeated Forced Outages within the preceding 48 hours possibly indicating unresolved problems.

(v)	A high risk of DCKT Outage exists due to fire in progress near the DCKT right-of-way.

(b)	High Outage Consequence:

(i)	Another Transmission Facility, which significantly increases the impact of an Outage to the DCKT, is out of service.

(ii)	Studies affirmatively indicate Outage of the DCKT would result in cascading Outages or voltage collapse.

(iii)	Studies affirmatively indicate Outage of the DCKT poses a significant risk of uncontrolled Outages because it would result in equipment overloads, which cannot be eliminated through execution of specific, predefined operating procedures such as Remedial Action Plans (RAPs), which may include the use of energy Dispatch Instructions in time to prevent equipment damage or failure.

(3)	Any Generation Resource:

(a)	A combined-cycle facility shall be considered a single Generation Resource; or.

(b)	Each unit of a combined-cycle facility will be considered a single Generation Resource if the combustion turbine and the steam turbine can operate separately, as stated in the Resource Registration on the Market Information System (MIS) Public Area.

(4)	With any single Generation Resource unavailable, and with any other generation preemptively redispatched, the contingency loss of a single Transmission Facility (either without a fault or subsequent to a normally-cleared non-three-phase fault) with all other facilities normal should not cause the following:

(a) 	Cascading or uncontrolled Outages;

(b) 	Instability of Generation Resources at multiple plant locations; or

(c) 	Interruption of service to firm demand or generation other than that isolated by the transmission facility, following the execution of all automatic operating actions such as relaying and Special Protection Systems (SPSs).

Furthermore, the loss should result in no damage to or failure of equipment and, following the execution of specific non-automatic predefined operator-directed actions (i.e., RAPs) such as generation schedule changes or curtailment of interruptible Load, should not result in applicable voltage or thermal ratings being exceeded.

4.3.2	Real-Time and Short Term Planning

ERCOT will conduct Real-Time and short term planning based on the security criteria established in the Protocols and these Operating Guides.  Operations during Forced and Planned Outages will also follow these criteria.  Line ratings are provided to ERCOT in accordance with Protocols and these Operating Guides.  ERCOT will employ congestion management, SPSs, RAPs and transmission switching schemes to facilitate the market use of the ERCOT Transmission Grid while maintaining system security and reliability in accordance with ERCOT and NERC Reliability Standards.  ERCOT will address operating conditions under which the reliability of the ERCOT System is inadequate and no solution is readily apparent in accordance with the Protocols and these Operating Guides.

ERCOT Nodal Operating Guides

Section 5

(This Section is intentionally left blank)

[Date]

ERCOT and TSPs or their Designated Agent shall conduct reliability assessments as required by the North American Electric Reliability Corporation (NERC) Reliability Standards and Public Utility Commission of Texas (PUCT) Substantive Rules.  Market Participants shall supply all relevant data required to assist in the preparation of these assessments as requested by ERCOT.  This is in addition to data required by the Protocols, ERCOT System Planning Charter or these Operating Guides.