## NIDR Data
ESIID | ProfileCode | REP | TDSPCODE | LossCode | LoadZoneCode | UFEzone | Method | StartTime | StopTime | kWh
Esiid123 | RESLOWR_COAST_NIDR_NWS_NOTOU | Rep09 | 99 | D | LZ_NORTH | U1 | US | 2011-04-09 | 2011-05-11 | 1577
Esiid345 | RESLOWR_COAST_NIDR_NWS_NOTOU | Rep09 | 99 | D | LZ_NORTH | U1 | US | 2011-04-09 | 2011-05-11 | 1488
Esiid678 | RESLOWR_COAST_NIDR_NWS_NOTOU | Rep09 | 99 | D | LZ_NORTH | U1 | US | 2011-04-09 | 2011-05-11 | 1126
[9 empty] | Total | 4191
| Profile |  | Profile Energy for period 4/9/2011 through 5/10/2011
| RESLOWR_COAST |  | 1239.54
Ratio Calculation: 4191 / 1239.54 = 3.381
Note on D17: See TAB "ProfileData", for details of this number.
The NIDR ESIID profiling process will utilize the most recent meter values available, as long as the StartTime of the meter reading is less than the operating date. Also, the StopTime of the meter reading must be within twelve months of the operating date.
The customer ESIIDs listed above have been grouped by their common characteristics including start and stop read dates. In the example above, these three ESIIDs have a combined total usage of 4191 kWh. We must now compare that value with the sum of the profile below for the same time period.
Note: The StopTime listed above will be the StartTime of the next read cycle, therefore we always consider the stoptime to be the previous day at 23:59:59.
We know now that this particular grouping of customers consumes a slightly larger amount of energy than is represented by the profile. This is apparent because the ratio (3.381) is greater than the customer count (3 ESI IDs). If the ratio were less than the customer count, that group would have consumption less than the profile.
This factor will now be applied to the profile, interval by interval, to produce the Data Agg interval data cut named LSEGUNADJ_, followed by its common characteristics.

## ProfileData
CUTNAME | OPERATING DATE | DailykWh | 0:15 | 0:30 | 0:45 | 1:00 | 1:15 | 1:30 | 1:45 | 2:00 | 2:15 | 2:30 | 2:45 | 3:00 | 3:15 | 3:30 | 3:45 | 4:00 | 4:15 | 4:30 | 4:45 | 5:00 | 5:15 | 5:30 | 5:45 | 6:00 | 6:15 | 6:30 | 6:45 | 7:00 | 7:15 | 7:30 | 7:45 | 8:00 | 8:15 | 8:30 | 8:45 | 9:00 | 9:15 | 9:30 | 9:45 | 10:00 | 10:15 | 10:30 | 10:45 | 11:00 | 11:15 | 11:30 | 11:45 | 12:00 | 12:15 | 12:30 | 12:45 | 13:00 | 13:15 | 13:30 | 13:45 | 14:00 | 14:15 | 14:30 | 14:45 | 15:00 | 15:15 | 15:30 | 15:45 | 16:00 | 16:15 | 16:30 | 16:45 | 17:00 | 17:15 | 17:30 | 17:45 | 18:00 | 18:15 | 18:30 | 18:45 | 19:00 | 19:15 | 19:30 | 19:45 | 20:00 | 20:15 | 20:30 | 20:45 | 21:00 | 21:15 | 21:30 | 21:45 | 22:00 | 22:15 | 22:30 | 22:45 | 23:00 | 23:15 | 23:30 | 23:45 | 24:00
RESLOWR_COAST | 2011-04-09 | 45.79 | 0.42 | 0.41 | 0.4 | 0.39 | 0.38 | 0.37 | 0.36 | 0.35 | 0.35 | 0.34 | 0.33 | 0.33 | 0.32 | 0.32 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.32 | 0.33 | 0.33 | 0.33 | 0.33 | 0.33 | 0.33 | 0.33 | 0.33 | 0.32 | 0.32 | 0.32 | 0.32 | 0.33 | 0.33 | 0.34 | 0.35 | 0.36 | 0.37 | 0.38 | 0.39 | 0.4 | 0.42 | 0.43 | 0.44 | 0.45 | 0.47 | 0.48 | 0.49 | 0.5 | 0.51 | 0.52 | 0.54 | 0.55 | 0.56 | 0.57 | 0.58 | 0.59 | 0.6 | 0.61 | 0.62 | 0.63 | 0.64 | 0.65 | 0.66 | 0.67 | 0.67 | 0.68 | 0.68 | 0.69 | 0.69 | 0.69 | 0.69 | 0.69 | 0.68 | 0.68 | 0.68 | 0.68 | 0.68 | 0.67 | 0.67 | 0.66 | 0.65 | 0.64 | 0.63 | 0.62 | 0.6 | 0.59 | 0.57 | 0.55 | 0.53 | 0.51 | 0.49
RESLOWR_COAST | 2011-04-10 | 47.36 | 0.46 | 0.45 | 0.44 | 0.43 | 0.42 | 0.41 | 0.4 | 0.39 | 0.39 | 0.38 | 0.38 | 0.37 | 0.37 | 0.36 | 0.36 | 0.36 | 0.35 | 0.35 | 0.35 | 0.35 | 0.35 | 0.35 | 0.35 | 0.36 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.36 | 0.36 | 0.36 | 0.36 | 0.37 | 0.38 | 0.39 | 0.4 | 0.41 | 0.42 | 0.43 | 0.44 | 0.45 | 0.46 | 0.47 | 0.48 | 0.49 | 0.5 | 0.51 | 0.52 | 0.53 | 0.54 | 0.55 | 0.56 | 0.56 | 0.57 | 0.57 | 0.58 | 0.59 | 0.6 | 0.6 | 0.61 | 0.62 | 0.62 | 0.63 | 0.63 | 0.64 | 0.64 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.66 | 0.66 | 0.66 | 0.65 | 0.65 | 0.64 | 0.64 | 0.63 | 0.62 | 0.6 | 0.59 | 0.57 | 0.56 | 0.54 | 0.52 | 0.5 | 0.48
RESLOWR_COAST | 2011-04-11 | 46.47 | 0.47 | 0.46 | 0.45 | 0.44 | 0.43 | 0.42 | 0.41 | 0.4 | 0.4 | 0.39 | 0.39 | 0.38 | 0.38 | 0.37 | 0.37 | 0.37 | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.37 | 0.37 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.37 | 0.37 | 0.36 | 0.36 | 0.37 | 0.38 | 0.38 | 0.39 | 0.4 | 0.41 | 0.42 | 0.43 | 0.44 | 0.45 | 0.46 | 0.47 | 0.49 | 0.5 | 0.51 | 0.52 | 0.53 | 0.54 | 0.55 | 0.56 | 0.57 | 0.57 | 0.58 | 0.58 | 0.59 | 0.6 | 0.6 | 0.61 | 0.61 | 0.61 | 0.62 | 0.62 | 0.62 | 0.62 | 0.62 | 0.62 | 0.62 | 0.62 | 0.62 | 0.61 | 0.61 | 0.61 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.59 | 0.59 | 0.58 | 0.57 | 0.56 | 0.54 | 0.53 | 0.51 | 0.5 | 0.48 | 0.46 | 0.45 | 0.43
RESLOWR_COAST | 2011-04-12 | 37.94 | 0.44 | 0.43 | 0.41 | 0.4 | 0.39 | 0.38 | 0.37 | 0.36 | 0.35 | 0.35 | 0.34 | 0.33 | 0.33 | 0.32 | 0.32 | 0.32 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.32 | 0.33 | 0.33 | 0.33 | 0.33 | 0.33 | 0.33 | 0.33 | 0.32 | 0.31 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.31 | 0.31 | 0.31 | 0.32 | 0.32 | 0.32 | 0.33 | 0.33 | 0.34 | 0.34 | 0.35 | 0.35 | 0.36 | 0.36 | 0.36 | 0.37 | 0.38 | 0.38 | 0.39 | 0.4 | 0.41 | 0.42 | 0.43 | 0.44 | 0.45 | 0.45 | 0.46 | 0.47 | 0.48 | 0.49 | 0.5 | 0.51 | 0.51 | 0.52 | 0.52 | 0.53 | 0.53 | 0.53 | 0.53 | 0.53 | 0.53 | 0.53 | 0.53 | 0.52 | 0.52 | 0.52 | 0.51 | 0.5 | 0.49 | 0.48 | 0.48 | 0.47 | 0.45 | 0.44 | 0.43 | 0.42 | 0.41
RESLOWR_COAST | 2011-04-13 | 46.39 | 0.42 | 0.41 | 0.39 | 0.38 | 0.37 | 0.36 | 0.35 | 0.34 | 0.34 | 0.33 | 0.32 | 0.32 | 0.31 | 0.31 | 0.3 | 0.3 | 0.3 | 0.29 | 0.29 | 0.29 | 0.29 | 0.29 | 0.29 | 0.29 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.31 | 0.31 | 0.32 | 0.32 | 0.33 | 0.34 | 0.36 | 0.37 | 0.38 | 0.39 | 0.41 | 0.42 | 0.43 | 0.45 | 0.46 | 0.47 | 0.49 | 0.5 | 0.51 | 0.53 | 0.54 | 0.55 | 0.56 | 0.57 | 0.58 | 0.59 | 0.6 | 0.61 | 0.62 | 0.63 | 0.64 | 0.65 | 0.66 | 0.67 | 0.68 | 0.68 | 0.69 | 0.69 | 0.7 | 0.7 | 0.7 | 0.69 | 0.69 | 0.69 | 0.68 | 0.68 | 0.68 | 0.68 | 0.67 | 0.67 | 0.67 | 0.66 | 0.65 | 0.64 | 0.63 | 0.62 | 0.61 | 0.6 | 0.58 | 0.57 | 0.56 | 0.54 | 0.53 | 0.51 | 0.5
RESLOWR_COAST | 2011-04-14 | 45.88 | 0.42 | 0.42 | 0.41 | 0.4 | 0.39 | 0.38 | 0.37 | 0.36 | 0.36 | 0.35 | 0.35 | 0.34 | 0.33 | 0.33 | 0.33 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.32 | 0.32 | 0.33 | 0.33 | 0.34 | 0.36 | 0.37 | 0.38 | 0.39 | 0.41 | 0.42 | 0.43 | 0.44 | 0.46 | 0.47 | 0.48 | 0.49 | 0.51 | 0.52 | 0.54 | 0.55 | 0.56 | 0.58 | 0.59 | 0.6 | 0.61 | 0.61 | 0.62 | 0.62 | 0.63 | 0.63 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.63 | 0.63 | 0.62 | 0.62 | 0.62 | 0.62 | 0.62 | 0.62 | 0.62 | 0.62 | 0.61 | 0.6 | 0.6 | 0.59 | 0.58 | 0.56 | 0.55 | 0.53 | 0.52 | 0.5 | 0.48 | 0.47 | 0.45 | 0.43
RESLOWR_COAST | 2011-04-15 | 44.18 | 0.44 | 0.43 | 0.42 | 0.41 | 0.4 | 0.39 | 0.38 | 0.37 | 0.36 | 0.35 | 0.35 | 0.34 | 0.33 | 0.33 | 0.32 | 0.32 | 0.32 | 0.31 | 0.31 | 0.31 | 0.31 | 0.32 | 0.32 | 0.32 | 0.33 | 0.34 | 0.34 | 0.34 | 0.34 | 0.34 | 0.33 | 0.33 | 0.32 | 0.32 | 0.32 | 0.32 | 0.33 | 0.33 | 0.34 | 0.34 | 0.35 | 0.36 | 0.37 | 0.38 | 0.39 | 0.4 | 0.41 | 0.42 | 0.43 | 0.44 | 0.46 | 0.47 | 0.48 | 0.49 | 0.5 | 0.51 | 0.51 | 0.52 | 0.53 | 0.54 | 0.55 | 0.56 | 0.57 | 0.58 | 0.59 | 0.6 | 0.61 | 0.62 | 0.63 | 0.63 | 0.64 | 0.64 | 0.64 | 0.65 | 0.65 | 0.65 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.63 | 0.63 | 0.62 | 0.61 | 0.6 | 0.59 | 0.57 | 0.56 | 0.54 | 0.53 | 0.51 | 0.49 | 0.47 | 0.45
RESLOWR_COAST | 2011-04-16 | 44.65 | 0.44 | 0.43 | 0.42 | 0.41 | 0.4 | 0.39 | 0.38 | 0.37 | 0.36 | 0.36 | 0.35 | 0.34 | 0.34 | 0.33 | 0.33 | 0.33 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.33 | 0.33 | 0.34 | 0.34 | 0.35 | 0.35 | 0.35 | 0.35 | 0.35 | 0.34 | 0.33 | 0.33 | 0.33 | 0.33 | 0.34 | 0.34 | 0.35 | 0.36 | 0.37 | 0.38 | 0.39 | 0.39 | 0.4 | 0.41 | 0.42 | 0.44 | 0.45 | 0.46 | 0.47 | 0.47 | 0.48 | 0.49 | 0.5 | 0.51 | 0.52 | 0.53 | 0.54 | 0.55 | 0.55 | 0.56 | 0.57 | 0.58 | 0.59 | 0.6 | 0.61 | 0.62 | 0.62 | 0.63 | 0.63 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.63 | 0.62 | 0.62 | 0.6 | 0.59 | 0.58 | 0.56 | 0.55 | 0.53 | 0.51 | 0.49 | 0.47 | 0.45
RESLOWR_COAST | 2011-04-17 | 44.55 | 0.43 | 0.42 | 0.41 | 0.4 | 0.39 | 0.38 | 0.38 | 0.37 | 0.36 | 0.35 | 0.35 | 0.34 | 0.34 | 0.33 | 0.33 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.33 | 0.33 | 0.34 | 0.34 | 0.34 | 0.34 | 0.34 | 0.34 | 0.33 | 0.32 | 0.32 | 0.32 | 0.32 | 0.33 | 0.33 | 0.34 | 0.35 | 0.36 | 0.37 | 0.38 | 0.39 | 0.4 | 0.41 | 0.42 | 0.43 | 0.44 | 0.45 | 0.46 | 0.48 | 0.49 | 0.5 | 0.51 | 0.52 | 0.53 | 0.53 | 0.54 | 0.55 | 0.56 | 0.57 | 0.58 | 0.59 | 0.6 | 0.61 | 0.61 | 0.62 | 0.63 | 0.63 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.63 | 0.63 | 0.62 | 0.62 | 0.61 | 0.6 | 0.58 | 0.57 | 0.55 | 0.54 | 0.52 | 0.5 | 0.48 | 0.46
RESLOWR_COAST | 2011-04-18 | 42.61 | 0.44 | 0.43 | 0.43 | 0.42 | 0.41 | 0.4 | 0.39 | 0.38 | 0.38 | 0.37 | 0.36 | 0.36 | 0.36 | 0.35 | 0.35 | 0.34 | 0.34 | 0.34 | 0.34 | 0.34 | 0.34 | 0.34 | 0.34 | 0.35 | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.35 | 0.35 | 0.34 | 0.34 | 0.35 | 0.35 | 0.36 | 0.36 | 0.37 | 0.38 | 0.38 | 0.39 | 0.4 | 0.41 | 0.41 | 0.42 | 0.43 | 0.43 | 0.44 | 0.45 | 0.45 | 0.46 | 0.46 | 0.47 | 0.47 | 0.47 | 0.48 | 0.48 | 0.49 | 0.49 | 0.5 | 0.5 | 0.51 | 0.51 | 0.52 | 0.53 | 0.53 | 0.54 | 0.54 | 0.55 | 0.55 | 0.55 | 0.56 | 0.56 | 0.56 | 0.57 | 0.57 | 0.57 | 0.58 | 0.58 | 0.58 | 0.58 | 0.57 | 0.57 | 0.57 | 0.56 | 0.55 | 0.54 | 0.53 | 0.51 | 0.5 | 0.48 | 0.46 | 0.45 | 0.43
RESLOWR_COAST | 2011-04-19 | 42.98 | 0.43 | 0.42 | 0.41 | 0.4 | 0.39 | 0.38 | 0.37 | 0.36 | 0.35 | 0.34 | 0.34 | 0.33 | 0.33 | 0.32 | 0.32 | 0.31 | 0.31 | 0.31 | 0.31 | 0.3 | 0.3 | 0.31 | 0.31 | 0.31 | 0.32 | 0.33 | 0.33 | 0.33 | 0.33 | 0.33 | 0.32 | 0.32 | 0.31 | 0.3 | 0.3 | 0.31 | 0.31 | 0.32 | 0.32 | 0.33 | 0.34 | 0.35 | 0.36 | 0.37 | 0.38 | 0.39 | 0.4 | 0.41 | 0.42 | 0.43 | 0.44 | 0.45 | 0.46 | 0.48 | 0.49 | 0.5 | 0.51 | 0.52 | 0.53 | 0.54 | 0.55 | 0.56 | 0.57 | 0.58 | 0.59 | 0.59 | 0.6 | 0.61 | 0.61 | 0.62 | 0.62 | 0.62 | 0.62 | 0.62 | 0.62 | 0.62 | 0.62 | 0.62 | 0.61 | 0.61 | 0.61 | 0.6 | 0.6 | 0.59 | 0.59 | 0.58 | 0.57 | 0.56 | 0.55 | 0.54 | 0.53 | 0.52 | 0.5 | 0.49 | 0.48 | 0.47
RESLOWR_COAST | 2011-04-20 | 40.48 | 0.43 | 0.42 | 0.41 | 0.4 | 0.39 | 0.38 | 0.37 | 0.36 | 0.36 | 0.35 | 0.35 | 0.34 | 0.34 | 0.33 | 0.33 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.33 | 0.33 | 0.34 | 0.35 | 0.36 | 0.37 | 0.38 | 0.39 | 0.4 | 0.41 | 0.41 | 0.42 | 0.43 | 0.43 | 0.44 | 0.44 | 0.45 | 0.45 | 0.46 | 0.47 | 0.47 | 0.47 | 0.48 | 0.48 | 0.48 | 0.49 | 0.49 | 0.49 | 0.5 | 0.5 | 0.5 | 0.5 | 0.51 | 0.51 | 0.51 | 0.51 | 0.52 | 0.51 | 0.51 | 0.51 | 0.51 | 0.51 | 0.51 | 0.51 | 0.51 | 0.51 | 0.51 | 0.52 | 0.52 | 0.52 | 0.51 | 0.5 | 0.5 | 0.49 | 0.48 | 0.47 | 0.47 | 0.46 | 0.45 | 0.44 | 0.43 | 0.42 | 0.41
RESLOWR_COAST | 2011-04-21 | 37.45 | 0.4 | 0.39 | 0.39 | 0.38 | 0.37 | 0.36 | 0.35 | 0.34 | 0.34 | 0.33 | 0.33 | 0.32 | 0.32 | 0.31 | 0.31 | 0.31 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.31 | 0.31 | 0.31 | 0.3 | 0.3 | 0.3 | 0.31 | 0.31 | 0.31 | 0.31 | 0.32 | 0.33 | 0.33 | 0.34 | 0.35 | 0.35 | 0.36 | 0.37 | 0.37 | 0.37 | 0.38 | 0.38 | 0.39 | 0.39 | 0.4 | 0.4 | 0.41 | 0.41 | 0.42 | 0.42 | 0.42 | 0.43 | 0.43 | 0.43 | 0.43 | 0.44 | 0.44 | 0.44 | 0.45 | 0.45 | 0.45 | 0.46 | 0.46 | 0.46 | 0.47 | 0.47 | 0.47 | 0.47 | 0.47 | 0.47 | 0.47 | 0.48 | 0.48 | 0.48 | 0.49 | 0.49 | 0.5 | 0.5 | 0.49 | 0.49 | 0.49 | 0.48 | 0.47 | 0.46 | 0.45 | 0.43 | 0.42 | 0.41 | 0.4 | 0.38 | 0.37
RESLOWR_COAST | 2011-04-22 | 37.27 | 0.37 | 0.36 | 0.35 | 0.35 | 0.34 | 0.33 | 0.32 | 0.31 | 0.31 | 0.3 | 0.29 | 0.29 | 0.28 | 0.28 | 0.28 | 0.28 | 0.27 | 0.27 | 0.27 | 0.27 | 0.28 | 0.28 | 0.28 | 0.29 | 0.29 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.29 | 0.28 | 0.28 | 0.28 | 0.29 | 0.29 | 0.29 | 0.3 | 0.3 | 0.31 | 0.31 | 0.32 | 0.33 | 0.33 | 0.34 | 0.35 | 0.36 | 0.36 | 0.37 | 0.38 | 0.38 | 0.39 | 0.4 | 0.41 | 0.41 | 0.42 | 0.43 | 0.44 | 0.44 | 0.45 | 0.46 | 0.47 | 0.48 | 0.49 | 0.5 | 0.51 | 0.52 | 0.52 | 0.53 | 0.53 | 0.54 | 0.54 | 0.54 | 0.54 | 0.54 | 0.54 | 0.54 | 0.55 | 0.55 | 0.55 | 0.54 | 0.54 | 0.53 | 0.53 | 0.52 | 0.5 | 0.49 | 0.48 | 0.46 | 0.45 | 0.43 | 0.41 | 0.4 | 0.38
RESLOWR_COAST | 2011-04-23 | 38.6 | 0.37 | 0.36 | 0.35 | 0.34 | 0.33 | 0.32 | 0.31 | 0.3 | 0.3 | 0.29 | 0.29 | 0.28 | 0.28 | 0.27 | 0.27 | 0.27 | 0.26 | 0.26 | 0.26 | 0.26 | 0.26 | 0.26 | 0.27 | 0.27 | 0.28 | 0.29 | 0.29 | 0.29 | 0.29 | 0.29 | 0.28 | 0.28 | 0.27 | 0.27 | 0.27 | 0.27 | 0.27 | 0.28 | 0.28 | 0.29 | 0.3 | 0.3 | 0.31 | 0.32 | 0.33 | 0.34 | 0.35 | 0.36 | 0.37 | 0.38 | 0.39 | 0.4 | 0.41 | 0.42 | 0.43 | 0.44 | 0.44 | 0.45 | 0.46 | 0.47 | 0.49 | 0.5 | 0.51 | 0.52 | 0.53 | 0.54 | 0.54 | 0.55 | 0.56 | 0.57 | 0.57 | 0.58 | 0.58 | 0.58 | 0.58 | 0.58 | 0.58 | 0.58 | 0.58 | 0.58 | 0.58 | 0.58 | 0.58 | 0.57 | 0.57 | 0.56 | 0.55 | 0.54 | 0.53 | 0.51 | 0.5 | 0.48 | 0.47 | 0.45 | 0.43 | 0.41
RESLOWR_COAST | 2011-04-24 | 41.37 | 0.39 | 0.38 | 0.37 | 0.36 | 0.35 | 0.34 | 0.33 | 0.33 | 0.32 | 0.31 | 0.31 | 0.3 | 0.3 | 0.3 | 0.29 | 0.29 | 0.29 | 0.29 | 0.29 | 0.29 | 0.29 | 0.29 | 0.29 | 0.3 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.31 | 0.32 | 0.32 | 0.33 | 0.34 | 0.35 | 0.36 | 0.37 | 0.38 | 0.39 | 0.4 | 0.41 | 0.42 | 0.43 | 0.44 | 0.45 | 0.46 | 0.47 | 0.48 | 0.49 | 0.5 | 0.51 | 0.52 | 0.52 | 0.53 | 0.54 | 0.55 | 0.56 | 0.57 | 0.58 | 0.58 | 0.59 | 0.59 | 0.6 | 0.6 | 0.6 | 0.6 | 0.61 | 0.61 | 0.61 | 0.61 | 0.61 | 0.61 | 0.61 | 0.61 | 0.6 | 0.6 | 0.59 | 0.58 | 0.57 | 0.56 | 0.55 | 0.54 | 0.52 | 0.5 | 0.49 | 0.47 | 0.45 | 0.43
RESLOWR_COAST | 2011-04-25 | 43.43 | 0.41 | 0.4 | 0.39 | 0.38 | 0.37 | 0.36 | 0.35 | 0.34 | 0.34 | 0.33 | 0.32 | 0.32 | 0.31 | 0.31 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.31 | 0.31 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.31 | 0.3 | 0.3 | 0.31 | 0.31 | 0.32 | 0.33 | 0.33 | 0.34 | 0.35 | 0.36 | 0.37 | 0.39 | 0.4 | 0.41 | 0.42 | 0.43 | 0.44 | 0.46 | 0.47 | 0.48 | 0.49 | 0.5 | 0.51 | 0.52 | 0.53 | 0.54 | 0.55 | 0.56 | 0.57 | 0.58 | 0.59 | 0.6 | 0.61 | 0.62 | 0.62 | 0.63 | 0.64 | 0.64 | 0.64 | 0.64 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.64 | 0.64 | 0.64 | 0.63 | 0.62 | 0.62 | 0.61 | 0.59 | 0.58 | 0.57 | 0.55 | 0.54 | 0.52 | 0.5 | 0.48 | 0.46 | 0.44
RESLOWR_COAST | 2011-04-26 | 40.7 | 0.42 | 0.41 | 0.4 | 0.39 | 0.38 | 0.37 | 0.36 | 0.35 | 0.35 | 0.34 | 0.34 | 0.33 | 0.33 | 0.32 | 0.32 | 0.32 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.32 | 0.33 | 0.33 | 0.33 | 0.33 | 0.33 | 0.33 | 0.33 | 0.33 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.33 | 0.33 | 0.34 | 0.35 | 0.36 | 0.36 | 0.37 | 0.38 | 0.39 | 0.39 | 0.4 | 0.41 | 0.42 | 0.43 | 0.43 | 0.44 | 0.45 | 0.46 | 0.46 | 0.47 | 0.48 | 0.49 | 0.49 | 0.5 | 0.51 | 0.51 | 0.52 | 0.53 | 0.53 | 0.54 | 0.55 | 0.55 | 0.56 | 0.56 | 0.56 | 0.56 | 0.56 | 0.56 | 0.56 | 0.56 | 0.57 | 0.56 | 0.56 | 0.56 | 0.56 | 0.55 | 0.54 | 0.53 | 0.52 | 0.51 | 0.5 | 0.49 | 0.48 | 0.47 | 0.46 | 0.45 | 0.44 | 0.43 | 0.41
RESLOWR_COAST | 2011-04-27 | 45.57 | 0.43 | 0.42 | 0.41 | 0.4 | 0.38 | 0.37 | 0.36 | 0.36 | 0.35 | 0.34 | 0.34 | 0.33 | 0.33 | 0.32 | 0.32 | 0.31 | 0.31 | 0.31 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.32 | 0.32 | 0.32 | 0.33 | 0.33 | 0.34 | 0.35 | 0.36 | 0.37 | 0.39 | 0.4 | 0.41 | 0.42 | 0.43 | 0.44 | 0.46 | 0.47 | 0.48 | 0.49 | 0.51 | 0.52 | 0.53 | 0.54 | 0.55 | 0.56 | 0.57 | 0.58 | 0.59 | 0.59 | 0.6 | 0.61 | 0.62 | 0.63 | 0.63 | 0.64 | 0.65 | 0.65 | 0.66 | 0.66 | 0.66 | 0.66 | 0.66 | 0.66 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.64 | 0.64 | 0.63 | 0.62 | 0.61 | 0.59 | 0.58 | 0.57 | 0.56 | 0.55 | 0.54 | 0.52 | 0.51 | 0.5 | 0.48 | 0.47
RESLOWR_COAST | 2011-04-28 | 41.4 | 0.42 | 0.41 | 0.4 | 0.39 | 0.38 | 0.37 | 0.36 | 0.35 | 0.35 | 0.34 | 0.33 | 0.33 | 0.32 | 0.31 | 0.31 | 0.31 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.31 | 0.31 | 0.31 | 0.32 | 0.32 | 0.33 | 0.34 | 0.35 | 0.35 | 0.36 | 0.37 | 0.38 | 0.39 | 0.39 | 0.4 | 0.41 | 0.42 | 0.43 | 0.44 | 0.45 | 0.46 | 0.47 | 0.48 | 0.49 | 0.5 | 0.51 | 0.52 | 0.52 | 0.53 | 0.54 | 0.54 | 0.55 | 0.55 | 0.56 | 0.56 | 0.57 | 0.57 | 0.57 | 0.58 | 0.58 | 0.58 | 0.57 | 0.57 | 0.57 | 0.57 | 0.57 | 0.57 | 0.57 | 0.57 | 0.57 | 0.57 | 0.56 | 0.56 | 0.55 | 0.54 | 0.53 | 0.52 | 0.5 | 0.49 | 0.47 | 0.46 | 0.44 | 0.42 | 0.41 | 0.39 | 0.37
RESLOWR_COAST | 2011-04-29 | 27.86 | 0.29 | 0.29 | 0.28 | 0.27 | 0.26 | 0.25 | 0.25 | 0.24 | 0.23 | 0.23 | 0.22 | 0.22 | 0.21 | 0.21 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.21 | 0.21 | 0.22 | 0.22 | 0.23 | 0.23 | 0.23 | 0.23 | 0.22 | 0.22 | 0.21 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.21 | 0.21 | 0.21 | 0.22 | 0.22 | 0.22 | 0.23 | 0.23 | 0.24 | 0.24 | 0.25 | 0.26 | 0.26 | 0.27 | 0.28 | 0.28 | 0.29 | 0.3 | 0.31 | 0.31 | 0.32 | 0.33 | 0.34 | 0.35 | 0.35 | 0.36 | 0.37 | 0.38 | 0.39 | 0.39 | 0.4 | 0.4 | 0.41 | 0.41 | 0.41 | 0.41 | 0.42 | 0.42 | 0.41 | 0.41 | 0.41 | 0.42 | 0.42 | 0.42 | 0.42 | 0.41 | 0.41 | 0.4 | 0.39 | 0.38 | 0.37 | 0.36 | 0.35 | 0.33 | 0.32 | 0.3 | 0.28 | 0.27
RESLOWR_COAST | 2011-04-30 | 25.84 | 0.27 | 0.26 | 0.25 | 0.24 | 0.24 | 0.23 | 0.22 | 0.22 | 0.21 | 0.21 | 0.2 | 0.2 | 0.2 | 0.19 | 0.19 | 0.19 | 0.19 | 0.19 | 0.19 | 0.19 | 0.19 | 0.2 | 0.2 | 0.21 | 0.21 | 0.22 | 0.22 | 0.22 | 0.22 | 0.22 | 0.22 | 0.21 | 0.2 | 0.2 | 0.2 | 0.19 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.21 | 0.21 | 0.21 | 0.22 | 0.22 | 0.22 | 0.23 | 0.23 | 0.24 | 0.24 | 0.25 | 0.25 | 0.26 | 0.27 | 0.27 | 0.28 | 0.29 | 0.29 | 0.3 | 0.31 | 0.32 | 0.32 | 0.33 | 0.34 | 0.35 | 0.35 | 0.36 | 0.36 | 0.37 | 0.37 | 0.37 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.38 | 0.38 | 0.37 | 0.36 | 0.35 | 0.34 | 0.33 | 0.32 | 0.3 | 0.29 | 0.27 | 0.26
RESLOWR_COAST | 2011-05-01 | 25.46 | 0.24 | 0.23 | 0.23 | 0.22 | 0.21 | 0.2 | 0.2 | 0.19 | 0.19 | 0.18 | 0.18 | 0.17 | 0.17 | 0.17 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.17 | 0.17 | 0.17 | 0.18 | 0.19 | 0.19 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.19 | 0.18 | 0.18 | 0.17 | 0.17 | 0.17 | 0.17 | 0.17 | 0.18 | 0.18 | 0.18 | 0.19 | 0.19 | 0.19 | 0.2 | 0.2 | 0.21 | 0.22 | 0.22 | 0.23 | 0.24 | 0.24 | 0.25 | 0.26 | 0.27 | 0.28 | 0.29 | 0.3 | 0.31 | 0.31 | 0.32 | 0.33 | 0.35 | 0.36 | 0.37 | 0.38 | 0.38 | 0.39 | 0.4 | 0.4 | 0.41 | 0.41 | 0.41 | 0.41 | 0.41 | 0.41 | 0.41 | 0.41 | 0.41 | 0.41 | 0.41 | 0.41 | 0.4 | 0.4 | 0.39 | 0.39 | 0.38 | 0.37 | 0.35 | 0.34 | 0.33 | 0.31 | 0.3 | 0.28 | 0.27
RESLOWR_COAST | 2011-05-02 | 23.52 | 0.24 | 0.23 | 0.23 | 0.22 | 0.21 | 0.21 | 0.2 | 0.2 | 0.19 | 0.19 | 0.18 | 0.18 | 0.18 | 0.18 | 0.17 | 0.17 | 0.17 | 0.17 | 0.17 | 0.18 | 0.18 | 0.18 | 0.19 | 0.2 | 0.21 | 0.21 | 0.22 | 0.22 | 0.22 | 0.22 | 0.22 | 0.21 | 0.2 | 0.19 | 0.19 | 0.19 | 0.19 | 0.19 | 0.19 | 0.19 | 0.19 | 0.19 | 0.19 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.21 | 0.21 | 0.22 | 0.22 | 0.22 | 0.22 | 0.23 | 0.23 | 0.24 | 0.24 | 0.25 | 0.25 | 0.26 | 0.27 | 0.27 | 0.28 | 0.29 | 0.3 | 0.3 | 0.31 | 0.31 | 0.32 | 0.32 | 0.33 | 0.33 | 0.33 | 0.34 | 0.34 | 0.35 | 0.35 | 0.35 | 0.35 | 0.36 | 0.36 | 0.36 | 0.35 | 0.35 | 0.35 | 0.34 | 0.33 | 0.32 | 0.31 | 0.3 | 0.29 | 0.27 | 0.26 | 0.25 | 0.23
RESLOWR_COAST | 2011-05-03 | 23.79 | 0.23 | 0.23 | 0.22 | 0.21 | 0.21 | 0.2 | 0.19 | 0.19 | 0.18 | 0.18 | 0.18 | 0.17 | 0.17 | 0.17 | 0.17 | 0.17 | 0.17 | 0.17 | 0.17 | 0.17 | 0.17 | 0.18 | 0.18 | 0.19 | 0.2 | 0.21 | 0.21 | 0.22 | 0.22 | 0.22 | 0.22 | 0.21 | 0.2 | 0.19 | 0.19 | 0.19 | 0.19 | 0.19 | 0.19 | 0.19 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.21 | 0.21 | 0.21 | 0.22 | 0.22 | 0.22 | 0.23 | 0.23 | 0.24 | 0.25 | 0.25 | 0.26 | 0.27 | 0.27 | 0.28 | 0.29 | 0.3 | 0.3 | 0.31 | 0.32 | 0.32 | 0.33 | 0.33 | 0.34 | 0.34 | 0.34 | 0.34 | 0.34 | 0.35 | 0.35 | 0.35 | 0.35 | 0.35 | 0.35 | 0.35 | 0.35 | 0.35 | 0.34 | 0.34 | 0.34 | 0.33 | 0.33 | 0.32 | 0.31 | 0.3 | 0.29 | 0.28 | 0.27 | 0.26 | 0.25
RESLOWR_COAST | 2011-05-04 | 30.2 | 0.26 | 0.25 | 0.25 | 0.24 | 0.23 | 0.22 | 0.21 | 0.21 | 0.2 | 0.2 | 0.19 | 0.19 | 0.19 | 0.18 | 0.18 | 0.18 | 0.18 | 0.17 | 0.17 | 0.17 | 0.17 | 0.17 | 0.17 | 0.18 | 0.18 | 0.18 | 0.18 | 0.18 | 0.18 | 0.18 | 0.18 | 0.19 | 0.19 | 0.19 | 0.2 | 0.21 | 0.21 | 0.22 | 0.23 | 0.24 | 0.25 | 0.26 | 0.27 | 0.27 | 0.28 | 0.29 | 0.3 | 0.3 | 0.31 | 0.32 | 0.33 | 0.34 | 0.35 | 0.36 | 0.37 | 0.38 | 0.39 | 0.4 | 0.41 | 0.42 | 0.43 | 0.44 | 0.44 | 0.45 | 0.46 | 0.47 | 0.47 | 0.48 | 0.48 | 0.48 | 0.48 | 0.48 | 0.47 | 0.47 | 0.47 | 0.47 | 0.46 | 0.46 | 0.46 | 0.46 | 0.45 | 0.45 | 0.45 | 0.44 | 0.43 | 0.43 | 0.42 | 0.41 | 0.4 | 0.4 | 0.39 | 0.37 | 0.36 | 0.35 | 0.34 | 0.33
RESLOWR_COAST | 2011-05-05 | 36.93 | 0.31 | 0.3 | 0.3 | 0.29 | 0.28 | 0.27 | 0.26 | 0.25 | 0.25 | 0.24 | 0.23 | 0.23 | 0.23 | 0.23 | 0.22 | 0.22 | 0.22 | 0.22 | 0.22 | 0.22 | 0.21 | 0.21 | 0.21 | 0.21 | 0.21 | 0.21 | 0.21 | 0.21 | 0.21 | 0.22 | 0.22 | 0.22 | 0.23 | 0.24 | 0.25 | 0.26 | 0.26 | 0.27 | 0.28 | 0.29 | 0.3 | 0.31 | 0.32 | 0.33 | 0.34 | 0.35 | 0.36 | 0.37 | 0.39 | 0.4 | 0.42 | 0.43 | 0.44 | 0.46 | 0.47 | 0.48 | 0.49 | 0.5 | 0.51 | 0.52 | 0.53 | 0.54 | 0.54 | 0.55 | 0.55 | 0.56 | 0.56 | 0.57 | 0.57 | 0.57 | 0.57 | 0.57 | 0.57 | 0.57 | 0.57 | 0.57 | 0.57 | 0.57 | 0.57 | 0.57 | 0.57 | 0.57 | 0.56 | 0.55 | 0.54 | 0.53 | 0.52 | 0.51 | 0.5 | 0.48 | 0.47 | 0.45 | 0.43 | 0.42 | 0.4 | 0.38
RESLOWR_COAST | 2011-05-06 | 37.21 | 0.36 | 0.35 | 0.34 | 0.33 | 0.32 | 0.31 | 0.31 | 0.3 | 0.3 | 0.29 | 0.29 | 0.28 | 0.28 | 0.27 | 0.27 | 0.27 | 0.27 | 0.27 | 0.27 | 0.27 | 0.27 | 0.27 | 0.28 | 0.28 | 0.29 | 0.3 | 0.31 | 0.31 | 0.31 | 0.3 | 0.3 | 0.3 | 0.29 | 0.28 | 0.28 | 0.29 | 0.29 | 0.29 | 0.3 | 0.31 | 0.32 | 0.32 | 0.33 | 0.34 | 0.34 | 0.35 | 0.36 | 0.36 | 0.37 | 0.38 | 0.39 | 0.39 | 0.4 | 0.41 | 0.41 | 0.42 | 0.43 | 0.43 | 0.44 | 0.45 | 0.45 | 0.46 | 0.47 | 0.47 | 0.48 | 0.49 | 0.5 | 0.51 | 0.51 | 0.52 | 0.53 | 0.53 | 0.53 | 0.53 | 0.53 | 0.53 | 0.54 | 0.54 | 0.55 | 0.54 | 0.54 | 0.54 | 0.54 | 0.53 | 0.52 | 0.51 | 0.5 | 0.49 | 0.48 | 0.46 | 0.45 | 0.43 | 0.42 | 0.4 | 0.38 | 0.37
RESLOWR_COAST | 2011-05-07 | 38.33 | 0.37 | 0.36 | 0.35 | 0.34 | 0.33 | 0.32 | 0.31 | 0.31 | 0.3 | 0.29 | 0.29 | 0.29 | 0.28 | 0.28 | 0.27 | 0.27 | 0.27 | 0.27 | 0.27 | 0.27 | 0.27 | 0.27 | 0.28 | 0.29 | 0.3 | 0.3 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.3 | 0.29 | 0.28 | 0.28 | 0.28 | 0.29 | 0.29 | 0.29 | 0.3 | 0.31 | 0.31 | 0.32 | 0.33 | 0.33 | 0.34 | 0.35 | 0.36 | 0.37 | 0.38 | 0.38 | 0.39 | 0.4 | 0.41 | 0.41 | 0.42 | 0.43 | 0.44 | 0.45 | 0.46 | 0.47 | 0.47 | 0.48 | 0.49 | 0.51 | 0.52 | 0.52 | 0.53 | 0.54 | 0.55 | 0.55 | 0.55 | 0.56 | 0.56 | 0.56 | 0.57 | 0.57 | 0.57 | 0.57 | 0.57 | 0.57 | 0.57 | 0.57 | 0.56 | 0.55 | 0.55 | 0.54 | 0.53 | 0.52 | 0.5 | 0.49 | 0.47 | 0.45 | 0.44 | 0.42 | 0.4
RESLOWR_COAST | 2011-05-08 | 40.41 | 0.38 | 0.37 | 0.37 | 0.36 | 0.35 | 0.34 | 0.33 | 0.33 | 0.32 | 0.32 | 0.31 | 0.31 | 0.3 | 0.3 | 0.3 | 0.3 | 0.29 | 0.29 | 0.29 | 0.29 | 0.3 | 0.3 | 0.3 | 0.31 | 0.32 | 0.33 | 0.34 | 0.34 | 0.34 | 0.34 | 0.34 | 0.33 | 0.32 | 0.32 | 0.31 | 0.31 | 0.32 | 0.32 | 0.33 | 0.33 | 0.34 | 0.35 | 0.35 | 0.36 | 0.37 | 0.37 | 0.38 | 0.39 | 0.4 | 0.41 | 0.42 | 0.42 | 0.43 | 0.44 | 0.45 | 0.45 | 0.46 | 0.47 | 0.48 | 0.48 | 0.49 | 0.5 | 0.5 | 0.51 | 0.52 | 0.53 | 0.54 | 0.54 | 0.55 | 0.56 | 0.56 | 0.56 | 0.56 | 0.56 | 0.57 | 0.57 | 0.58 | 0.58 | 0.58 | 0.58 | 0.58 | 0.58 | 0.58 | 0.57 | 0.57 | 0.56 | 0.55 | 0.54 | 0.53 | 0.52 | 0.5 | 0.49 | 0.47 | 0.45 | 0.44 | 0.42
RESLOWR_COAST | 2011-05-09 | 38.57 | 0.4 | 0.39 | 0.39 | 0.38 | 0.37 | 0.36 | 0.35 | 0.35 | 0.34 | 0.34 | 0.33 | 0.33 | 0.33 | 0.32 | 0.32 | 0.32 | 0.32 | 0.31 | 0.31 | 0.31 | 0.32 | 0.32 | 0.32 | 0.33 | 0.34 | 0.35 | 0.35 | 0.35 | 0.35 | 0.35 | 0.35 | 0.35 | 0.34 | 0.33 | 0.33 | 0.33 | 0.33 | 0.34 | 0.34 | 0.34 | 0.35 | 0.36 | 0.36 | 0.36 | 0.37 | 0.37 | 0.38 | 0.38 | 0.39 | 0.39 | 0.39 | 0.4 | 0.4 | 0.4 | 0.4 | 0.41 | 0.41 | 0.41 | 0.42 | 0.42 | 0.42 | 0.42 | 0.43 | 0.44 | 0.44 | 0.45 | 0.46 | 0.46 | 0.47 | 0.47 | 0.48 | 0.48 | 0.48 | 0.49 | 0.49 | 0.5 | 0.51 | 0.52 | 0.52 | 0.52 | 0.53 | 0.53 | 0.53 | 0.52 | 0.52 | 0.52 | 0.51 | 0.5 | 0.49 | 0.48 | 0.47 | 0.46 | 0.44 | 0.42 | 0.41 | 0.39
RESLOWR_COAST | 2011-05-10 | 36.35 | 0.39 | 0.38 | 0.37 | 0.36 | 0.35 | 0.35 | 0.34 | 0.33 | 0.33 | 0.32 | 0.32 | 0.31 | 0.31 | 0.3 | 0.3 | 0.3 | 0.29 | 0.29 | 0.29 | 0.29 | 0.29 | 0.3 | 0.3 | 0.31 | 0.32 | 0.33 | 0.33 | 0.33 | 0.33 | 0.33 | 0.33 | 0.33 | 0.32 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.32 | 0.32 | 0.33 | 0.34 | 0.34 | 0.34 | 0.35 | 0.35 | 0.35 | 0.36 | 0.36 | 0.36 | 0.37 | 0.37 | 0.38 | 0.38 | 0.38 | 0.39 | 0.4 | 0.4 | 0.41 | 0.41 | 0.42 | 0.42 | 0.43 | 0.43 | 0.44 | 0.45 | 0.45 | 0.45 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.47 | 0.47 | 0.47 | 0.47 | 0.48 | 0.48 | 0.48 | 0.47 | 0.47 | 0.47 | 0.46 | 0.46 | 0.46 | 0.45 | 0.45 | 0.44 | 0.44 | 0.43 | 0.42 | 0.41 | 0.4 | 0.39 | 0.39
| TOTAL | 1239.54
Total of all energy for the specified read dates

## Computed LSEGcut
CUTNAME | OPERATING DATE | Daily_kWh | 0:15 | 0:30 | 0:45 | 1:00 | 1:15 | 1:30 | 1:45 | 2:00 | 2:15 | 2:30 | 2:45 | 3:00 | 3:15 | 3:30 | 3:45 | 4:00 | 4:15 | 4:30 | 4:45 | 5:00 | 5:15 | 5:30 | 5:45 | 6:00 | 6:15 | 6:30 | 6:45 | 7:00 | 7:15 | 7:30 | 7:45 | 8:00 | 8:15 | 8:30 | 8:45 | 9:00 | 9:15 | 9:30 | 9:45 | 10:00 | 10:15 | 10:30 | 10:45 | 11:00 | 11:15 | 11:30 | 11:45 | 12:00 | 12:15 | 12:30 | 12:45 | 13:00 | 13:15 | 13:30 | 13:45 | 14:00 | 14:15 | 14:30 | 14:45 | 15:00 | 15:15 | 15:30 | 15:45 | 16:00 | 16:15 | 16:30 | 16:45 | 17:00 | 17:15 | 17:30 | 17:45 | 18:00 | 18:15 | 18:30 | 18:45 | 19:00 | 19:15 | 19:30 | 19:45 | 20:00 | 20:15 | 20:30 | 20:45 | 21:00 | 21:15 | 21:30 | 21:45 | 22:00 | 22:15 | 22:30 | 22:45 | 23:00 | 23:15 | 23:30 | 23:45 | 24:00
RESLOWR_COAST | 2011-05-01 | 25.46 | 0.24 | 0.23 | 0.23 | 0.22 | 0.21 | 0.2 | 0.2 | 0.19 | 0.19 | 0.18 | 0.18 | 0.17 | 0.17 | 0.17 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.17 | 0.17 | 0.17 | 0.18 | 0.19 | 0.19 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.19 | 0.18 | 0.18 | 0.17 | 0.17 | 0.17 | 0.17 | 0.17 | 0.18 | 0.18 | 0.18 | 0.19 | 0.19 | 0.19 | 0.2 | 0.2 | 0.21 | 0.22 | 0.22 | 0.23 | 0.24 | 0.24 | 0.25 | 0.26 | 0.27 | 0.28 | 0.29 | 0.3 | 0.31 | 0.31 | 0.32 | 0.33 | 0.35 | 0.36 | 0.37 | 0.38 | 0.38 | 0.39 | 0.4 | 0.4 | 0.41 | 0.41 | 0.41 | 0.41 | 0.41 | 0.41 | 0.41 | 0.41 | 0.41 | 0.41 | 0.41 | 0.41 | 0.4 | 0.4 | 0.39 | 0.39 | 0.38 | 0.37 | 0.35 | 0.34 | 0.33 | 0.31 | 0.3 | 0.28 | 0.27
Ratio (3.381) |  | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381 | 3.381
MWH Conversion (divide by 1000) |  | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
LSEGUNADJ_ (in MWH) |  | 0.08608 | 0.000811 | 0.000778 | 0.000778 | 0.000744 | 0.00071 | 0.000676 | 0.000676 | 0.000642 | 0.000642 | 0.000609 | 0.000609 | 0.000575 | 0.000575 | 0.000575 | 0.000541 | 0.000541 | 0.000541 | 0.000541 | 0.000541 | 0.000541 | 0.000575 | 0.000575 | 0.000575 | 0.000609 | 0.000642 | 0.000642 | 0.000676 | 0.000676 | 0.000676 | 0.000676 | 0.000676 | 0.000642 | 0.000609 | 0.000609 | 0.000575 | 0.000575 | 0.000575 | 0.000575 | 0.000575 | 0.000609 | 0.000609 | 0.000609 | 0.000642 | 0.000642 | 0.000642 | 0.000676 | 0.000676 | 0.00071 | 0.000744 | 0.000744 | 0.000778 | 0.000811 | 0.000811 | 0.000845 | 0.000879 | 0.000913 | 0.000947 | 0.00098 | 0.001014 | 0.001048 | 0.001048 | 0.001082 | 0.001116 | 0.001183 | 0.001217 | 0.001251 | 0.001285 | 0.001285 | 0.001319 | 0.001352 | 0.001352 | 0.001386 | 0.001386 | 0.001386 | 0.001386 | 0.001386 | 0.001386 | 0.001386 | 0.001386 | 0.001386 | 0.001386 | 0.001386 | 0.001386 | 0.001352 | 0.001352 | 0.001319 | 0.001319 | 0.001285 | 0.001251 | 0.001183 | 0.00115 | 0.001116 | 0.001048 | 0.001014 | 0.000947 | 0.000913
LSEGUNADJ_09_Q_RESLOWR_COAST_NIDR_NWS_NOTOU_D_U1_LZ_NORTH_99_US
In this example, we will show how the profiled data is applied for an operating date included in the read dates. For the settlement of 5/01/2011, the LSEGUNADJ data cut would be:
By multiplying every interval contained in the profile cut, "RESLOWR_COAST", by the ratio obtained on the TAB titled "NIDR Data", we produce the LSEGUNADJ data cut shown above on row 9. The actual cut name is constructed as shown in Cell A12, with the "Q" representing the QSE that represents REP 09.
Although for this example an operating date was chosen that was contained within the read dates, any cut for an operating date in the future could have been produced, as long as the operating date was less than 5/11/2012, or twelve months greater than the stop time of the meter reads (5/11/2011 + 12 months equals 5/11/2012.
This example assumes the three ESIIDs listed are the only ones contained in the LSEGUNADJ "bucket". If more were in the same bucket with different read dates, they would be calculated separately and added together to produce the LSEGUNADJ data cut.
It is important to note that no rounding takes place in these calculations until all groups of ESIIDs have been added. Then, prior to saving the interval data, all values are rounded to six decimals.
Although the system does not perform this calculation individually for every unique ESIID, the process could be performed at the ESIID level to obtain the contribution of a specific ESIID.
For TOU profiles, the calculations are essentially the same, except the ratio calculation and LSEGUNADJ allocation is computed independently for each TOU period.
Key (8-way characteristics): REP,QSE,PROFILEcode,LOSScode,UFEzone,
LOADzone,TDSP,Method