| NPRR Number | 370 | NPRR Title | Supplementary Ancillary Services Market Modifications |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | August 18, 2011 |  |  |
| Proposed Effective Date |  | November 1, 2011 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Nodal Protocol Section Requiring Revision |  | 6.4.8.2, Supplemental Ancillary Services Market |  |  |
| Requested Resolution |  | Normal |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) corrects the Supplemental Ancillary Services Market (SASM) to eliminate the notice periods when ERCOT needs to strike a SASM for Ancillary Services that are undeliverable or the result of a Qualified Scheduling Entity’s (QSE’s) failure to provide the service. |  |  |
| Reason for Revision |  | The current timeline creates unnecessary delays in the completion of a SASM. This slows the movement of Ancillary Services to other Resources should a unit trip or a transmission constraint not allow a QSE to provide Ancillary Services for which they are committed. |  |  |
| Overall Market Benefit |  | Increases the reliability of the market by shortening periods when Ancillary Services are not being provided. |  |  |
| Overall Market Impact |  | Reduced risk on Ancillary Service providers. |  |  |
| Credit Impacts |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR370 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 5/26/11, NPRR370 was posted. - On 5/26/11, Morgan Stanley comments were posted. - On 6/17/11, ERCOT comments were posted. - On 6/20/11, WMS comments were posted. - On 6/23/11, PRS considered NPRR370. - On 7/12/11, a second set of Morgan Stanley comments were posted. - On 7/18/11, a second set of WMS comments were posted. - On 7/21/11, PRS again considered NPRR370. - On 8/11/11, an Impact Analysis was posted. - On 8/18/11, PRS considered the 7/21/11 PRS Report and Impact Analysis for NPRR370. |  |  |
| PRS Decision |  | On 6/23/11, PRS unanimously voted to table NPRR370. All Market Segments were present for the vote. On 7/21/11, PRS unanimously voted to recommend approval of NPRR370 as amended by the 7/12/11 Morgan Stanley comments. All Market Segments were present for the vote. On 8/18/11, PRS unanimously voted to endorse and forward the 7/21/11 PRS Report and Impact Analysis for NPRR370 to TAC. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 6/23/11, it was requested that WMS direct the QSE Mangers Working Group (QMWG) to review NPRR370 and that ERCOT Staff be present for the QMWG discussion. On 7/21/11, there was no discussion. On 8/18/11, there was no discussion. |  |  |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 | This NPRR would improve reliability by removing the notice period prior to procurement of replacement Ancillary Services for units that have suffered an outage or when transmission problems cause Ancillary Services to be undeliverable. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | No cost for Market Participant implementation as participation is not mandatory. | Not applicable. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Reduced risk in Ancillary Service provision. | Estimated 1% improved efficiency in Ancillary Service prices – to be analyzed further during stakeholder process. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | Greater system reliability as ERCOT will replace Ancillary Services on a more rapid timeline. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Clayton Greer |
| E-mail Address | Clayton.greer@morganstanley.com |
| Company | Morgan Stanley |
| Phone Number | 512-497-2986 |
| Cell Number | 512-639-3993 |
| Market Segment | Independent Power Marketer (IPM) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Jonathan Levine |
| E-Mail Address | jlevine@ercot.com |
| Phone Number | 512-248-6464 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| Morgan Stanley 052611 | Proposed revisions to create an automated “reconfiguration SASM” run at the top of each hour for the following hour through the end of the trade day that would allow QSEs to re-optimize their Ancillary Service positions against the market. |
| ERCOT 061711 | Recommended rejection of NPRR370 as the concept is more efficiently incorporated in the long term look-ahead Security-Constrained Economic Dispatch (SCED) solution being developed. |
| WMS 062011 | Recommend that PRS table NPRR370 to permit additional review by QMWG. |
| Morgan Stanley 071211 | Proposed revision to clarify that time “E” may be any time not less than two hours before the start of the Operating Hour for which additional replacement Ancillary Services capacity is required. |
| WMS 071811 | Endorsed NPRR370 as amended by the 7/12/11 Morgan Stanley comments. |

Comments

Please note that NPRR397, Balance of the Day Ancillary Service Market, also proposes revisions to Section 6.4.8.2.

Proposed Protocol Language Revision

6.4.8.2	Supplemental Ancillary Services Market

(1)	During the Adjustment Period, ERCOT may procure additional Regulation Up (Reg-Up), Regulation Down (Reg-Down), Responsive Reserve (RRS), and Non-Spinning Reserve (Non-Spin) services for the reasons, and in the amounts, specified in Section 6.4.8.1, Evaluation and Maintenance of Ancillary Service Capacity Sufficiency, using a SASM.

(2)	The SASM process for acquiring more Ancillary Service capacity must use the following timelines:

(a)	For Ancillary Service capacity related to ERCOT desired increases, ERCOT shall send a notice at time “X” to all QSEs of the SASM.  Time X may be any time not less than two hours before the start of the Operating Hour for which the additional Ancillary Services capacity is required.

| SASM Process | QSE Activities: | ERCOT Activities: |
| --- | --- | --- |
| Time = X |  | Notify all QSEs of intent to procure additional Ancillary Services. Notify QSEs of any additional Ancillary Service Obligation, allocated to each Load Serving Entity (LSE) and aggregated to the QSE level. |
| Time = X plus 30 minutes | May submit additional Self-Arranged Ancillary Service Quantities limited to the additional Ancillary Services Obligation of the QSE. | Determine the amount of Ancillary Services to be procured. |
| Time = X plus 35 minutes |  | Execute SASM. |
| Time = X plus 45 minutes |  | Notify QSEs with awards of results. Post the quantities and MCPCs of Ancillary Services bought in the SASM. |
| Time = X plus 60 minutes | Submit updated COP with updated Ancillary Service Resource Responsibility. | Validate COPs for Ancillary Service Resource Responsibility. |

(b)	For replacement of Ancillary Service capacity related to undeliverability or failure of a QSE to provide one or more Ancillary Services, ERCOT shall have the option of executing a SASM at time “E” without providing preliminary notice to the market.  Time “E” may be any time not less than two hours before the start of the Operating Hour for which the additional Ancillary Services capacity is required.

| SASM Process | QSE Activities: | ERCOT Activities: |
| --- | --- | --- |
| Time = E |  | Execute SASM. |
| Time = E plus 15 minutes |  | Notify QSEs with awards of results. Post the quantities and MCPCs of Ancillary Services bought in the SASM. |
| Time = E plus 30 minutes | Submit updated COP with updated Ancillary Service Resource Responsibility. | Validate COPs for Ancillary Service Resource Responsibility. |

(3)	Each QSE that is awarded capacity in a SASM is paid the SASM MCPC for the quantity it is awarded.

(4)	ERCOT shall allocate additional Ancillary Service Obligations to QSEs using the same percentages as the original Day-Ahead allocation of Ancillary Service Obligations.