## Slide 1: Protocol Revision Subcommittee
Sandy Morris
September 1, 2011

## Slide 2
Summary of Revision Requests
7 NPRRs Recommended for Approval
2 NPRRs Rejected

## Slide 3: Items for a Vote
Unanimous Recommendations with No Impacts
  NPRR364, Clarify Active and Inactive SCED Constraint Reporting
  NPRR370, Supplementary Ancillary Services Market Modifications
  NPRR396, Reduce Standard O&M Costs – Urgent
Unanimous Recommendations with Impacts
  NPRR315, Revision of Responsive Reserve Measure to High Emergency Limit (formerly “Revision of Responsive Reserve Measure to Net Dependable Capability”) – Urgent
  NPRR391, Shortening RTM Settlement and Payment Timeline and Eliminate ACH as a Mode of Payment
Notes: 3

## Slide 4: Items for a Vote
Non-unanimous Recommendations
  NPRR365, Change in Resource Outage Approvals from Eight to 45 Days (formerly “Change in Resource Outage Approvals from Eight to 90 Days”) – Urgent
  NPRR389, Modification of Voltage Support Requirements to Address Existing Non-Exempt WGRs
Notes: 4

## Slide 5: Items for Notice
Rejected NPRRs
  NPRR334, Incorporate Resource Limit for the Amount of Regulation Service that may be Provided from a Generation Resource During any Operating Hour
  NPRR336, Authorize ERCOT to Procure Additional RRS During Severe Cold Weather
Withdrawn NPRRs
  None this month
Notes: 5

## Slide 6
NPRRs Recommended for Approval

## Slide 7: NPRR315, Revision of Responsive Reserve Measure to High Emergency Limit (formerly “Revision of Responsive Reserve Measure to Net Dependable Capability”) – Urgent
Purpose (Morgan Stanley) | This NPRR changes Responsive Reserve (RRS) Service 20% limit to check against the High Emergency Limit (HEL) instead of High Sustained Limit (HSL).
PRS Vote | On 8/18/11, PRS unanimously voted to recommend approval of NPRR315 as amended by the 8/17/11 Luminant Energy comments and as revised by PRS and to forward NPRR315 to TAC.
Effective Date/Priority | pending
ERCOT Impact | pending
Cost Benefit Analysis Highlights | pending
Notes: 7

## Slide 8: NPRR364, Clarify Active and Inactive SCED Constraint Reporting
Purpose (ERCOT) | This NPRR clarifies the reporting requirements for Security-Constrained Economic Dispatch (SCED) constraints and aligns the Protocols with current practices.
PRS Vote | On 7/21/11, PRS unanimously voted to recommend approval of NPRR364 as amended by the 7/14/11 J. Aron comments. On 8/18/11, PRS unanimously voted to endorse and forward the 7/21/11 PRS Report and Impact Analysis for NPRR364 to TAC.
Effective Date/Priority | November 1, 2011
ERCOT Impact | No Impacts
Notes: 8

## Slide 9: NPRR365, Change in Resource Outage Approvals from Eight to 45 Days (formerly “Change in Resource Outage Approvals from Eight to 90 Days”) – Urgent
Purpose (ERCOT) | This NPRR revises the deadline for ERCOT approval of Resource Outages from an eight-day notice to a 45-day notice while aligning the new Resource Outage timelines to match those of Transmission Outages. (Consistent with Recommendation 6B of the March 15, 2011, Report of the Rotating Blackout Operations Task Force of the ERCOT Board)
PRS Vote | On 8/18/11, PRS voted to recommend approval of NPRR365 as amended by the 8/12/11 ROS comments and as revised by PRS and to forward NPRR365 to TAC. There was one opposing vote from the Independent Power Marketer (IPM) Market Segment.
Effective Date/Priority | pending
ERCOT Impact | pending
Cost Benefit Analysis Highlights | pending
Notes: 9

## Slide 10: NPRR370, Supplementary Ancillary Services Market Modifications
Purpose (Morgan Stanley) | This NPRR corrects the Supplemental Ancillary Services Market (SASM) to eliminate the notice periods when ERCOT needs to strike a SASM for Ancillary Services that are undeliverable or the result of a Qualified Scheduling Entity’s (QSE’s) failure to provide the service.
PRS Vote | On 7/21/11, PRS unanimously voted to recommend approval of NPRR370 as amended by the 7/12/11 Morgan Stanley comments. On 8/18/11, PRS unanimously voted to endorse and forward the 7/21/11 PRS Report and Impact Analysis for NPRR370 to TAC.
Effective Date/Priority | November 1, 2011
ERCOT Impact | No Impacts
Notes: 10

## Slide 11: NPRR389, Modification of Voltage Support Requirements to Address Existing Non-Exempt WGRs
Purpose (ERCOT) | This NPRR clearly defines the Reactive Power capability requirements for Wind-powered Generation Resources (WGRs) that commenced operation on or after February 17, 2004, and have a signed Standard Generation Interconnection Agreement (SGIA) on or before December 1, 2009 (Existing Non-Exempt WGRs).
PRS Vote | On 7/21/11, PRS voted to recommend approval of NPRR389 as submitted. There was one abstention from the Investor Owned Utility (IOU) Market Segment. On 8/18/11, PRS unanimously voted to endorse and forward the 7/21/11 PRS Report and Impact Analysis for NPRR389 to TAC.
Effective Date/Priority | November 1, 2011
ERCOT Impact | Minor impacts to ERCOT business functions
Notes: 11

## Slide 12: NPRR391, Shortening RTM Settlement and Payment Timeline and Eliminate ACH as a Mode of Payment
Purpose (ERCOT) | This NPRR shortens the posting timeline for the Real-Time Initial Statement by one Business Day, and shortens cash clearing for the Settlement Invoices in which it will be included by one Bank Business Day. This NPRR also eliminates the option of making payments using Automated Clearing House (ACH) funds.
PRS Vote | On 7/21/11, PRS unanimously voted to recommend approval of NPRR391 as submitted. On 8/18/11, PRS unanimously voted to endorse and forward the 7/21/11 PRS Report and Impact Analysis for NPRR391 to TAC.
Effective Date/Priority | December 1, 2011 for all language except paragraphs (1) and (2) of Sections 9.7.1 and paragraphs (1)-(5) and (6)(a), (c) and (d) of Section 9.7.4, which will be upon system implementation.
ERCOT Impact | Impacts to Settlements and Billing (S&B) data configuration; minor impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.
Notes: 12

## Slide 13: NPRR396, Reduce Standard O&M Costs – Urgent
Purpose (City of Eastland) | This NPRR reduces the standard Operations and Maintenance (O&M) costs permitted to be used in lieu of actual, verifiable O&M costs by NPRR225, Standard Cost Option in Verifiable Costs, which was approved by the ERCOT Board in June 2010.
PRS Vote | On 8/18/11, PRS unanimously voted to grant NPRR396 Urgent status, to recommend approval of NPRR396 as submitted, and to forward NPRR396 to TAC.
Effective Date/Priority | November 1, 2011
ERCOT Impact | No impacts
Notes: 13