Date: 	August 25, 2011

To:	Technical Advisory Committee (TAC) Representatives

From:	Sandy Morris, Protocol Revision Subcommittee (PRS) Chair

Re:	Consideration of Nodal Protocol Revision Requests (NPRRs) and Parking Deck NPRR Impact Assessments

The PRS met and discussed several revision requests and presents the following NPRRs to the TAC for consideration this month.

Unless indicated otherwise, all Market Segments were present for the vote.  In addition, unless stated otherwise, the ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision requests and do not believe they require changes to credit monitoring activity or the calculation of liability.

NPRRs Recommended for Approval

  - NPRR315, Revision of Responsive Reserve Measure to High Emergency Limit (formerly “Revision of Responsive Reserve Measure to Net Dependable Capability”) [Morgan Stanley] – Urgent.

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR changes Responsive Reserve (RRS) Service 20% limit to check against the High Emergency Limit (HEL) instead of High Sustained Limit (HSL).

Procedural History:  NPRR315 was posted on 2/2/11.  On 2/4/11, the motion to grant NPRR315 Urgent status failed via PRS email vote.  On 2/17/11, PRS unanimously voted to grant NPRR315 Urgent status.  PRS then unanimously voted to table NPRR315.  On 6/23/11, PRS unanimously voted to table NPRR315 for one month.  On 8/18/11, PRS unanimously voted to recommend approval of NPRR315 as amended by the 8/17/11 Luminant Energy comments and as revised by PRS and to forward NPRR315 to TAC.  Credit review is pending.

  - NPRR364, Clarify Active and Inactive SCED Constraint Reporting [ERCOT].

Proposed Effective Date:  November 1, 2011

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies the reporting requirements for Security-Constrained Economic Dispatch (SCED) constraints and aligns the Protocols with current practices.

Procedural History:  NPRR364 was posted on 5/4/11.  On 5/19/11, PRS unanimously voted to table NPRR364.  On 7/21/11, PRS unanimously voted to recommend approval of NPRR364 as amended by the 7/14/11 J. Aron comments.  On 8/18/11, PRS unanimously voted to endorse and forward the 7/21/11 PRS Report and Impact Analysis for NPRR364 to TAC.

  - NPRR365, Change in Resource Outage Approvals from Eight to 45 Days (formerly “Change in Resource Outage Approvals from Eight to 90 Days”) [ERCOT] – Urgent.

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR revises the deadline for ERCOT approval of Resource Outages from an eight-day notice to a 45-day notice while aligning the new Resource Outage timelines to match those of Transmission Outages. (Consistent with Recommendation 6B of the March 15, 2011, Report of the Rotating Blackout Operations Task Force of the ERCOT Board)

Procedural History:  NPRR365 was posted on 5/4/11.  On 5/19/11, PRS unanimously voted to table NPRR365.  On 8/18/11, PRS voted to grant NPRR365 Urgent status.  There was one abstention from the Independent Generator Market Segment.  PRS then voted to recommend approval of NPRR365 as amended by the 8/12/11 ROS comments and as revised by PRS and to forward NPRR365 to TAC.  There was one opposing vote from the Independent Power Marketer (IPM) Market Segment.  Credit review is pending.

  - NPRR370, Supplementary Ancillary Services Market Modifications [Morgan Stanley].

Proposed Effective Date:  November 1, 2011

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR corrects the Supplemental Ancillary Services Market (SASM) to eliminate the notice periods when ERCOT needs to strike a SASM for Ancillary Services that are undeliverable or the result of a Qualified Scheduling Entity’s (QSE’s) failure to provide the service.

Procedural History:  NPRR370 was posted on 6/23/11.  On 6/23/11, PRS unanimously voted to table NPRR370.  On 7/21/11, PRS unanimously voted to recommend approval of NPRR370 as amended by the 7/12/11 Morgan Stanley comments.  On 8/18/11, PRS unanimously voted to endorse and forward the 7/21/11 PRS Report and Impact Analysis for NPRR370 to TAC.

  - NPRR389, Modification of Voltage Support Requirements to Address Existing Non-Exempt WGRs [ERCOT].

Proposed Effective Date:  November 1, 2011

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; minor impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clearly defines the Reactive Power capability requirements for Wind-powered Generation Resources (WGRs) that commenced operation on or after February 17, 2004, and have a signed Standard Generation Interconnection Agreement (SGIA) on or before December 1, 2009 (Existing Non-Exempt WGRs).

Procedural History:  NPRR389 as posted on 7/6/11.  On 7/21/11, PRS voted to recommend approval of NPRR389 as submitted.  There was one abstention from the Investor Owned Utility (IOU) Market Segment.  On 8/18/11, PRS unanimously voted to endorse and forward the 7/21/11 PRS Report and Impact Analysis for NPRR389 to TAC.

  - NPRR391, Shortening RTM Settlement and Payment Timeline and Eliminate ACH as a Mode of Payment [ERCOT].

Proposed Effective Date:  December 1, 2011 for all language except paragraphs (1) and (2) of Sections 9.7.1 and paragraphs (1)-(5) and (6)(a), (c) and (d) of Section 9.7.4, which will be upon system implementation.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; impacts to Settlements and Billing (S&B) data configuration; minor impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR shortens the posting timeline for the Real-Time Initial Statement by one Business Day, and shortens cash clearing for the Settlement Invoices in which it will be included by one Bank Business Day.  This NPRR also eliminates the option of making payments using Automated Clearing House (ACH) funds.

Procedural History:  NPRR391 as posted on 7/6/11.  On 7/21/11, PRS unanimously voted to recommend approval of NPRR391 as submitted.  On 8/18/11, PRS unanimously voted to endorse and forward the 7/21/11 PRS Report and Impact Analysis for NPRR391 to TAC.  Positive credit implications.

  - NPRR396, Reduce Standard O&M Costs [City of Eastland] – Urgent.

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR reduces the standard Operations and Maintenance (O&M) costs permitted to be used in lieu of actual, verifiable O&M costs by NPRR225, Standard Cost Option in Verifiable Costs, which was approved by the ERCOT Board in June 2010.

Procedural History:  NPRR396 was posted on 7/19/11.  On 8/18/11, PRS unanimously voted to grant NPRR396 Urgent status, to recommend approval of NPRR396 as submitted, and to forward NPRR396 to TAC.  Credit review is pending.

Revision Requests Rejected and Failed Motions

  - NPRR334, Incorporate Resource Limit for the Amount of Regulation Service that may be Provided from a Generation Resource During any Operating Hour [ERCOT].

Proposed Effective Date:  Not applicable.

ERCOT Impact Analysis:  Not applicable.

Revision Description:  This NPRR adds language to incorporate a percentage requirement limiting the amount of Regulation Service that Generation Resources may provide; and to provide for an annual ERCOT review of the percentage requirement limiting the amount of Regulation Service that Generation Resources may provide.

Procedural History:  NPRR334 was posted on 3/25/11.  On 3/24/11, PRS unanimously voted to table NPRR334.  On 8/18/11, PRS voted to reject NPR334.  There were two opposing votes from the Consumer and Municipal Market Segments.  Credit review is not applicable.

  - NPRR336, Authorize ERCOT to Procure Additional RRS During Severe Cold Weather [TNMP].

Proposed Effective Date:  Not applicable.

ERCOT Impact Analysis:  Not applicable.

Revision Description:  This NPRR allows ERCOT to procure additional RRS during cold weather conditions.

Procedural History:  NPRR336 was posted on 3/9/11.  On 4/21/11, PRS voted to table NPRR336.  There was one opposing vote from the Independent Retail Electric Provider (IREP) Market Segment.  On 8/18/11, PRS unanimously voted to reject NPRR336.  Credit review is not applicable.

Revision Requests Withdrawn (no TAC action required)

None.

Parking Deck Impact Assessments Recommended for Approval

  - NPRR207, Unit Deselection (formerly “Hour Start Unit Deselection and Half Hour Start Unit RUC Clawback”) [WMS]

Effective Date:  Upon System Implementation – Priority 2012; Rank 19.

ERCOT Impact Analysis:  $50k - $55k; no ERCOT staffing impacts; impacts to Market Management  System (MMS); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR provides that ERCOT may deselect units from Reliability Unit Commitment (RUC); creates the term “RUC Notification” to refer to an ERCOT instruction preceding a Resource’s startup time; and enables the QSE to self-commit, a Resource after receiving a RUC Notification but before the Resource’s startup time.

Procedural History:  On 7/20/10, the ERCOT Board approved NPRR207 as recommended by TAC in the 7/1/10 TAC Report.  On 6/23/11, PRS unanimously voted to table the impact assessment for NPRR207 for one month.  On 7/21/11, PRS unanimously voted to table the impact assessment for NPRR207 for one month.  On 8/18/11, PRS unanimously voted to endorse and forward the impact assessment for NPRR207 to TAC with a recommended priority of 2012 and rank of 19.

Parking Deck Impact Assessments Tabled

  - NPRR181, FIP Definition Revision [Luminant Energy]

Effective Date:  Upon System Implementation.

ERCOT Impact Analysis:  $210k - $225k; no ERCOT staffing impacts; impacts to MMS, S&B, Enterprise Integration (EI), and EIS; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR revises the definition of Fuel Index Price (FIP) to correctly account for the timing difference between ERCOT’s application of the FIP in its systems (midnight to midnight) and the timing of natural gas prices reflected by the index (i.e., hour ending 1000 to 0900).  The fuel price index published in Gas Daily, in the Daily Price Survey, under the heading “East-Houston-Katy, Houston Ship Channel” for any particular day reflects natural gas prices available to users from hour ending 1000 of the particular day to hour ending 0900 of the next day (i.e., the normal “gas day”).  This NPRR also adds a new definition for the term “Gas Day.”

Procedural History:  On 1/19/10, the ERCOT Board approved NPRR181 as recommended by TAC in the 1/6/10 TAC Report.  On 6/23/11, PRS unanimously voted to table the impact assessment for NPRR181 for one month.  On 7/21/11, PRS unanimously voted to table the impact assessment for NPRR181 for one month.  On 8/18/11, PRS unanimously voted to table the impact assessment for NPRR181.

Status of Pending Revision Requests (For Information Purposes Only):

Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the September 22, 2011 PRS Meeting

  - NPRR327, State Estimator Data Redaction Methodology [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR inserts language to define a redaction methodology for the posting of State Estimator data.

Procedural History:  NPRR327 was posted on 2/22/11.  On 3/24/11, PRS unanimously voted to table NPRR327.  On 7/21/11, PRS unanimously voted to recommend approval of NPRR327 as amended by the 7/21/11 Morgan Stanley comments and as revised by PRS.  On 8/18/11, PRS unanimously voted to table NPRR327.  Credit review is pending.

  - NPRR351, Calculate and Post Projected Non-Binding LMPs for the Next 15 Minutes [WMS].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR provides that for each SCED process, ERCOT shall calculate a rolling 15-minute projection of Resource High Dispatch Limits (HDLs) and Low Dispatch Limits (LDLs), total generation requirement, and the Locational Marginal Prices (LMPs) for each Resource Node, Hub, Load Zone and Electrical Bus.

Procedural History:  NPRR351 was posted on 4/13/11.  On 5/19/11, PRS unanimously voted to table NPRR351 for one month.  On 6/23/11, PRS voted to reject NPRR351 via roll call vote.  On 8/4/11, TAC voted via roll call vote to grant the ERCOT Steel Mills appeal and remand NPRR351 to PRS; to direct PRS to work with ERCOT to resolve any questions needed to complete the Impact Analysis; to request that ERCOT perform an Impact Analysis; and to direct PRS to recommend action on NPRR351 to TAC after the completion of the Impact Analysis.  On 8/18/11, PRS voted to recommend approval of NPRR351 as revised by PRS for the sole purpose of ERCOT’s preparation of an Impact Analysis for PRS review.  There was one opposing vote from the Independent Generator Market Segment.  Credit review pending.

  - NPRR377, Alternate Inputs to Base Point Deviation Charge [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  $150k - $165k; no impacts to ERCOT staffing; impacts to EMS, CSI, S&B, EIS, and ERCOT Storage; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR will align the Adjusted Aggregated Base Points (AABP) formula with the inputs to the Generation Resource Energy Deployment Performance (GREDP) measure.  The current formula for AABP inaccurately assesses Base Point Deviation charges for under and over generation when shortened SCED intervals occur.  Additionally, this NPRR includes bill determinants to track the over and under generated volumes and correct language for bill determinants P1 and P2.

Procedural History:  NPRR377 was posted on 6/7/11.  On 6/23/11, PRS unanimously voted to table NPRR377.  On 8/18/11, PRS unanimously voted to recommend approval of NPRR377 as amended by the 8/8/11 ERCOT comments and as revised by PRS.  Credit review is pending.

  - NPRR385, Security Violation Analysis and Reporting and Negative Price Floor [Luminant Energy].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR adds review, analysis and reporting requirements to the Network Security Analysis (NSA) process to provide Market Participants with information related to the causes of recurring security violations and possible solutions developed by ERCOT to address those violations.  Additionally, this NPRR adds an administrative Real-Time Settlement Point Price floor of negative $251/MWh for Resource Nodes and Hubs.

Procedural History:  NPRR385 as posted on 6/14/11.  On 7/21/11, PRS unanimously voted to recommend approval of NPRR385 as amended by the 6/21/11 Luminant Energy Company LLC comments.  On 8/18/11, PRS voted to table NPRR385 for one month.  There was one opposing vote from the Independent Generator Market Segment.  Positive credit implications.

  - NPRR393, SCED Constraint Management Transparency [J. Aron].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR creates a reporting requirement to provide transparency into SCED constraint management decisions.

Procedural History:  NPRR393 was posted on 7/14/11.  On 7/20/11, the motion to grant NPRR393 Urgent status failed via PRS email vote.  On 8/18/11, PRS unanimously voted to recommend approval of NPRR393 as submitted.  Credit review is pending.

  - NPRR395, CRR Auction Offer Award Disclosure [DC Energy].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR adds a requirement for ERCOT to post Congestion Revenue Right (CRR) Auction offer awards following each CRR Auction in the exact fashion CRR Auction bid awards are currently posted on the MIS Public Area.

Procedural History:  NPRR395 was posted on 7/15/11.  On 7/20/11, the motion to grant NPRR395 Urgent status failed via PRS email vote.  On 8/18/11, PRS unanimously voted to recommend approval of NPRR395 as amended by the 8/12/11 WMS comments.  Credit review is pending.

  - NPRR398, Changes to Resource Category Minimum-Energy Generic Heat Rates [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Less than $5k to be absorbed as part of O&M budget of affected departments; no impacts to ERCOT staffing; minor impacts to S&B and MMS; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR changes the Resource Category Minimum-Energy Generic Heat Rates for several fuel type Resource categories as described below.

Procedural History:  NPRR398 was posted on 8/3/11.  On 8/18/11, PRS voted to recommend approval of NPRR398 as submitted.  There were two opposing votes from the Independent Generator and IPM Market Segments and one abstention from the IPM Market Segment.  Credit review is pending.

  - NPRR399, Updates to Protocol Sections Related to Settlements and Billing [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR includes updates to miscellaneous, non-substantive corrections to various Protocol sections related to Settlements and billing.  Revisions include corrections to Protocol references and variable clarifications.

Procedural History:  NPRR399 was posted on 8/3/11.  On 8/18/11, PRS unanimously voted to recommend approval of NPRR399 as submitted.  Credit review is pending.

Revision Requests Deferred or Tabled

- NPRR190, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description: This NPRR adds language to acknowledge the existence of Generation Resources that have no or minimal injection onto the ERCOT System that qualify either as distributed generation or are registered with the Public Utility Commission of Texas (PUCT) according to P.U.C. Subst. R. 25.109, Registration of Power Generation Companies and Self-Generators, as a self-generator but yet are required to participate with ERCOT for reliability purposes.

Procedural History:  NPRR190 was posted on 7/24/09.  On 8/25/09, PRS unanimously voted to table NPRR190 for one month.  On 9/17/09, PRS unanimously voted to table NPRR190 for one month.  On 10/22/09, PRS unanimously voted to table NPRR190 for one month.  On 11/19/09, PRS unanimously voted to table NPRR190.  On 12/17/09, PRS unanimously voted to table NPRR190 indefinitely.  On 9/23/10, PRS unanimously voted to table NPRR190 for one month.  On 10/21/10, PRS unanimously voted to table NPRR190 for one month.  On 11/18/10, PRS unanimously voted to table NPRR190.  Credit review is pending.

  - NPRR366, Generation Resource Power Factor Criteria Clarification [LCRA].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR adjusts the power factor criteria for Generation Resources to align with actual Generation Resource capabilities.

Procedural History:  NPRR366 was posted on 5/4/11.  On 5/19/11, PRS unanimously voted to table NPRR366.  Credit review is pending

  - NPRR371, Telemetered LSL for QSGR [Topaz] – Urgent.

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR will allow QSGRs to immediately telemeter the physical Low Sustained Limit (LSL) upon a SCED energy deployment.

Procedural History:  NPRR371 was posted on 5/31/11.  On 6/2/11, the motion to grant NPRR371 Urgent status failed via PRS email vote.  On 6/23/11, PRS voted to grant NPRR371 Urgent status.  There were five opposing votes from the Independent Generator, IOU, Cooperative, Consumer, and IPM Market Segments.  PRS then unanimously voted to table NPRR371.  Credit review is pending.

  - NPRR378, Posting of the ERCOT Short-Term Load Forecast and the Aggregated HDL and LDL Used in SCED [Floyd Trefny].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR adds a requirement for ERCOT to post on the Market Information System (MIS): (a) the ERCOT Short-Term Load Forecast (STLF) for the current SCED; (b) the STLF for the next or prompt five-minute SCED interval; and (c) the STLF effective within 15 minutes.  This NPRR also clarifies SCED up/down reserves and adds capacity for the aggregate sum of the HDLs and LDLs for the On-Line Generation Resources in each five-minute SCED interval.

Procedural History:  NPRR378 was posted on 6/8/11.  On 6/23/11, PRS voted to reject NPRR378 via roll call vote.  On 8/4/11, TAC voted to grant the ERCOT Steel Mills appeal and remand NPRR378 to PRS; to direct PRS to work with ERCOT to resolve any questions needed to complete the Impact Analysis; to request that ERCOT perform an Impact Analysis; and to direct PRS to recommend action on NPRR378 to TAC after the completion of the Impact Analysis.  There were two abstentions from the IPM Market Segment.  On 8/18/11, PRS unanimously voted to table NPRR378.  Credit review pending.

  - NPRR381, Registration Requirements for Interconnecting Entities [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis (Preliminary):  $18k; no impacts to ERCOT staffing; impacts to Siebel, MMS, and Market Participant Identity Management (MPIM); existing ERCOT business functions can accommodate this NPRR; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR creates a new type of Market Participant called an “Interconnecting Entity” (IE) and requires Entities who wish to interconnect a new Resource or make certain changes to a Resource to register with ERCOT and to comply with ERCOT standards and procedures during the interconnection or change process.

Procedural History:  NPRR381 was posted on 6/8/11.  On 6/23/11, PRS unanimously voted to table NPRR381.  On 8/18/11, PRS unanimously voted to table NPRR381.  Credit review is pending.

  - NPRR394, Outage Reporting [Edison Mission].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR clarifies that material derates for Resources are greater than 10MW.

Procedural History:  NPRR394 was posted on 7/14/11.  On 8/18/11, PRS unanimously voted to table NPRR394.  Credit review is pending.

  - NPRR397, Balance of the Day Ancillary Service Market [Morgan Stanley].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR allows the SASM to be operated as a balance of the day market for Ancillary Services.

Procedural History:  NPRR397 was posted on 8/1/11.  On 8/18/11, PRS unanimously voted to table NPRR397.  Credit review is pending.

  - NPRR400, Eliminate Unsecured Credit for CRR Auctions and for Future Credit Exposure and Eliminate Netting of FCE with CCE [ERCOT] – Urgent.

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR requires that a) the Future Credit Exposure (FCE) component of the collateral calculation and b) the CRR Auction credit limit be collateralized with cash, letter of credit or a surety bond.  Unsecured credit and unsecured credit through guarantees will no longer be available for this.  This NPRR also eliminates netting of FCE with Current Credit Exposure (CCE) for all Counter-Parties.

Procedural History:  NPRR400 was posted on 8/3/11.  On 8/18/11, PRS unanimously voted to grant NPRR400 Urgent status and to table NPRR400 for one month.  Credit review is pending.

  - NPRR401, Clarification of Timing for a Generation Resource to be Considered Self-Committed [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:   No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; minor impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR removes language that broadly allows QSEs to self-commit between the time RUC executes and the time that the QSE receives the RUC instruction, but does not speak to the Settlement treatment and can result in conflicting commitment information.  This NPRR clarifies the timing by which a QSE may self-commit a Generation Resource, specifically the timing of the self-commitment required in order for the Generation Resource to be considered self-committed by a RUC process and in Settlement of that same RUC process.

Procedural History:  NPRR401 was posted on 8/3/11.  On 8/18/11, PRS unanimously voted to table NPRR401 for one month.  Credit review is pending.

Revision Requests Pending Input from Another Subcommittee/Task Force

None.

New Revision Requests Scheduled for Consideration at the September 22, 2011 PRS Meeting

  - NPRR402, Clarification of Pre-DAM RUC Instruction Sequence [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies the treatment of RUC instructions for instances in which ERCOT issues instructions prior to the closing of the Day-Ahead Market (DAM) submission window and to clarify how a QSE may self-commit in such a scenario.

Procedural History:  NPRR402 was posted on 8/8/11.  Credit review is pending.

  - NPRR403, Revised FASD Calculation for TX SET Version 4.0 Release [Market Coordination Team (MCT)].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR revises the First Available Switch Date (FASD) calculation to include the availability of same day switches on Saturday.

Procedural History:  NPRR403 was posted on 8/15/11.  Credit review is pending.

  - NPRR404, Clarification of Form of Notification of Suspension of Operations [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR removes an obsolete reference to excess energy payment options from the form of Notification of Suspension of Operations in Section 22, Attachment E, Notification of Suspension of Operations.

Procedural History:  NPRR404 was posted on 8/25/11.  Credit review is pending.