## Reatil Load
Instructions for use: Update the yellow highlighted cells with your specific information. Copy specific load information and market clearing prices into rows 5 and 6 starting with column F. Enter the desired delay and % of IDR load in row 12 columns B&C. The rest of the spreadsheet cells and graphs will automatically populate.
Date | Date |  |  |  | INTV1 | INTV2 | INTV3 | INTV4 | INTV5 | INTV6 | INTV7 | INTV8 | INTV9 | INTV10 | INTV11 | INTV12 | INTV13 | INTV14 | INTV15 | INTV16 | INTV17 | INTV18 | INTV19 | INTV20 | INTV21 | INTV22 | INTV23 | INTV24 | INTV25 | INTV26 | INTV27 | INTV28 | INTV29 | INTV30 | INTV31 | INTV32 | INTV33 | INTV34 | INTV35 | INTV36 | INTV37 | INTV38 | INTV39 | INTV40 | INTV41 | INTV42 | INTV43 | INTV44 | INTV45 | INTV46 | INTV47 | INTV48 | INTV49 | INTV50 | INTV51 | INTV52 | INTV53 | INTV54 | INTV55 | INTV56 | INTV57 | INTV58 | INTV59 | INTV60 | INTV61 | INTV62 | INTV63 | INTV64 | INTV65 | INTV66 | INTV67 | INTV68 | INTV69 | INTV70 | INTV71 | INTV72 | INTV73 | INTV74 | INTV75 | INTV76 | INTV77 | INTV78 | INTV79 | INTV80 | INTV81 | INTV82 | INTV83 | INTV84 | INTV85 | INTV86 | INTV87 | INTV88 | INTV89 | INTV90 | INTV91 | INTV92 | INTV93 | INTV94 | INTV95 | INTV96
Load (MWH) | 2011-07-08 |  | 1199384.0237 | 12493.5836 | 11003.8132 | 10777.8986 | 10602.974 | 10450.9338 | 10254.3255 | 10104.348 | 9977.0237 | 9846.6414 | 9720.3346 | 9608.9493 | 9491.256 | 9409.85 | 9332.8325 | 9271.7506 | 9201.2203 | 9157.1859 | 9151.1302 | 9129.5074 | 9084.625 | 9117.1352 | 9189.2796 | 9245.6485 | 9255.3264 | 9354.8098 | 9505.0558 | 9557.4144 | 9519.5979 | 9516.4393 | 9572.7382 | 9698.5767 | 9815.6406 | 9921.8682 | 10144.2397 | 10326.56 | 10517.3286 | 10671.7307 | 10933.9677 | 11191.9667 | 11454.41 | 11688.3221 | 11963.753 | 12208.4869 | 12448.1321 | 12709.2743 | 12943.4273 | 13197.5501 | 13417.4397 | 13622.1438 | 13811.8837 | 14028.4465 | 14257.3305 | 14472.8541 | 14692.1537 | 14866.5698 | 15025.7359 | 15183.0604 | 15325.602 | 15431.1318 | 15591.043 | 15671.9878 | 15755.5676 | 15814.7473 | 15869.3064 | 15921.6249 | 15945.8644 | 15985.6567 | 15977.5762 | 15995.0968 | 15912.9236 | 15891.2598 | 15836.1258 | 15805.2687 | 15636.6748 | 15518.4672 | 15405.5149 | 15291.2722 | 15080.7753 | 14919.0821 | 14735.9187 | 14552.3413 | 14359.7159 | 14220.5974 | 14166.7077 | 14108.5945 | 14041.1954 | 13884.4564 | 13682.6481 | 13463.4399 | 13172.4304 | 12973.5672 | 12721.7788 | 12502.3344 | 12246.5232 | 12010.2351 | 11780.3993 | 11555.6731
Market Clearing Price ($/MWH) |  |  |  |  | 30.32 | 31.51 | 28.95 | 28.18 | 27.88 | 28.34 | 27.11 | 26.48 | 26.28 | 26.35 | 25.88 | 25.97 | 25.67 | 25.39 | 25.25 | 25.06 | 25.1 | 24.87 | 24.58 | 24.57 | 25.2 | 25.53 | 25.94 | 26.29 | 26.55 | 26.71 | 26.74 | 27.1 | 27.32 | 27.37 | 27.92 | 28.23 | 30.62 | 35.4 | 39.22 | 38.85 | 30.04 | 32.1 | 36.59 | 38.82 | 38.61 | 39.38 | 39.89 | 54.28 | 41.16 | 41.58 | 43.05 | 44.33 | 43.88 | 44.78 | 46.02 | 48.07 | 64.86 | 180.96 | 58.71 | 59.18 | 69.09 | 67.76 | 84.02 | 94.15 | 106.16 | 108.9 | 195.5 | 212.08 | 292.51 | 114.25 | 81.97 | 90.07 | 91.42 | 119.99 | 76.45 | 66.93 | 52.78 | 55.5 | 55.67 | 54.95 | 64.62 | 53.88 | 49.66 | 47.19 | 45.97 | 55.33 | 46.84 | 45.35 | 46.23 | 43.57 | 40.56 | 38.95 | 42.97 | 41.83 | 38.35 | 35.72 | 41.14 | 38.72 | 34.73 | 32.79
Total Price |  |  | 68838604.2726 | 717068.7945 | 333635.6177 | 339611.5845 | 306956.0966 | 294507.3152 | 285890.5946 | 286357.2233 | 270477.1126 | 260739.063 | 255450.3945 | 253195.8135 | 245633.7045 | 244373.8036 | 239573.8093 | 235409.7487 | 232330.8128 | 229479.0794 | 229693.3676 | 227050.8489 | 223300.0823 | 224008.0121 | 231569.8452 | 236041.4051 | 240083.1673 | 245937.9509 | 252359.2317 | 255278.5382 | 254554.0471 | 257895.5058 | 261527.2078 | 265450.0435 | 274052.6848 | 280094.34 | 310616.6203 | 365560.223 | 412489.6295 | 414596.7364 | 328456.3904 | 359262.131 | 419116.8605 | 453740.6633 | 461920.5019 | 480770.2142 | 496555.99 | 689859.4089 | 532751.4696 | 548754.1318 | 577620.7782 | 603869.6364 | 606065.4579 | 628193.8327 | 656122.3494 | 695710.095 | 952933.0905 | 2690254.4668 | 882160.9552 | 898533.5125 | 1058845.8421 | 1045613.4925 | 1309959.4307 | 1475517.6494 | 1672611.052 | 1722225.9802 | 3102449.4045 | 3376658.2115 | 4664324.7872 | 1826361.28 | 1309681.9224 | 1440678.3652 | 1454759.4739 | 1906792.259 | 1210671.8211 | 1057846.637 | 825303.6963 | 861274.9317 | 857625.0157 | 840255.4048 | 974519.7021 | 803840.1445 | 731785.7242 | 686724.9838 | 660116.139 | 786825.655 | 663568.5885 | 639824.7592 | 649124.4647 | 604945.7633 | 554968.2056 | 524400.9856 | 566019.3331 | 542684.3156 | 487880.2172 | 446583.3841 | 503821.9628 | 465036.3017 | 409133.2672 | 378910.5199
| Enter IDR Delay in Sec | % IDR Load | Cumulative Values | Average Values
Shift due to Time Error of IDR | 45 | 70
IDR clock slower than NIST |  |  | 11.4497 | 0.11927 | -7.907 | -6.1224 | -5.3214 | -6.8813 | -5.2492 | -4.4564 | -4.5634 | -4.4207 | -3.8985 | -4.1193 | -2.8492 | -2.6956 | -2.1379 | -2.4686 | -1.5412 | -0.21195 | -0.7568 | -1.5709 | 1.1379 | 2.5251 | 1.9729 | 0.33873 | 3.4819 | 5.2586 | 1.8326 | -1.3236 | -0.11055 | 1.9705 | 4.4043 | 4.0972 | 3.718 | 7.783 | 6.3812 | 6.6769 | 5.4041 | 9.1783 | 9.03 | 9.1855 | 8.1869 | 9.6401 | 8.5657 | 8.3876 | 9.14 | 8.1954 | 8.8943 | 7.6961 | 7.1646 | 6.6409 | 7.5797 | 8.0109 | 7.5433 | 7.6755 | 6.1046 | 5.5708 | 5.5064 | 4.989 | 3.6935 | 5.5969 | 2.8331 | 2.9253 | 2.0713 | 1.9096 | 1.8311 | 0.84838 | 1.3927 | -0.28282 | 0.61322 | -2.8761 | -0.75823 | -1.9297 | -1.08 | -5.9008 | -4.1373 | -3.9533 | -3.9985 | -7.3674 | -5.6593 | -6.4107 | -6.4252 | -6.7419 | -4.8691 | -1.8861 | -2.034 | -2.359 | -5.4859 | -7.0633 | -7.6723 | -10.1853 | -6.9602 | -8.8126 | -7.6806 | -8.9534 | -8.2701 | -8.0443 | -7.8654 | -7.8654
IDR clock faster than NIST |  |  | -11.4081 | -0.11883 | 7.907 | 7.907 | 6.1224 | 5.3214 | 6.8813 | 5.2492 | 4.4564 | 4.5634 | 4.4207 | 3.8985 | 4.1193 | 2.8492 | 2.6956 | 2.1379 | 2.4686 | 1.5412 | 0.21195 | 0.7568 | 1.5709 | -1.1379 | -2.5251 | -1.9729 | -0.33873 | -3.4819 | -5.2586 | -1.8326 | 1.3236 | 0.11055 | -1.9705 | -4.4043 | -4.0972 | -3.718 | -7.783 | -6.3812 | -6.6769 | -5.4041 | -9.1783 | -9.03 | -9.1855 | -8.1869 | -9.6401 | -8.5657 | -8.3876 | -9.14 | -8.1954 | -8.8943 | -7.6961 | -7.1646 | -6.6409 | -7.5797 | -8.0109 | -7.5433 | -7.6755 | -6.1046 | -5.5708 | -5.5064 | -4.989 | -3.6935 | -5.5969 | -2.8331 | -2.9253 | -2.0713 | -1.9096 | -1.8311 | -0.84838 | -1.3927 | 0.28282 | -0.61322 | 2.8761 | 0.75823 | 1.9297 | 1.08 | 5.9008 | 4.1373 | 3.9533 | 3.9985 | 7.3674 | 5.6593 | 6.4107 | 6.4252 | 6.7419 | 4.8691 | 1.8861 | 2.034 | 2.359 | 5.4859 | 7.0633 | 7.6723 | 10.1853 | 6.9602 | 8.8126 | 7.6806 | 8.9534 | 8.2701 | 8.0443 | 7.8654
MWH Load (with error) measured by IDR
IDR clock slower than NIST |  |  | 1199395.4734 | 12493.7028 | 10995.9062 | 10771.7762 | 10597.6526 | 10444.0525 | 10249.0763 | 10099.8917 | 9972.4603 | 9842.2206 | 9716.4362 | 9604.83 | 9488.4068 | 9407.1544 | 9330.6946 | 9269.2821 | 9199.6791 | 9156.974 | 9150.3734 | 9127.9365 | 9085.7628 | 9119.6603 | 9191.2525 | 9245.9872 | 9258.8083 | 9360.0685 | 9506.8884 | 9556.0908 | 9519.4873 | 9518.4098 | 9577.1426 | 9702.6739 | 9819.3585 | 9929.6512 | 10150.6209 | 10333.2369 | 10522.7327 | 10680.909 | 10942.9977 | 11201.1522 | 11462.5969 | 11697.9622 | 11972.3187 | 12216.8745 | 12457.2721 | 12717.4697 | 12952.3216 | 13205.2462 | 13424.6043 | 13628.7847 | 13819.4634 | 14036.4574 | 14264.8738 | 14480.5296 | 14698.2583 | 14872.1406 | 15031.2423 | 15188.0493 | 15329.2955 | 15436.7287 | 15593.876 | 15674.9131 | 15757.6388 | 15816.6569 | 15871.1376 | 15922.4733 | 15947.2571 | 15985.3739 | 15978.1894 | 15992.2207 | 15912.1653 | 15889.3301 | 15835.0458 | 15799.368 | 15632.5375 | 15514.5139 | 15401.5164 | 15283.9048 | 15075.1161 | 14912.6714 | 14729.4935 | 14545.5994 | 14354.8467 | 14218.7113 | 14164.6737 | 14106.2355 | 14035.7096 | 13877.3931 | 13674.9758 | 13453.2546 | 13165.4702 | 12964.7546 | 12714.0983 | 12493.381 | 12238.2531 | 12002.1908 | 11772.5339 | 11547.8077
IDR clock faster than NIST |  |  | 1199372.6156 | 12493.4647 | 11011.7203 | 10785.8056 | 10609.0963 | 10456.2552 | 10261.2068 | 10109.5972 | 9981.4801 | 9851.2047 | 9724.7554 | 9612.8478 | 9495.3752 | 9412.6992 | 9335.5281 | 9273.8885 | 9203.6889 | 9158.7271 | 9151.3421 | 9130.2642 | 9086.1959 | 9115.9974 | 9186.7545 | 9243.6755 | 9254.9877 | 9351.3279 | 9499.7972 | 9555.5818 | 9520.9214 | 9516.5499 | 9570.7677 | 9694.1723 | 9811.5433 | 9918.1503 | 10136.4567 | 10320.1788 | 10510.6517 | 10666.3266 | 10924.7894 | 11182.9367 | 11445.2244 | 11680.1352 | 11954.1129 | 12199.9212 | 12439.7445 | 12700.1343 | 12935.232 | 13188.6558 | 13409.7435 | 13614.9792 | 13805.2428 | 14020.8668 | 14249.3196 | 14465.3107 | 14684.4782 | 14860.4652 | 15020.1651 | 15177.554 | 15320.613 | 15427.4383 | 15585.4461 | 15669.1547 | 15752.6423 | 15812.676 | 15867.3968 | 15919.7938 | 15945.016 | 15984.264 | 15977.859 | 15994.4835 | 15915.7996 | 15892.018 | 15838.0555 | 15806.3487 | 15642.5756 | 15522.6045 | 15409.4683 | 15295.2706 | 15088.1427 | 14924.7414 | 14742.3294 | 14558.7665 | 14366.4578 | 14225.4666 | 14168.5938 | 14110.6284 | 14043.5544 | 13889.9422 | 13689.7114 | 13471.1122 | 13182.6157 | 12980.5274 | 12730.5914 | 12510.0149 | 12255.4766 | 12018.5051 | 11788.4435 | 11563.5385
Price Difference
IDR clock slower than NIST |  |  | 2381.068 | 24.8028 | -239.7406 | -192.9156 | -154.0547 | -193.9148 | -146.348 | -126.293 | -123.7133 | -117.0611 | -102.4523 | -108.5427 | -73.7376 | -70.0051 | -54.879 | -62.6768 | -38.9154 | -5.3115 | -18.9956 | -39.0679 | 27.9685 | 62.0405 | 49.7174 | 8.6477 | 90.321 | 138.2488 | 48.6542 | -35.3528 | -2.9561 | 53.3995 | 120.3267 | 112.1414 | 103.8057 | 219.7142 | 195.3926 | 236.3624 | 211.9477 | 356.5768 | 271.2601 | 294.855 | 299.5596 | 374.2279 | 330.7212 | 330.303 | 364.5937 | 444.844 | 366.0892 | 320.0054 | 308.438 | 294.3909 | 332.5971 | 358.7299 | 347.1438 | 368.9607 | 395.9419 | 1008.0946 | 323.2782 | 295.2465 | 255.187 | 379.2453 | 238.0344 | 275.4163 | 219.8882 | 207.9521 | 357.9893 | 179.9246 | 407.3881 | -32.3119 | 50.2656 | -259.0468 | -69.3177 | -231.5431 | -82.5659 | -394.9397 | -218.3648 | -219.4099 | -222.5963 | -404.838 | -365.7016 | -345.4095 | -319.076 | -318.1497 | -223.8347 | -104.3601 | -95.2708 | -106.9791 | -253.6117 | -307.7475 | -311.1879 | -396.7188 | -299.0803 | -368.6308 | -294.5493 | -319.8152 | -340.2312 | -311.4734 | -273.166 | -257.907
IDR clock faster than NIST |  |  | -3222.1272 | -33.5638 | 239.7406 | 249.15 | 177.2424 | 149.9572 | 191.8504 | 148.7626 | 120.8117 | 120.8384 | 116.1769 | 102.7252 | 106.6066 | 73.994 | 69.1964 | 54.2804 | 62.3312 | 38.6226 | 5.32 | 18.8216 | 38.6123 | -27.9572 | -63.6313 | -50.3684 | -8.7866 | -91.5397 | -139.6161 | -48.9474 | 35.3925 | 2.9959 | -53.833 | -120.547 | -114.3948 | -104.9582 | -238.3155 | -225.8948 | -261.8682 | -209.9481 | -275.716 | -289.8618 | -336.098 | -317.8164 | -372.2035 | -337.3168 | -334.5807 | -496.1179 | -337.3209 | -369.8248 | -331.3187 | -317.6087 | -291.4025 | -339.4188 | -368.6635 | -362.6076 | -497.8321 | -1104.6815 | -327.0625 | -325.8661 | -344.687 | -250.2745 | -470.2507 | -266.7334 | -310.549 | -225.5636 | -373.3208 | -388.3497 | -248.1599 | -159.1196 | 23.1826 | -55.2326 | 262.9295 | 90.9805 | 147.5246 | 72.2843 | 311.4436 | 229.6182 | 220.0819 | 219.7174 | 476.0807 | 304.9211 | 318.3563 | 303.2057 | 309.9246 | 269.4099 | 88.3468 | 92.2402 | 109.055 | 239.0193 | 286.487 | 298.8355 | 437.6638 | 291.1456 | 337.963 | 274.3494 | 368.3426 | 320.2176 | 279.3769 | 257.907
% Shift due to Time Error of IDR
IDR clock slower than NIST |  |  |  | 0.001379% | -0.07186% | -0.0568% | -0.05019% | -0.06584% | -0.05119% | -0.0441% | -0.04574% | -0.0449% | -0.04011% | -0.04287% | -0.03002% | -0.02865% | -0.02291% | -0.02662% | -0.01675% | -0.002315% | -0.00827% | -0.01721% | 0.01253% | 0.0277% | 0.02147% | 0.003664% | 0.03762% | 0.05621% | 0.01928% | -0.01385% | -0.001161% | 0.02071% | 0.04601% | 0.04225% | 0.03788% | 0.07844% | 0.0629% | 0.06466% | 0.05138% | 0.08601% | 0.08259% | 0.08207% | 0.07147% | 0.08248% | 0.0716% | 0.0687% | 0.07342% | 0.06448% | 0.06872% | 0.05831% | 0.0534% | 0.04875% | 0.05488% | 0.0571% | 0.05291% | 0.05303% | 0.04155% | 0.03747% | 0.03665% | 0.03286% | 0.0241% | 0.03627% | 0.01817% | 0.01867% | 0.01315% | 0.01207% | 0.01154% | 0.005328% | 0.008734% | -0.001769% | 0.003838% | -0.01798% | -0.004765% | -0.01214% | -0.00682% | -0.03733% | -0.02646% | -0.02548% | -0.02595% | -0.04818% | -0.03753% | -0.04297% | -0.0436% | -0.04633% | -0.03391% | -0.01326% | -0.01436% | -0.01672% | -0.03907% | -0.05087% | -0.05607% | -0.07565% | -0.05284% | -0.06793% | -0.06037% | -0.07161% | -0.06753% | -0.06698% | -0.06677% | -0.06807%
IDR clock faster than NIST |  |  |  | -0.0007326% | 0.07186% | 0.07336% | 0.05774% | 0.05092% | 0.06711% | 0.05195% | 0.04467% | 0.04634% | 0.04548% | 0.04057% | 0.0434% | 0.03028% | 0.02888% | 0.02306% | 0.02683% | 0.01683% | 0.002316% | 0.00829% | 0.01729% | -0.01248% | -0.02748% | -0.02134% | -0.00366% | -0.03722% | -0.05532% | -0.01917% | 0.0139% | 0.001162% | -0.02058% | -0.04541% | -0.04174% | -0.03747% | -0.07672% | -0.06179% | -0.06348% | -0.05064% | -0.08394% | -0.08068% | -0.08019% | -0.07004% | -0.08058% | -0.07016% | -0.06738% | -0.07192% | -0.06332% | -0.06739% | -0.05736% | -0.0526% | -0.04808% | -0.05403% | -0.05619% | -0.05212% | -0.05224% | -0.04106% | -0.03708% | -0.03627% | -0.03255% | -0.02394% | -0.0359% | -0.01808% | -0.01857% | -0.0131% | -0.01203% | -0.0115% | -0.00532% | -0.008712% | 0.00177% | -0.003834% | 0.01807% | 0.004771% | 0.01219% | 0.006833% | 0.03774% | 0.02666% | 0.02566% | 0.02615% | 0.04885% | 0.03793% | 0.0435% | 0.04415% | 0.04695% | 0.03424% | 0.01331% | 0.01442% | 0.0168% | 0.03951% | 0.05162% | 0.05699% | 0.07732% | 0.05365% | 0.06927% | 0.06143% | 0.07311% | 0.06886% | 0.06829% | 0.06807%

## Sheet1
INTV1 | INTV2 | INTV3 | INTV4 | INTV5 | INTV6 | INTV7 | INTV8 | INTV9 | INTV10 | INTV11 | INTV12 | INTV13 | INTV14 | INTV15 | INTV16 | INTV17 | INTV18 | INTV19 | INTV20 | INTV21 | INTV22 | INTV23 | INTV24 | INTV25 | INTV26 | INTV27 | INTV28 | INTV29 | INTV30 | INTV31 | INTV32 | INTV33 | INTV34 | INTV35 | INTV36 | INTV37 | INTV38 | INTV39 | INTV40 | INTV41 | INTV42 | INTV43 | INTV44 | INTV45 | INTV46 | INTV47 | INTV48 | INTV49 | INTV50 | INTV51 | INTV52 | INTV53 | INTV54 | INTV55 | INTV56 | INTV57 | INTV58 | INTV59 | INTV60 | INTV61 | INTV62 | INTV63 | INTV64 | INTV65 | INTV66 | INTV67 | INTV68 | INTV69 | INTV70 | INTV71 | INTV72 | INTV73 | INTV74 | INTV75 | INTV76 | INTV77 | INTV78 | INTV79 | INTV80 | INTV81 | INTV82 | INTV83 | INTV84 | INTV85 | INTV86 | INTV87 | INTV88 | INTV89 | INTV90 | INTV91 | INTV92 | INTV93 | INTV94 | INTV95 | INTV96
110.0381 | 107.779 | 106.0297 | 104.5093 | 102.5433 | 101.0435 | 99.7702 | 98.4664 | 97.2033 | 96.0895 | 94.9126 | 94.0985 | 93.3283 | 92.7175 | 92.0122 | 91.5719 | 91.5113 | 91.2951 | 90.8462 | 91.1714 | 91.8928 | 92.4565 | 92.5533 | 93.5481 | 95.0506 | 95.5741 | 95.196 | 95.1644 | 95.7274 | 96.9858 | 98.1564 | 99.2187 | 101.4424 | 103.2656 | 105.1733 | 106.7173 | 109.3397 | 111.9197 | 114.5441 | 116.8832 | 119.6375 | 122.0849 | 124.4813 | 127.0927 | 129.4343 | 131.9755 | 134.1744 | 136.2214 | 138.1188 | 140.2845 | 142.5733 | 144.7285 | 146.9215 | 148.6657 | 150.2574 | 151.8306 | 153.256 | 154.3113 | 155.9104 | 156.7199 | 157.5557 | 158.1475 | 158.6931 | 159.2162 | 159.4586 | 159.8566 | 159.7758 | 159.951 | 159.1292 | 158.9126 | 158.3613 | 158.0527 | 156.3667 | 155.1847 | 154.0551 | 152.9127 | 150.8078 | 149.1908 | 147.3592 | 145.5234 | 143.5972 | 142.206 | 141.6671 | 141.0859 | 140.412 | 138.8446 | 136.8265 | 134.6344 | 131.7243 | 129.7357 | 127.2178 | 125.0233 | 122.4652 | 120.1024 | 117.804 | 115.5567
550.1907 | 538.8949 | 530.1487 | 522.5467 | 512.7163 | 505.2174 | 498.8512 | 492.3321 | 486.0167 | 480.4475 | 474.5628 | 470.4925 | 466.6416 | 463.5875 | 460.061 | 457.8593 | 457.5565 | 456.4754 | 454.2312 | 455.8568 | 459.464 | 462.2824 | 462.7663 | 467.7405 | 475.2528 | 477.8707 | 475.9799 | 475.822 | 478.6369 | 484.9288 | 490.782 | 496.0934 | 507.212 | 516.328 | 525.8664 | 533.5865 | 546.6984 | 559.5983 | 572.7205 | 584.4161 | 598.1876 | 610.4243 | 622.4066 | 635.4637 | 647.1714 | 659.8775 | 670.872 | 681.1072 | 690.5942 | 701.4223 | 712.8665 | 723.6427 | 734.6077 | 743.3285 | 751.2868 | 759.153 | 766.2801 | 771.5566 | 779.5521 | 783.5994 | 787.7784 | 790.7374 | 793.4653 | 796.0812 | 797.2932 | 799.2828 | 798.8788 | 799.7548 | 795.6462 | 794.563 | 791.8063 | 790.2634 | 781.8337 | 775.9234 | 770.2757 | 764.5636 | 754.0388 | 745.9541 | 736.7959 | 727.6171 | 717.9858 | 711.0299 | 708.3354 | 705.4297 | 702.0598 | 694.2228 | 684.1324 | 673.172 | 658.6215 | 648.6784 | 636.0889 | 625.1167 | 612.3262 | 600.5118 | 589.02 | 577.7837
1100.3813 | 1077.7899 | 1060.2974 | 1045.0934 | 1025.4325 | 1010.4348 | 997.7024 | 984.6641 | 972.0335 | 960.8949 | 949.1256 | 940.985 | 933.2832 | 927.1751 | 920.122 | 915.7186 | 915.113 | 912.9507 | 908.4625 | 911.7135 | 918.928 | 924.5648 | 925.5326 | 935.481 | 950.5056 | 955.7414 | 951.9598 | 951.6439 | 957.2738 | 969.8577 | 981.5641 | 992.1868 | 1014.424 | 1032.656 | 1051.7329 | 1067.1731 | 1093.3968 | 1119.1967 | 1145.441 | 1168.8322 | 1196.3753 | 1220.8487 | 1244.8132 | 1270.9274 | 1294.3427 | 1319.755 | 1341.744 | 1362.2144 | 1381.1884 | 1402.8446 | 1425.733 | 1447.2854 | 1469.2154 | 1486.657 | 1502.5736 | 1518.306 | 1532.5602 | 1543.1132 | 1559.1043 | 1567.1988 | 1575.5568 | 1581.4747 | 1586.9306 | 1592.1625 | 1594.5864 | 1598.5657 | 1597.7576 | 1599.5097 | 1591.2924 | 1589.126 | 1583.6126 | 1580.5269 | 1563.6675 | 1551.8467 | 1540.5515 | 1529.1272 | 1508.0775 | 1491.9082 | 1473.5919 | 1455.2341 | 1435.9716 | 1422.0597 | 1416.6708 | 1410.8594 | 1404.1195 | 1388.4456 | 1368.2648 | 1346.344 | 1317.243 | 1297.3567 | 1272.1779 | 1250.2334 | 1224.6523 | 1201.0235 | 1178.0399 | 1155.5673
1650.572 | 1616.6848 | 1590.4461 | 1567.6401 | 1538.1488 | 1515.6522 | 1496.5536 | 1476.9962 | 1458.0502 | 1441.3424 | 1423.6884 | 1411.4775 | 1399.9249 | 1390.7626 | 1380.183 | 1373.5779 | 1372.6695 | 1369.4261 | 1362.6937 | 1367.5703 | 1378.3919 | 1386.8473 | 1388.299 | 1403.2215 | 1425.7584 | 1433.6122 | 1427.9397 | 1427.4659 | 1435.9107 | 1454.7865 | 1472.3461 | 1488.2802 | 1521.636 | 1548.984 | 1577.5993 | 1600.7596 | 1640.0952 | 1678.795 | 1718.1615 | 1753.2483 | 1794.5629 | 1831.273 | 1867.2198 | 1906.3911 | 1941.5141 | 1979.6325 | 2012.616 | 2043.3216 | 2071.7826 | 2104.267 | 2138.5996 | 2170.9281 | 2203.8231 | 2229.9855 | 2253.8604 | 2277.4591 | 2298.8403 | 2314.6698 | 2338.6564 | 2350.7982 | 2363.3351 | 2372.2121 | 2380.396 | 2388.2437 | 2391.8797 | 2397.8485 | 2396.6364 | 2399.2645 | 2386.9385 | 2383.689 | 2375.4189 | 2370.7903 | 2345.5012 | 2327.7701 | 2310.8272 | 2293.6908 | 2262.1163 | 2237.8623 | 2210.3878 | 2182.8512 | 2153.9574 | 2133.0896 | 2125.0062 | 2116.2892 | 2106.1793 | 2082.6685 | 2052.3972 | 2019.516 | 1975.8646 | 1946.0351 | 1908.2668 | 1875.3502 | 1836.9785 | 1801.5353 | 1767.0599 | 1733.351
11003.8132 | 10777.8986 | 10602.974 | 10450.9338 | 10254.3255 | 10104.348 | 9977.0237 | 9846.6414 | 9720.3346 | 9608.9493 | 9491.256 | 9409.85 | 9332.8325 | 9271.7506 | 9201.2203 | 9157.1859 | 9151.1302 | 9129.5074 | 9084.625 | 9117.1352 | 9189.2796 | 9245.6485 | 9255.3264 | 9354.8098 | 9505.0558 | 9557.4144 | 9519.5979 | 9516.4393 | 9572.7382 | 9698.5767 | 9815.6406 | 9921.8682 | 10144.2397 | 10326.56 | 10517.3286 | 10671.7307 | 10933.9677 | 11191.9667 | 11454.41 | 11688.3221 | 11963.753 | 12208.4869 | 12448.1321 | 12709.2743 | 12943.4273 | 13197.5501 | 13417.4397 | 13622.1438 | 13811.8837 | 14028.4465 | 14257.3305 | 14472.8541 | 14692.1537 | 14866.5698 | 15025.7359 | 15183.0604 | 15325.602 | 15431.1318 | 15591.043 | 15671.9878 | 15755.5676 | 15814.7473 | 15869.3064 | 15921.6249 | 15945.8644 | 15985.6567 | 15977.5762 | 15995.0968 | 15912.9236 | 15891.2598 | 15836.1258 | 15805.2687 | 15636.6748 | 15518.4672 | 15405.5149 | 15291.2722 | 15080.7753 | 14919.0821 | 14735.9187 | 14552.3413 | 14359.7159 | 14220.5974 | 14166.7077 | 14108.5945 | 14041.1954 | 13884.4564 | 13682.6481 | 13463.4399 | 13172.4304 | 12973.5672 | 12721.7788 | 12502.3344 | 12246.5232 | 12010.2351 | 11780.3993 | 11555.6731