| NOGRR Number | 073 | NOGRR Title | Entity Responsible for Load Shed During EEA Level 3 |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Approved Request for Withdrawal |
| Date of Decision |  | September 1, 2011 |  |  |
| Proposed Effective Date |  | Not applicable. |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Guide Section Requiring Revision |  | 4.5.3.4, Load Shed Obligation |  |  |
| Revision Description |  | This Nodal Operating Guide Revision Request (NOGRR) clarifies which Entity is responsible to shed Load during an Energy Emergency Alert (EEA) Level 3 event. This NOGRR also clarifies that ERCOT is responsible for directing Load shedding. |  |  |
| Reason for Revision |  | This NOGRR identifies the Entity responsible for Load shed during an EEA Level 3 event within the Operating Guides and aligns the relevant Operating Guide language with North American Electric Reliability Corporation (NERC) Reliability Standard EOP-003, Load Shedding Plans, and paragraph (4)(a) of Protocol Section 6.5.9.4.2, EEA Levels. |  |  |
| Overall Market Benefit |  | Clarifies Entity responsibilities during an EEA Level 3 event. |  |  |
| Overall Market Impact |  | Unknown. |  |  |
| Consumer Impact |  | None. |  |  |
| Procedural History |  | - On 5/17/11, NOGRR073 was posted. - On 6/15/11, the Operations Working Group (OWG) considered NOGRR073. - On 7/11/11, an Impact Analysis was posted. - On 7/20/11, the OWG considered the 6/15/11 OWG Report and Impact Analysis for NOGRR073. - On 8/11/11, ROS considered NOGRR073. - On 8/22/11, a Request for Withdrawal was posted. - On 9/1/11, TAC considered NOGRR073. |  |  |
| OWG Decision |  | On 6/15/11, OWG was in consensus to recommend approval of NOGRR073 as revised by OWG. On 7/20/11, OWG was in consensus to endorse and forward the 6/15/11 OWG Report and Impact Analysis for NOGRR073 to ROS. |  |  |
| Summary of OWG Discussion |  | On 6/15/11, OWG revised the category title in the ERCOT Load Shed Table to eliminate redundancy with paragraph (3) of Section 4.5.3.4, which specifies the methodology for determining Load shed obligations. On 7/20/11, there was no discussion. |  |  |
| ROS Decision |  | On 8/11/11, ROS unanimously voted to recommend approval of NOGRR073 as recommended by OWG in the 7/20/11 OWG Report. All Market Segments were present for the vote. |  |  |
| Summary of ROS Discussion |  | On 8/11/11, there was discussion regarding contradiction in the proposed language and Section 4.5.3.3, EEA Levels, of the Operating Guides. It was stated that while NOGRR073 uses Transmission Operator (TO), the language also references paragraph (4)(a) of Section 4.5.3.3 and paragraph (4)(a) of Protocol Section 6.5.9.4.2, EEA Levels, that use Transmission Service Provider (TSP), Distribution Service Provider (DSP) or their agents. The ROS directed the Nodal Protocol and Guides Resolution Task Force (NPGRTF) to review the language and determine if a new NOGRR should be submitted to correct any contradictions. |  |  |
| TAC Decision |  | On 9/1/11, TAC unanimously voted to approve the Request for Withdrawal for NOGRR073. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 9/1/11, there was no discussion. |  |  |

Quantitative Impacts and Benefits

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | Unknown. | Unknown. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Clarifies Entity responsibilities during an EEA Level 3 event. | Unknown. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Frank Owens on behalf of the NPGRTF |
| E-mail Address | fowens@texasmpa.org |
| Company | Texas Municipal Power Agency |
| Phone Number | 936-873-1120 |
| Cell Number | 979-204-7725 |
| Market Segment | Municipal |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | 512-248-3867 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

Comments

Please note that the baseline Operating Guide language has been updated in Section 4.5.3.4 to reflect the June 1, 2011 incorporation of NOGRR072, Administrative Changes for June 1, 2011 Nodal Operating Guides, into the Operating Guides.

Proposed Guide Language Revision

- 4.5.3.4	Load Shed Obligation

(1)	Pursuant to paragraph (4)(a) of Protocol Section 6.5.9.4.2, EEA Levels, and paragraph (4)(a) of Section 4.5.3.3, EEA Levels, of these Operating Guides, ERCOT shall direct TOs to shed firm Load in accordance with the ERCOT Load Shed Table below.

(2)	Entities with Load shedding obligations shall be represented by a TO with 24x7 operations, Hotline communications with ERCOT, and operational authority over breakers.

(3)	Percentages for EEA Level 3 Load shedding obligations, as listed in the table below, are based on the previous year’s TSP peak Loads, as reported to ERCOT, and will be reviewed by ERCOT and modified on an annual basis.

2010 ERCOT Load Shed Table

| Transmission Operator | Total Transmission Operator Load (MW) |
| --- | --- |
| American Electric Power | 9.00 |
| Austin Energy | 3.96 |
| Brazos Electric Power Cooperative | 4.67 |
| CenterPoint Energy | 24.55 |
| City of Bryan | 0.61 |
| City of College Station | 0.31 |
| City of Denton | 0.51 |
| City of Garland | 0.76 |
| CPS Energy | 7.29 |
| Greenville Electric Utility Service | 0.18 |
| Lower Colorado River Authority | 5.47 |
| Oncor | 37.55 |
| Public Utility Board of Brownsville | 0.41 |
| Rayburn Country Electric Cooperative | 1.08 |
| South Texas Electric Coop | 1.28 |
| Texas New Mexico Power | 2.37 |
| ERCOT Total | 100.00 |