| NPRR Number | 315 | NPRR Title | Revision of Responsive Reserve Measure to Net Dependable Capability |  |
| --- | --- | --- | --- | --- |
| Timeline | Urgent | Action |  | Tabled |
| Date of Decision |  | June 23, 2011 |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Nodal Protocol Section Requiring Revision |  | 3.18, Resource Limits in Providing Ancillary Service |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) changes Responsive Reserve (RRS) Service 20% limit to check against Net Dependable Capability instead of High Sustained Limit (HSL). |  |  |
| Reason for Revision |  | The reason for the revision is to change the 20% limit back to the Net Dependable Capability value used in the zonal market. The Nodal Protocols currently use the HSL, which may vary for a number of reasons, but does not impact Governor response. |  |  |
| Overall Market Benefit |  | Additional capacity available for RRS provision. |  |  |
| Overall Market Impact |  | None. |  |  |
| Consumer Impact |  | Potentially lower RRS prices. |  |  |
| Credit Impacts |  | To be determined. |  |  |
| Procedural History |  | - On 2/2/11, NPRR315 was posted. - On 2/4/11, the motion to grant NPRR315 Urgent status failed via PRS e-mail vote. - On 2/17/11, PRS considered NPRR315. - On 3/10/11, ROS comments were posted. - On 4/5/11, Performance, Disturbance, Compliance Working Group (PDCWG) comments were posted. - On 4/12/11, a second set of ROS comments were posted. - On 4/26/11, ERCOT comments were posted. - On 5/2/11, Operations Working Group (OWG) comments were posted. - On 5/17/11, a third set of ROS comments were posted. - On 6/21/11, a fourth set of ROS comments were posted. - On 6/21/11, Morgan Stanley comments were posted. - On 6/23/11, a second set of ERCOT comments were posted. - On 6/23/11, PRS again considered NPRR315. |  |  |
| PRS Decision |  | On 2/17/11, PRS unanimously voted to grant NPRR315 Urgent status. PRS then unanimously voted to table NPRR315 and request ROS to review. All Market Segments were present for both votes. On 6/23/17, PRS unanimously voted to table NPRR315 and request ROS to review. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 2/17/11, ERCOT Staff explained that RRS in the Nodal Market is tied to the telemetered HSL value and expressed concerns for introducing more reserves to the ERCOT System than can be realized. Market Participants agreed that further discussion is needed for calculating RRS and this discussion should occur at ROS. On 6/23/11, PRS agreed that ROS should review NPRR315 to determine if the High Emergency Limit (HEL) can be utilized rather than HSL in determining the amount of RRS that a Generation Resource may provide and to discuss the testing needs for the use of HEL. |  |  |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 | This reinstates the checks used in the zonal market. |  |
|  | 2 | Assume that RRSs were provided reliably in zonal. |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | None. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Potentially reduced RRS costs. | Unknown. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Clayton Greer |
| E-mail Address | Clayton.greer@morganstanley.com |
| Company | Morgan Stanley |
| Phone Number | 512-497-2986 |
| Cell Number | 512-639-3993 |
| Market Segment | Independent Power Marketer (IPM) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sonja B. Mingo |
| E-Mail Address | smingo@ercot.com |
| Phone Number | 512-248-6463 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| ROS 031011 | Recommended that PRS table NPRR315 until further review has been performed by the OWG and the PDCWG. |
| PDCWG 040511 | Provided benefits and concerns in utilizing Net Dependable Capability (NDC) to calculate available RRS capacity. |
| ROS 041211 | Recommended that PRS table NPRR315 until further review has been performed by the OWG. |
| ERCOT 042611 | Recommended rejection of NPRR315. |
| OWG 050211 | Endorsed the 4/5/11 PDCWG Comments. |
| ROS 051711 | Recommended that PRS table NPRR315 for an additional month. |
| ROS 062111 | Recommended approval of NPRR315 as recommended by OWG in the 5/2/11 OWG comments. |
| Morgan Stanley 062111 | Proposed to change the available RRS capacity measurement to the HEL of the unit. |
| ERCOT 062311 | Proposed revisions to Section 8.1.1.2, General Capacity Testing Requirements, to address the use of HEL in calculating available RRS capacity. |

Comments

Please note that the following NPRRs also propose revisions to Section 3.18:

- NPRR334, Incorporate Resource Limit for the Amount of Regulation Service that may be Provided from a Generation Resource During any Operating Hour

- NPRR387,  Hydro RRS Deployment Under Frequency Relay Set Point

Proposed Protocol Language Revision

3.18	Resource Limits in Providing Ancillary Service

(1)	For both Generation Resources and Load Resources the High Sustained Limit (HSL) must be greater than or equal to the Low Sustained Limit (LSL) and the sum of the Resource-specific designation of capacity to provide Responsive Reserve (RRS), Regulation Up (Reg-Up), Regulation Down (Reg-Down), and Non-Spinning Reserve (Non-Spin).

(2)	For Non-Spin, the amount of Non-Spin provided must be less than or equal to the HSL for Off-Line Generation Resources.

(3)	For RRS Service:

(a)	The amount of RRS provided from a Generation Resource must be less than or equal to 20% of thermal unit Net Dependable Capability for an Ancillary Service Offer and must be less than or equal to ten times the Emergency Ramp Rate;

(b)	Hydro-powered Resources operating in the synchronous condenser fast-response mode may provide RRS up to the Resource’s proved 20-second response (which may be 100% of the HSL);

(c)	For any hydro-powered Resource with a five percent droop setting operating as a generator, the amount of RRS provided may never be more than 20% of the HSL; and

(d)	The amount of RRS provided from a Load Resource must be less than or equal to the HSL minus the sum of the LSL, Reg-Up Resource Responsibility, Reg-Down Resource Responsibility, and Non-Spin Resource Responsibility.