## TLF
13.2.3 Transmission Loss Factor Calculations
The following formulas shall be used to translate the seasonal on-peak and off-peak Transmission Loss factors into Settlement Interval Transmission Loss Factors.
TLFi = (SSC * SIELi) + SIC
i = interval
TLFi = Transmission Loss factors for a settlement interval
SIELi = Settlement Interval ERCOT System Load (forecasted or actual)
SSC = Seasonal Slope Coefficient
SIC = Seasonal Intercept Coefficient
TDSP Transmission Loss Factors - Actual
RECORDER | STARTTIME | STOPTIME | 0:15 | 0:30 | 0:45 | 1:00 | 1:15 | 1:30 | 1:45 | 2:00 | 2:15 | 2:30 | 2:45 | 3:00 | 3:15 | 3:30 | 3:45 | 4:00 | 4:15 | 4:30 | 4:45 | 5:00 | 5:15 | 5:30 | 5:45 | 6:00 | 6:15 | 6:30 | 6:45 | 7:00 | 7:15 | 7:30 | 7:45 | 8:00 | 8:15 | 8:30 | 8:45 | 9:00 | 9:15 | 9:30 | 9:45 | 10:00 | 10:15 | 10:30 | 10:45 | 11:00 | 11:15 | 11:30 | 11:45 | 12:00 | 12:15 | 12:30 | 12:45 | 13:00 | 13:15 | 13:30 | 13:45 | 14:00 | 14:15 | 14:30 | 14:45 | 15:00 | 15:15 | 15:30 | 15:45 | 16:00 | 16:15 | 16:30 | 16:45 | 17:00 | 17:15 | 17:30 | 17:45 | 18:00 | 18:15 | 18:30 | 18:45 | 19:00 | 19:15 | 19:30 | 19:45 | 20:00 | 20:15 | 20:30 | 20:45 | 21:00 | 21:15 | 21:30 | 21:45 | 22:00 | 22:15 | 22:30 | 22:45 | 23:00 | 23:15 | 23:30 | 23:45 | 24:00
LACTERCOT | 2011-08-21 | 2011-08-22 | 45994.8724 | 45256.3477 | 44509.1901 | 43737.3672 | 43210.8893 | 42444.3281 | 41865.7279 | 41273.6523 | 40818.0664 | 40336.4492 | 39934.3424 | 39420.7148 | 39140.168 | 38726.5117 | 38408.2839 | 38107.3255 | 37989.2148 | 37578.2331 | 37544.7474 | 37290.8125 | 37320.7839 | 37118.5273 | 37142.0833 | 37042.7643 | 37066.2604 | 37110.1562 | 37007.1276 | 36733.1211 | 36423.3568 | 36472.3581 | 36650.6784 | 37186.4232 | 37939.5872 | 38816.0625 | 39623.6029 | 40605.7057 | 41605.0846 | 42727.5742 | 43782.7617 | 44815.6589 | 45835.5846 | 46876.151 | 47921.5286 | 49081.5299 | 50082.6589 | 51178.388 | 52037.3633 | 53136.3034 | 54050.2956 | 54945.2539 | 55670.3672 | 56533.2005 | 57334.7135 | 58172.7526 | 58727.8151 | 59273.0312 | 59890.0807 | 60437.8242 | 60817.3555 | 61208.5378 | 61571.4948 | 61900.7188 | 62115.6224 | 62222.1185 | 62241.5755 | 62454.5273 | 62508.0169 | 62533.8216 | 62500.7695 | 62528.237 | 62427.0091 | 62198.7565 | 61793.4727 | 61545.0312 | 61069.0417 | 60677.9284 | 60110.0651 | 59558.332 | 58950.9505 | 58563.4805 | 58337.5755 | 58571.0768 | 58401.3451 | 57903.4909 | 57220.4167 | 56422.849 | 55673.4922 | 54586.1068 | 53395.9323 | 52286.9701 | 51314.3841 | 50100.0365 | 48985.8216 | 47900.543 | 46945.0938 | 45950.3542
ACTLOSSFACT | 2011-08-21 | 2011-08-22 | 0.017729 | 0.017595 | 0.017459 | 0.017319 | 0.017223 | 0.017083 | 0.016978 | 0.016871 | 0.016788 | 0.0167 | 0.016627 | 0.016534 | 0.016483 | 0.016407 | 0.01635 | 0.016295 | 0.016273 | 0.016199 | 0.016192 | 0.016146 | 0.016152 | 0.016115 | 0.016119 | 0.016101 | 0.016105 | 0.016113 | 0.016095 | 0.016045 | 0.015989 | 0.015997 | 0.01603 | 0.016127 | 0.016264 | 0.016424 | 0.016571 | 0.016749 | 0.016931 | 0.017135 | 0.017327 | 0.017515 | 0.0177 | 0.017889 | 0.01808 | 0.01829 | 0.018473 | 0.018672 | 0.018828 | 0.019028 | 0.019194 | 0.019357 | 0.019489 | 0.019646 | 0.019791 | 0.019944 | 0.020045 | 0.020144 | 0.020256 | 0.020356 | 0.020425 | 0.020496 | 0.020562 | 0.020622 | 0.020661 | 0.02068 | 0.020684 | 0.020722 | 0.020732 | 0.020737 | 0.020731 | 0.020736 | 0.020717 | 0.020676 | 0.020602 | 0.020557 | 0.02047 | 0.020399 | 0.020296 | 0.020196 | 0.020085 | 0.020015 | 0.019974 | 0.020016 | 0.019985 | 0.019895 | 0.019771 | 0.019626 | 0.019489 | 0.019292 | 0.019075 | 0.018873 | 0.018697 | 0.018476 | 0.018273 | 0.018076 | 0.017902 | 0.017721
SSC & SIC from 2011 TDSP Transmission Loss Factors - Methodology
Summer SSC = | 1.8186e-05
Summer SIC = | 0.93648
|  | TLFi = | 0.017729 | 0.017595 | 0.017459 | 0.017319 | 0.017223 | 0.017083 | 0.016978 | 0.016871 | 0.016788 | 0.0167 | 0.016627 | 0.016534 | 0.016483 | 0.016407 | 0.01635 | 0.016295 | 0.016273 | 0.016199 | 0.016192 | 0.016146 | 0.016152 | 0.016115 | 0.016119 | 0.016101 | 0.016105 | 0.016113 | 0.016095 | 0.016045 | 0.015989 | 0.015997 | 0.01603 | 0.016127 | 0.016264 | 0.016424 | 0.016571 | 0.016749 | 0.016931 | 0.017135 | 0.017327 | 0.017515 | 0.0177 | 0.017889 | 0.01808 | 0.01829 | 0.018473 | 0.018672 | 0.018828 | 0.019028 | 0.019194 | 0.019357 | 0.019489 | 0.019646 | 0.019791 | 0.019944 | 0.020045 | 0.020144 | 0.020256 | 0.020356 | 0.020425 | 0.020496 | 0.020562 | 0.020622 | 0.020661 | 0.02068 | 0.020684 | 0.020722 | 0.020732 | 0.020737 | 0.020731 | 0.020736 | 0.020717 | 0.020676 | 0.020602 | 0.020557 | 0.02047 | 0.020399 | 0.020296 | 0.020196 | 0.020085 | 0.020015 | 0.019974 | 0.020016 | 0.019985 | 0.019895 | 0.019771 | 0.019626 | 0.019489 | 0.019292 | 0.019075 | 0.018873 | 0.018697 | 0.018476 | 0.018273 | 0.018076 | 0.017902 | 0.017721
|  | Calculated vs Posted | -2.6368e-16 | -3.4348e-16 | -2.1858e-16 | 1.8735e-16 | 0 | 1.2143e-16 | 2.047e-16 | 3.4001e-16 | 4.0593e-16 | 2.1858e-16 | 1.249e-16 | -1.5959e-16 | 0 | -2.8103e-16 | -4.6838e-16 | -1.4225e-16 | -1.5959e-16 | -2.498e-16 | -2.6715e-16 | 4.9613e-16 | -4.6838e-16 | 3.4348e-16 | -3.2613e-16 | 0 | 9.3675e-17 | 2.498e-16 | 2.8103e-16 | 9.3675e-17 | 1.0755e-16 | -2.4633e-16 | 6.245e-17 | -4.8225e-16 | -4.198e-16 | 4.996e-16 | 2.0123e-16 | 4.0939e-16 | 3.1572e-16 | 2.1511e-16 | -2.8449e-16 | -4.6838e-16 | 3.1225e-16 | -2.7756e-16 | 0 | -3.747e-16 | -4.6838e-16 | 3.6082e-16 | 2.8103e-16 | 0 | 2.5327e-16 | -9.7145e-17 | 1.8735e-16 | -1.4225e-16 | 2.1858e-16 | 2.8103e-16 | -2.1511e-16 | 2.498e-16 | 4.0939e-16 | 2.1858e-16 | 4.6838e-16 | 4.3715e-16 | 4.7184e-16 | -2.498e-16 | -2.6715e-16 | -1.7347e-16 | -1.3878e-16 | 3.4001e-16 | 2.6715e-16 | 0 | -4.7184e-16 | -3.4348e-16 | 4.545e-16 | 1.8735e-16 | -3.4348e-16 | 2.4633e-16 | 3.4348e-16 | 0 | -2.1511e-16 | 0 | -1.3878e-16 | 4.6491e-16 | -1.3878e-16 | 4.996e-16 | 3.8858e-16 | -4.3715e-16 | 3.4694e-16 | 2.949e-16 | 1.9082e-16 | 1.0755e-16 | 0 | 3.8858e-16 | 4.5103e-16 | -2.0123e-16 | 0 | 0 | -2.498e-16 | -1.5613e-16
| MIN | -4.8225e-16
| MAX | 4.996e-16

## DLF
13.3.1 Loss Factor Calculation
ERCOT shall use the Distribution loss coefficients submitted by the DSP to calculate the Settlement Interval DLFs.
Settlement Interval DLFs will be calculated from the data provided by DSPs as follows using the following equation:
SILFi = F1 * (SIELi/AAL) + F2 + F3 / (SIELi/AAL)
i = interval
SILFi = Settlement Interval DLF
SIELi = Settlement Interval ERCOT System Load (forecasted or actual)
AAL = Annual Interval Average ERCOT System Load. The AAL is calculated using the total ERCOT Load stated in the most recent settlement during the period
beginning on September 1 and ending August 31. ERCOT will provide the AAL to DSPs that are obligated to provide Distribution loss coefficients and calculation
methodology to ERCOT, by September 15th of each year.
F1 , F2 , F3 = Distribution Loss coefficients determined by the Distribution Service Provider to allow calculation of its SILF from ERCOT System Load
TDSP Distribution Loss Factors - Actual
RECORDER | TDSPNAME | TDSPCODE | DUNSNUMBER | LOSSCODE | STARTTIME | STOPTIME | LSTIME | 0:15 | 0:30 | 0:45 | 1:00 | 1:15 | 1:30 | 1:45 | 2:00 | 2:15 | 2:30 | 2:45 | 3:00 | 3:15 | 3:30 | 3:45 | 4:00 | 4:15 | 4:30 | 4:45 | 5:00 | 5:15 | 5:30 | 5:45 | 6:00 | 6:15 | 6:30 | 6:45 | 7:00 | 7:15 | 7:30 | 7:45 | 8:00 | 8:15 | 8:30 | 8:45 | 9:00 | 9:15 | 9:30 | 9:45 | 10:00 | 10:15 | 10:30 | 10:45 | 11:00 | 11:15 | 11:30 | 11:45 | 12:00 | 12:15 | 12:30 | 12:45 | 13:00 | 13:15 | 13:30 | 13:45 | 14:00 | 14:15 | 14:30 | 14:45 | 15:00 | 15:15 | 15:30 | 15:45 | 16:00 | 16:15 | 16:30 | 16:45 | 17:00 | 17:15 | 17:30 | 17:45 | 18:00 | 18:15 | 18:30 | 18:45 | 19:00 | 19:15 | 19:30 | 19:45 | 20:00 | 20:15 | 20:30 | 20:45 | 21:00 | 21:15 | 21:30 | 21:45 | 22:00 | 22:15 | 22:30 | 22:45 | 23:00 | 23:15 | 23:30 | 23:45 | 24:00
LACTERCOT |  |  |  |  | 2011-08-21 | 2011-08-22 | 2011-08-22 01:01 | 45994.8724 | 45256.3477 | 44509.1901 | 43737.3672 | 43210.8893 | 42444.3281 | 41865.7279 | 41273.6523 | 40818.0664 | 40336.4492 | 39934.3424 | 39420.7148 | 39140.168 | 38726.5117 | 38408.2839 | 38107.3255 | 37989.2148 | 37578.2331 | 37544.7474 | 37290.8125 | 37320.7839 | 37118.5273 | 37142.0833 | 37042.7643 | 37066.2604 | 37110.1562 | 37007.1276 | 36733.1211 | 36423.3568 | 36472.3581 | 36650.6784 | 37186.4232 | 37939.5872 | 38816.0625 | 39623.6029 | 40605.7057 | 41605.0846 | 42727.5742 | 43782.7617 | 44815.6589 | 45835.5846 | 46876.151 | 47921.5286 | 49081.5299 | 50082.6589 | 51178.388 | 52037.3633 | 53136.3034 | 54050.2956 | 54945.2539 | 55670.3672 | 56533.2005 | 57334.7135 | 58172.7526 | 58727.8151 | 59273.0312 | 59890.0807 | 60437.8242 | 60817.3555 | 61208.5378 | 61571.4948 | 61900.7188 | 62115.6224 | 62222.1185 | 62241.5755 | 62454.5273 | 62508.0169 | 62533.8216 | 62500.7695 | 62528.237 | 62427.0091 | 62198.7565 | 61793.4727 | 61545.0312 | 61069.0417 | 60677.9284 | 60110.0651 | 59558.332 | 58950.9505 | 58563.4805 | 58337.5755 | 58571.0768 | 58401.3451 | 57903.4909 | 57220.4167 | 56422.849 | 55673.4922 | 54586.1068 | 53395.9323 | 52286.9701 | 51314.3841 | 50100.0365 | 48985.8216 | 47900.543 | 46945.0938 | 45950.3542
ACTDISTLOSSFACT_1_D | CENTERPOINT ENERGY HOUSTON ELECTRIC LLC (TDSP) | 1 | 957877905 | D | 2011-08-21 | 2011-08-22 | 2011-08-22 01:01 | 0.036786 | 0.036704 | 0.03663 | 0.036563 | 0.036523 | 0.036474 | 0.036445 | 0.036421 | 0.036408 | 0.036399 | 0.036395 | 0.036396 | 0.036399 | 0.036407 | 0.036415 | 0.036426 | 0.036431 | 0.036451 | 0.036453 | 0.036468 | 0.036466 | 0.036479 | 0.036477 | 0.036484 | 0.036482 | 0.036479 | 0.036486 | 0.036506 | 0.036532 | 0.036528 | 0.036513 | 0.036474 | 0.036433 | 0.036404 | 0.036395 | 0.036403 | 0.036434 | 0.036491 | 0.036567 | 0.036659 | 0.036767 | 0.036894 | 0.037036 | 0.037211 | 0.037375 | 0.037568 | 0.037728 | 0.037944 | 0.038132 | 0.038324 | 0.038485 | 0.038682 | 0.03887 | 0.039072 | 0.039209 | 0.039345 | 0.039502 | 0.039643 | 0.039743 | 0.039846 | 0.039942 | 0.040031 | 0.040089 | 0.040117 | 0.040123 | 0.040181 | 0.040195 | 0.040202 | 0.040193 | 0.040201 | 0.040173 | 0.040111 | 0.040002 | 0.039935 | 0.039809 | 0.039706 | 0.039559 | 0.039417 | 0.039264 | 0.039168 | 0.039112 | 0.03917 | 0.039128 | 0.039007 | 0.038843 | 0.038656 | 0.038486 | 0.038246 | 0.037996 | 0.037776 | 0.037592 | 0.037378 | 0.037196 | 0.037033 | 0.036903 | 0.036781
LACTERCOT (converted to MWH) | [7 empty] | 11498.7181 | 11314.0869 | 11127.2975 | 10934.3418 | 10802.7223 | 10611.082 | 10466.432 | 10318.4131 | 10204.5166 | 10084.1123 | 9983.5856 | 9855.1787 | 9785.042 | 9681.6279 | 9602.071 | 9526.8314 | 9497.3037 | 9394.5583 | 9386.1868 | 9322.7031 | 9330.196 | 9279.6318 | 9285.5208 | 9260.6911 | 9266.5651 | 9277.5391 | 9251.7819 | 9183.2803 | 9105.8392 | 9118.0895 | 9162.6696 | 9296.6058 | 9484.8968 | 9704.0156 | 9905.9007 | 10151.4264 | 10401.2712 | 10681.8936 | 10945.6904 | 11203.9147 | 11458.8962 | 11719.0378 | 11980.3822 | 12270.3825 | 12520.6647 | 12794.597 | 13009.3408 | 13284.0758 | 13512.5739 | 13736.3135 | 13917.5918 | 14133.3001 | 14333.6784 | 14543.1882 | 14681.9538 | 14818.2578 | 14972.5202 | 15109.4561 | 15204.3389 | 15302.1344 | 15392.8737 | 15475.1797 | 15528.9056 | 15555.5296 | 15560.3939 | 15613.6318 | 15627.0042 | 15633.4554 | 15625.1924 | 15632.0592 | 15606.7523 | 15549.6891 | 15448.3682 | 15386.2578 | 15267.2604 | 15169.4821 | 15027.5163 | 14889.583 | 14737.7376 | 14640.8701 | 14584.3939 | 14642.7692 | 14600.3363 | 14475.8727 | 14305.1042 | 14105.7122 | 13918.373 | 13646.5267 | 13348.9831 | 13071.7425 | 12828.596 | 12525.0091 | 12246.4554 | 11975.1357 | 11736.2734 | 11487.5885
AAL | 9034
F1 | 0.01654 | [5 empty] | SILFi = | 0.036786 | 0.036704 | 0.03663 | 0.036563 | 0.036523 | 0.036474 | 0.036445 | 0.036421 | 0.036408 | 0.036399 | 0.036395 | 0.036396 | 0.036399 | 0.036407 | 0.036415 | 0.036426 | 0.036431 | 0.036451 | 0.036453 | 0.036468 | 0.036466 | 0.036479 | 0.036477 | 0.036484 | 0.036482 | 0.036479 | 0.036486 | 0.036506 | 0.036532 | 0.036528 | 0.036513 | 0.036474 | 0.036433 | 0.036404 | 0.036395 | 0.036403 | 0.036434 | 0.036491 | 0.036567 | 0.036659 | 0.036767 | 0.036894 | 0.037036 | 0.037211 | 0.037375 | 0.037568 | 0.037728 | 0.037944 | 0.038132 | 0.038324 | 0.038485 | 0.038682 | 0.03887 | 0.039072 | 0.039209 | 0.039345 | 0.039502 | 0.039643 | 0.039743 | 0.039846 | 0.039942 | 0.040031 | 0.040089 | 0.040117 | 0.040123 | 0.040181 | 0.040195 | 0.040202 | 0.040193 | 0.040201 | 0.040173 | 0.040111 | 0.040002 | 0.039935 | 0.039809 | 0.039706 | 0.039559 | 0.039417 | 0.039264 | 0.039168 | 0.039112 | 0.03917 | 0.039128 | 0.039007 | 0.038843 | 0.038656 | 0.038486 | 0.038246 | 0.037996 | 0.037776 | 0.037592 | 0.037378 | 0.037196 | 0.037033 | 0.036903 | 0.036781
F2 | 2.8e-05
F3 | 0.01999 | [5 empty] | Calculated vs Posted | 0 | 0 | 0 | 0 | -1.9429e-16 | 3.2613e-16 | -3.1225e-16 | 0 | -1.5266e-16 | 4.8572e-16 | 4.5797e-16 | 2.9837e-16 | -3.8164e-16 | 0 | -2.2204e-16 | 0 | 0 | 4.0246e-16 | 0 | -4.2327e-16 | 4.8572e-16 | -2.7062e-16 | 4.7184e-16 | -3.6776e-16 | -3.4694e-16 | 0 | -1.4572e-16 | 4.1633e-16 | -3.6082e-16 | 4.7878e-16 | 0 | 2.5674e-16 | 0 | 0 | 0 | -4.0246e-16 | -2.5674e-16 | 0 | 4.3715e-16 | -3.8164e-16 | -3.9552e-16 | -3.0531e-16 | 2.7756e-16 | -2.9837e-16 | 0 | -3.8858e-16 | 2.7062e-16 | 3.5388e-16 | -3.8858e-16 | 2.4286e-16 | -4.5797e-16 | -2.4286e-16 | 1.5266e-16 | 4.0939e-16 | 0 | 0 | 2.2898e-16 | 0 | 1.5266e-16 | 1.7347e-16 | 2.8449e-16 | 0 | -4.9266e-16 | 0 | -2.0817e-16 | -4.0246e-16 | -4.6491e-16 | -5.0654e-16 | 4.2327e-16 | -3.747e-16 | 0 | 3.5388e-16 | 0 | -2.6368e-16 | 3.8164e-16 | 4.1633e-16 | 2.7756e-16 | -2.3592e-16 | -2.1511e-16 | 0 | 2.2898e-16 | 0 | -3.1225e-16 | -2.3592e-16 | 3.0531e-16 | -2.9143e-16 | 1.8041e-16 | -4.996e-16 | 3.5388e-16 | 4.0246e-16 | 1.8735e-16 | 2.498e-16 | 0 | 2.9143e-16 | 2.2204e-16 | 0
[6 empty] | MIN | -5.0654e-16
[6 empty] | MAX | 4.8572e-16