| PGRR Number | 010 | PGRR Title | New Planning Guide Section 6.7, Data Dictionary |
| --- | --- | --- | --- |

| Date | September 13, 2011 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Dennis Hogan |
| E-mail Address | Dennis.hogan@luminant.com |
| Company | Luminant Energy Company LLC |
| Phone Number | 214-875-9423 |
| Cell Number |  |
| Market Segment | Investor Owned Utility (IOU) |

Comments

Luminant Energy Company LLC submits these comments in response to comments voiced by participants at the Planning Working Group meeting on August 26, 2011.  Specifically, these comments delete references to equipment ratings of Transmission Elements, which are not part of the Data Dictionary as well as add language related to how Market Participants are to be notified when the Data Dictionary is posted on the ERCOT Planning and Operations Information website.

Revised Proposed Guide Language

6.7	Data Dictionary

(1)	Transmission Service Providers (TSP) shall provide and update bus data to ERCOT as required to accurately model such equipment in the various models used by ERCOT and the assigned Reliability and Operations Subcommittee (ROS) working groups, such as the Steady State Working Group (SSWG).

(2)	The following items pertain to the Data Dictionary:

(a)	A TSP shall submit all pertinent data for each bus in its transmission system as specified in the Steady State Working Group Procedures Manual.

(b)	A TSP may revise bus data for the Data Dictionary as necessary to reflect changes.

(c)	ERCOT shall make available a copy of the Data Dictionary on the Planning and Operations Information website monthly and shall notify Market Participants when such posting is made via a Really Simple Syndication (RSS) feed.