| NPRR Number | 272 | NPRR Title | Definition and Participation of Quick Start Generation Resources |  |
| --- | --- | --- | --- | --- |
| Timeline | N/A | Action |  | Recommended Approval of Impact Assessment |
| Date of Decision |  | September 1, 2011 |  |  |
| Effective Date |  | Upon System Implementation |  |  |
| Priority and Rank Assigned |  | Priority – 2012; Rank – 18 |  |  |
| Nodal Protocol Sections Grey-Boxed |  | 3.8.3, Quick Start Generation Resources 3.9.1, Current Operating Plan (COP) Criteria |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) provides language for effective participation of Quick Start Generation Resources (QSGRs) in Security-Constrained Economic Dispatch (SCED). |  |  |
| Reason for Revision |  | This NPRR allows ERCOT Operations Staff to retain the beneficial access in Nodal to units that have the capability of being deployed by SCED and brought On-Line in ten minutes. |  |  |
| Procedural History |  | - On 11/16/10, the ERCOT Board considered NPRR272. - On 6/6/11, a revised Impact Analysis was posted. - On 6/22/11, a Cost Benefit Analysis was posted. - On 6/23/11, PRS considered the impact assessment for NPRR272. - On 7/21/11, PRS again considered the impact assessment for NPRR272. - On 8/4/11, TAC considered the impact assessment for NPRR272. - On 9/1/11, TAC again considered the impact assessment for NPRR272. |  |  |
| PRS Decision |  | On 6/23/11, PRS unanimously voted to table NPRR272. All Market Segments were present for the vote. On 7/21/11, PRS unanimously voted to endorse and forward the impact assessment for NPRR272 to TAC with a recommended Priority of 2012 and rank of 18. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 6/23/11, it was suggested that the impact assessment for NPRR272 be considered along with NPRR371, Telemetered LSL for QSGR. On 7/21/11, the Cost Benefit Analysis for NPRR272 was reviewed. |  |  |
| TAC Decision |  | On 8/4/11, TAC unanimously voted to table the impact assessment for NPRR272. All Market Segments were present for the vote. On 9/1/11, TAC voted to recommend approval of the impact assessment for NPRR272 as recommended by PRS in the 7/21/11 PRS Report – Impact Assessment. There was one abstention from the Independent Power Marketer (IPM) Market Segment. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 8/4/11, ERCOT Staff suggested that the impact assessment for NPRR272 be tabled until all Phase 2 and 3 Parking Deck impact assessments are ready for TAC consideration. On 9/1/11, the impact assessment for NPRR272 was reviewed. |  |  |
| Board Decision |  | On 11/16/10, the ERCOT Board approved NPRR272 as recommended by TAC in the 11/4/10 TAC Report. |  |  |

| Sponsor |  |
| --- | --- |
| Name | John Dumas |
| E-mail Address | jdumas@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-3195 |
| Cell Number |  |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Ann Boren |
| E-Mail Address | aboren@ercot.com |
| Phone Number | 512-275-7411 |