## Slide 1: Constraints Competitiveness Tests (CCT) Results
Presented to WMS 9/14/2011
Notes: <number>

## Slide 2: Agenda
<number>
CCT
September 14, 2011
Description of Study
  Method
Results
Proposal for Generic Transmission Limits
Notes: <number>

## Slide 3: Description of Study
<number>
CCT
Models
  2012 Models for the upcoming annual CRR auction
    Models to be posted 9/27/2011
Constraints
  From Go-live to 8/14/2011 there have only been 355 distinct binding constraints in the Real Time Market
  All 355 binding constraints were ranked by descending [shadow price * flow]
  Per CMWG’s instructions, the constraints that accounted for 80% of Real-Time congestion from 12/1/2010 to 8/14/2011 were subjected to the CCT.
Decision Making Entity (DME) (2 sets)
  Official info from registration system
  CMWG suggested edits to registration data
September 14, 2011
Notes: <number>

## Slide 4: Tested Constraints (1 of 4)
CONTINGENCY_NAME | CONSTR_NAME | CCT CONTINGENCY | CCT ELEMENT | Shadow Price * Limit (Sum)
BASE CASE | W_TO_N |  |  | $86,306,700.00
BASE CASE | VALIMP |  |  | $48,859,595.00
SN_SAJO5 | LON_HI_NEDIN1_1 | SN_SAJO5 | LON_HI_NEDIN1_1 | $33,456,382.00
DW_DDEN8 | AIR_W_DE_1 | DW_DDEN8 | AIR_W_DE_1 | $24,890,638.00
XLWS58 | 591__A | XLWS58 | 591__A | $15,227,446.00
XCLE58 | MARION_4AT2 | XCLE58 | MARION_24AT2 | $13,583,753.00
SNCWMOS8 | ODNTH_FMR1 | SNCWMOS8 | ODNTH_AXFMR1 | $13,032,731.00
XBL2U58 | NICOLE_OAKC1_1 | XBL2U58 | NICOLE_OAKC1_1 | $10,503,945.00
DGBY_GS8 | GT_MID90_A | DGBY_GS8 | GT_MID90_A | $9,825,033.00
SKEYWLV8 | 6611__C | SKEYWLV8 | 6611__C | $9,547,671.00
XWL2V58 | WLVEE_MR2L | XWL2V58 | WLVEE_AXFMR2L | $9,349,355.00
DWAP_JN5 | BI_SMR98_A | DWAP_JN5 | BI_SMR98_A | $7,234,881.00
SCGRMGS8 | 6225__A | SCGRMGS8 | 6225__A | $7,166,348.00
SKEYWLV8 | 6611__A | SKEYWLV8 | 6611__A | $6,987,728.00
<number>
CCT
September 14, 2011

## Slide 5: Tested Constraints (2 of 4)
<number>
CCT
CONTINGENCY_NAME | CONSTR_NAME | CCT CONTINGENCY | CCT ELEMENT | Shadow Price * Limit (Sum)
DCHB_KG5 | CTRPHR97_A | DCHB_KG5 | CTRPHR97_A | $6,844,475.00
DJEWSNG5 | JK_TOKSW_1 | DJEWSNG5 | JK_TOKSW_1 | $6,764,013.00
DGRSLNC5 | 6380_D_1 | DGRSLNC5 | 6380__D | $5,613,832.00
XLI2G58 | 1310__D | XLI2G58 | 1310__D | $5,076,380.00
SMDOPHR5 | 138_NAL_HAS_1 | SMDOPHR5 | 138_NAL_HAS_1 | $4,793,173.00
SCNSCN38 | 850__C | SCNSCN38 | 850__C | $4,777,026.00
DTRSTRC5 | TRSES_MR6L | DTRSTRC5 | TRSES_AXFMR6L | $4,718,896.00
XKEN58 | KENDAL_AT1H | XKEN58 | KENDAL_1HH | $4,480,596.00
STMPSND5 | 435__A | STMPBEL5 | 435__A | $4,404,700.00
DGIBJK_5 | 265_A_1 | DGIBJK_5 | 265__A | $4,246,182.00
SKEYWLV8 | 6611__D | SKEYWLV8 | 6611__D | $4,222,970.00
DAUSDES8 | CKT_902_1 | DAUSDES8 | CKT_902_1 | $4,205,385.00
SORNLON8 | SINTON_SKIDMO1_1 | SORNLON8 | SINTON_SKIDMO1_1 | $4,085,322.00
SODBODN9 | 6860__A | SODBODN9 | 6860__A | $4,048,620.00
September 14, 2011

## Slide 6: Tested Constraints (3 of 4)
<number>
CCT
CONTINGENCY_NAME | CONSTR_NAME | CCT CONTINGENCY | CCT ELEMENT | Shadow Price * Limit (Sum)
DAUSLOS5 | CKT_3122_1 | DAUSLOS5 | CKT_3122_1 | $3,737,167.00
DGRSLNC5 | 6380_D_1 | DGRSLNC5 | 6380__D | $3,713,526.00
XCAG58 | CAGNON_MR4H | XCAG58 | CAGNON_AXFMR4H | $3,563,292.00
DHKBCRL5 | 1140__C | DHKBCRL5 | 1140__C | $3,460,197.00
SNCWHLT9 | 6915__A | SNCWHLT9 | 6915__A | $3,376,974.00
DWAP_OB5 | GT_MID90_A | DWAP_OB5 | GT_MID90_A | $3,333,445.00
XCAG58 | CAGNON_MR4L | XCAG58 | CAGNON_AXFMR4L | $3,322,532.00
SNEDLON5 | CAPSEC_LONH_1_1 | SNEDLON5 | RIOHON_XCAP_1_1 | $3,306,940.00
SEMPNOR8 | 3330__C | SEMPNOR8 | 3330__C | $3,274,248.00
SFTSBAR8 | BARL_FTSW1_1 | SFTSBAR8 | BARL_FTSW1_1 | $3,066,077.00
DWTRDES5 | WLVEE_FMR1 | DWTRDES5 | WLVEE_AXFMR1H_H | $3,039,600.00
 |  | DWTRDES5 | WLVEE_AXFMR1L_H | 
DBBSVEN5 | 21__A | DBBSVEN5 | 21__A | $2,861,279.00
SKMCKW25 | KMCHI_KWASS1_1 | SKMCKW25 | KMCHI_KWASS1_1 | $2,833,763.00
September 14, 2011

## Slide 7: Tested Constraints (4 of 4)
<number>
CCT
CONTINGENCY_NAME | CONSTR_NAME | CCT CONTINGENCY | CCT ELEMENT | Shadow Price * Limit (Sum)
DAUSGAR5 | AUSTRO_AT1H | DAUSGAR5 | AUSTRO_AU_AT1H | $2,649,141.00
SSALSND5 | 425__A | SSALTMP5 | 425__A | $2,631,343.00
SNCWMOS8 | 6915__A | SNCWMOS8 | 6915__A | $2,377,005.00
SNCWMOS8 | 6865__B | SNCWMOS8 | 6865__B | $2,364,470.00
September 14, 2011

## Slide 8: RESULTS CCT Failing CONSTRAINTS (14/11)
CTG | ELEMENT |  | CTG | ELEMENT
SN_SAJO5 | LON_HI_NEDIN1_1 |  | DAUSLOS5 | CKT_3122_1
DW_DDEN8 | AIR_W_DE_1 |  | XCAG58 | CAGNON_AXFMR4H
DWAP_JN5 | BI_SMR98_A |  | DHKBCRL5 | 1140__C
SCGRMGS8 | 6225__A |  | XCAG58 | CAGNON_AXFMR4L
DCHB_KG5 | CTRPHR97_A |  | SNEDLON5 | RIOHON_XCAP_1_1
SMDOPHR5 | 138_NAL_HAS_1 |  | DBBSVEN5 | 21__A
DGIBJK_5 | 265__A |  | SKMCKW25 | KMCHI_KWASS1_1
<number>
CCT
All other constraints listed (except W-N and VALIMP) passed the CCT
Constraints Highlighted in ORANGE passed CCT with CMWG suggested DME
September 14, 2011

## Slide 9: Constraints Failed Tests
<number>
CCT
 | JAN |  |  | FEB |  |  | MAR |  |  | APR |  |  | MAY |  |  | JUN |  |  | JUL |  |  | AUG |  |  | SEP |  |  | OCT |  |  | NOV |  |  | DEC |  | 
 | I | E | P | I | E | P | I | E | P | I | E | P | I | E | P | I | E | P | I | E | P | I | E | P | I | E | P | I | E | P | I | E | P | I | E | P
SN_SAJO5_LON_HI_NEDIN1_1 | * |  |  | * |  |  | * |  |  | * |  |  | * |  |  | * |  | * | * |  | * | * |  | * | * |  | * | * |  |  | * |  |  | * |  | 
DW_DDEN8_AIR_W_DE_1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | * |  |  | * |  |  | * |  |  | * |  |  |  |  |  |  |  |  |  |  | 
DWAP_JN5_BI_SMR98_A |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | * |  |  | * |  |  | * |  |  | * |  |  |  |  |  |  |  |  |  |  | 
SCGRMGS8_6225__A | * |  |  | * |  |  | * |  |  | * |  |  | * |  |  | * |  |  | * |  |  | * |  |  | * |  |  | * |  |  | * |  |  | * |  | 
DCHB_KG5_CTRPHR97_A |  | * |  |  | * |  |  | * |  |  | * |  |  | * |  |  | * |  |  | * |  |  | * |  |  | * |  |  | * |  |  | * |  |  | * | 
SMDOPHR5_138_NAL_HAS_1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | * |  |  | * |  |  | * |  |  | * |  |  |  |  |  |  |  |  |  |  | 
DGIBJK_5_265__A |  | * |  |  | * |  |  | * |  |  | * |  |  | * |  |  | * |  |  | * |  |  | * |  |  | * |  |  | * |  |  | * |  |  | * | 
DAUSLOS5_CKT_3122_1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | * |  |  | * |  |  | * |  |  | * |  |  |  |  |  |  |  |  |  |  | 
XCAG58_CAGNON_AXFMR4H |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | * |  |  | * |  |  | * |  |  | * |  |  |  |  |  |  |  |  | 
DHKBCRL5_1140__C |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | * |  |  | * |  |  | * |  |  | * |  |  |  |  |  |  |  |  | 
XCAG58_CAGNON_AXFMR4L |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | * |  |  | * |  |  | * |  |  | * |  |  |  |  |  |  |  |  | 
SNEDLON5_RIOHON_XCAP_1_1 |  | * |  |  | * |  |  | * |  |  | * |  |  | * |  |  | * |  |  | * |  |  | * |  |  | * |  |  | * |  |  | * |  |  | * | 
DBBSVEN5_21__A |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | * |  |  | * |  |  | * |  |  | * |  |  |  |  |  |  |  |  |  |  | 
SKMCKW25_KMCHI_KWASS1_1 |  | * |  |  | * |  |  | * |  |  | * |  |  | * |  |  | * |  |  | * |  |  | * |  |  | * |  |  | * |  |  | * |  |  | * | 
I = IMPORT E = EXPORT P = PIVOTAL PLAYER
September 14, 2011

## Slide 10: Generic Transmission Limit ISSUE
STUDY of GENERIC TRANSMISSION LIMITS NOT CONSIDERED IN PROTOCOLS – NOT SUPPORTED BY SOFTWARE
Study performed was the two tests detailed in Protocols section 3.19
Suggested that CMWG recommend Competitive/Non-Competitive Status of W-N and VALIMP to WMS
<number>
CCT
September 14, 2011

## Slide 11: SUMMARY
The Annual CCT Described in Section 3.19.1 of the Protocols has been performed on 45 Constraints
31 of those Constraints passed the Annual CCT with the current DME data (14 did not)
34 of those Constraints passed the Annual CCT with the CMWG suggested revisions to the DME data (11 did not)
The 2 Generic Transmission Limit Constraints that were significant in the studied time period were not tested.
<number>
CCT
September 14, 2011