## Slide 1: Update on NERC field trial on elimination of manual Time-Error Correction

## Slide 2: Layout
Impact of Time Error correction on the NERC Reliability Standard’s performance metrics
  ERCOT Frequency Profile
  Balancing Authority ACE Limit (BAAL) field trial summary and impact of manual Time-Error correction
Field Trial details and tentative time-line
Questions

## Slide 6
02/02/2011 BAAL Low Exceedance for 23 minutes

## Slide 7
02/02/2011 BAAL Low Exceedance continued..

## Slide 8: Field Trial Time-line
The tentative date for the field trial to begin is currently December 1st, 2011
Accumulated Time Error is posted at ERCOT.COM at the link (http://www.ercot.com/content/cdr/html/real_time_system_conditions.html )
Field trial will be conducted initially until accumulated Time Error exceeds threshold of 30 seconds
Field trial will halt and manual Time Error correction will resume if the accumulated Time Error exceeds 30 seconds
Field trial will re-start after accumulated Time Error falls below 27seconds
This approach is designed to give 6 months time to entities to have business process in place to mitigate any effect, the elimination of Time Error correction might have
Once the deadline of 6 months passes, ERCOT will not conduct any manual time error correction.

## Slide 9: Question ???