NPGRTF Report to ROS

September 15, 2011

The Nodal Protocol and Guides Resolution Task Force (NPGRTF) met August 16, 2011.

On August 16, the NPGRTF met for its regularly scheduled meeting. During the meeting the following items were discussed:

The ROS directed the Nodal Protocol and Guides Resolution Task Force (NPGRTF) to review the language in NOGRR073 and determine if a new NOGRR should be submitted to correct any contradictions. The group decided to withdraw NOGRR073 and submit an NPRR and NOGRR to remove the contradictions. The group reviewed FAC-008 and OG 3.10 and found no issues with Rating Methodology. The group reviewed PRC-007 and OG2.6.1 and found no issues. The group reviewed Transmission Operator definition in section 1 of the OG. The group decided to submit an NPRR and NOGRR for a new definition for Transmission System Operator (TSO).

Action items for the group, assignments were made to develop and bring back for next meeting and review several possibly conflicts.

Next NPGRTF meeting – September 20, 2011 at the ERCOT Met Center room 168.