NPGRTF Meeting Notes

August 16th 2011

Attendance:

Frank Owens		TMPA (TO)			Matt Stout                        ERCOT

Dylan Preas		LCRA (TO)	                             Yvette Landin                   ERCOT

Jeff Sims		CPS Energy (TO)			JC Culberson                     LST

Andrew Gallo                   Austin Energy (TO)                         Stan Morris                      TNMP (TO)

Brenda Hampton             Luminant (QSE)

- Frank Owens started the meeting at 9:30 with the ERCOT Antitrust Admonition.

- Frank gave update from ROS. The ROS directed the Nodal Protocol and Guides Resolution Task Force (NPGRTF) to review the language in NOGRR073 and determine if a new NOGRR should be submitted to correct any contradictions. The group decided to withdraw NOGRR073 and submit an NPRR and NOGRR to remove the contradictions.

- The group reviewed the Task List for possible conflicts. The group reviewed a draft NOGRR for Inadvertent Interchange, will follow up with an NPRR as well. The group reviewed FAC-008 and OG 3.10 and found no issues with Rating Methodology. The group reviewed PRC-007 and OG2.6.1 and found no issues. The group reviewed Transmission Operator definition in section 1 of the OG. The group to submit an NPRR and NOGRR for a new definition for Transmission System Operator (TSO).

Action items for the group, assignments were made to develop and bring back for next meeting one draft NOGRR and review several possibly conflicts.

Future Meeting Dates (ALL) 9/20, 10/18, 11/15.