OWG Meeting Notes 08/17/11

Attendance:

Frank Owens		TMPA (TO)

Naga Kota	 	ERCOT

Leo Villanueva	ERCOT

Randy Westbrook	CNP (TO)

Stan Morris		TNMP (TO)

Jeff Sims		CPS Energy (TO)

Rick Keetch 		NRG/Reliant (QSE)

John Blackwell 	Austin Energy (TO)

Brenda Hampton	Luminant (QSE)

David Penney		Texas RE

Matt Ponce		ONCOR (phone)

Mark Mc Murray	Direct Energy (phone)

Walter Reid		Wind (phone)

Ken Mcintyre		ERCOT (phone)

Wayne Bolton		BEPC (QSE)

John Warren		LCRA (TO)

Brad Calhoun   	CNP	(TO)

Mike Noth 		LCRA (QSE)

Jimmy Hartmann	ERCOT

Yvette Landin		ERCOT

Robert Bailey 		NRG (QSE)

James Jacobs 		Austin Energy (TO)

Joe Adams 		Austin Energy (TO)

Matt Carter   		GPL (TO)

Hugo Mena 		EPE (phone)

Eddie Reese 		Rayburn (phone)

Karl Thammer            Sharyland (phone)

Sandip Sharma	ERCOT (phone)

Kelly Blackmer	ERCOT(phone)

9:35 Meeting opened with Antitrust Admonition by Frank Owens.

ROS meeting Report – Approved NOGRR069, 070, 071, 073, 074. NOGRR075 got rejected. NPRR365 was approved for urgent status.

The July meeting notes were reviewed and approved.

All action items are highlighted in green

NOGRR 065 Authorize ERCOT to Procure Additional RRS During Severe Cold Weather

(IA review) –

OWG recommends to table this NOGRR for one more month to get the language right.

NPRR 336 Authorized ERCOT to Procure Additional RRS During Severe Cold Weather –

OWG reviewed the current practices and procedures and determined those to be adequate and therefore was in consensus to remove paragraphs 8 and 9 in section 6.5.9.3.3. OWG recommends approval of the new definitions related to severe cold weather. OWG will follow up with an NPRR and NOGRR to introduce to better define the process related to system threats such as weather and sabotage.

NOGRR 067 Review and Analysis of Turbine Speed Governor Performance –

OWG recommends to approve with Jun 16th, 2011 PDCWG comments to move it to ROS comments.

NOGRR 076 Synchronization with NPRR298 and New Format for Black Start Plans – OWG recommends approving IA review and moving it to ROS for its review and being effective by Oct 7th.

NOGRR 077 Synchronization with NPRR379, EILS Dispatch Sequence and Performance Criteria Upgrades– OWG recommended moving to ROS for approval.

Operations Report – ERCOT reviewed Jul Operations Report.

Nodal Protocol and Guides Resolution Task Force Report (NPGRTF) (Frank Owens) –The ROS directed the Nodal Protocol and Guides Resolution Task Force (NPGRTF) to review the language in NOGRR073 and determine if a new NOGRR should be submitted to correct any contradictions. The group decided to withdraw NOGRR073 and submit an NPRR and NOGRR to remove the contradictions. The group reviewed FAC-008 and OG 3.10 and found no issues with Rating Methodology. The group reviewed PRC-007 and OG2.6.1 and found no issues. The group reviewed Transmission Operator definition in section 1 of the OG. The group decided to submit an NPRR and NOGRR for a new definition for Transmission System Operator (TSO).

Operations Task Force Report – Stan Morris said that they were meeting on Aug 18th to discuss winter drill.

Compliance Report – David Penney (TRE) pointed out some key recommendations from NERC/FERC report on cold weather events.

OWG will sponsor a NOGRR to review 1.5.4 LCRA (John Warren) – He suggested to change TRE to ERCOT is Nodal Operating Guide Section 1.5.4. LCRA will submit operating guide changes.

System Operations Report – None to report.

Next meeting – September 21, 2011

14:30 meeting adjourned.