| NOGRR Number | 080 | NOGRR Title | Inadvertent Interchange and Inadvertent Energy Clarification |
| --- | --- | --- | --- |
| Date Posted |  | September 21, 2011 |  |

| Requested Resolution (Normal or Urgent, and justification for Urgent status) | Normal |
| --- | --- |
| Nodal Operating Guide Section Requiring Revision | 1.4, Definitions 2.8.1, Inadvertent Interchange Management |
| Protocol Sections Requiring Revision, if any | 6.5.4, Inadvertent Energy Account |
| Revision Description | This Nodal Operating Guide Revision Request (NOGRR) modifies language in Sections 1.4 and 2.8.1 related to inadvertent energy. |
| Reason for Revision | The term “Inadvertent Interchange” as used in the North American Electric Reliability Corporation (NERC) Standards (i.e., BAL-006, Inadvertent Interchange) does not apply to the ERCOT interconnection because ERCOT is not synchronously connected to other interconnections. The term used in the ERCOT Region that describes the difference between scheduled and actual energy across the Direct Current Ties (DC Ties) is “inadvertent energy” as described in Protocol Section 6.5.4 and Section 3.8, Managing Daily Inadvertent Energy for the SPP DC Ties, of the Operating Procedure Manual, DC Tie Desk. This NOGRR modifies the language related to inadvertent energy to remain consistent with the Protocols, the Operating Procedure Manual, DC Tie Desk, NERC Standards and the equation used by ERCOT Independent System Operator (ISO) to calculate Area Control Area (ACE). |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | Describe qualitative benefits - Clarifies the use of the term “inadvertent energy” as used in the ERCOT Interconnection. - All entities in the ERCOT Region benefit from consistent and clarified language. |
|  | 2 |  |
|  | 3 |  |
|  | 4 |  |
|  | 5 |  |

| Sponsor |  |
| --- | --- |
| Name | Frank Owens on behalf of Nodal Protocol and Guides Resolution Task Force (NPGRTF) |
| E-mail Address | fowens@texasmpa.org |
| Company | Texas Municipal Power Agency |
| Phone Number | 936-873-1120 |
| Cell Number | 979-204-7725 |
| Market Segment | Municipal |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | 512-248-3867 |

Proposed Guide Language Revision

- 1.4	Definitions

Inadvertent Energy

The difference between the ERCOT System actual metered value and the ERCOT System scheduled energy.

2.8.1	Inadvertent Energy Management

The only inadvertent energy will be between ERCOT and the Southwest Power Pool (SPP) and/or Comision Federal de Electricidad (CFE).  ERCOT shall track any differences between the net of scheduled energy across each DC Tie and the actual metered value at that DC Tie in an Inadvertent Energy Account between ERCOT and each interconnected non-ERCOT balancing authority as per Protocol Section 6.5.4, Inadvertent Energy Account.  All inadvertent energy is placed in an inadvertent payback account to be paid back in kind.