## Data Cut Definitions
GSSPLITSCA
CUTNAME | START TIME | STOP TIME | 0:15 | 0:30 | 0:45 | 1:00 | 1:15 | 1:30 | 1:45 | 2:00 | 2:15 | 2:30 | 2:45 | 3:00 | 3:15 | 3:30 | 3:45 | 4:00 | 4:15 | 4:30 | 4:45 | 5:00 | 5:15 | 5:30 | 5:45 | 6:00 | 6:15 | 6:30 | 6:45 | 7:00 | 7:15 | 7:30 | 7:45 | 8:00 | 8:15 | 8:30 | 8:45 | 9:00 | 9:15 | 9:30 | 9:45 | 10:00 | 10:15 | 10:30 | 10:45 | 11:00 | 11:15 | 11:30 | 11:45 | 12:00 | 12:15 | 12:30 | 12:45 | 13:00 | 13:15 | 13:30 | 13:45 | 14:00 | 14:15 | 14:30 | 14:45 | 15:00 | 15:15 | 15:30 | 15:45 | 16:00 | 16:15 | 16:30 | 16:45 | 17:00 | 17:15 | 17:30 | 17:45 | 18:00 | 18:15 | 18:30 | 18:45 | 19:00 | 19:15 | 19:30 | 19:45 | 20:00 | 20:15 | 20:30 | 20:45 | 21:00 | 21:15 | 21:30 | 21:45 | 22:00 | 22:15 | 22:30 | 22:45 | 23:00 | 23:15 | 23:30 | 23:45 | 24:00
GSSPLITSCA_ABCG1 | 2011-01-01 | 2011-01-02 | 26.702 | 26.693 | 26.735 | 26.746 | 26.804 | 26.88 | 26.659 | 26.412 | 26.06 | 25.746 | 26.357 | 26.779 | 25.727 | 26.215 | 26.423 | 26.472 | 26.438 | 26.441 | 26.401 | 25.518 | 26.463 | 26.397 | 26.229 | 26.314 | 25.942 | 26.463 | 26.47 | 25.825 | 25.118 | 26.116 | 26.435 | 26.455 | 26.079 | 26.491 | 26.313 | 24.77 | 26.166 | 26.485 | 26.837 | 27.959 | 44.42 | 50.153 | 50.065 | 49.637 | 49.261 | 54.579 | 55.384 | 55.38 | 55.039 | 55.403 | 55.221 | 55.214 | 53.954 | 54.406 | 54.928 | 54.994 | 55.856 | 56.112 | 57.635 | 57.932 | 58.047 | 57.76 | 57.517 | 57.83 | 57.7 | 57.594 | 57.685 | 57.758 | 57.719 | 52.93 | 52.606 | 52.636 | 54.084 | 54.398 | 54.533 | 54.584 | 54.675 | 54.839 | 54.977 | 55.196 | 55.371 | 55.603 | 55.644 | 55.906 | 55.166 | 55.039 | 54.766 | 54.203 | 54.923 | 54.97 | 54.8 | 54.38 | 40.738 | 26.002 | 26.369 | 26.395
GSSPLITSCA_ABCG2 | 2011-01-01 | 2011-01-02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.786 | 4.4 | 5.718 | 5.811 | 5.815 | 5.696 | 10.366 | 42.05 | 49.988 | 49.582 | 45.39 | 55.518 | 56.392 | 56.441 | 54.891 | 56.315 | 56.411 | 56.439 | 51.989 | 54.073 | 56.224 | 56.292 | 56.467 | 57.073 | 57.723 | 57.571 | 57.732 | 57.464 | 57.461 | 57.746 | 57.597 | 57.48 | 57.427 | 57.624 | 57.055 | 52.102 | 52.097 | 52.254 | 55.19 | 55.972 | 56.015 | 56.088 | 56.096 | 56.2 | 56.359 | 56.324 | 56.529 | 57.004 | 56.004 | 56.539 | 56.424 | 56.227 | 55.347 | 53.771 | 56.084 | 56.192 | 54.964 | 54.653 | 36.82 | 19.982 | 6.655 | 2.481
GSPLITPER
CUTNAME | START TIME | STOP TIME | 0:15 | 0:30 | 0:45 | 1:00 | 1:15 | 1:30 | 1:45 | 2:00 | 2:15 | 2:30 | 2:45 | 3:00 | 3:15 | 3:30 | 3:45 | 4:00 | 4:15 | 4:30 | 4:45 | 5:00 | 5:15 | 5:30 | 5:45 | 6:00 | 6:15 | 6:30 | 6:45 | 7:00 | 7:15 | 7:30 | 7:45 | 8:00 | 8:15 | 8:30 | 8:45 | 9:00 | 9:15 | 9:30 | 9:45 | 10:00 | 10:15 | 10:30 | 10:45 | 11:00 | 11:15 | 11:30 | 11:45 | 12:00 | 12:15 | 12:30 | 12:45 | 13:00 | 13:15 | 13:30 | 13:45 | 14:00 | 14:15 | 14:30 | 14:45 | 15:00 | 15:15 | 15:30 | 15:45 | 16:00 | 16:15 | 16:30 | 16:45 | 17:00 | 17:15 | 17:30 | 17:45 | 18:00 | 18:15 | 18:30 | 18:45 | 19:00 | 19:15 | 19:30 | 19:45 | 20:00 | 20:15 | 20:30 | 20:45 | 21:00 | 21:15 | 21:30 | 21:45 | 22:00 | 22:15 | 22:30 | 22:45 | 23:00 | 23:15 | 23:30 | 23:45 | 24:00
GSPLITPER_Q_ABC_77_100_U1_99_ABCG1_RNG1 | 2011-01-01 | 2011-01-02 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.90426 | 0.84916 | 0.82066 | 0.82007 | 0.82191 | 0.83075 | 0.81079 | 0.54394 | 0.50038 | 0.50028 | 0.52045 | 0.49574 | 0.49549 | 0.49526 | 0.50067 | 0.49592 | 0.49467 | 0.49451 | 0.50927 | 0.50153 | 0.49417 | 0.49417 | 0.49728 | 0.49575 | 0.49962 | 0.50156 | 0.50136 | 0.50128 | 0.50024 | 0.50036 | 0.50045 | 0.5005 | 0.50112 | 0.50058 | 0.50289 | 0.50394 | 0.50243 | 0.50182 | 0.49494 | 0.49287 | 0.4933 | 0.49321 | 0.49359 | 0.49387 | 0.49379 | 0.49494 | 0.49483 | 0.49378 | 0.49839 | 0.49719 | 0.49436 | 0.49466 | 0.49736 | 0.502 | 0.49477 | 0.4945 | 0.49925 | 0.49875 | 0.52526 | 0.56546 | 0.79848 | 0.91408
GSPLITPER_Q_ABC_77_100_U1_99_ABCG2_RNG2 | 2011-01-01 | 2011-01-02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.095742 | 0.15084 | 0.17934 | 0.17993 | 0.17809 | 0.16925 | 0.18921 | 0.45606 | 0.49962 | 0.49972 | 0.47955 | 0.50426 | 0.50451 | 0.50474 | 0.49933 | 0.50408 | 0.50533 | 0.50549 | 0.49073 | 0.49847 | 0.50583 | 0.50583 | 0.50272 | 0.50425 | 0.50038 | 0.49844 | 0.49864 | 0.49872 | 0.49976 | 0.49964 | 0.49955 | 0.4995 | 0.49888 | 0.49942 | 0.49711 | 0.49606 | 0.49757 | 0.49818 | 0.50506 | 0.50713 | 0.5067 | 0.50679 | 0.50641 | 0.50613 | 0.50621 | 0.50506 | 0.50517 | 0.50622 | 0.50161 | 0.50281 | 0.50564 | 0.50534 | 0.50264 | 0.498 | 0.50523 | 0.5055 | 0.50075 | 0.50125 | 0.47474 | 0.43454 | 0.20152 | 0.085919
Resource ID (RID)
CUTNAME | START TIME | STOP TIME | 0:15 | 0:30 | 0:45 | 1:00 | 1:15 | 1:30 | 1:45 | 2:00 | 2:15 | 2:30 | 2:45 | 3:00 | 3:15 | 3:30 | 3:45 | 4:00 | 4:15 | 4:30 | 4:45 | 5:00 | 5:15 | 5:30 | 5:45 | 6:00 | 6:15 | 6:30 | 6:45 | 7:00 | 7:15 | 7:30 | 7:45 | 8:00 | 8:15 | 8:30 | 8:45 | 9:00 | 9:15 | 9:30 | 9:45 | 10:00 | 10:15 | 10:30 | 10:45 | 11:00 | 11:15 | 11:30 | 11:45 | 12:00 | 12:15 | 12:30 | 12:45 | 13:00 | 13:15 | 13:30 | 13:45 | 14:00 | 14:15 | 14:30 | 14:45 | 15:00 | 15:15 | 15:30 | 15:45 | 16:00 | 16:15 | 16:30 | 16:45 | 17:00 | 17:15 | 17:30 | 17:45 | 18:00 | 18:15 | 18:30 | 18:45 | 19:00 | 19:15 | 19:30 | 19:45 | 20:00 | 20:15 | 20:30 | 20:45 | 21:00 | 21:15 | 21:30 | 21:45 | 22:00 | 22:15 | 22:30 | 22:45 | 23:00 | 23:15 | 23:30 | 23:45 | 24:00
AAABBBGP0100_1 (Generation) | 2011-01-01 | 2011-01-02 | 25534.89 | 25550.18 | 25733.31 | 26296.19 | 26678.35 | 26806.21 | 26565.24 | 26338.47 | 25965.36 | 25665.76 | 26310.97 | 26682.09 | 25667.26 | 26147.33 | 26358.13 | 26399.94 | 26357.18 | 26364.45 | 26331.17 | 25446.44 | 26380.29 | 26328.35 | 26152.72 | 26230.71 | 25862.78 | 26396 | 26400.42 | 25767.43 | 25071.46 | 26054.41 | 26347.68 | 26046.43 | 24702.47 | 25051.83 | 29047.13 | 29141.19 | 31798.83 | 32218.23 | 32564.52 | 33674.68 | 55582.91 | 93223.23 | 100810.6 | 99811.94 | 95564.1 | 110950 | 112620.9 | 112623.5 | 110777.8 | 112543.5 | 112502.3 | 112483.2 | 106568 | 109485.9 | 112065.7 | 112115.5 | 113150.5 | 114052.1 | 116232.8 | 116336.8 | 116529.3 | 116046.7 | 115785.8 | 116390.9 | 116100.7 | 115849.8 | 115959.9 | 116191.2 | 115471.7 | 105779.9 | 105498.1 | 105752.9 | 110223.6 | 111242.1 | 111438.7 | 111599.9 | 111718.7 | 111951.9 | 112230.5 | 112386 | 112786.8 | 113490.1 | 112508.6 | 113382.9 | 112458.5 | 112094.8 | 110875.9 | 109002 | 111927.4 | 112031.8 | 110692.9 | 109476 | 77259.14 | 44329.44 | 31521.16 | 28119.78
AAABBBGP0100_4 (Load) | 2011-01-01 | 2011-01-02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GSITETOT
CUTNAME | START TIME | STOP TIME | 0:15 | 0:30 | 0:45 | 1:00 | 1:15 | 1:30 | 1:45 | 2:00 | 2:15 | 2:30 | 2:45 | 3:00 | 3:15 | 3:30 | 3:45 | 4:00 | 4:15 | 4:30 | 4:45 | 5:00 | 5:15 | 5:30 | 5:45 | 6:00 | 6:15 | 6:30 | 6:45 | 7:00 | 7:15 | 7:30 | 7:45 | 8:00 | 8:15 | 8:30 | 8:45 | 9:00 | 9:15 | 9:30 | 9:45 | 10:00 | 10:15 | 10:30 | 10:45 | 11:00 | 11:15 | 11:30 | 11:45 | 12:00 | 12:15 | 12:30 | 12:45 | 13:00 | 13:15 | 13:30 | 13:45 | 14:00 | 14:15 | 14:30 | 14:45 | 15:00 | 15:15 | 15:30 | 15:45 | 16:00 | 16:15 | 16:30 | 16:45 | 17:00 | 17:15 | 17:30 | 17:45 | 18:00 | 18:15 | 18:30 | 18:45 | 19:00 | 19:15 | 19:30 | 19:45 | 20:00 | 20:15 | 20:30 | 20:45 | 21:00 | 21:15 | 21:30 | 21:45 | 22:00 | 22:15 | 22:30 | 22:45 | 23:00 | 23:15 | 23:30 | 23:45 | 24:00
GSITETOT_Q_ABC_77_100_U1_99_ABCG1_RNG1 | 2011-01-01 | 2011-01-02 | 25.5349 | 25.5502 | 25.7333 | 26.2962 | 26.6783 | 26.8062 | 26.5652 | 26.3385 | 25.9654 | 25.6658 | 26.311 | 26.6821 | 25.6673 | 26.1473 | 26.3581 | 26.3999 | 26.3572 | 26.3645 | 26.3312 | 25.4464 | 26.3803 | 26.3284 | 26.1527 | 26.2307 | 25.8628 | 26.396 | 26.4004 | 25.7674 | 25.0715 | 26.0544 | 26.3477 | 26.0464 | 24.7025 | 25.0518 | 26.2661 | 24.7455 | 26.0961 | 26.4212 | 26.7651 | 27.9753 | 45.0661 | 50.7079 | 50.4441 | 49.9336 | 49.7362 | 55.0019 | 55.8026 | 55.7774 | 55.4635 | 55.8124 | 55.6515 | 55.6245 | 54.2723 | 54.911 | 55.3795 | 55.4039 | 56.2675 | 56.5419 | 58.0721 | 58.3502 | 58.4232 | 58.1724 | 57.9211 | 58.2377 | 58.1022 | 57.9823 | 58.1099 | 58.1631 | 58.0699 | 53.3069 | 53.0055 | 53.069 | 54.554 | 54.8278 | 54.9724 | 55.0416 | 55.1428 | 55.2899 | 55.4187 | 55.6246 | 55.8098 | 56.0391 | 56.0729 | 56.3723 | 55.5954 | 55.449 | 55.1454 | 54.7191 | 55.3784 | 55.4001 | 55.2638 | 54.6009 | 40.581 | 25.0664 | 25.169 | 25.7038
GSITETOT_Q_ABC_77_100_U1_99_ABCG1_RNG2 | 2011-01-01 | 2011-01-02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.781 | 4.3957 | 5.7027 | 5.797 | 5.7994 | 5.6993 | 10.5168 | 42.5153 | 50.3665 | 49.8783 | 45.8279 | 55.9481 | 56.8183 | 56.8461 | 55.3143 | 56.7311 | 56.8508 | 56.8587 | 52.2957 | 54.5749 | 56.6862 | 56.7116 | 56.883 | 57.5102 | 58.1607 | 57.9866 | 58.1061 | 57.8743 | 57.8647 | 58.1532 | 57.9985 | 57.8675 | 57.85 | 58.0281 | 57.4018 | 52.473 | 52.4926 | 52.6839 | 55.6696 | 56.4143 | 56.4663 | 56.5583 | 56.5759 | 56.662 | 56.8118 | 56.7614 | 56.977 | 57.451 | 56.4357 | 57.0106 | 56.8631 | 56.6458 | 55.7305 | 54.2829 | 56.549 | 56.6317 | 55.4291 | 54.8751 | 36.6781 | 19.263 | 6.3521 | 2.416
ESIID
CUTNAME | START TIME | STOP TIME | 0:15 | 0:30 | 0:45 | 1:00 | 1:15 | 1:30 | 1:45 | 2:00 | 2:15 | 2:30 | 2:45 | 3:00 | 3:15 | 3:30 | 3:45 | 4:00 | 4:15 | 4:30 | 4:45 | 5:00 | 5:15 | 5:30 | 5:45 | 6:00 | 6:15 | 6:30 | 6:45 | 7:00 | 7:15 | 7:30 | 7:45 | 8:00 | 8:15 | 8:30 | 8:45 | 9:00 | 9:15 | 9:30 | 9:45 | 10:00 | 10:15 | 10:30 | 10:45 | 11:00 | 11:15 | 11:30 | 11:45 | 12:00 | 12:15 | 12:30 | 12:45 | 13:00 | 13:15 | 13:30 | 13:45 | 14:00 | 14:15 | 14:30 | 14:45 | 15:00 | 15:15 | 15:30 | 15:45 | 16:00 | 16:15 | 16:30 | 16:45 | 17:00 | 17:15 | 17:30 | 17:45 | 18:00 | 18:15 | 18:30 | 18:45 | 19:00 | 19:15 | 19:30 | 19:45 | 20:00 | 20:15 | 20:30 | 20:45 | 21:00 | 21:15 | 21:30 | 21:45 | 22:00 | 22:15 | 22:30 | 22:45 | 23:00 | 23:15 | 23:30 | 23:45 | 24:00
10011100011100011 | 2011-01-01 | 2011-01-02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MEB
CUTNAME | START TIME | STOP TIME | 0:15 | 0:30 | 0:45 | 1:00 | 1:15 | 1:30 | 1:45 | 2:00 | 2:15 | 2:30 | 2:45 | 3:00 | 3:15 | 3:30 | 3:45 | 4:00 | 4:15 | 4:30 | 4:45 | 5:00 | 5:15 | 5:30 | 5:45 | 6:00 | 6:15 | 6:30 | 6:45 | 7:00 | 7:15 | 7:30 | 7:45 | 8:00 | 8:15 | 8:30 | 8:45 | 9:00 | 9:15 | 9:30 | 9:45 | 10:00 | 10:15 | 10:30 | 10:45 | 11:00 | 11:15 | 11:30 | 11:45 | 12:00 | 12:15 | 12:30 | 12:45 | 13:00 | 13:15 | 13:30 | 13:45 | 14:00 | 14:15 | 14:30 | 14:45 | 15:00 | 15:15 | 15:30 | 15:45 | 16:00 | 16:15 | 16:30 | 16:45 | 17:00 | 17:15 | 17:30 | 17:45 | 18:00 | 18:15 | 18:30 | 18:45 | 19:00 | 19:15 | 19:30 | 19:45 | 20:00 | 20:15 | 20:30 | 20:45 | 21:00 | 21:15 | 21:30 | 21:45 | 22:00 | 22:15 | 22:30 | 22:45 | 23:00 | 23:15 | 23:30 | 23:45 | 24:00
MEB_ABC_AAABBBGP0100 | 2011-01-01 | 2011-01-02 | 25.5349 | 25.5502 | 25.7333 | 26.2962 | 26.6783 | 26.8062 | 26.5652 | 26.3385 | 25.9654 | 25.6658 | 26.311 | 26.6821 | 25.6673 | 26.1473 | 26.3581 | 26.3999 | 26.3572 | 26.3645 | 26.3312 | 25.4464 | 26.3803 | 26.3284 | 26.1527 | 26.2307 | 25.8628 | 26.396 | 26.4004 | 25.7674 | 25.0715 | 26.0544 | 26.3477 | 26.0464 | 24.7025 | 25.0518 | 29.0471 | 29.1412 | 31.7988 | 32.2182 | 32.5645 | 33.6747 | 55.5829 | 93.2232 | 100.8106 | 99.8119 | 95.5641 | 110.95 | 112.6209 | 112.6235 | 110.7778 | 112.5435 | 112.5023 | 112.4832 | 106.568 | 109.4859 | 112.0657 | 112.1155 | 113.1505 | 114.0521 | 116.2328 | 116.3368 | 116.5293 | 116.0467 | 115.7858 | 116.3909 | 116.1007 | 115.8498 | 115.9599 | 116.1912 | 115.4717 | 105.7799 | 105.4981 | 105.7529 | 110.2236 | 111.2421 | 111.4387 | 111.5999 | 111.7187 | 111.9519 | 112.2305 | 112.386 | 112.7868 | 113.4901 | 112.5086 | 113.3829 | 112.4585 | 112.0948 | 110.8759 | 109.002 | 111.9274 | 112.0318 | 110.6929 | 109.476 | 77.2591 | 44.3294 | 31.5212 | 28.1198
MEBMP
CUTNAME | START TIME | STOP TIME | 0:15 | 0:30 | 0:45 | 1:00 | 1:15 | 1:30 | 1:45 | 2:00 | 2:15 | 2:30 | 2:45 | 3:00 | 3:15 | 3:30 | 3:45 | 4:00 | 4:15 | 4:30 | 4:45 | 5:00 | 5:15 | 5:30 | 5:45 | 6:00 | 6:15 | 6:30 | 6:45 | 7:00 | 7:15 | 7:30 | 7:45 | 8:00 | 8:15 | 8:30 | 8:45 | 9:00 | 9:15 | 9:30 | 9:45 | 10:00 | 10:15 | 10:30 | 10:45 | 11:00 | 11:15 | 11:30 | 11:45 | 12:00 | 12:15 | 12:30 | 12:45 | 13:00 | 13:15 | 13:30 | 13:45 | 14:00 | 14:15 | 14:30 | 14:45 | 15:00 | 15:15 | 15:30 | 15:45 | 16:00 | 16:15 | 16:30 | 16:45 | 17:00 | 17:15 | 17:30 | 17:45 | 18:00 | 18:15 | 18:30 | 18:45 | 19:00 | 19:15 | 19:30 | 19:45 | 20:00 | 20:15 | 20:30 | 20:45 | 21:00 | 21:15 | 21:30 | 21:45 | 22:00 | 22:15 | 22:30 | 22:45 | 23:00 | 23:15 | 23:30 | 23:45 | 24:00
MEB_Q_100_ABC_AAABBBGP0100 | 2011-01-01 | 2011-01-02 | 25.5349 | 25.5502 | 25.7333 | 26.2962 | 26.6783 | 26.8062 | 26.5652 | 26.3385 | 25.9654 | 25.6658 | 26.311 | 26.6821 | 25.6673 | 26.1473 | 26.3581 | 26.3999 | 26.3572 | 26.3645 | 26.3312 | 25.4464 | 26.3803 | 26.3284 | 26.1527 | 26.2307 | 25.8628 | 26.396 | 26.4004 | 25.7674 | 25.0715 | 26.0544 | 26.3477 | 26.0464 | 24.7025 | 25.0518 | 29.0471 | 29.1412 | 31.7988 | 32.2182 | 32.5645 | 33.6747 | 55.5829 | 93.2232 | 100.8106 | 99.8119 | 95.5641 | 110.95 | 112.6209 | 112.6235 | 110.7778 | 112.5435 | 112.5023 | 112.4832 | 106.568 | 109.4859 | 112.0657 | 112.1155 | 113.1505 | 114.0521 | 116.2328 | 116.3368 | 116.5293 | 116.0467 | 115.7858 | 116.3909 | 116.1007 | 115.8498 | 115.9599 | 116.1912 | 115.4717 | 105.7799 | 105.4981 | 105.7529 | 110.2236 | 111.2421 | 111.4387 | 111.5999 | 111.7187 | 111.9519 | 112.2305 | 112.386 | 112.7868 | 113.4901 | 112.5086 | 113.3829 | 112.4585 | 112.0948 | 110.8759 | 109.002 | 111.9274 | 112.0318 | 110.6929 | 109.476 | 77.2591 | 44.3294 | 31.5212 | 28.1198
RTMG
CUTNAME | START TIME | STOP TIME | 0:15 | 0:30 | 0:45 | 1:00 | 1:15 | 1:30 | 1:45 | 2:00 | 2:15 | 2:30 | 2:45 | 3:00 | 3:15 | 3:30 | 3:45 | 4:00 | 4:15 | 4:30 | 4:45 | 5:00 | 5:15 | 5:30 | 5:45 | 6:00 | 6:15 | 6:30 | 6:45 | 7:00 | 7:15 | 7:30 | 7:45 | 8:00 | 8:15 | 8:30 | 8:45 | 9:00 | 9:15 | 9:30 | 9:45 | 10:00 | 10:15 | 10:30 | 10:45 | 11:00 | 11:15 | 11:30 | 11:45 | 12:00 | 12:15 | 12:30 | 12:45 | 13:00 | 13:15 | 13:30 | 13:45 | 14:00 | 14:15 | 14:30 | 14:45 | 15:00 | 15:15 | 15:30 | 15:45 | 16:00 | 16:15 | 16:30 | 16:45 | 17:00 | 17:15 | 17:30 | 17:45 | 18:00 | 18:15 | 18:30 | 18:45 | 19:00 | 19:15 | 19:30 | 19:45 | 20:00 | 20:15 | 20:30 | 20:45 | 21:00 | 21:15 | 21:30 | 21:45 | 22:00 | 22:15 | 22:30 | 22:45 | 23:00 | 23:15 | 23:30 | 23:45 | 24:00
RTMG_Q_ABCG1_ABC_RN_ABCG1 | 2011-01-01 | 2011-01-02 | 25.5349 | 25.5502 | 25.7333 | 26.2962 | 26.6783 | 26.8062 | 26.5652 | 26.3385 | 25.9654 | 25.6658 | 26.311 | 26.6821 | 25.6673 | 26.1473 | 26.3581 | 26.3999 | 26.3572 | 26.3645 | 26.3312 | 25.4464 | 26.3803 | 26.3284 | 26.1527 | 26.2307 | 25.8628 | 26.396 | 26.4004 | 25.7674 | 25.0715 | 26.0544 | 26.3477 | 26.0464 | 24.7025 | 25.0518 | 26.2661 | 24.7455 | 26.0961 | 26.4212 | 26.7651 | 27.9753 | 45.0661 | 50.7079 | 50.4441 | 49.9336 | 49.7362 | 55.0019 | 55.8026 | 55.7774 | 55.4635 | 55.8124 | 55.6515 | 55.6245 | 54.2723 | 54.911 | 55.3795 | 55.4039 | 56.2675 | 56.5419 | 58.0721 | 58.3502 | 58.4232 | 58.1724 | 57.9211 | 58.2377 | 58.1022 | 57.9823 | 58.1099 | 58.1631 | 58.0699 | 53.3069 | 53.0055 | 53.069 | 54.554 | 54.8278 | 54.9724 | 55.0416 | 55.1428 | 55.2899 | 55.4187 | 55.6246 | 55.8098 | 56.0391 | 56.0729 | 56.3723 | 55.5954 | 55.449 | 55.1454 | 54.7191 | 55.3784 | 55.4001 | 55.2638 | 54.6009 | 40.581 | 25.0664 | 25.169 | 25.7038
RTMG_Q_ABCG1_ABC_RN_ABCG2 | 2011-01-01 | 2011-01-02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.781 | 4.3957 | 5.7027 | 5.797 | 5.7994 | 5.6993 | 10.5168 | 42.5153 | 50.3665 | 49.8783 | 45.8279 | 55.9481 | 56.8183 | 56.8461 | 55.3143 | 56.7311 | 56.8508 | 56.8587 | 52.2957 | 54.5749 | 56.6862 | 56.7116 | 56.883 | 57.5102 | 58.1607 | 57.9866 | 58.1061 | 57.8743 | 57.8647 | 58.1532 | 57.9985 | 57.8675 | 57.85 | 58.0281 | 57.4018 | 52.473 | 52.4926 | 52.6839 | 55.6696 | 56.4143 | 56.4663 | 56.5583 | 56.5759 | 56.662 | 56.8118 | 56.7614 | 56.977 | 57.451 | 56.4357 | 57.0106 | 56.8631 | 56.6458 | 55.7305 | 54.2829 | 56.549 | 56.6317 | 55.4291 | 54.8751 | 36.6781 | 19.263 | 6.3521 | 2.416
NMRTETOT
CUTNAME | START TIME | STOP TIME | 0:15 | 0:30 | 0:45 | 1:00 | 1:15 | 1:30 | 1:45 | 2:00 | 2:15 | 2:30 | 2:45 | 3:00 | 3:15 | 3:30 | 3:45 | 4:00 | 4:15 | 4:30 | 4:45 | 5:00 | 5:15 | 5:30 | 5:45 | 6:00 | 6:15 | 6:30 | 6:45 | 7:00 | 7:15 | 7:30 | 7:45 | 8:00 | 8:15 | 8:30 | 8:45 | 9:00 | 9:15 | 9:30 | 9:45 | 10:00 | 10:15 | 10:30 | 10:45 | 11:00 | 11:15 | 11:30 | 11:45 | 12:00 | 12:15 | 12:30 | 12:45 | 13:00 | 13:15 | 13:30 | 13:45 | 14:00 | 14:15 | 14:30 | 14:45 | 15:00 | 15:15 | 15:30 | 15:45 | 16:00 | 16:15 | 16:30 | 16:45 | 17:00 | 17:15 | 17:30 | 17:45 | 18:00 | 18:15 | 18:30 | 18:45 | 19:00 | 19:15 | 19:30 | 19:45 | 20:00 | 20:15 | 20:30 | 20:45 | 21:00 | 21:15 | 21:30 | 21:45 | 22:00 | 22:15 | 22:30 | 22:45 | 23:00 | 23:15 | 23:30 | 23:45 | 24:00
NMRTETOT_ABC | 2011-01-01 | 2011-01-02 | 25.5349 | 25.5502 | 25.7333 | 26.2962 | 26.6783 | 26.8062 | 26.5652 | 26.3385 | 25.9654 | 25.6658 | 26.311 | 26.6821 | 25.6673 | 26.1473 | 26.3581 | 26.3999 | 26.3572 | 26.3645 | 26.3312 | 25.4464 | 26.3803 | 26.3284 | 26.1527 | 26.2307 | 25.8628 | 26.396 | 26.4004 | 25.7674 | 25.0715 | 26.0544 | 26.3477 | 26.0464 | 24.7025 | 25.0518 | 29.0471 | 29.1412 | 31.7988 | 32.2182 | 32.5645 | 33.6747 | 55.5829 | 93.2232 | 100.8106 | 99.8119 | 95.5641 | 110.95 | 112.6209 | 112.6235 | 110.7778 | 112.5435 | 112.5023 | 112.4832 | 106.568 | 109.4859 | 112.0657 | 112.1155 | 113.1505 | 114.0521 | 116.2328 | 116.3368 | 116.5293 | 116.0467 | 115.7858 | 116.3909 | 116.1007 | 115.8498 | 115.9599 | 116.1912 | 115.4717 | 105.7799 | 105.4981 | 105.7529 | 110.2236 | 111.2421 | 111.4387 | 111.5999 | 111.7187 | 111.9519 | 112.2305 | 112.386 | 112.7868 | 113.4901 | 112.5086 | 113.3829 | 112.4585 | 112.0948 | 110.8759 | 109.002 | 111.9274 | 112.0318 | 110.6929 | 109.476 | 77.2591 | 44.3294 | 31.5212 | 28.1198
NMRTETOTMP
CUTNAME | START TIME | STOP TIME | 0:15 | 0:30 | 0:45 | 1:00 | 1:15 | 1:30 | 1:45 | 2:00 | 2:15 | 2:30 | 2:45 | 3:00 | 3:15 | 3:30 | 3:45 | 4:00 | 4:15 | 4:30 | 4:45 | 5:00 | 5:15 | 5:30 | 5:45 | 6:00 | 6:15 | 6:30 | 6:45 | 7:00 | 7:15 | 7:30 | 7:45 | 8:00 | 8:15 | 8:30 | 8:45 | 9:00 | 9:15 | 9:30 | 9:45 | 10:00 | 10:15 | 10:30 | 10:45 | 11:00 | 11:15 | 11:30 | 11:45 | 12:00 | 12:15 | 12:30 | 12:45 | 13:00 | 13:15 | 13:30 | 13:45 | 14:00 | 14:15 | 14:30 | 14:45 | 15:00 | 15:15 | 15:30 | 15:45 | 16:00 | 16:15 | 16:30 | 16:45 | 17:00 | 17:15 | 17:30 | 17:45 | 18:00 | 18:15 | 18:30 | 18:45 | 19:00 | 19:15 | 19:30 | 19:45 | 20:00 | 20:15 | 20:30 | 20:45 | 21:00 | 21:15 | 21:30 | 21:45 | 22:00 | 22:15 | 22:30 | 22:45 | 23:00 | 23:15 | 23:30 | 23:45 | 24:00
NMRTETOTMP_Q_100_ABC | 2011-01-01 | 2011-01-02 | 25.5349 | 25.5502 | 25.7333 | 26.2962 | 26.6783 | 26.8062 | 26.5652 | 26.3385 | 25.9654 | 25.6658 | 26.311 | 26.6821 | 25.6673 | 26.1473 | 26.3581 | 26.3999 | 26.3572 | 26.3645 | 26.3312 | 25.4464 | 26.3803 | 26.3284 | 26.1527 | 26.2307 | 25.8628 | 26.396 | 26.4004 | 25.7674 | 25.0715 | 26.0544 | 26.3477 | 26.0464 | 24.7025 | 25.0518 | 29.0471 | 29.1412 | 31.7988 | 32.2182 | 32.5645 | 33.6747 | 55.5829 | 93.2232 | 100.8106 | 99.8119 | 95.5641 | 110.95 | 112.6209 | 112.6235 | 110.7778 | 112.5435 | 112.5023 | 112.4832 | 106.568 | 109.4859 | 112.0657 | 112.1155 | 113.1505 | 114.0521 | 116.2328 | 116.3368 | 116.5293 | 116.0467 | 115.7858 | 116.3909 | 116.1007 | 115.8498 | 115.9599 | 116.1912 | 115.4717 | 105.7799 | 105.4981 | 105.7529 | 110.2236 | 111.2421 | 111.4387 | 111.5999 | 111.7187 | 111.9519 | 112.2305 | 112.386 | 112.7868 | 113.4901 | 112.5086 | 113.3829 | 112.4585 | 112.0948 | 110.8759 | 109.002 | 111.9274 | 112.0318 | 110.6929 | 109.476 | 77.2591 | 44.3294 | 31.5212 | 28.1198
The information provided in this worksheet will reference the various interval data cuts used in the Generation Aggregation process.
This interval data cut represents the real-time SCADA (telemetry) signal received by ERCOT from the QSE responsible for scheduling the generation. It is a MWH based interval data cut. This data can be accessed through the Resource ID (RID) Extract. This data has associated status codes that will identify "missing" interval data. The status code for missing data is "9".
GSSPLITSCA_<R>
Cutname characteristics:
Resource Code
This interval data cut represents calculated generation splitting percentages assigned to each resource. The percentages are derived from the real-time SCADA (telemetry) signals. This data cut is currently provided in the data extracts.
GSPLITPER_<QSE>_<GSC>_<NC>_<RE>_<UFE>_<TDSP>_<R>_<SP>
Cutname characteristics:
QSE code,Generator Site Code,NOIE CODE (if applicable), PGC Code,UFEzone,TDSP,Resource Code,Settlement Point (Resource Node)
This interval data cut represents the actual meter data associated with the generation site. The RID data may include both energy flowing into the ERCOT grid (generation) and energy flowing from the ERCOT grid (load). It is a KWH based data cut.
"TDSP-read generation" (distribution-connected generation) - The RID and generation interval data is provided by the TDSP.
Cutname characteristics:
The EPS meter RID is assigned by ERCOT and is channel specific. Generation is Lodestar channel 1 and Load is Lodestar channel 4.
TDSP-Read data is Channel 1 only and represents net generation.
This interval data cut represents the net generation calculated by ERCOT settlement systems assigned to each resource. This is a MWH data cut that is currently provided in the data extracts. The calculated GSITETOT values equal the corresponding RTMG values.
GSITETOT_<QSE>_<GSC>_<NC>_<PGC>_<UFE>_<TDSP>_<R>_<SP>
Cutname characteristics:
QSE,Generator Site Code,NOIE CODE (if applicable),PGC Code,UFEzone,TDSP, Resource Code, Settlement Point (Resource Node)
This interval data cut represents the gensite net load calculated by ERCOT settlement systems. This is a KWH based data cut that is currently provided in the data extracts.
Cutname characteristics:
ESIID established by the TDSP representing the net load for the generation site.
METERED ENERGY BY GENSITECODE AND RID - This interval data cut represents the net RID data. Postitive values represent net generation and negative values represent net load.
Unit of measure - MWH
MEB_<GSC>_<B>
Cutname characteristics:
Generator Site Code, Resource ID
METERED ENERGY BY GENSITECODE AND RID with Ownership Attributes - This interval data cut represents the net RID data. Postitive values represent net generation and negative values represent net load.
Unit of measure - MWH
MEBMP_<QSE>_<PGC>_<GSC>_<B>
Cutname characteristics:
Generator Site Code,Resource ID
QSE, PGC Code, Generator Site Code, Resource ID
REAL TIME METERED GENERATION BY QSE, RESOURCE & SETTLEMENT POINT- This interval data cut represents the net generation calculated by ERCOT settlement systems assigned to each resource. This is a MWH data cut that is currently provided in the data extracts.
RTMG_<Q>_<R>_<SP>
Cutname characteristics:
Generator Site Code,Resource ID
QSE, Resource Code, Settlement Point
NET METERED REAL TIME ENERGY TOTAL - This interval data cut represents the net generation for the Generator Site. This is a MWH data cut that is currently provided in the data extracts.
NMRTETOT_<GSC>
Cutname characteristics:
Generator Site Code
Generator Site Code
NET METERED REAL TIME ENERGY TOTAL with ownership attributes. This interval data cut represents the net generation for the Generator Site. This is a MWH data cut that is currently provided in the data extracts.
NMRTETOTMP_<QSE>_<PGC>_<GSC>
Cutname characteristics:
Generator Site Code
QSE, PGC,Generator Site Code

## Example Data
CUTNAME | START TIME | STOP TIME | 0:15 | 0:30 | 0:45 | 1:00 | 1:15 | 1:30 | 1:45 | 2:00 | 2:15 | 2:30 | 2:45 | 3:00 | 3:15 | 3:30 | 3:45 | 4:00 | 4:15 | 4:30 | 4:45 | 5:00 | 5:15 | 5:30 | 5:45 | 6:00 | 6:15 | 6:30 | 6:45 | 7:00 | 7:15 | 7:30 | 7:45 | 8:00 | 8:15 | 8:30 | 8:45 | 9:00 | 9:15 | 9:30 | 9:45 | 10:00 | 10:15 | 10:30 | 10:45 | 11:00 | 11:15 | 11:30 | 11:45 | 12:00 | 12:15 | 12:30 | 12:45 | 13:00 | 13:15 | 13:30 | 13:45 | 14:00 | 14:15 | 14:30 | 14:45 | 15:00 | 15:15 | 15:30 | 15:45 | 16:00 | 16:15 | 16:30 | 16:45 | 17:00 | 17:15 | 17:30 | 17:45 | 18:00 | 18:15 | 18:30 | 18:45 | 19:00 | 19:15 | 19:30 | 19:45 | 20:00 | 20:15 | 20:30 | 20:45 | 21:00 | 21:15 | 21:30 | 21:45 | 22:00 | 22:15 | 22:30 | 22:45 | 23:00 | 23:15 | 23:30 | 23:45 | 24:00 | TIMESTAMP
GSSPLITSCA_ABCG1 | 2011-01-01 | 2011-01-02 | 26.702 | 26.693 | 26.735 | 26.746 | 26.804 | 26.88 | 26.659 | 26.412 | 26.06 | 25.746 | 26.357 | 26.779 | 25.727 | 26.215 | 26.423 | 26.472 | 26.438 | 26.441 | 26.401 | 25.518 | 26.463 | 26.397 | 26.229 | 26.314 | 25.942 | 26.463 | 26.47 | 25.825 | 25.118 | 26.116 | 26.435 | 26.455 | 26.079 | 26.491 | 26.313 | 24.77 | 26.166 | 26.485 | 26.837 | 27.959 | 44.42 | 50.153 | 50.065 | 49.637 | 49.261 | 54.579 | 55.384 | 55.38 | 55.039 | 55.403 | 55.221 | 55.214 | 53.954 | 54.406 | 54.928 | 54.994 | 55.856 | 56.112 | 57.635 | 57.932 | 58.047 | 57.76 | 57.517 | 57.83 | 57.7 | 57.594 | 57.685 | 57.758 | 57.719 | 52.93 | 52.606 | 52.636 | 54.084 | 54.398 | 54.533 | 54.584 | 54.675 | 54.839 | 54.977 | 55.196 | 55.371 | 55.603 | 55.644 | 55.906 | 55.166 | 55.039 | 54.766 | 54.203 | 54.923 | 54.97 | 54.8 | 54.38 | 40.738 | 26.002 | 26.369 | 26.395
GSSPLITSCA_ABCG2 | 2011-01-01 | 2011-01-02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.786 | 4.4 | 5.718 | 5.811 | 5.815 | 5.696 | 10.366 | 42.05 | 49.988 | 49.582 | 45.39 | 55.518 | 56.392 | 56.441 | 54.891 | 56.315 | 56.411 | 56.439 | 51.989 | 54.073 | 56.224 | 56.292 | 56.467 | 57.073 | 57.723 | 57.571 | 57.732 | 57.464 | 57.461 | 57.746 | 57.597 | 57.48 | 57.427 | 57.624 | 57.055 | 52.102 | 52.097 | 52.254 | 55.19 | 55.972 | 56.015 | 56.088 | 56.096 | 56.2 | 56.359 | 56.324 | 56.529 | 57.004 | 56.004 | 56.539 | 56.424 | 56.227 | 55.347 | 53.771 | 56.084 | 56.192 | 54.964 | 54.653 | 36.82 | 19.982 | 6.655 | 2.481
AAABBBGP0100_1 | 2011-01-01 | 2011-01-02 | 25534.89 | 25550.18 | 25733.31 | 26296.19 | 26678.35 | 26806.21 | 26565.24 | 26338.47 | 25965.36 | 25665.76 | 26310.97 | 26682.09 | 25667.26 | 26147.33 | 26358.13 | 26399.94 | 26357.18 | 26364.45 | 26331.17 | 25446.44 | 26380.29 | 26328.35 | 26152.72 | 26230.71 | 25862.78 | 26396 | 26400.42 | 25767.43 | 25071.46 | 26054.41 | 26347.68 | 26046.43 | 24702.47 | 25051.83 | 29047.13 | 29141.19 | 31798.83 | 32218.23 | 32564.52 | 33674.68 | 55582.91 | 93223.23 | 100810.6 | 99811.94 | 95564.1 | 110950 | 112620.9 | 112623.5 | 110777.8 | 112543.5 | 112502.3 | 112483.2 | 106568 | 109485.9 | 112065.7 | 112115.5 | 113150.5 | 114052.1 | 116232.8 | 116336.8 | 116529.3 | 116046.7 | 115785.8 | 116390.9 | 116100.7 | 115849.8 | 115959.9 | 116191.2 | 115471.7 | 105779.9 | 105498.1 | 105752.9 | 110223.6 | 111242.1 | 111438.7 | 111599.9 | 111718.7 | 111951.9 | 112230.5 | 112386 | 112786.8 | 113490.1 | 112508.6 | 113382.9 | 112458.5 | 112094.8 | 110875.9 | 109002 | 111927.4 | 112031.8 | 110692.9 | 109476 | 77259.14 | 44329.44 | 31521.16 | 28119.78
AAABBBGP0100_4 | 2011-01-01 | 2011-01-02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GSITETOT_Q_ABC_77_100_U1_99_ABCG1_RNG1 | 2011-01-01 | 2011-01-02 | 25.5349 | 25.5502 | 25.7333 | 26.2962 | 26.6783 | 26.8062 | 26.5652 | 26.3385 | 25.9654 | 25.6658 | 26.311 | 26.6821 | 25.6673 | 26.1473 | 26.3581 | 26.3999 | 26.3572 | 26.3645 | 26.3312 | 25.4464 | 26.3803 | 26.3284 | 26.1527 | 26.2307 | 25.8628 | 26.396 | 26.4004 | 25.7674 | 25.0715 | 26.0544 | 26.3477 | 26.0464 | 24.7025 | 25.0518 | 26.2661 | 24.7455 | 26.0961 | 26.4212 | 26.7651 | 27.9753 | 45.0661 | 50.7079 | 50.4441 | 49.9336 | 49.7362 | 55.0019 | 55.8026 | 55.7774 | 55.4635 | 55.8124 | 55.6515 | 55.6245 | 54.2723 | 54.911 | 55.3795 | 55.4039 | 56.2675 | 56.5419 | 58.0721 | 58.3502 | 58.4232 | 58.1724 | 57.9211 | 58.2377 | 58.1022 | 57.9823 | 58.1099 | 58.1631 | 58.0699 | 53.3069 | 53.0055 | 53.069 | 54.554 | 54.8278 | 54.9724 | 55.0416 | 55.1428 | 55.2899 | 55.4187 | 55.6246 | 55.8098 | 56.0391 | 56.0729 | 56.3723 | 55.5954 | 55.449 | 55.1454 | 54.7191 | 55.3784 | 55.4001 | 55.2638 | 54.6009 | 40.581 | 25.0664 | 25.169 | 25.7038
GSITETOT_Q_ABC_77_100_U1_99_ABCG1_RNG2 | 2011-01-01 | 2011-01-02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.781 | 4.3957 | 5.7027 | 5.797 | 5.7994 | 5.6993 | 10.5168 | 42.5153 | 50.3665 | 49.8783 | 45.8279 | 55.9481 | 56.8183 | 56.8461 | 55.3143 | 56.7311 | 56.8508 | 56.8587 | 52.2957 | 54.5749 | 56.6862 | 56.7116 | 56.883 | 57.5102 | 58.1607 | 57.9866 | 58.1061 | 57.8743 | 57.8647 | 58.1532 | 57.9985 | 57.8675 | 57.85 | 58.0281 | 57.4018 | 52.473 | 52.4926 | 52.6839 | 55.6696 | 56.4143 | 56.4663 | 56.5583 | 56.5759 | 56.662 | 56.8118 | 56.7614 | 56.977 | 57.451 | 56.4357 | 57.0106 | 56.8631 | 56.6458 | 55.7305 | 54.2829 | 56.549 | 56.6317 | 55.4291 | 54.8751 | 36.6781 | 19.263 | 6.3521 | 2.416
10011100011100011 | 2011-01-01 | 2011-01-02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GSPLITPER_Q_ABC_77_100_U1_99_ABCG1_RNG1 | 2011-01-01 | 2011-01-02 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.90426 | 0.84916 | 0.82066 | 0.82007 | 0.82191 | 0.83075 | 0.81079 | 0.54394 | 0.50038 | 0.50028 | 0.52045 | 0.49574 | 0.49549 | 0.49526 | 0.50067 | 0.49592 | 0.49467 | 0.49451 | 0.50927 | 0.50153 | 0.49417 | 0.49417 | 0.49728 | 0.49575 | 0.49962 | 0.50156 | 0.50136 | 0.50128 | 0.50024 | 0.50036 | 0.50045 | 0.5005 | 0.50112 | 0.50058 | 0.50289 | 0.50394 | 0.50243 | 0.50182 | 0.49494 | 0.49287 | 0.4933 | 0.49321 | 0.49359 | 0.49387 | 0.49379 | 0.49494 | 0.49483 | 0.49378 | 0.49839 | 0.49719 | 0.49436 | 0.49466 | 0.49736 | 0.502 | 0.49477 | 0.4945 | 0.49925 | 0.49875 | 0.52526 | 0.56546 | 0.79848 | 0.91408
GSPLITPER_Q_ABC_77_100_U1_99_ABCG2_RNG2 | 2011-01-01 | 2011-01-02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.095742 | 0.15084 | 0.17934 | 0.17993 | 0.17809 | 0.16925 | 0.18921 | 0.45606 | 0.49962 | 0.49972 | 0.47955 | 0.50426 | 0.50451 | 0.50474 | 0.49933 | 0.50408 | 0.50533 | 0.50549 | 0.49073 | 0.49847 | 0.50583 | 0.50583 | 0.50272 | 0.50425 | 0.50038 | 0.49844 | 0.49864 | 0.49872 | 0.49976 | 0.49964 | 0.49955 | 0.4995 | 0.49888 | 0.49942 | 0.49711 | 0.49606 | 0.49757 | 0.49818 | 0.50506 | 0.50713 | 0.5067 | 0.50679 | 0.50641 | 0.50613 | 0.50621 | 0.50506 | 0.50517 | 0.50622 | 0.50161 | 0.50281 | 0.50564 | 0.50534 | 0.50264 | 0.498 | 0.50523 | 0.5055 | 0.50075 | 0.50125 | 0.47474 | 0.43454 | 0.20152 | 0.085919
MEB_ABC_AAABBBGP0100 | 2011-01-01 | 2011-01-02 | 25.5349 | 25.5502 | 25.7333 | 26.2962 | 26.6783 | 26.8062 | 26.5652 | 26.3385 | 25.9654 | 25.6658 | 26.311 | 26.6821 | 25.6673 | 26.1473 | 26.3581 | 26.3999 | 26.3572 | 26.3645 | 26.3312 | 25.4464 | 26.3803 | 26.3284 | 26.1527 | 26.2307 | 25.8628 | 26.396 | 26.4004 | 25.7674 | 25.0715 | 26.0544 | 26.3477 | 26.0464 | 24.7025 | 25.0518 | 29.0471 | 29.1412 | 31.7988 | 32.2182 | 32.5645 | 33.6747 | 55.5829 | 93.2232 | 100.8106 | 99.8119 | 95.5641 | 110.95 | 112.6209 | 112.6235 | 110.7778 | 112.5435 | 112.5023 | 112.4832 | 106.568 | 109.4859 | 112.0657 | 112.1155 | 113.1505 | 114.0521 | 116.2328 | 116.3368 | 116.5293 | 116.0467 | 115.7858 | 116.3909 | 116.1007 | 115.8498 | 115.9599 | 116.1912 | 115.4717 | 105.7799 | 105.4981 | 105.7529 | 110.2236 | 111.2421 | 111.4387 | 111.5999 | 111.7187 | 111.9519 | 112.2305 | 112.386 | 112.7868 | 113.4901 | 112.5086 | 113.3829 | 112.4585 | 112.0948 | 110.8759 | 109.002 | 111.9274 | 112.0318 | 110.6929 | 109.476 | 77.2591 | 44.3294 | 31.5212 | 28.1198
MEB_Q_100_ABC_AAABBBGP0100 | 2011-01-01 | 2011-01-02 | 25.5349 | 25.5502 | 25.7333 | 26.2962 | 26.6783 | 26.8062 | 26.5652 | 26.3385 | 25.9654 | 25.6658 | 26.311 | 26.6821 | 25.6673 | 26.1473 | 26.3581 | 26.3999 | 26.3572 | 26.3645 | 26.3312 | 25.4464 | 26.3803 | 26.3284 | 26.1527 | 26.2307 | 25.8628 | 26.396 | 26.4004 | 25.7674 | 25.0715 | 26.0544 | 26.3477 | 26.0464 | 24.7025 | 25.0518 | 29.0471 | 29.1412 | 31.7988 | 32.2182 | 32.5645 | 33.6747 | 55.5829 | 93.2232 | 100.8106 | 99.8119 | 95.5641 | 110.95 | 112.6209 | 112.6235 | 110.7778 | 112.5435 | 112.5023 | 112.4832 | 106.568 | 109.4859 | 112.0657 | 112.1155 | 113.1505 | 114.0521 | 116.2328 | 116.3368 | 116.5293 | 116.0467 | 115.7858 | 116.3909 | 116.1007 | 115.8498 | 115.9599 | 116.1912 | 115.4717 | 105.7799 | 105.4981 | 105.7529 | 110.2236 | 111.2421 | 111.4387 | 111.5999 | 111.7187 | 111.9519 | 112.2305 | 112.386 | 112.7868 | 113.4901 | 112.5086 | 113.3829 | 112.4585 | 112.0948 | 110.8759 | 109.002 | 111.9274 | 112.0318 | 110.6929 | 109.476 | 77.2591 | 44.3294 | 31.5212 | 28.1198
RTMG_Q_ABCG1_ABC_RN_ABCG1 | 2011-01-01 | 2011-01-02 | 25.5349 | 25.5502 | 25.7333 | 26.2962 | 26.6783 | 26.8062 | 26.5652 | 26.3385 | 25.9654 | 25.6658 | 26.311 | 26.6821 | 25.6673 | 26.1473 | 26.3581 | 26.3999 | 26.3572 | 26.3645 | 26.3312 | 25.4464 | 26.3803 | 26.3284 | 26.1527 | 26.2307 | 25.8628 | 26.396 | 26.4004 | 25.7674 | 25.0715 | 26.0544 | 26.3477 | 26.0464 | 24.7025 | 25.0518 | 26.2661 | 24.7455 | 26.0961 | 26.4212 | 26.7651 | 27.9753 | 45.0661 | 50.7079 | 50.4441 | 49.9336 | 49.7362 | 55.0019 | 55.8026 | 55.7774 | 55.4635 | 55.8124 | 55.6515 | 55.6245 | 54.2723 | 54.911 | 55.3795 | 55.4039 | 56.2675 | 56.5419 | 58.0721 | 58.3502 | 58.4232 | 58.1724 | 57.9211 | 58.2377 | 58.1022 | 57.9823 | 58.1099 | 58.1631 | 58.0699 | 53.3069 | 53.0055 | 53.069 | 54.554 | 54.8278 | 54.9724 | 55.0416 | 55.1428 | 55.2899 | 55.4187 | 55.6246 | 55.8098 | 56.0391 | 56.0729 | 56.3723 | 55.5954 | 55.449 | 55.1454 | 54.7191 | 55.3784 | 55.4001 | 55.2638 | 54.6009 | 40.581 | 25.0664 | 25.169 | 25.7038
RTMG_Q_ABCG1_ABC_RN_ABCG2 | 2011-01-01 | 2011-01-02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.781 | 4.3957 | 5.7027 | 5.797 | 5.7994 | 5.6993 | 10.5168 | 42.5153 | 50.3665 | 49.8783 | 45.8279 | 55.9481 | 56.8183 | 56.8461 | 55.3143 | 56.7311 | 56.8508 | 56.8587 | 52.2957 | 54.5749 | 56.6862 | 56.7116 | 56.883 | 57.5102 | 58.1607 | 57.9866 | 58.1061 | 57.8743 | 57.8647 | 58.1532 | 57.9985 | 57.8675 | 57.85 | 58.0281 | 57.4018 | 52.473 | 52.4926 | 52.6839 | 55.6696 | 56.4143 | 56.4663 | 56.5583 | 56.5759 | 56.662 | 56.8118 | 56.7614 | 56.977 | 57.451 | 56.4357 | 57.0106 | 56.8631 | 56.6458 | 55.7305 | 54.2829 | 56.549 | 56.6317 | 55.4291 | 54.8751 | 36.6781 | 19.263 | 6.3521 | 2.416
NMRTETOT_ABC | 2011-01-01 | 2011-01-02 | 25.5349 | 25.5502 | 25.7333 | 26.2962 | 26.6783 | 26.8062 | 26.5652 | 26.3385 | 25.9654 | 25.6658 | 26.311 | 26.6821 | 25.6673 | 26.1473 | 26.3581 | 26.3999 | 26.3572 | 26.3645 | 26.3312 | 25.4464 | 26.3803 | 26.3284 | 26.1527 | 26.2307 | 25.8628 | 26.396 | 26.4004 | 25.7674 | 25.0715 | 26.0544 | 26.3477 | 26.0464 | 24.7025 | 25.0518 | 29.0471 | 29.1412 | 31.7988 | 32.2182 | 32.5645 | 33.6747 | 55.5829 | 93.2232 | 100.8106 | 99.8119 | 95.5641 | 110.95 | 112.6209 | 112.6235 | 110.7778 | 112.5435 | 112.5023 | 112.4832 | 106.568 | 109.4859 | 112.0657 | 112.1155 | 113.1505 | 114.0521 | 116.2328 | 116.3368 | 116.5293 | 116.0467 | 115.7858 | 116.3909 | 116.1007 | 115.8498 | 115.9599 | 116.1912 | 115.4717 | 105.7799 | 105.4981 | 105.7529 | 110.2236 | 111.2421 | 111.4387 | 111.5999 | 111.7187 | 111.9519 | 112.2305 | 112.386 | 112.7868 | 113.4901 | 112.5086 | 113.3829 | 112.4585 | 112.0948 | 110.8759 | 109.002 | 111.9274 | 112.0318 | 110.6929 | 109.476 | 77.2591 | 44.3294 | 31.5212 | 28.1198
NMRTETOTMP_Q_100_ABC | 2011-01-01 | 2011-01-02 | 25.5349 | 25.5502 | 25.7333 | 26.2962 | 26.6783 | 26.8062 | 26.5652 | 26.3385 | 25.9654 | 25.6658 | 26.311 | 26.6821 | 25.6673 | 26.1473 | 26.3581 | 26.3999 | 26.3572 | 26.3645 | 26.3312 | 25.4464 | 26.3803 | 26.3284 | 26.1527 | 26.2307 | 25.8628 | 26.396 | 26.4004 | 25.7674 | 25.0715 | 26.0544 | 26.3477 | 26.0464 | 24.7025 | 25.0518 | 29.0471 | 29.1412 | 31.7988 | 32.2182 | 32.5645 | 33.6747 | 55.5829 | 93.2232 | 100.8106 | 99.8119 | 95.5641 | 110.95 | 112.6209 | 112.6235 | 110.7778 | 112.5435 | 112.5023 | 112.4832 | 106.568 | 109.4859 | 112.0657 | 112.1155 | 113.1505 | 114.0521 | 116.2328 | 116.3368 | 116.5293 | 116.0467 | 115.7858 | 116.3909 | 116.1007 | 115.8498 | 115.9599 | 116.1912 | 115.4717 | 105.7799 | 105.4981 | 105.7529 | 110.2236 | 111.2421 | 111.4387 | 111.5999 | 111.7187 | 111.9519 | 112.2305 | 112.386 | 112.7868 | 113.4901 | 112.5086 | 113.3829 | 112.4585 | 112.0948 | 110.8759 | 109.002 | 111.9274 | 112.0318 | 110.6929 | 109.476 | 77.2591 | 44.3294 | 31.5212 | 28.1198

## Net Load & Gen Calc
| Generation | Load
Interval | AAABBBGP0100_1 | AAABBBGP0100_4 | Sum Gen (MWH) | Sum Load (MWH) | Net Generation | Net Load
0:15 | 25534.89 | 0 | 25.5349 | 0 | 25.5349 | 0
0:30 | 25550.18 | 0 | 25.5502 | 0 | 25.5502 | 0
0:45 | 25733.31 | 0 | 25.7333 | 0 | 25.7333 | 0
1:00 | 26296.19 | 0 | 26.2962 | 0 | 26.2962 | 0
1:15 | 26678.35 | 0 | 26.6783 | 0 | 26.6783 | 0
1:30 | 26806.21 | 0 | 26.8062 | 0 | 26.8062 | 0
1:45 | 26565.24 | 0 | 26.5652 | 0 | 26.5652 | 0
2:00 | 26338.47 | 0 | 26.3385 | 0 | 26.3385 | 0
2:15 | 25965.36 | 0 | 25.9654 | 0 | 25.9654 | 0
2:30 | 25665.76 | 0 | 25.6658 | 0 | 25.6658 | 0
2:45 | 26310.97 | 0 | 26.311 | 0 | 26.311 | 0
3:00 | 26682.09 | 0 | 26.6821 | 0 | 26.6821 | 0
3:15 | 25667.26 | 0 | 25.6673 | 0 | 25.6673 | 0
3:30 | 26147.33 | 0 | 26.1473 | 0 | 26.1473 | 0
3:45 | 26358.13 | 0 | 26.3581 | 0 | 26.3581 | 0
4:00 | 26399.94 | 0 | 26.3999 | 0 | 26.3999 | 0
4:15 | 26357.18 | 0 | 26.3572 | 0 | 26.3572 | 0
4:30 | 26364.45 | 0 | 26.3645 | 0 | 26.3645 | 0
4:45 | 26331.17 | 0 | 26.3312 | 0 | 26.3312 | 0
5:00 | 25446.44 | 0 | 25.4464 | 0 | 25.4464 | 0
5:15 | 26380.29 | 0 | 26.3803 | 0 | 26.3803 | 0
5:30 | 26328.35 | 0 | 26.3284 | 0 | 26.3284 | 0
5:45 | 26152.72 | 0 | 26.1527 | 0 | 26.1527 | 0
6:00 | 26230.71 | 0 | 26.2307 | 0 | 26.2307 | 0
6:15 | 25862.78 | 0 | 25.8628 | 0 | 25.8628 | 0
6:30 | 26396 | 0 | 26.396 | 0 | 26.396 | 0
6:45 | 26400.42 | 0 | 26.4004 | 0 | 26.4004 | 0
7:00 | 25767.43 | 0 | 25.7674 | 0 | 25.7674 | 0
7:15 | 25071.46 | 0 | 25.0715 | 0 | 25.0715 | 0
7:30 | 26054.41 | 0 | 26.0544 | 0 | 26.0544 | 0
7:45 | 26347.68 | 0 | 26.3477 | 0 | 26.3477 | 0
8:00 | 26046.43 | 0 | 26.0464 | 0 | 26.0464 | 0
8:15 | 24702.47 | 0 | 24.7025 | 0 | 24.7025 | 0
8:30 | 25051.83 | 0 | 25.0518 | 0 | 25.0518 | 0
8:45 | 29047.13 | 0 | 29.0471 | 0 | 29.0471 | 0
9:00 | 29141.19 | 0 | 29.1412 | 0 | 29.1412 | 0
9:15 | 31798.83 | 0 | 31.7988 | 0 | 31.7988 | 0
9:30 | 32218.23 | 0 | 32.2182 | 0 | 32.2182 | 0
9:45 | 32564.52 | 0 | 32.5645 | 0 | 32.5645 | 0
10:00 | 33674.68 | 0 | 33.6747 | 0 | 33.6747 | 0
10:15 | 55582.91 | 0 | 55.5829 | 0 | 55.5829 | 0
10:30 | 93223.23 | 0 | 93.2232 | 0 | 93.2232 | 0
10:45 | 100810.6 | 0 | 100.8106 | 0 | 100.8106 | 0
11:00 | 99811.94 | 0 | 99.8119 | 0 | 99.8119 | 0
11:15 | 95564.1 | 0 | 95.5641 | 0 | 95.5641 | 0
11:30 | 110950 | 0 | 110.95 | 0 | 110.95 | 0
11:45 | 112620.9 | 0 | 112.6209 | 0 | 112.6209 | 0
12:00 | 112623.5 | 0 | 112.6235 | 0 | 112.6235 | 0
12:15 | 110777.8 | 0 | 110.7778 | 0 | 110.7778 | 0
12:30 | 112543.5 | 0 | 112.5435 | 0 | 112.5435 | 0
12:45 | 112502.3 | 0 | 112.5023 | 0 | 112.5023 | 0
13:00 | 112483.2 | 0 | 112.4832 | 0 | 112.4832 | 0
13:15 | 106568 | 0 | 106.568 | 0 | 106.568 | 0
13:30 | 109485.9 | 0 | 109.4859 | 0 | 109.4859 | 0
13:45 | 112065.7 | 0 | 112.0657 | 0 | 112.0657 | 0
14:00 | 112115.5 | 0 | 112.1155 | 0 | 112.1155 | 0
14:15 | 113150.5 | 0 | 113.1505 | 0 | 113.1505 | 0
14:30 | 114052.1 | 0 | 114.0521 | 0 | 114.0521 | 0
14:45 | 116232.8 | 0 | 116.2328 | 0 | 116.2328 | 0
15:00 | 116336.8 | 0 | 116.3368 | 0 | 116.3368 | 0
15:15 | 116529.3 | 0 | 116.5293 | 0 | 116.5293 | 0
15:30 | 116046.7 | 0 | 116.0467 | 0 | 116.0467 | 0
15:45 | 115785.8 | 0 | 115.7858 | 0 | 115.7858 | 0
16:00 | 116390.9 | 0 | 116.3909 | 0 | 116.3909 | 0
16:15 | 116100.7 | 0 | 116.1007 | 0 | 116.1007 | 0
16:30 | 115849.8 | 0 | 115.8498 | 0 | 115.8498 | 0
16:45 | 115959.9 | 0 | 115.9599 | 0 | 115.9599 | 0
17:00 | 116191.2 | 0 | 116.1912 | 0 | 116.1912 | 0
17:15 | 115471.7 | 0 | 115.4717 | 0 | 115.4717 | 0
17:30 | 105779.9 | 0 | 105.7799 | 0 | 105.7799 | 0
17:45 | 105498.1 | 0 | 105.4981 | 0 | 105.4981 | 0
18:00 | 105752.9 | 0 | 105.7529 | 0 | 105.7529 | 0
18:15 | 110223.6 | 0 | 110.2236 | 0 | 110.2236 | 0
18:30 | 111242.1 | 0 | 111.2421 | 0 | 111.2421 | 0
18:45 | 111438.7 | 0 | 111.4387 | 0 | 111.4387 | 0
19:00 | 111599.9 | 0 | 111.5999 | 0 | 111.5999 | 0
19:15 | 111718.7 | 0 | 111.7187 | 0 | 111.7187 | 0
19:30 | 111951.9 | 0 | 111.9519 | 0 | 111.9519 | 0
19:45 | 112230.5 | 0 | 112.2305 | 0 | 112.2305 | 0
20:00 | 112386 | 0 | 112.386 | 0 | 112.386 | 0
20:15 | 112786.8 | 0 | 112.7868 | 0 | 112.7868 | 0
20:30 | 113490.1 | 0 | 113.4901 | 0 | 113.4901 | 0
20:45 | 112508.6 | 0 | 112.5086 | 0 | 112.5086 | 0
21:00 | 113382.9 | 0 | 113.3829 | 0 | 113.3829 | 0
21:15 | 112458.5 | 0 | 112.4585 | 0 | 112.4585 | 0
21:30 | 112094.8 | 0 | 112.0948 | 0 | 112.0948 | 0
21:45 | 110875.9 | 0 | 110.8759 | 0 | 110.8759 | 0
22:00 | 109002 | 0 | 109.002 | 0 | 109.002 | 0
22:15 | 111927.4 | 0 | 111.9274 | 0 | 111.9274 | 0
22:30 | 112031.8 | 0 | 112.0318 | 0 | 112.0318 | 0
22:45 | 110692.9 | 0 | 110.6929 | 0 | 110.6929 | 0
23:00 | 109476 | 0 | 109.476 | 0 | 109.476 | 0
23:15 | 77259.14 | 0 | 77.2591 | 0 | 77.2591 | 0
23:30 | 44329.44 | 0 | 44.3294 | 0 | 44.3294 | 0
23:45 | 31521.16 | 0 | 31.5212 | 0 | 31.5212 | 0
24:00 | 28119.78 | 0 | 28.1198 | 0 | 28.1198 | 0
For the use of settlement purposes, generation netting is defined as " the use of multiple in and out metered energy values to determine generator output. In the example below, there is one metering point associated with the gensite. All generation (CH1) and load channels (CH4) are summed. The Sum Generation and Sum Load are converted to MWh values, then netted. The ESIID associated with the gensite is populated with the net load value in KWh.

## Splitting Percentages Calc
| Unit #1 SCADA | Unit #2 SCADA |  | % weight scada 1 | % weight scada 2
Interval | GSSPLITSCA_ABCG1 | GSSPLITSCA_ABCG2 | sum of SCADA | GSPLITPER_Q_ABC_77_100_U1_99_ABCG1_RNG1 | GSPLITPER_Q_ABC_77_100_U1_99_ABCG1_RNG2
0:15 | 26.702 | 0 | 26.702 | 1 | 0
0:30 | 26.693 | 0 | 26.693 | 1 | 0
0:45 | 26.735 | 0 | 26.735 | 1 | 0
1:00 | 26.746 | 0 | 26.746 | 1 | 0
1:15 | 26.804 | 0 | 26.804 | 1 | 0
1:30 | 26.88 | 0 | 26.88 | 1 | 0
1:45 | 26.659 | 0 | 26.659 | 1 | 0
2:00 | 26.412 | 0 | 26.412 | 1 | 0
2:15 | 26.06 | 0 | 26.06 | 1 | 0
2:30 | 25.746 | 0 | 25.746 | 1 | 0
2:45 | 26.357 | 0 | 26.357 | 1 | 0
3:00 | 26.779 | 0 | 26.779 | 1 | 0
3:15 | 25.727 | 0 | 25.727 | 1 | 0
3:30 | 26.215 | 0 | 26.215 | 1 | 0
3:45 | 26.423 | 0 | 26.423 | 1 | 0
4:00 | 26.472 | 0 | 26.472 | 1 | 0
4:15 | 26.438 | 0 | 26.438 | 1 | 0
4:30 | 26.441 | 0 | 26.441 | 1 | 0
4:45 | 26.401 | 0 | 26.401 | 1 | 0
5:00 | 25.518 | 0 | 25.518 | 1 | 0
5:15 | 26.463 | 0 | 26.463 | 1 | 0
5:30 | 26.397 | 0 | 26.397 | 1 | 0
5:45 | 26.229 | 0 | 26.229 | 1 | 0
6:00 | 26.314 | 0 | 26.314 | 1 | 0
6:15 | 25.942 | 0 | 25.942 | 1 | 0
6:30 | 26.463 | 0 | 26.463 | 1 | 0
6:45 | 26.47 | 0 | 26.47 | 1 | 0
7:00 | 25.825 | 0 | 25.825 | 1 | 0
7:15 | 25.118 | 0 | 25.118 | 1 | 0
7:30 | 26.116 | 0 | 26.116 | 1 | 0
7:45 | 26.435 | 0 | 26.435 | 1 | 0
8:00 | 26.455 | 0 | 26.455 | 1 | 0
8:15 | 26.079 | 0 | 26.079 | 1 | 0
8:30 | 26.491 | 0 | 26.491 | 1 | 0
8:45 | 26.313 | 2.786 | 29.099 | 0.90426 | 0.095742
9:00 | 24.77 | 4.4 | 29.17 | 0.84916 | 0.15084
9:15 | 26.166 | 5.718 | 31.884 | 0.82066 | 0.17934
9:30 | 26.485 | 5.811 | 32.296 | 0.82007 | 0.17993
9:45 | 26.837 | 5.815 | 32.652 | 0.82191 | 0.17809
10:00 | 27.959 | 5.696 | 33.655 | 0.83075 | 0.16925
10:15 | 44.42 | 10.366 | 54.786 | 0.81079 | 0.18921
10:30 | 50.153 | 42.05 | 92.203 | 0.54394 | 0.45606
10:45 | 50.065 | 49.988 | 100.053 | 0.50038 | 0.49962
11:00 | 49.637 | 49.582 | 99.219 | 0.50028 | 0.49972
11:15 | 49.261 | 45.39 | 94.651 | 0.52045 | 0.47955
11:30 | 54.579 | 55.518 | 110.097 | 0.49574 | 0.50426
11:45 | 55.384 | 56.392 | 111.776 | 0.49549 | 0.50451
12:00 | 55.38 | 56.441 | 111.821 | 0.49526 | 0.50474
12:15 | 55.039 | 54.891 | 109.93 | 0.50067 | 0.49933
12:30 | 55.403 | 56.315 | 111.718 | 0.49592 | 0.50408
12:45 | 55.221 | 56.411 | 111.632 | 0.49467 | 0.50533
13:00 | 55.214 | 56.439 | 111.653 | 0.49451 | 0.50549
13:15 | 53.954 | 51.989 | 105.943 | 0.50927 | 0.49073
13:30 | 54.406 | 54.073 | 108.479 | 0.50153 | 0.49847
13:45 | 54.928 | 56.224 | 111.152 | 0.49417 | 0.50583
14:00 | 54.994 | 56.292 | 111.286 | 0.49417 | 0.50583
14:15 | 55.856 | 56.467 | 112.323 | 0.49728 | 0.50272
14:30 | 56.112 | 57.073 | 113.185 | 0.49575 | 0.50425
14:45 | 57.635 | 57.723 | 115.358 | 0.49962 | 0.50038
15:00 | 57.932 | 57.571 | 115.503 | 0.50156 | 0.49844
15:15 | 58.047 | 57.732 | 115.779 | 0.50136 | 0.49864
15:30 | 57.76 | 57.464 | 115.224 | 0.50128 | 0.49872
15:45 | 57.517 | 57.461 | 114.978 | 0.50024 | 0.49976
16:00 | 57.83 | 57.746 | 115.576 | 0.50036 | 0.49964
16:15 | 57.7 | 57.597 | 115.297 | 0.50045 | 0.49955
16:30 | 57.594 | 57.48 | 115.074 | 0.5005 | 0.4995
16:45 | 57.685 | 57.427 | 115.112 | 0.50112 | 0.49888
17:00 | 57.758 | 57.624 | 115.382 | 0.50058 | 0.49942
17:15 | 57.719 | 57.055 | 114.774 | 0.50289 | 0.49711
17:30 | 52.93 | 52.102 | 105.032 | 0.50394 | 0.49606
17:45 | 52.606 | 52.097 | 104.703 | 0.50243 | 0.49757
18:00 | 52.636 | 52.254 | 104.89 | 0.50182 | 0.49818
18:15 | 54.084 | 55.19 | 109.274 | 0.49494 | 0.50506
18:30 | 54.398 | 55.972 | 110.37 | 0.49287 | 0.50713
18:45 | 54.533 | 56.015 | 110.548 | 0.4933 | 0.5067
19:00 | 54.584 | 56.088 | 110.672 | 0.49321 | 0.50679
19:15 | 54.675 | 56.096 | 110.771 | 0.49359 | 0.50641
19:30 | 54.839 | 56.2 | 111.039 | 0.49387 | 0.50613
19:45 | 54.977 | 56.359 | 111.336 | 0.49379 | 0.50621
20:00 | 55.196 | 56.324 | 111.52 | 0.49494 | 0.50506
20:15 | 55.371 | 56.529 | 111.9 | 0.49483 | 0.50517
20:30 | 55.603 | 57.004 | 112.607 | 0.49378 | 0.50622
20:45 | 55.644 | 56.004 | 111.648 | 0.49839 | 0.50161
21:00 | 55.906 | 56.539 | 112.445 | 0.49719 | 0.50281
21:15 | 55.166 | 56.424 | 111.59 | 0.49436 | 0.50564
21:30 | 55.039 | 56.227 | 111.266 | 0.49466 | 0.50534
21:45 | 54.766 | 55.347 | 110.113 | 0.49736 | 0.50264
22:00 | 54.203 | 53.771 | 107.974 | 0.502 | 0.498
22:15 | 54.923 | 56.084 | 111.007 | 0.49477 | 0.50523
22:30 | 54.97 | 56.192 | 111.162 | 0.4945 | 0.5055
22:45 | 54.8 | 54.964 | 109.764 | 0.49925 | 0.50075
23:00 | 54.38 | 54.653 | 109.033 | 0.49875 | 0.50125
23:15 | 40.738 | 36.82 | 77.558 | 0.52526 | 0.47474
23:30 | 26.002 | 19.982 | 45.984 | 0.56546 | 0.43454
23:45 | 26.369 | 6.655 | 33.024 | 0.79848 | 0.20152
24:00 | 26.395 | 2.481 | 28.876 | 0.91408 | 0.085919
In the example below, there are two generating units associated with the gensite. ERCOT EMMS integrates the signals and provides a MWh value for each 15-minute interval for each resource (GSSPLITSCA). Aggregation receives the MWh per interval SCADA value from EMMS and calculates the splitting percentages to be applied to the net generation MWh values retrieved from the EPS meters. The "sum of SCADA" represents the total of all SCADA values for each unit by interval. In instances where all SCADA signal values are valid zeros (not missing), each generator unit will receive an equal percentage of the net generation total (Example - 2 units = .5, 3 units = .3333, 4 units = .25).
For any interval when EMMS has not received a valid SCADA signal for any one of the generating units, EMMS assigns a “missing” code (status code "9") in the data set and aggregation will use the last valid percentage ratio for a completed interval. This splitting mechanism will be used to facilitate provision of unit specific data to settlement for sites with multi-unit metering and sites which net generation and auxiliary load. The status codes can be found in the LSCHANNELCUTSTATUS file in the Resource ID extract.

## GSITETOT Calc
Interval | % weight scada 1 | % weight scada 2
0:15 | GSPLITPER_Q_ABC_77_100_U1_99_ABCG1_RNG1 | GSPLITPER_Q_ABC_77_100_U1_99_ABCG1_RNG2 | Net Generation | GSITETOT_Q_ABC_77_100_U1_99_ABCG1_RNG1 | GSITETOT_Q_ABC_77_100_U1_99_ABCG1_RNG2
0:30 | 1 | 0 | 25.5349 | 25.5349 | 0
0:45 | 1 | 0 | 25.5502 | 25.5502 | 0
1:00 | 1 | 0 | 25.7333 | 25.7333 | 0
1:15 | 1 | 0 | 26.2962 | 26.2962 | 0
1:30 | 1 | 0 | 26.6783 | 26.6783 | 0
1:45 | 1 | 0 | 26.8062 | 26.8062 | 0
2:00 | 1 | 0 | 26.5652 | 26.5652 | 0
2:15 | 1 | 0 | 26.3385 | 26.3385 | 0
2:30 | 1 | 0 | 25.9654 | 25.9654 | 0
2:45 | 1 | 0 | 25.6658 | 25.6658 | 0
3:00 | 1 | 0 | 26.311 | 26.311 | 0
3:15 | 1 | 0 | 26.6821 | 26.6821 | 0
3:30 | 1 | 0 | 25.6673 | 25.6673 | 0
3:45 | 1 | 0 | 26.1473 | 26.1473 | 0
4:00 | 1 | 0 | 26.3581 | 26.3581 | 0
4:15 | 1 | 0 | 26.3999 | 26.3999 | 0
4:30 | 1 | 0 | 26.3572 | 26.3572 | 0
4:45 | 1 | 0 | 26.3645 | 26.3645 | 0
5:00 | 1 | 0 | 26.3312 | 26.3312 | 0
5:15 | 1 | 0 | 25.4464 | 25.4464 | 0
5:30 | 1 | 0 | 26.3803 | 26.3803 | 0
5:45 | 1 | 0 | 26.3284 | 26.3284 | 0
6:00 | 1 | 0 | 26.1527 | 26.1527 | 0
6:15 | 1 | 0 | 26.2307 | 26.2307 | 0
6:30 | 1 | 0 | 25.8628 | 25.8628 | 0
6:45 | 1 | 0 | 26.396 | 26.396 | 0
7:00 | 1 | 0 | 26.4004 | 26.4004 | 0
7:15 | 1 | 0 | 25.7674 | 25.7674 | 0
7:30 | 1 | 0 | 25.0715 | 25.0715 | 0
7:45 | 1 | 0 | 26.0544 | 26.0544 | 0
8:00 | 1 | 0 | 26.3477 | 26.3477 | 0
8:15 | 1 | 0 | 26.0464 | 26.0464 | 0
8:30 | 1 | 0 | 24.7025 | 24.7025 | 0
8:45 | 1 | 0 | 25.0518 | 25.0518 | 0
9:00 | 0.90426 | 0.095742 | 29.0471 | 26.2661 | 2.781
9:15 | 0.84916 | 0.15084 | 29.1412 | 24.7455 | 4.3957
9:30 | 0.82066 | 0.17934 | 31.7988 | 26.0961 | 5.7027
9:45 | 0.82007 | 0.17993 | 32.2182 | 26.4212 | 5.797
10:00 | 0.82191 | 0.17809 | 32.5645 | 26.7651 | 5.7994
10:15 | 0.83075 | 0.16925 | 33.6747 | 27.9753 | 5.6993
10:30 | 0.81079 | 0.18921 | 55.5829 | 45.0661 | 10.5168
10:45 | 0.54394 | 0.45606 | 93.2232 | 50.7079 | 42.5153
11:00 | 0.50038 | 0.49962 | 100.8106 | 50.4441 | 50.3665
11:15 | 0.50028 | 0.49972 | 99.8119 | 49.9336 | 49.8783
11:30 | 0.52045 | 0.47955 | 95.5641 | 49.7362 | 45.8279
11:45 | 0.49574 | 0.50426 | 110.95 | 55.0019 | 55.9481
12:00 | 0.49549 | 0.50451 | 112.6209 | 55.8026 | 56.8183
12:15 | 0.49526 | 0.50474 | 112.6235 | 55.7774 | 56.8461
12:30 | 0.50067 | 0.49933 | 110.7778 | 55.4635 | 55.3143
12:45 | 0.49592 | 0.50408 | 112.5435 | 55.8124 | 56.7311
13:00 | 0.49467 | 0.50533 | 112.5023 | 55.6515 | 56.8508
13:15 | 0.49451 | 0.50549 | 112.4832 | 55.6245 | 56.8587
13:30 | 0.50927 | 0.49073 | 106.568 | 54.2723 | 52.2957
13:45 | 0.50153 | 0.49847 | 109.4859 | 54.911 | 54.5749
14:00 | 0.49417 | 0.50583 | 112.0657 | 55.3795 | 56.6862
14:15 | 0.49417 | 0.50583 | 112.1155 | 55.4039 | 56.7116
14:30 | 0.49728 | 0.50272 | 113.1505 | 56.2675 | 56.883
14:45 | 0.49575 | 0.50425 | 114.0521 | 56.5419 | 57.5102
15:00 | 0.49962 | 0.50038 | 116.2328 | 58.0721 | 58.1607
15:15 | 0.50156 | 0.49844 | 116.3368 | 58.3502 | 57.9866
15:30 | 0.50136 | 0.49864 | 116.5293 | 58.4232 | 58.1061
15:45 | 0.50128 | 0.49872 | 116.0467 | 58.1724 | 57.8743
16:00 | 0.50024 | 0.49976 | 115.7858 | 57.9211 | 57.8647
16:15 | 0.50036 | 0.49964 | 116.3909 | 58.2377 | 58.1532
16:30 | 0.50045 | 0.49955 | 116.1007 | 58.1022 | 57.9985
16:45 | 0.5005 | 0.4995 | 115.8498 | 57.9823 | 57.8675
17:00 | 0.50112 | 0.49888 | 115.9599 | 58.1099 | 57.85
17:15 | 0.50058 | 0.49942 | 116.1912 | 58.1631 | 58.0281
17:30 | 0.50289 | 0.49711 | 115.4717 | 58.0699 | 57.4018
17:45 | 0.50394 | 0.49606 | 105.7799 | 53.3069 | 52.473
18:00 | 0.50243 | 0.49757 | 105.4981 | 53.0055 | 52.4926
18:15 | 0.50182 | 0.49818 | 105.7529 | 53.069 | 52.6839
18:30 | 0.49494 | 0.50506 | 110.2236 | 54.554 | 55.6696
18:45 | 0.49287 | 0.50713 | 111.2421 | 54.8278 | 56.4143
19:00 | 0.4933 | 0.5067 | 111.4387 | 54.9724 | 56.4663
19:15 | 0.49321 | 0.50679 | 111.5999 | 55.0416 | 56.5583
19:30 | 0.49359 | 0.50641 | 111.7187 | 55.1428 | 56.5759
19:45 | 0.49387 | 0.50613 | 111.9519 | 55.2899 | 56.662
20:00 | 0.49379 | 0.50621 | 112.2305 | 55.4187 | 56.8118
20:15 | 0.49494 | 0.50506 | 112.386 | 55.6246 | 56.7614
20:30 | 0.49483 | 0.50517 | 112.7868 | 55.8098 | 56.977
20:45 | 0.49378 | 0.50622 | 113.4901 | 56.0391 | 57.451
21:00 | 0.49839 | 0.50161 | 112.5086 | 56.0729 | 56.4357
21:15 | 0.49719 | 0.50281 | 113.3829 | 56.3723 | 57.0106
21:30 | 0.49436 | 0.50564 | 112.4585 | 55.5954 | 56.8631
21:45 | 0.49466 | 0.50534 | 112.0948 | 55.449 | 56.6458
22:00 | 0.49736 | 0.50264 | 110.8759 | 55.1454 | 55.7305
22:15 | 0.502 | 0.498 | 109.002 | 54.7191 | 54.2829
22:30 | 0.49477 | 0.50523 | 111.9274 | 55.3784 | 56.549
22:45 | 0.4945 | 0.5055 | 112.0318 | 55.4001 | 56.6317
23:00 | 0.49925 | 0.50075 | 110.6929 | 55.2638 | 55.4291
23:15 | 0.49875 | 0.50125 | 109.476 | 54.6009 | 54.8751
23:30 | 0.52526 | 0.47474 | 77.2591 | 40.581 | 36.6781
23:45 | 0.56546 | 0.43454 | 44.3294 | 25.0664 | 19.263
24:00 | 0.79848 | 0.20152 | 31.5212 | 25.169 | 6.3521
| 0.91408 | 0.085919 | 28.1198 | 25.7038 | 2.416
In the example below, the Net Generation (from the Net Load & Gen example) is multiplied by the calculated percentages (from the Splitting Percentages example) to derive the total Net generation allocated to each resource.
The RTMG energy values equal the GSITETOT energy values, but the data cuys have different attributes.
GSITETOT - GSITETOT_<QSE>_<GSC>_<NC>_<PGC>_<UFE>_<TDSP>_<R>_<SP>
QSE,Generator Site Code,NOIE CODE (if applicable),PGC Code,UFEzone,TDSP, Resource Code, Settlement Point (Resource Node)
RTMG - RTMG_<Q>_<R>_<SP>
QSE, Resource Code, Settlement Point

## NMRTETOT
Net Generation | NMRTETOT_ABC | DELTA
25.5349 | 25.5349 | 0
25.5502 | 25.5502 | 0
25.7333 | 25.7333 | 0
26.2962 | 26.2962 | 0
26.6783 | 26.6783 | 0
26.8062 | 26.8062 | 0
26.5652 | 26.5652 | 0
26.3385 | 26.3385 | 0
25.9654 | 25.9654 | 0
25.6658 | 25.6658 | 0
26.311 | 26.311 | 0
26.6821 | 26.6821 | 0
25.6673 | 25.6673 | 0
26.1473 | 26.1473 | 0
26.3581 | 26.3581 | 0
26.3999 | 26.3999 | 0
26.3572 | 26.3572 | 0
26.3645 | 26.3645 | 0
26.3312 | 26.3312 | 0
25.4464 | 25.4464 | 0
26.3803 | 26.3803 | 0
26.3284 | 26.3284 | 0
26.1527 | 26.1527 | 0
26.2307 | 26.2307 | 0
25.8628 | 25.8628 | 0
26.396 | 26.396 | 0
26.4004 | 26.4004 | 0
25.7674 | 25.7674 | 0
25.0715 | 25.0715 | 0
26.0544 | 26.0544 | 0
26.3477 | 26.3477 | 0
26.0464 | 26.0464 | 0
24.7025 | 24.7025 | 0
25.0518 | 25.0518 | 0
29.0471 | 29.0471 | 0
29.1412 | 29.1412 | 0
31.7988 | 31.7988 | 0
32.2182 | 32.2182 | 0
32.5645 | 32.5645 | 0
33.6747 | 33.6747 | 0
55.5829 | 55.5829 | 0
93.2232 | 93.2232 | 0
100.8106 | 100.8106 | 0
99.8119 | 99.8119 | 0
95.5641 | 95.5641 | 0
110.95 | 110.95 | 0
112.6209 | 112.6209 | 0
112.6235 | 112.6235 | 0
110.7778 | 110.7778 | 0
112.5435 | 112.5435 | 0
112.5023 | 112.5023 | 0
112.4832 | 112.4832 | 0
106.568 | 106.568 | 0
109.4859 | 109.4859 | 0
112.0657 | 112.0657 | 0
112.1155 | 112.1155 | 0
113.1505 | 113.1505 | 0
114.0521 | 114.0521 | 0
116.2328 | 116.2328 | 0
116.3368 | 116.3368 | 0
116.5293 | 116.5293 | 0
116.0467 | 116.0467 | 0
115.7858 | 115.7858 | 0
116.3909 | 116.3909 | 0
116.1007 | 116.1007 | 0
115.8498 | 115.8498 | 0
115.9599 | 115.9599 | 0
116.1912 | 116.1912 | 0
115.4717 | 115.4717 | 0
105.7799 | 105.7799 | 0
105.4981 | 105.4981 | 0
105.7529 | 105.7529 | 0
110.2236 | 110.2236 | 0
111.2421 | 111.2421 | 0
111.4387 | 111.4387 | 0
111.5999 | 111.5999 | 0
111.7187 | 111.7187 | 0
111.9519 | 111.9519 | 0
112.2305 | 112.2305 | 0
112.386 | 112.386 | 0
112.7868 | 112.7868 | 0
113.4901 | 113.4901 | 0
112.5086 | 112.5086 | 0
113.3829 | 113.3829 | 0
112.4585 | 112.4585 | 0
112.0948 | 112.0948 | 0
110.8759 | 110.8759 | 0
109.002 | 109.002 | 0
111.9274 | 111.9274 | 0
112.0318 | 112.0318 | 0
110.6929 | 110.6929 | 0
109.476 | 109.476 | 0
77.2591 | 77.2591 | 0
44.3294 | 44.3294 | 0
31.5212 | 31.5212 | 0
28.1198 | 28.1198 | 0
In the example below, the Net Generation (from the Net Load & Gen example) equals the NMRTETOT.

## MEB
| Generation | Load
Interval | AAABBBGP0100_1 | AAABBBGP0100_4 | MEB_ABC_AAABBBGP0100
0:15 | 25534.89 | 0 | 25.5349
0:30 | 25550.18 | 0 | 25.5502
0:45 | 25733.31 | 0 | 25.7333
1:00 | 26296.19 | 0 | 26.2962
1:15 | 26678.35 | 0 | 26.6783
1:30 | 26806.21 | 0 | 26.8062
1:45 | 26565.24 | 0 | 26.5652
2:00 | 26338.47 | 0 | 26.3385
2:15 | 25965.36 | 0 | 25.9654
2:30 | 25665.76 | 0 | 25.6658
2:45 | 26310.97 | 0 | 26.311
3:00 | 26682.09 | 0 | 26.6821
3:15 | 25667.26 | 0 | 25.6673
3:30 | 26147.33 | 0 | 26.1473
3:45 | 26358.13 | 0 | 26.3581
4:00 | 26399.94 | 0 | 26.3999
4:15 | 26357.18 | 0 | 26.3572
4:30 | 26364.45 | 0 | 26.3645
4:45 | 26331.17 | 0 | 26.3312
5:00 | 25446.44 | 0 | 25.4464
5:15 | 26380.29 | 0 | 26.3803
5:30 | 26328.35 | 0 | 26.3284
5:45 | 26152.72 | 0 | 26.1527
6:00 | 26230.71 | 0 | 26.2307
6:15 | 25862.78 | 0 | 25.8628
6:30 | 26396 | 0 | 26.396
6:45 | 26400.42 | 0 | 26.4004
7:00 | 25767.43 | 0 | 25.7674
7:15 | 25071.46 | 0 | 25.0715
7:30 | 26054.41 | 0 | 26.0544
7:45 | 26347.68 | 0 | 26.3477
8:00 | 26046.43 | 0 | 26.0464
8:15 | 24702.47 | 0 | 24.7025
8:30 | 25051.83 | 0 | 25.0518
8:45 | 29047.13 | 0 | 29.0471
9:00 | 29141.19 | 0 | 29.1412
9:15 | 31798.83 | 0 | 31.7988
9:30 | 32218.23 | 0 | 32.2182
9:45 | 32564.52 | 0 | 32.5645
10:00 | 33674.68 | 0 | 33.6747
10:15 | 55582.91 | 0 | 55.5829
10:30 | 93223.23 | 0 | 93.2232
10:45 | 100810.6 | 0 | 100.8106
11:00 | 99811.94 | 0 | 99.8119
11:15 | 95564.1 | 0 | 95.5641
11:30 | 110950 | 0 | 110.95
11:45 | 112620.9 | 0 | 112.6209
12:00 | 112623.5 | 0 | 112.6235
12:15 | 110777.8 | 0 | 110.7778
12:30 | 112543.5 | 0 | 112.5435
12:45 | 112502.3 | 0 | 112.5023
13:00 | 112483.2 | 0 | 112.4832
13:15 | 106568 | 0 | 106.568
13:30 | 109485.9 | 0 | 109.4859
13:45 | 112065.7 | 0 | 112.0657
14:00 | 112115.5 | 0 | 112.1155
14:15 | 113150.5 | 0 | 113.1505
14:30 | 114052.1 | 0 | 114.0521
14:45 | 116232.8 | 0 | 116.2328
15:00 | 116336.8 | 0 | 116.3368
15:15 | 116529.3 | 0 | 116.5293
15:30 | 116046.7 | 0 | 116.0467
15:45 | 115785.8 | 0 | 115.7858
16:00 | 116390.9 | 0 | 116.3909
16:15 | 116100.7 | 0 | 116.1007
16:30 | 115849.8 | 0 | 115.8498
16:45 | 115959.9 | 0 | 115.9599
17:00 | 116191.2 | 0 | 116.1912
17:15 | 115471.7 | 0 | 115.4717
17:30 | 105779.9 | 0 | 105.7799
17:45 | 105498.1 | 0 | 105.4981
18:00 | 105752.9 | 0 | 105.7529
18:15 | 110223.6 | 0 | 110.2236
18:30 | 111242.1 | 0 | 111.2421
18:45 | 111438.7 | 0 | 111.4387
19:00 | 111599.9 | 0 | 111.5999
19:15 | 111718.7 | 0 | 111.7187
19:30 | 111951.9 | 0 | 111.9519
19:45 | 112230.5 | 0 | 112.2305
20:00 | 112386 | 0 | 112.386
20:15 | 112786.8 | 0 | 112.7868
20:30 | 113490.1 | 0 | 113.4901
20:45 | 112508.6 | 0 | 112.5086
21:00 | 113382.9 | 0 | 113.3829
21:15 | 112458.5 | 0 | 112.4585
21:30 | 112094.8 | 0 | 112.0948
21:45 | 110875.9 | 0 | 110.8759
22:00 | 109002 | 0 | 109.002
22:15 | 111927.4 | 0 | 111.9274
22:30 | 112031.8 | 0 | 112.0318
22:45 | 110692.9 | 0 | 110.6929
23:00 | 109476 | 0 | 109.476
23:15 | 77259.14 | 0 | 77.2591
23:30 | 44329.44 | 0 | 44.3294
23:45 | 31521.16 | 0 | 31.5212
24:00 | 28119.78 | 0 | 28.1198
In the example below, the Resource ID data (from the Net Load & Gen example) is netted and converted to MWH to create the MEB.

## Special Conditions
Missing SCADA - If a SCADA value is missing for a settlement interval, the splitting percentages from the prior settlement interval where all SCADA is considered "good/valid" will be used.
If SCADA is missing for the first interval of the operating day, the spitting percentages from the last interval of the prior day (same settlement channel) will be used.
If the count of active generators for the gensite on the prior day is more than the count of active generators for the gensite on the current operating date, use default percentage for each generator’s GSPLITPER,
Else, use GSPLITPER from prior channel, same day, first interval; - correct, if the prior channel data exists.
Else use fixed % split.
Net Load Splitting - Fixed load splitting is permitted if the gensite is registered with more than one ESIID.