- Section 2:

NPRR358 - Clarification of Responsible Entity for Binding Obligations

This Nodal Protocol Revision Request (NPRR) replaces the term “Generation Entity” with “Resource Entity,” where appropriate, to provide clarity that for binding obligations the Resource Entity is designated as the Entity obligated under the Protocols; and also modifies the definition of Generation Entity.

- Revised Subsection:  2.1

NPRR379 - EILS Dispatch Sequence and Performance Criteria Upgrades

This NPRR improves the operational value of Emergency Interruptible Load Service (EILS); and strengthens and clarifies a number of performance criteria for EILS.

- Revised Subsection:  2.1 [partially effective upon system implementation]

- Section 3:

NPRR348 - Generation Resource Start-Up and Shut-Down Process

This NPRR removes Protocol language concerning the use of the “ONTEST” Resource Status during start-up and shut-down, adds language to address the start-up and shut-down processes, and adds a new “SHUTDOWN” Resource Status for use in telemetry only for shut-down operations.

- Revised Subsection:  3.9.1 [effective upon system implementation]

NPRR358 - Clarification of Responsible Entity for Binding Obligations

See Section 2 above.

- Revised Subsections:  3.14.1.9, 3.14.1.10, 3.14.1.12, 3.14.1.16

NPRR375 - Extend the Reporting Horizon for CDR Inputs

This NPRR extends existing reporting requirements for Mothballed Generation Resource return-to-service probabilities, Generation Resources with associated Load, and Switchable Generation Resources, from five to ten years.

- Revised Subsection:  3.14.1.9

NPRR365 - Change in Resource Outage Approvals from Eight to 45 Days (formerly “Change in Resource Outage Approvals from Eight to 90 Days”)

This NPRR revises the deadline for ERCOT approval of Resource Outages from an eight-day notice to a 45-day notice while aligning the new Resource Outage timelines to match those of Transmission Outages (Consistent with Recommendation 6B of the March 15, 2011, Report of the Rotating Blackout Operations Task Force of the ERCOT Board).

- Revised Subsections:  3.1.1, 3.1.4.4 (delete), 3.1.6, 3.1.6.4, 3.1.6.5, 3.1.6.6, 3.1.6.8 (new), 3.1.6.9 (new), 3.1.6.9 [effective upon system implementation]

NPRR379 - EILS Dispatch Sequence and Performance Criteria Upgrades

See Section 2 above.

- Revised Subsection:  3.14.3 [partially effective upon system implementation]

- Section 4:

NPRR321 - Allow Change to Energy Offer Curve MW Amounts in the Adjustment Period (formerly “Allow Change to Energy Offer Curve MW Amounts in the Adjustment Period for Qualifying Facilities”)

This NPRR provides the ability for Resources to change the amounts of power in their Energy Offer Curves in the Adjustment Period.

- Revised Subsection:  4.4.9.3 [effective upon system implementation]

NPRR383 - Unconfirmed Trades Reports

This NPRR creates a new report for unconfirmed trades on the Market Information System (MIS) Certified Area that will provide timely information regarding the trades that have not yet been confirmed for the upcoming hour and all remaining hours of the Reliability Unit Commitment (RUC) Study Period so that Market Participants may make adjustments as necessary to conduct business.

- Revised Subsections:  4.4.1.2, 4.4.2.2, 4.4.7.3.2 [effective upon system implementation]

- Section 5:

NPRR321 - Allow Change to Energy Offer Curve MW Amounts in the Adjustment Period (formerly “Allow Change to Energy Offer Curve MW Amounts in the Adjustment Period for Qualifying Facilities”)

See Section 4 above.

- Revised Subsection:  5.5.2 [effective upon system implementation]

NPRR358 - Clarification of Responsible Entity for Binding Obligations

See Section 2 above.

- Revised Subsection:  5.6.1

NPRR382 - Verbal RUC Committed or Decommitted Resources Report

This NPRR creates two new reports on the MIS Secure Area for verbal RUC commitments/decommitments, one following the Day-Ahead Reliability Unit Commitment (DRUC) and one following the Hourly Reliability Unit Commitment (HRUC) to stay consistent with the current RUC data delivery process.

- Revised Subsection:  5.3 [effective upon system implementation]

NPRR396 - Reduce Standard O&M Costs

This NPRR reduces the standard Operations and Maintenance (O&M) costs permitted to be used in lieu of actual, verifiable O&M costs by NPRR225, Standard Cost Option in Verifiable Costs, which was approved by the ERCOT Board in June 2010.

- Revised Subsection:  5.6.1

- Section 6:

NPRR348 - Generation Resource Start-Up and Shut-Down Process

See Section 3 above.

- Revised Subsections:  6.4.2.4, 6.4.3, 6.5.7.2, 6.5.7.8, 6.6.5 [effective upon system implementation]

NPRR354 - Revisions to Non-Spin Performance Criteria Language and Provision for ICCP Telemetry of Non-Spin Deployment

This NPRR clarifies the performance criteria for Non-Spinning Reserve (Non-Spin) Service deployments, adds language for provision of a Non-Spin deployment flag to Qualified Scheduling Entities (QSEs) via Inter-Control Center Communications Protocol (ICCP), and adds a requirement for Extensible Markup Language (XML) notification to all QSEs when Non-Spin is deployed.

- Revised Subsection:  6.5.7.6.2.3 [effective upon system implementation]

NPRR360 - Summary Report of HDL and LDL

This NPRR creates a new posting for the sum of High Dispatch Limit (HDL) and the sum of Low Dispatch Limit (LDL) and any Generation Resource instances of manual overrides of HDL or LDL to the MIS Public Area after every Security-Constrained Economic Dispatch (SCED) run; and adds the requirement to post any QSE instances of manual overrides of HDL and LDL for a Generation Resource to the MIS Certified Area after every SCED run.

- Revised Subsection:  6.5.7.1.13 [effective upon system implementation]

NPRR384 - Revisions to Support SCR766, Load Zone and Hub LMPs Distributed by ICCP (formerly “Load Zone Price Distributed by ICCP”)

This NPRR clarifies language that supports system changes proposed in System Change Request (SCR) 766.

- Revised Subsection:  6.3.2 [effective upon system implementation]

NPRR379 - EILS Dispatch Sequence and Performance Criteria Upgrades

See Section 2 above.

- Revised Subsections:  6.5.9.4.2, 6.6.11.1 [partially effective upon system implementation]

- Section 8:

NPRR348 - Generation Resource Start-Up and Shut-Down Process

See Section 3 above.

- Revised Subsection:  8.1.1.4.1 [effective upon system implementation]

NPRR354 - Revisions to Non-Spin Performance Criteria Language and Provision for ICCP Telemetry of Non-Spin Deployment

See Section 6 above.

- Revised Subsection:  8.1.1.4.3 [effective upon system implementation]

NPRR358 - Clarification of Responsible Entity for Binding Obligations

See Section 2 above.

- Revised Subsection:  8.1.1.2.1.4

NPRR379 - EILS Dispatch Sequence and Performance Criteria Upgrades

See Section 2 above.

- Revised Subsections:  8.1.3.1, 8.1.3.2, 8.1.3.3, 8.1.3.3.1 [partially effective upon system implementation]

NPRR411 - Administrative Changes for the October 1, 2011 Protocols

This Administrative NPRR updates the Protocols to reflect the name change of Texas Regional Entity (TRE) to Texas Reliability Entity (Texas RE).

- Revised Subsections:  8.1.1.3, 8.1.1.4, 8.1.1.4.2, 8.1.1.4.3

- Section 9:

NPRR380 - Minor Changes to Default Uplift Invoice

This NPRR provides minor corrective and clarifying changes to the allocation methodology used for the Default Uplift Invoice.

- Revised Subsection:  9.19.1

- Section 10:

NPRR375 - Extend the Reporting Horizon for CDR Inputs

See Section 3 above.

- Revised Subsection:  10.3.2.4

- Section 11:

NPRR358 - Clarification of Responsible Entity for Binding Obligations

See Section 2 above.

Revised Subsections:  11.2.2, 11.5.2

- Section 16:

NPRR375 - Extend the Reporting Horizon for CDR Inputs

See Section 3 above.

- Revised Subsection:  16.5.4

- Section 21:

NPRR374 - Modification of SCR Process and Urgency Requirements

This NPRR consolidates the SCR process and NPRR process so that the governing subcommittee for both SCRs and NPRRs is the Protocol Revision Subcommittee (PRS); and modifies the requirements for Urgency.

Revised Subsections:  21, 21.1, 21.2, 21.3, 21.4, 21.4.2, 21.4.3, 21.4.4, 21.4.5, 21.4.6, 21.4.7, 21.4.8, 21.4.9, 21.4.10, 21.4.11, 21.4.11.1, 21.4.11.2, 21.4.11.3, 21.5, 21.7, 21.8, 21.8.1, 21.8.2, 21.8.3, 21.8.4, 21.8.5, 21.8.6, 21.8.7, 21.8.8, 21.8.9, 21.8.10, 21.8.11, 21.8.11.1, 21.8.11.2, 21.8.11.3, 21.8.12, 21.9, 21.10

NPRR411 - Administrative Changes for the October 1, 2011 Protocols

See Section 8 above.

Revised Subsections:  21.1, 21.2, 21.3, 21.4.3, 21.4.4, 21.4.10.1, 21.4.10.2, 21.4.10.3, 21.7, 21.8.3, 21.8.4, 21.8.11.1, 21.8.11.2, 21.8.11.3

- Section 22:

NPRR358 - Clarification of Responsible Entity for Binding Obligations

See Section 2 above.

Revised Subsections:  22E, 22H

- Administrative Changes:

Non-substantive administrative changes were made such as formatting and correcting Section numbering and references.

Revised Subsections:  1.1, 1.8, 4.1, 6.1, 9.2.5, 9.5.6, 9.14.6, 9.14.7, 17.6, 18.2, 20.1