| PGRR Number |  | PGRR Title | New Planning Guide Section 6.1, Process for Building Steady State Base Cases |
| --- | --- | --- | --- |
| Date Posted |  | September 22, 2011 |  |

| Requested Resolution (Normal or Urgent, and justification for Urgent status) | Normal |
| --- | --- |
| Planning Guide Section(s) Requiring Revision (Include Section No. and Title) | Section 6.1 |
| Protocol Section(s) Requiring Revision, if any |  |
| Revision Description | Process for Building Steady State Base Cases |
| Reason for Revision | There is currently no specific language in either the Nodal Protocols or Nodal Operating Guides related to the process associated with building steady state base cases. Since this type of process is used for planning, it is deemed appropriate to be part of the Planning Guide |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | - Clarifies process used to build Steady state base cases. |
|  | 2 |  |
|  | 3 |  |
|  | 4 |  |
|  | 5 |  |

| Sponsor |  |
| --- | --- |
| Name | Dennis Hogan |
| E-mail Address | Dennis.hogan@luminant.com |
| Company | Luminant Energy |
| Phone Number | 214-875-9423 |
| Cell Number |  |
| Market Segment | Investor-Owned Utility (IOU) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette Landin |
| E-Mail Address | ylandin@ERCOT.com |
| Phone Number | 512-248-4513 |

Proposed Guide Language Revision

- Process for Developing Steady-State Base Cases

  - TSPs and ERCOT shall develop the appropriate steady state base cases, which are derived from, but not identical to, the network operations model, for use in ERCOT and TSP transmission planning studies.

  - TSPs shall provide transmission network data to ERCOT for building steady-state base cases.  TSPs shall provide load data to ERCOT for building steady-state base cases, which may be derived from the Annual Load Data Request described in Section 6.5 of the ERCOT Planning Guides.

  - Steady state base cases shall be comprised of various network element models and corresponding modeling parameters as described in the Steady-State Working Group (SSWG) Procedure Manual.

- The SSWG shall coordinate with ERCOT to develop a NERC defined Near Term and Long Term steady-state base case annually using a collaborative, multiple iteration process as specified in the SSWG Procedure Manual. Steady state base cases for Near Term and Long Term system analysis as specified in NERC Standard TPL-001-2.