During PLWG meetings, the following items were identified as planning issues that need to be addressed in the future and potentially be included in the Planning Issues List.

- From April 29, 2011 meeting

  - Interruptible load: Interruptible load might not be appropriate to consider as a solution in a fixing a system problem.

  - Definition of credible single contingency: Revise the definition to separate the description of the event (contingency) from the performance.

  - Mothballed generator: Include the treatment of mothballed generation units in planning studies especially in tests associated with short circuit.

  - Severe contingencies: Add a definition of severe contingency as well as description of required performance. This is consistent with ERCOT’s recommendations on paralleling 345 kV lines in CREZ.

- From May 26, 20911 Meeting

  - Need to review ERCOT ALDR procedure on a couple of matters:

    - Is ERCOT issuing ALDR to appropriate entities?

    - Need to address how ALDR information is getting into DSA and DSB (planning) cases.

  - Is the present Category C and D language needed in the planning guide in the future?

  - A procedure for aggregating wind generator collector system into the model needs to be developed and put into the DWG procedures?

  - Do we need to research Operating Guide or protocol language addressing the changing of taps on GSUs after plant goes in service.

- From July 29, 2011 meeting

  - Follow-up PGRR009 to address other matters.

  - Add “Generator Reactive” capability to issues list.  This is a follow up to Centerpoint comments on PGRR009.

- September 2011

  - At what point does the level of change out in wind turbines at a particular site trigger anew FIS (or should it)?