Section 1:

NOGRR058 – Deletion of Section 5, Planning

This Nodal Operating Guide Revision Request (NOGRR) deletes Section 5 from the Nodal Operating Guides and moves specific policies, requirements, and terms related to transmission planning to Section 5 of the Planning Guide via Planning Guide Revision Request (PGRR) 005, New Planning Guide Section 5, Planning Criteria, which was approved by the ERCOT Board on 8/16/11; and to other appropriate sections of the Nodal Operating Guides.

Revised Subsection:  1.4

NOGRR079 – Administrative Changes for the October 1, 2011 Nodal Operating Guides

This Administrative NOGRR updates the Nodal Operating Guides to reflect the name change of Texas Regional Entity (TRE) to Texas Reliability Entity (Texas RE).

Revised Subsections:  1.3.1, 1.3.2, 1.3.3, 1.3.4.3, 1.3.4.4, 1.3.4.12, 1.5.4

Section 2:

NOGRR079 – Administrative Changes for the October 1, 2011 Nodal Operating Guides

See Section 1 above.

Revised Subsections:  2.2.8, 2.7.4.1

Section 3:

NOGRR079 – Administrative Changes for the October 1, 2011 Nodal Operating Guides

See Section 1 above.

Revised Subsection:  3.7.2

Section 4:

NOGRR058 – Deletion of Section 5, Planning

See Section 1 above.

Revised Subsection:  4.3.2 (new)

NOGRR070 – Synchronization with NPRR356, EEA Changes Related to Dispatch Instructions and BLTs

This NOGRR synchronizes the Nodal Operating Guides with Nodal Protocol Revision Request (NPRR) 356, EEA Changes Related to Dispatch Instructions and BLTs, which was approved by the ERCOT Board on August 16, 2011; and which changes the need to issue Dispatch Instructions to suspend any ongoing ERCOT-required generating unit or Resource performance testing and moves the requirement to inquire about the availability of Block Load Transfers (BLTs) from Energy Emergency Alert (EEA) Level 2A to EEA Level 2B.

Revised Subsections:  4.5.3.1, 4.5.3.2, 4.5.3.3

NOGRR071 – Synchronization with NPRR362, Changes to PRC Calculation

This NOGRR synchronizes the Nodal Operating Guides with NPRR 362, Changes to PRC Calculation, which was approved by the ERCOT Board on August 16, 2011; and which aligns the Protocols with ERCOT systems to properly reflect the current Responsive Reserve (RRS) which is supplied from Load Resources into the Physical Responsive Capability (PRC) calculation; and to delete the method for calculating the PRC from EEA Levels 1 and 2.

Revised Subsection:  4.5.3.3

Section 5:

NOGRR058 – Deletion of Section 5, Planning

See Section 1 above.

Revised Section:  5 [delete]

Section 6:

NOGRR069 – Relay Misoperation Reporting Changes for Consistency with ERO-RAPA Proposal

This NOGRR updates ERCOT’s requirements for relay misoperation reporting in order to be consistent with the North American Electric Reliability Corporation’s (NERC’s) ERO-RAPA proposal for quarterly reporting.  Changes to Section 6.2.3 govern the events that qualify as a relay misoperation while the changes to Section 8, Attachment B, govern what data must be submitted in the event of a relay misoperation.  This NOGRR also revises the definition of protective relay systems for consistency with NERC and to correct an erroneous use of Direct Current Tie (DC Tie).

Revised Subsections:  6.2.1, 6.2.3

NOGRR079 – Administrative Changes for the October 1, 2011 Nodal Operating Guides

See Section 1 above.

Revised Subsection:  6.2.2

Section 8, Attachment B:

NOGRR069 – Relay Misoperation Reporting Changes for Consistency with ERO-RAPA Proposal

See Section 6 above.

Revised Section:  8B

Section 9:

NOGRR079 – Administrative Changes for the October 1, 2011 Nodal Operating Guides

See Section 1 above.

Revised Subsections:  9.1.8, 9.3.1