## June 27, 2011 NSRS Deployment
Sample |  | * | * |  |  |  | Est LSL MW % | 40% |  |  |  | Question #1 |  |  |  | Question #2 |  |  |  | 72 | 180 | 250 | 650 | 1000 | 2000
SCED TIME | Lambda | NSRS Deployed | SCED up | Total QuickStart | QuickStart >LSL * | QuickStart <LSL * | Non QS Online | Total Offline | Offline >LSL * | Offline <LSL * | ERCOT Load | Was price-setting NS Needed? | Price Setting NS MWs needed | Price Setting Online needed | Price setting Offline needed | What is the NS Setting New System Lambda? | SCED Length (hr) | PNM Impact | 2826.7723 | 52.7959 | 484.9332 | 782.1999 | 2522.4637 | 4067.0331 | 8566.4775 | SCED | Load | Gen | Gen less price setting NSRS | Load at start of NSRS event
2011-06-27 13:40 | 2999.9915 | 2000 | 491 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 58717.8 | 1 | 870.6 | 313 | 557.6 | 2164.5781 | 0.082778 | 0 | [7 empty] | 2011-06-27 13:40 | 58717.8 | 59208.8 | 57938.2 | 58717.8
2011-06-27 13:45 | 104.0866 | 2000 | 584 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 58845 | 1 | 777.6 | 313 | 464.6 | 1970.3425 | 0.083889 | 156.5581 | [7 empty] | 2011-06-27 13:45 | 58845 | 59429 | 58158.4 | 58717.8
2011-06-27 13:50 | 128.4067 | 2000 | 920 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 59083.4 | 1 | 441.6 | 313 | 128.6 | 1268.5881 | 0.081667 | 93.1148 | [7 empty] | 2011-06-27 13:50 | 59083.4 | 60003.4 | 58732.8 | 58717.8
2011-06-27 13:55 | 63.1591 | 2000 | 1319 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 59360.8 | 1 | 42.6 | 42.6 | 0 | 352.0767 | 0.087778 | 25.3605 | [7 empty] | 2011-06-27 13:55 | 59360.8 | 60679.8 | 59409.2 | 58717.8
2011-06-27 14:01 | 54.9141 | 2000 | 1967 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 59380.6 | 0 | 0 | 0 | 0 | 0 | 0.080556 | 0 | [7 empty] | 2011-06-27 14:01 | 59380.6 | 61347.6 | 60077 | 58717.8
2011-06-27 14:05 | 53.7739 | 2000 | 2635 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 59252.9 | 0 | 0 | 0 | 0 | 0 | 0.081667 | 0 | [7 empty] | 2011-06-27 14:05 | 59252.9 | 61887.9 | 60617.3 | 58717.8
2011-06-27 14:10 | 53.9775 | 2000 | 2538 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 59500.8 | 0 | 0 | 0 | 0 | 0 | 0.083056 | 0 | [7 empty] | 2011-06-27 14:10 | 59500.8 | 62038.8 | 60768.2 | 58717.8
2011-06-27 14:15 | 54.8891 | 2000 | 2289 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 59719.8 | 0 | 0 | 0 | 0 | 0 | 0.085278 | 0 | [7 empty] | 2011-06-27 14:15 | 59719.8 | 62008.8 | 60738.2 | 58717.8
2011-06-27 14:20 | 56.8221 | 2000 | 2142 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 59936.7 | 0 | 0 | 0 | 0 | 0 | 0.081389 | 0 | [7 empty] | 2011-06-27 14:20 | 59936.7 | 62078.7 | 60808.1 | 58717.8
2011-06-27 14:25 | 59.4332 | 2000 | 1862 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 60172.2 | 0 | 0 | 0 | 0 | 0 | 0.084167 | 0 | [7 empty] | 2011-06-27 14:25 | 60172.2 | 62034.2 | 60763.6 | 58717.8
2011-06-27 14:30 | 60.6485 | 2000 | 1645 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 60328.3 | 0 | 0 | 0 | 0 | 0 | 0.080556 | 0 | [7 empty] | 2011-06-27 14:30 | 60328.3 | 61973.3 | 60702.7 | 58717.8
2011-06-27 14:35 | 62.353 | 2000 | 1521 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 60424.1 | 0 | 0 | 0 | 0 | 0 | 0.083333 | 0 | [7 empty] | 2011-06-27 14:35 | 60424.1 | 61945.1 | 60674.5 | 58717.8
2011-06-27 14:40 | 2250.0002 | 2000 | 1049 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 60972.4 | 1 | 312.6 | 312.6 | 0 | 999.0415 | 0.0069444 | 0 | [7 empty] | 2011-06-27 14:40 | 60972.4 | 62021.4 | 60750.8 | 58717.8
2011-06-27 14:41 | 2999.9951 | 2000 | 1050 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 61029.2 | 1 | 311.6 | 311.6 | 0 | 996.6454 | 0.077222 | 0 | [7 empty] | 2011-06-27 14:41 | 61029.2 | 62079.2 | 60808.6 | 58717.8
2011-06-27 14:45 | 77.6992 | 2000 | 692 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 60848.3 | 1 | 669.6 | 313 | 356.6 | 1744.7786 | 0.0825 | 137.5341 | [7 empty] | 2011-06-27 14:45 | 60848.3 | 61540.3 | 60269.7 | 58717.8
2011-06-27 14:50 | 82.1402 | 2000 | 588 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 61017 | 1 | 773.6 | 313 | 460.6 | 1961.9883 | 0.082778 | 155.6097 | [7 empty] | 2011-06-27 14:50 | 61017 | 61605 | 60334.4 | 58717.8
2011-06-27 14:55 | 82.1403 | 2000 | 548 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 61192.6 | 1 | 813.6 | 313 | 500.6 | 2045.5305 | 0.085833 | 168.5243 | [7 empty] | 2011-06-27 14:55 | 61192.6 | 61740.6 | 60470 | 58717.8
2011-06-27 15:00 | 75.0825 | 2000 | 358 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 61294.4 | 1 | 1003.6 | 313 | 690.6 | 2442.3559 | 0.081111 | 192.0122 | [7 empty] | 2011-06-27 15:00 | 61294.4 | 61652.4 | 60381.8 | 58717.8
2011-06-27 15:05 | 400.0008 | 2000 | 236 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 61408 | 1 | 1125.6 | 313 | 812.6 | 2697.1596 | 0.087778 | 201.6395 | [7 empty] | 2011-06-27 15:05 | 61408 | 61644 | 60373.4 | 58717.8
2011-06-27 15:10 | 400.0006 | 2000 | 169 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 61420.6 | 1 | 1192.6 | 313 | 879.6 | 2837.0927 | 0.078611 | 191.5825 | [7 empty] | 2011-06-27 15:10 | 61420.6 | 61589.6 | 60319 | 58717.8
2011-06-27 15:15 | 3001 | 2000 | -9 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 61650.6 | 1 | 1370.6 | 313 | 957.6 | 3000 | 0.084167 | 0 | [7 empty] | 2011-06-27 15:15 | 61650.6 | 61641.6 | 60371 | 58717.8
2011-06-27 15:20 | 3001 | 2000 | -14 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 61745.7 | 1 | 1375.6 | 313 | 957.6 | 3000 | 0.083056 | 0 | [7 empty] | 2011-06-27 15:20 | 61745.7 | 61731.7 | 60461.1 | 58717.8
2011-06-27 15:25 | 3001 | 2000 | 387 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 61845.8 | 1 | 974.6 | 313 | 661.6 | 2381.7878 | 0.083333 | 0 | [7 empty] | 2011-06-27 15:25 | 61845.8 | 62232.8 | 60962.2 | 58717.8
2011-06-27 15:30 | 3001 | 2000 | 329 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 61935.3 | 1 | 1032.6 | 313 | 719.6 | 2502.924 | 0.083333 | 0 | [7 empty] | 2011-06-27 15:30 | 61935.3 | 62264.3 | 60993.7 | 58717.8
2011-06-27 15:35 | 3001 | 2000 | 305 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 61965.6 | 1 | 1056.6 | 313 | 743.6 | 2553.0493 | 0.083056 | 0 | [7 empty] | 2011-06-27 15:35 | 61965.6 | 62270.6 | 61000 | 58717.8
2011-06-27 15:40 | 3001 | 2000 | 243 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 62066.1 | 1 | 1118.6 | 313 | 805.6 | 2682.5397 | 0.084444 | 0 | [7 empty] | 2011-06-27 15:40 | 62066.1 | 62309.1 | 61038.5 | 58717.8
2011-06-27 15:45 | 3001 | 2000 | 236 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 62174.9 | 1 | 1125.6 | 313 | 812.6 | 2697.1596 | 0.082222 | 0 | [7 empty] | 2011-06-27 15:45 | 62174.9 | 62410.9 | 61140.3 | 58717.8
2011-06-27 15:50 | 2999.9995 | 2000 | 225 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 62220.6 | 1 | 1136.6 | 313 | 823.6 | 2720.1337 | 0.083056 | 0 | [7 empty] | 2011-06-27 15:50 | 62220.6 | 62445.6 | 61175 | 58717.8
2011-06-27 15:55 | 151.8822 | 2000 | 637 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 62150.4 | 1 | 724.6 | 313 | 411.6 | 1859.6491 | 0.089167 | 152.2759 | [7 empty] | 2011-06-27 15:55 | 62150.4 | 62787.4 | 61516.8 | 58717.8
2011-06-27 16:01 | 132.0223 | 2000 | 645 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 62202.8 | 1 | 716.6 | 313 | 403.6 | 1842.9407 | 0.0775 | 132.5962 | [7 empty] | 2011-06-27 16:01 | 62202.8 | 62847.8 | 61577.2 | 58717.8
2011-06-27 16:05 | 1000.0005 | 2000 | 613 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 62135.4 | 1 | 748.6 | 313 | 435.6 | 1909.7744 | 0.086389 | 78.5944 | [7 empty] | 2011-06-27 16:05 | 62135.4 | 62748.4 | 61477.8 | 58717.8
2011-06-27 16:10 | 111.8275 | 2000 | 651 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 62156.9 | 1 | 710.6 | 313 | 397.6 | 1830.4094 | 0.081111 | 139.3961 | [7 empty] | 2011-06-27 16:10 | 62156.9 | 62807.9 | 61537.3 | 58717.8
2011-06-27 16:15 | 82.1409 | 2000 | 610 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 62110.9 | 1 | 751.6 | 313 | 438.6 | 1916.0401 | 0.083056 | 152.3155 | [7 empty] | 2011-06-27 16:15 | 62110.9 | 62720.9 | 61450.3 | 58717.8
2011-06-27 16:20 | 77.6596 | 2000 | 739 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 62115.5 | 1 | 622.6 | 313 | 309.6 | 1646.6165 | 0.0825 | 129.439 | [7 empty] | 2011-06-27 16:20 | 62115.5 | 62854.5 | 61583.9 | 58717.8
2011-06-27 16:25 | 77.4681 | 2000 | 984 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 62158.4 | 1 | 377.6 | 313 | 64.6 | 1134.9206 | 0.084167 | 89.0023 | [7 empty] | 2011-06-27 16:25 | 62158.4 | 63142.4 | 61871.8 | 58717.8
2011-06-27 16:30 | 71.0652 | 2000 | 932 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 62157.8 | 1 | 429.6 | 313 | 116.6 | 1243.5255 | 0.082222 | 96.4023 | [7 empty] | 2011-06-27 16:30 | 62157.8 | 63089.8 | 61819.2 | 58717.8
2011-06-27 16:35 | 67.568 | 2000 | 925 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 62100.2 | 1 | 436.6 | 313 | 123.6 | 1258.1454 | 0.084167 | 100.2069 | [7 empty] | 2011-06-27 16:35 | 62100.2 | 63025.2 | 61754.6 | 58717.8
2011-06-27 16:40 | 64.1947 | 2000 | 962 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 62048.9 | 1 | 399.6 | 313 | 86.6 | 1180.8688 | 0.083333 | 93.0562 | [7 empty] | 2011-06-27 16:40 | 62048.9 | 63010.9 | 61740.3 | 58717.8
2011-06-27 16:45 | 62.934 | 2000 | 950 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 62056.5 | 1 | 411.6 | 313 | 98.6 | 1205.9315 | 0.082778 | 94.6148 | [7 empty] | 2011-06-27 16:45 | 62056.5 | 63006.5 | 61735.9 | 58717.8
2011-06-27 16:50 | 65.1276 | 2000 | 917 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 62154.6 | 1 | 444.6 | 313 | 131.6 | 1274.8538 | 0.083611 | 101.1466 | [7 empty] | 2011-06-27 16:50 | 62154.6 | 63071.6 | 61801 | 58717.8
2011-06-27 16:55 | 66.0119 | 2000 | 1011 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 62093.2 | 1 | 350.6 | 313 | 37.6 | 1078.5297 | 0.089444 | 90.5641 | [7 empty] | 2011-06-27 16:55 | 62093.2 | 63104.2 | 61833.6 | 58717.8
2011-06-27 17:01 | 61.8976 | 2000 | 1153 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 62010.4 | 1 | 208.6 | 208.6 | 0 | 749.8403 | 0.080278 | 55.2265 | [7 empty] | 2011-06-27 17:01 | 62010.4 | 63163.4 | 61892.8 | 58717.8
2011-06-27 17:05 | 58.0509 | 2000 | 1448 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 61809.4 | 0 | 0 | 0 | 0 | 0 | 0.084167 | 0 | [7 empty] | 2011-06-27 17:05 | 61809.4 | 63257.4 | 61986.8 | 58717.8
2011-06-27 17:10 | 58.0883 | 2000 | 1532 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 61766.8 | 0 | 0 | 0 | 0 | 0 | 0.081389 | 0 | [7 empty] | 2011-06-27 17:10 | 61766.8 | 63298.8 | 62028.2 | 58717.8
2011-06-27 17:15 | 57.9749 | 2000 | 1536 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 61763 | 0 | 0 | 0 | 0 | 0 | 0.084444 | 0 | [7 empty] | 2011-06-27 17:15 | 61763 | 63299 | 62028.4 | 58717.8
2011-06-27 17:20 | 58.8426 | 2000 | 1466 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 61768.4 | 0 | 0 | 0 | 0 | 0 | 0.083333 | 0 | [7 empty] | 2011-06-27 17:20 | 61768.4 | 63234.4 | 61963.8 | 58717.8
2011-06-27 17:25 | 58.2809 | 2000 | 2120 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 61805 | 0 | 0 | 0 | 0 | 0 | 0.083333 | 0 | [7 empty] | 2011-06-27 17:25 | 61805 | 63925 | 62654.4 | 58717.8
2011-06-27 17:30 | 56.3035 | 2000 | 2257 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 61699.1 | 0 | 0 | 0 | 0 | 0 | 0.081944 | 0 | [7 empty] | 2011-06-27 17:30 | 61699.1 | 63956.1 | 62685.5 | 58717.8
2011-06-27 17:35 | 54.0992 | 2000 | 2439 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 61511.8 | 0 | 0 | 0 | 0 | 0 | 0.084444 | 0 | [7 empty] | 2011-06-27 17:35 | 61511.8 | 63950.8 | 62680.2 | 58717.8
2011-06-27 17:40 | 53.6201 | 2000 | 2444 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 61531.6 | 0 | 0 | 0 | 0 | 0 | 0.084722 | 0 | [7 empty] | 2011-06-27 17:40 | 61531.6 | 63975.6 | 62705 | 58717.8
2011-06-27 17:45 | 53.6288 | 2000 | 2436 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 61506.8 | 0 | 0 | 0 | 0 | 0 | 0.083333 | 0 | [7 empty] | 2011-06-27 17:45 | 61506.8 | 63942.8 | 62672.2 | 58717.8
2011-06-27 17:50 | 53.2821 | 2000 | 2537 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 61446.1 | 0 | 0 | 0 | 0 | 0 | 0.083333 | 0 | [7 empty] | 2011-06-27 17:50 | 61446.1 | 63983.1 | 62712.5 | 58717.8
2011-06-27 17:55 | 53.0056 | 2000 | 2713 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 61293.8 | 0 | 0 | 0 | 0 | 0 | 0.087222 | 0 | [7 empty] | 2011-06-27 17:55 | 61293.8 | 64006.8 | 62736.2 | 58717.8
2011-06-27 18:01 | 52.9921 | 2000 | 2989 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 61211.6 | 0 | 0 | 0 | 0 | 0 | 0.079167 | 0 | [7 empty] | 2011-06-27 18:01 | 61211.6 | 64200.6 | 62930 | 58717.8
2011-06-27 18:05 | 51.2289 | 2000 | 3220 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 60966.2 | 0 | 0 | 0 | 0 | 0 | 0.084167 | 0 | [7 empty] | 2011-06-27 18:05 | 60966.2 | 64186.2 | 62915.6 | 58717.8
2011-06-27 18:10 | 50.0383 | 2000 | 3509 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 60770.5 | 0 | 0 | 0 | 0 | 0 | 0.083333 | 0 | [7 empty] | 2011-06-27 18:10 | 60770.5 | 64279.5 | 63008.9 | 58717.8
2011-06-27 18:16 | 48.5439 | 2000 | 3705 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 60547.3 | 0 | 0 | 0 | 0 | 0 | 0.0825 | 0 | [7 empty] | 2011-06-27 18:16 | 60547.3 | 64252.3 | 62981.7 | 58717.8
2011-06-27 18:20 | 48.2341 | 2000 | 3904 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 60510.2 | 0 | 0 | 0 | 0 | 0 | 0.084167 | 0 | [7 empty] | 2011-06-27 18:20 | 60510.2 | 64414.2 | 63143.6 | 58717.8
2011-06-27 18:26 | 48.3401 | 2000 | 3864 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 60434.2 | 0 | 0 | 0 | 0 | 0 | 0.083056 | 0 | [7 empty] | 2011-06-27 18:26 | 60434.2 | 64298.2 | 63027.6 | 58717.8
2011-06-27 18:30 | 48.2299 | 2000 | 3969 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 60357.6 | 0 | 0 | 0 | 0 | 0 | 0.083611 | 0 | [7 empty] | 2011-06-27 18:30 | 60357.6 | 64326.6 | 63056 | 58717.8
2011-06-27 18:36 | 47.6107 | 2000 | 4101 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 60211.8 | 0 | 0 | 0 | 0 | 0 | 0.083056 | 0 | [7 empty] | 2011-06-27 18:36 | 60211.8 | 64312.8 | 63042.2 | 58717.8
2011-06-27 18:40 | 46.9164 | 2000 | 4342 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 60026.2 | 0 | 0 | 0 | 0 | 0 | 0.084167 | 0 | [7 empty] | 2011-06-27 18:40 | 60026.2 | 64368.2 | 63097.6 | 58717.8
2011-06-27 18:46 | 46.3901 | 2000 | 4604 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 59831.8 | 0 | 0 | 0 | 0 | 0 | 0.0825 | 0 | [7 empty] | 2011-06-27 18:46 | 59831.8 | 64435.8 | 63165.2 | 58717.8
2011-06-27 18:50 | 45.9773 | 2000 | 4734 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 59730.3 | 0 | 0 | 0 | 0 | 0 | 0.083056 | 0 | [7 empty] | 2011-06-27 18:50 | 59730.3 | 64464.3 | 63193.7 | 58717.8
2011-06-27 18:55 | 45.5932 | 2000 | 4910 | 0 | 0 | 0 | 313 | 1596 | 957.6 | 638.4 | 59544.7 | 0 | 0 | 0 | 0 | 0 | 0.083333 | 0 | [7 empty] | 2011-06-27 18:55 | 59544.7 | 64454.7 | 63184.1 | 58717.8
2011-06-27 19:00