| NPRR Number | 408 | NPRR Title | Clarification of ERCOT Authority to Deny Energization of Non-Compliant Generators |
| --- | --- | --- | --- |

| Date | September 29, 2011 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Michael Peck |
| E-mail Address | mike.peck@edpr.com |
| Company | EDPR |
| Phone Number | 713-265-0350 |
| Cell Number |  |
| Market Segment | Independent Generator |

Comments

EDPR appreciates the opportunity to offer these comments. NPRR 408 represents ERCOT’s second attempt to address a real problem: coordinating system planning with the interconnection of new or materially changed Generation Resources. Open access is fundamental to the success of ERCOT’s energy only market, but it complicates transmission planning.   For example, the location and timing of new generation has posed a long standing challenge to system planning. The advent of new generating technology further complicates the process.

The September 27, 2011 Resource Integration, Registration and Modeling Workshop demonstrated that the process for sharing generator data during the interconnection process needs to be re-examined. Retrofits of Wind-powered Generation Resources, the ongoing debate over interconnecting power storage technology and the interconnection of solar resources add urgency to this review. One ongoing part of the solution is to transfer the ERCOT Generation Interconnection or Change Request Procedure into the Planning Guide. This will increase the transparency of planning processes, and will permit their orderly revision via stakeholder review.

The interconnection process specified in the Planning Guide should promote coordination between developers, Transmission Service Providers (TSPs) and ERCOT through regular data updates and indications that the data is considered valid for the various parties’ obligations. EDPR’s comments on NPRR 408 attempt to provide the outline of this approach.

Conceptually, developers and TSPs would work under the terms of the Full Interconnection Study, as they do now. ERCOT would receive regular updates on the design and capabilities of the project as it progresses toward signing an Interconnection Agreement from either the developer or the TSP as appropriate.  ERCOT would advise both the TSP and developer whether or not there are any issues with the data provided or the design of the project. This process would provide all three parties some level of assurance that the Generation Resource will be able to interconnect as scheduled, and that it will perform as needed. Another benefit would be the chance to take advantage of a project’s specific characteristics, in the case that they would improve reliability.  The process outlined is second best to ERCOT signing the Interconnection Agreement, but it should be achievable.

Revised Cover Page Language

| NPRR Number | 408 | NPRR Title | Clarification of ERCOT Authority to Deny Synchronization of Non-Compliant Generators |
| --- | --- | --- | --- |

Revised Proposed Protocol Language

1.6.5	Interconnection of New or Existing Generation

Interconnection of new All-Inclusive Generation Resources to the ERCOT Transmission Grid must be in accordance with the Protocols, the Planning Guide, the Nodal Operating Guides and Other Binding Documents.  For existing All-Inclusive Generation Resources which connect to a new Point of Interconnection (POI) or which utilize more than one POI to the ERCOT Transmission Grid, any Protocol or Other Binding Document requirements applicable to Generation Resources which are based upon the execution date of the Standard Generation Interconnection Agreement (SGIA) shall be applied to the date of the first executed SGIA with the following exceptions:

(a)	For a new POI, existing Generation Resources shall comply with the requirements in Section 3.15, Voltage Support, and Nodal Operating Guide Section 2.9, Voltage Ride-Through Requirements for Generation Resources, based upon the execution date of the most recent SGIA.

(b)	For more than one POI, existing Generation Resources shall comply with the requirements in Section 3.15 and Nodal Operating Guide Section 2.9 based upon the execution date of the SGIA relative to the POI where the Generation Resource is electrically connected.

16.5	Registration of a Resource Entity

(1)	A Resource Entity owns or controls an All-Inclusive Resource connected to the ERCOT System.  Each Resource Entity operating in the ERCOT Region must register with ERCOT.  To become registered as a Resource Entity, an Entity must execute a Standard Form Market Participant Agreement (using the form in Section 22, Attachment A, Standard Form Market Participant Agreement), designate Resource Entity Authorized Representatives, contacts, and a User Security Administrator (USA) (per the Application for Registration as a Resource Entity), and demonstrate to ERCOT’s reasonable satisfaction that it is capable of performing the functions of a Resource Entity under these Protocols.  The Resource Entity shall register each All-Inclusive Resource with ERCOT through ERCOT registration, except for Distributed Generation (DG) with an installed capacity equal to or lower than the DG registration threshold.

(2)	If, at any time before allowing initial synchronization of a new or materially changed All-Inclusive Generation Resource with the ERCOT System, ERCOT reasonably determines that the Resource may violate operational standards established in the Protocols, Planning Guide, Nodal Operating Guides, and Other Binding Documents, ERCOT may require the affected Resource Entity to demonstrate to ERCOT’s reasonable satisfaction that the Resource can comply with these standards before the Resource will be permitted to synchronize.  This determination will finally be made using the New Generator Commissioning Checklist defined in the Planning Guide.  Prior to commissioning, prospective Generation Resources and Transmission Service Providers (TSPs) will regularly update the data necessary for modeling.  These updates will reflect the best available information at the time submitted.  Updates will be submitted using the asset registration process and the timing of updates will be established as part of the Interconnection Study Agreements.  ERCOT may refuse to allow initial synchronization of any new or materially changed All-Inclusive Generation Resource if the Resource Entity cannot demonstrate that the Resource can comply with these standards.  ERCOT will timely notify the relevant TSP and prospective Resource of the details of its finding of non-compliance.  Alternatively, ERCOT will notify the parties of its opinion that the project is expected to comply.  For the purposes of this Section, a change to a Facility is material if it increases the output of an All-Inclusive Generation Resource by more than 10 MW, re-powers an All-Inclusive Generation Resource, or changes the Point of Interconnection (POI) of an All-Inclusive Generation Resource.

(3)	DG with an installed capacity greater than one MW, the DG registration threshold, must register with ERCOT.  ERCOT shall reduce the DG registration threshold as required by these Protocols and post this requirement on the Market Information System (MIS) Public Area.  ERCOT shall produce quarterly reports on the total unregistered installed capacity of DG greater than 50 kW below the current threshold, summed by Load Zone.  Such quarterly report shall contain the current DG registration threshold.  If the total installed capacity of unregistered DG greater that 50 kW exceeds ten MW in any Load Zone, then ERCOT shall issue a Market Notice that states a lower DG registration threshold.  Such registration threshold shall be calculated by ERCOT to reduce the total installed capacity of unregistered DG greater than 50 kW to no more than seven MW in any Load Zone.  This new DG registration threshold shall become effective nine months after ERCOT has issued the Market Notice and posted the new requirement on the MIS Public Area.  Notwithstanding the above, at no time shall ERCOT reduce the DG registration threshold below 50 kW.

(4)	Following this Market Notice, ERCOT shall inform the appropriate Technical Advisory Committee (TAC) subcommittee of the change in DG registration requirements at its next meeting.  The subcommittee shall analyze the quarterly report, and may take any action it deems appropriate, including submitting a Nodal Protocol Revision Request (NPRR) to alter this Section.