## Slide 1: STEC Proposed Changes to Holistic Solution
October 6, 2011

## Slide 2: STEC’s Concerns

## Slide 3: Key Unchanged Elements
Maintains price signal for where to locate
Continues to allow a constraint to oscillate from non-competitive/competitive
  Allows Shadow Price Cap to change accordingly
Does not modify net margin figure of $95,000
Continues 3 tier concept for reaching net margin
  ie., $5,000; $2,000; and $500 Shadow Price Caps
  Defining the magnitude of these tiers is unchanged

## Slide 4: Changed Elements in Proposal
Definition of Irresolvable Congestion
Trigger for Modification of the Shadow Price Cap
Removal of Calendar Year Reset for Net Margin Concept
Stable Shadow Price Caps for 12 Months Following the Trigger

## Slide 5: Definition of Irresolvable Congestion
Protocols section 6.5.7.1.10 Network Security Analysis Processor and Security Violation Alarm lays out the process for ERCOT to take to determine and ‘resolve’ irresolvable constraints
Points to a Protocol reference that already defines how it is determined that a constraint is irresolvable.

## Slide 6: Trigger Mechanism
Currently:
  2 consecutive hours for more than 4 consecutive days
    Or
  20 hours in a rolling 30 day period
Proposed:
  8 hours in a rolling 12 month period
Why?
  Current threshold could allow for too much recurrence
  Does not incent proper behavior?

## Slide 7: Removal of Calendar Year Reset
Currently:
  Resets the net margin to $0 at the start of a calendar year
Proposed:
  No reset of net margin
  Resets to generic Shadow Price Cap with ‘transmission solution’
    Transmission solution – Transmission project, RAP, PCAP, TOAP, or SPS (Luminant change)
  Date 12 months prior to the date in which the trigger is reached becomes anchor point for net margin calculation
Why?
  Calendar year is arbitrary
    Net margin could be met in Dec. and then again in Jan. – lots of money in short time period
  Pricing signal for locating generation still remains without an annual reset to $95,000 for net margin
  Incumbent generators still receive revenues higher than other generators in the market when the constraint is irresolvable so as to reward them for ‘correct’ siting
  Non-competitive constraint – there is no ‘market solution’

## Slide 8: Price Stability
Currently:
  Don’t know when a constraint may be deemed irresolvable; calendar reset exacerbates the problem
  Leads to premium pricing built into all energy products
Proposed:
  Modified Shadow Price Cap will stay in place for a minimum of 12 months from the date in which the trigger mechanism is reached
Why?
  Arguments at WMS and TAC were for a proposal that would allow certainty so that hedging could occur
    Stated that the ERCOT proposal did not provide certainty for when the modified shadow price cap would be in effect.
  This allows for at least 12 months of certainty to allow folks to hedge

## Slide 9: Side by Side Comparison

## Slide 10: Iterated Concerns
The numbers STEC presented are inaccurate
  Based on publicly available ERCOT data
  STEC has acknowledged that assumptions could swing one way or the other
  Someone pays the $$ associated with the RTM prices
  Gets reflected in forward pricing – DAM, Bilaterals, CRRs, etc.
  Outages to support 345kv Valley import upgrades make these numbers conservative

## Slide 11: Iterated Concerns
The STEC 50 hours of annual congestion assumptions are high
  Valley import flow exceeds limit (from IMM)
    2009 – 7.5 hours
    2010 – 16.75 hours
    2011 – 68.5 hours
  OOMC/OOME Dispatch (from Daily Grid Ops. Report)
    Counts – does not indicate hours
      2006 – 82
      2007 – 20
      2008 – 84
      2009 – 49
      2010 – 28
  The AEP Laredo – Valley project will require multi-day outages 345kv system elements to accommodate equipment cut-ins, etc. Therefore, potential exists that the hours of irresolvable congestion could far exceed 2011 values.

## Slide 12: Iterated Concerns
High Shadow Price Caps Incent Load Response in the Load Pocket
  Prices in load pocket become socialized with Load Zone
  Load response is thus dictated throughout entire Zone
    Load response on export side of constraint does not cause relief
  Loads in SCED may fix this?

## Slide 13: Iterated Concerns
Concern expressed that STEC’s proposed changes do not provide an incentive to build
  Higher priced signal on the deficient side of the constraint
  If sufficient generation is built, the signal will go away
  Signal will indicate where to build; not when to build
    Long term viability of generation installation must be made on expected market revenues once the constraint is solved
  No guarantee the higher prices paid to incumbent generators will go towards additional generation behind the constraint

## Slide 14: Appendix

## Slide 15: 2009 Valley Import Flows and Limits
 | Valley Import Flow | Valley Import Limit
04-Apr-09 15:45:00 | 1128.808472 | 1100
13-Apr-09 13:15:00 | 1111.708984 | 1100
17-May-09 04:15:00 | 501.3445435 | 500
25-May-09 13:45:00 | 1175.453369 | 1100
27-May-09 10:30:00 | 1127.976929 | 1100
27-May-09 10:45:00 | 1157.811035 | 1100
27-May-09 11:00:00 | 1181.990967 | 1100
27-May-09 11:15:00 | 1227.307373 | 1100
27-May-09 11:30:00 | 1254.997559 | 1100
27-May-09 11:45:00 | 1278.271729 | 1100
27-May-09 12:00:00 | 1293.825806 | 1100
27-May-09 12:15:00 | 1320.429199 | 1100
27-May-09 12:30:00 | 1351.982178 | 1100
27-May-09 12:45:00 | 1344.69104 | 1100
27-May-09 13:00:00 | 1329.324829 | 1100
27-May-09 13:15:00 | 1303.831299 | 1100
27-May-09 13:30:00 | 1222.944946 | 1100
27-May-09 13:45:00 | 1229.726318 | 1100
27-May-09 14:00:00 | 1234.391235 | 1100
27-May-09 14:15:00 | 1242.835449 | 1100
27-May-09 14:30:00 | 1249.056641 | 1100
27-May-09 14:45:00 | 1250.869873 | 1100
27-May-09 15:00:00 | 1252.146118 | 1100
27-May-09 15:15:00 | 1257.167969 | 1100
27-May-09 15:30:00 | 1262.169922 | 1100
27-May-09 15:45:00 | 1258.277344 | 1100
27-May-09 16:00:00 | 1252.096191 | 1100
27-May-09 16:15:00 | 1220.250977 | 1100
27-May-09 16:30:00 | 1178.944092 | 1100
04-Dec-09 19:30:00 | 1175.274414 | 1100

## Slide 16: 2010 Valley Import Flows & Limits
 | Valley Import Flow | Valley Import Limit
22-May-10 22:15:00 | 1128.239868 | 1100
22-May-10 22:30:00 | 1121.404785 | 1100
23-May-10 22:45:00 | 1137.282349 | 1100
23-May-10 23:00:00 | 1183.608887 | 1100
24-May-10 23:00:00 | 1119.793213 | 1100
09-Jun-10 22:45:00 | 1131.65686 | 1100
14-Jun-10 15:45:00 | 1101.955078 | 1100
02-Jul-10 14:00:00 | 1101.033325 | 1100
02-Jul-10 14:15:00 | 1116.667969 | 1100
02-Jul-10 20:45:00 | 1153.636719 | 1100
02-Jul-10 21:00:00 | 1158.249512 | 1100
19-Sep-10 10:15:00 | 532.0140381 | 325
19-Sep-10 10:30:00 | 472.9658813 | 325
19-Sep-10 10:45:00 | 462.5180359 | 325
19-Sep-10 11:00:00 | 407.0249023 | 325
19-Sep-10 11:15:00 | 376.4623108 | 325
19-Sep-10 11:30:00 | 361.6628418 | 325
19-Sep-10 20:15:00 | 354.8609009 | 345
01-Nov-10 15:15:00 | 1102.07373 | 1100
10-Nov-10 12:15:00 | 703.5003662 | 400
10-Nov-10 12:30:00 | 706.6339722 | 400
10-Nov-10 12:45:00 | 697.8179321 | 400
10-Nov-10 13:00:00 | 703.862915 | 400
10-Nov-10 13:15:00 | 720.1964722 | 400
10-Nov-10 13:30:00 | 729.6057129 | 400
10-Nov-10 13:45:00 | 745.0292358 | 400
10-Nov-10 14:00:00 | 754.2060547 | 400
10-Nov-10 14:15:00 | 755.581665 | 400
10-Nov-10 14:30:00 | 680.6695557 | 400
10-Nov-10 14:45:00 | 662.4129639 | 400
10-Nov-10 15:00:00 | 653.7180786 | 400
10-Nov-10 15:15:00 | 651.9157104 | 400
 | Valley Import Flow | Valley Import Limit
10-Nov-10 15:30:00 | 651.0272217 | 400
10-Nov-10 15:45:00 | 649.5136719 | 400
10-Nov-10 16:00:00 | 638.2305908 | 400
10-Nov-10 16:15:00 | 610.1569824 | 400
10-Nov-10 16:30:00 | 601.6569824 | 400
10-Nov-10 16:45:00 | 594.8460693 | 400
10-Nov-10 17:00:00 | 569.3621216 | 400
10-Nov-10 17:15:00 | 632.9271851 | 400
10-Nov-10 17:30:00 | 632.0973511 | 400
10-Nov-10 17:45:00 | 643.7598267 | 400
10-Nov-10 18:00:00 | 689.4801025 | 400
12-Nov-10 14:00:00 | 1148.743774 | 1100
25-Nov-10 09:30:00 | 1136.095215 | 1100
25-Nov-10 09:45:00 | 1181.463989 | 1100
25-Nov-10 10:00:00 | 1164.01709 | 1100
25-Nov-10 10:15:00 | 1185.841797 | 1100
25-Nov-10 10:30:00 | 1216.269043 | 1100
25-Nov-10 10:45:00 | 1253.615967 | 1100
25-Nov-10 11:00:00 | 1271.75293 | 1100
25-Nov-10 11:15:00 | 1235.781494 | 1100
25-Nov-10 11:30:00 | 1229.369385 | 1100
25-Nov-10 11:45:00 | 1177.697876 | 1100
25-Nov-10 12:00:00 | 1113.541382 | 1100
25-Nov-10 12:15:00 | 1102.533447 | 1100
25-Nov-10 12:30:00 | 1104.739746 | 1100
25-Nov-10 12:45:00 | 1102.609131 | 1100
14-Dec-10 20:15:00 | 1187.677002 | 1100
14-Dec-10 20:30:00 | 1190.664795 | 1100
14-Dec-10 20:45:00 | 1185.853516 | 1100
14-Dec-10 21:00:00 | 1170.98877 | 1100
14-Dec-10 21:15:00 | 1168.324463 | 1100
14-Dec-10 21:30:00 | 1155.300659 | 1100
14-Dec-10 21:45:00 | 1134.75415 | 1100
14-Dec-10 22:00:00 | 1101.00415 | 1100
20-Dec-10 19:15:00 | 1125.89209 | 1100

## Slide 17: 2011 Valley Import Flows & Limits – page 1
 | Valley Import Flow | Valley Import Limit
09-Jan-11 04:45:00 | 659.3598633 | 400
09-Jan-11 05:00:00 | 605.1536865 | 400
09-Jan-11 05:15:00 | 576.8139038 | 400
09-Jan-11 05:30:00 | 530.1262207 | 400
09-Jan-11 05:45:00 | 404.2488403 | 400
09-Jan-11 06:00:00 | 419.2537231 | 400
09-Jan-11 06:15:00 | 447.3994141 | 400
09-Jan-11 06:30:00 | 440.8226013 | 400
09-Jan-11 06:45:00 | 444.3059082 | 400
09-Jan-11 07:00:00 | 430.5708313 | 400
09-Jan-11 07:15:00 | 407.6877441 | 400
09-Jan-11 09:15:00 | 410.9941101 | 400
11-Jan-11 20:30:00 | 1103.491577 | 1100
11-Jan-11 21:00:00 | 1103.560059 | 1100
11-Jan-11 21:15:00 | 1101.696533 | 1100
11-Jan-11 21:30:00 | 1100.764648 | 1100
12-Jan-11 17:45:00 | 1116.774048 | 1100
12-Jan-11 18:00:00 | 1148.780273 | 1100
12-Jan-11 18:15:00 | 1199.166748 | 1100
12-Jan-11 18:30:00 | 1209.751709 | 1100
12-Jan-11 18:45:00 | 1209.751709 | 1100
12-Jan-11 19:00:00 | 1195.580322 | 1100
12-Jan-11 19:15:00 | 1131.515381 | 1100
12-Jan-11 19:30:00 | 1118.856567 | 1100
12-Jan-11 19:45:00 | 1139.949951 | 1100
12-Jan-11 20:00:00 | 1103.113525 | 1100
12-Jan-11 20:15:00 | 1132.028931 | 1100
12-Jan-11 20:45:00 | 1102.303833 | 1100
13-Jan-11 06:30:00 | 1120.374756 | 1100
13-Jan-11 06:45:00 | 1199.876709 | 1100
13-Jan-11 07:00:00 | 1207.006592 | 1100
13-Jan-11 07:15:00 | 1180.410034 | 1100
13-Jan-11 07:30:00 | 1151.971802 | 1100
13-Jan-11 14:15:00 | 1141.800293 | 1100
 | Valley Import Flow | Valley Import Limit
13-Jan-11 15:15:00 | 1101.661377 | 1100
13-Jan-11 16:45:00 | 1121.87207 | 1100
13-Jan-11 17:30:00 | 1108.972534 | 1100
13-Jan-11 17:45:00 | 1141.764893 | 1100
13-Jan-11 18:00:00 | 1185.673706 | 1100
13-Jan-11 18:15:00 | 1208.414307 | 1100
13-Jan-11 18:30:00 | 1203.451294 | 1100
13-Jan-11 18:45:00 | 1201.685303 | 1100
13-Jan-11 19:00:00 | 1158.721069 | 1100
13-Jan-11 19:15:00 | 1157.153809 | 1100
13-Jan-11 19:30:00 | 1160.330566 | 1100
13-Jan-11 19:45:00 | 1161.958374 | 1100
13-Jan-11 20:00:00 | 1154.330566 | 1100
13-Jan-11 20:15:00 | 1155.54248 | 1100
13-Jan-11 20:30:00 | 1146.135742 | 1100
13-Jan-11 20:45:00 | 1119.495361 | 1100
13-Jan-11 21:00:00 | 1135.986816 | 1100
13-Jan-11 21:15:00 | 1153.223389 | 1100
13-Jan-11 21:30:00 | 1154.937256 | 1100
13-Jan-11 21:45:00 | 1125.619141 | 1100
13-Jan-11 22:00:00 | 1129.631836 | 1100
21-Jan-11 06:30:00 | 1105.554932 | 1100
02-Feb-11 10:15:00 | 1139.994141 | 1100
02-Feb-11 10:30:00 | 1191.754395 | 1100
02-Feb-11 10:45:00 | 1155.258301 | 1100
02-Feb-11 11:00:00 | 1110.098877 | 1100
02-Feb-11 17:45:00 | 1109.341553 | 1100
02-Feb-11 18:00:00 | 1148.795654 | 1100
02-Feb-11 18:15:00 | 1176.299805 | 1100
02-Feb-11 18:30:00 | 1227.040771 | 1100
02-Feb-11 18:45:00 | 1256.448242 | 1100
02-Feb-11 19:00:00 | 1266.352539 | 1100
02-Feb-11 19:15:00 | 1285.09668 | 1100
02-Feb-11 19:30:00 | 1272.789307 | 1100
02-Feb-11 19:45:00 | 1271.95752 | 1100

## Slide 18: 2011 Valley Import Flows & Limits – page 2
 | Valley Import Flow | Valley Import Limit
02-Feb-11 20:00:00 | 1261.880127 | 1100
02-Feb-11 20:15:00 | 1261.423828 | 1100
02-Feb-11 20:30:00 | 1263.798706 | 1100
02-Feb-11 20:45:00 | 1250.296143 | 1100
02-Feb-11 21:00:00 | 1237.040527 | 1100
02-Feb-11 21:15:00 | 1238.662842 | 1100
02-Feb-11 21:30:00 | 1208.359985 | 1100
02-Feb-11 21:45:00 | 1169.551636 | 1100
02-Feb-11 22:00:00 | 1175.973389 | 1100
02-Feb-11 22:15:00 | 1261.980835 | 1100
02-Feb-11 22:30:00 | 1229.864502 | 1100
02-Feb-11 22:45:00 | 1233.845581 | 1100
02-Feb-11 23:00:00 | 1208.932983 | 1100
02-Feb-11 23:15:00 | 1150.635376 | 1100
02-Feb-11 23:30:00 | 1116.367432 | 1100
02-Feb-11 23:45:00 | 1288.579346 | 1100
03-Feb-11 00:00:00 | 1199.931763 | 1100
03-Feb-11 04:15:00 | 1108.939819 | 1100
03-Feb-11 06:00:00 | 1114.523193 | 1100
03-Feb-11 06:15:00 | 1165.306274 | 1100
03-Feb-11 06:30:00 | 1219.641357 | 1100
03-Feb-11 06:45:00 | 1258.252808 | 1100
03-Feb-11 07:00:00 | 1376.84375 | 1100
03-Feb-11 07:15:00 | 1447.379517 | 1100
03-Feb-11 07:30:00 | 1468.332886 | 1100
03-Feb-11 07:45:00 | 1464.73877 | 1100
03-Feb-11 08:00:00 | 1477.498779 | 1100
03-Feb-11 08:15:00 | 1507.075806 | 1100
03-Feb-11 08:30:00 | 1524.503418 | 1100
03-Feb-11 08:45:00 | 1536.135742 | 1100
03-Feb-11 09:00:00 | 1543.476807 | 1100
03-Feb-11 09:15:00 | 1556.237549 | 1100
03-Feb-11 09:30:00 | 1554.824951 | 1100
03-Feb-11 09:45:00 | 1569.058594 | 1100
03-Feb-11 10:00:00 | 1572.308105 | 1100
 | Valley Import Flow | Valley Import Limit
03-Feb-11 10:15:00 | 1572.660278 | 1100
03-Feb-11 10:30:00 | 1592.252197 | 1100
03-Feb-11 10:45:00 | 1591.552612 | 1100
03-Feb-11 11:00:00 | 1587.791016 | 1100
03-Feb-11 11:15:00 | 1590.593506 | 1100
03-Feb-11 11:30:00 | 1590.06958 | 1100
03-Feb-11 11:45:00 | 1588.196777 | 1100
03-Feb-11 12:00:00 | 1567.9104 | 1100
03-Feb-11 12:15:00 | 1573.220337 | 1100
03-Feb-11 12:30:00 | 1575.711914 | 1100
03-Feb-11 12:45:00 | 1576.120605 | 1100
03-Feb-11 13:00:00 | 1570.21228 | 1100
03-Feb-11 13:15:00 | 1574.912109 | 1100
03-Feb-11 13:30:00 | 1564.485229 | 1100
03-Feb-11 13:45:00 | 1563.863037 | 1100
03-Feb-11 14:00:00 | 1555.077393 | 1100
03-Feb-11 14:15:00 | 1540.223755 | 1100
03-Feb-11 14:30:00 | 1547.70166 | 1100
03-Feb-11 14:45:00 | 1535.429932 | 1100
03-Feb-11 15:00:00 | 1525.954468 | 1100
03-Feb-11 15:15:00 | 1522.694214 | 1100
03-Feb-11 15:30:00 | 1532.142456 | 1100
03-Feb-11 15:45:00 | 1532.607178 | 1100
03-Feb-11 16:00:00 | 1539.427734 | 1100
03-Feb-11 16:15:00 | 1547.380127 | 1100
03-Feb-11 16:30:00 | 1564.08728 | 1100
03-Feb-11 16:45:00 | 1584.247314 | 1100
03-Feb-11 17:00:00 | 1590.910156 | 1100
03-Feb-11 17:15:00 | 1599.010498 | 1100
03-Feb-11 17:30:00 | 1620.537842 | 1100
03-Feb-11 17:45:00 | 1647.453857 | 1100
03-Feb-11 18:00:00 | 1659.330566 | 1100
03-Feb-11 18:15:00 | 1693.760742 | 1100
03-Feb-11 18:30:00 | 1738.085449 | 1100
03-Feb-11 18:45:00 | 1723.722412 | 1100

## Slide 19: 2011 Valley Import Flows & Limits – page 3
 | Valley Import Flow | Valley Import Limit
03-Feb-11 19:00:00 | 1695.535156 | 1100
03-Feb-11 19:15:00 | 1707.535889 | 1100
03-Feb-11 19:30:00 | 1706.482666 | 1100
03-Feb-11 19:45:00 | 1702.300781 | 1100
03-Feb-11 20:00:00 | 1705.317017 | 1100
03-Feb-11 20:15:00 | 1697.477539 | 1100
03-Feb-11 20:30:00 | 1693.48877 | 1100
03-Feb-11 20:45:00 | 1675.473389 | 1100
03-Feb-11 21:00:00 | 1638.469727 | 1100
03-Feb-11 21:15:00 | 1612.921021 | 1100
03-Feb-11 21:30:00 | 1595.489502 | 1100
03-Feb-11 21:45:00 | 1572.239502 | 1100
03-Feb-11 22:00:00 | 1909.208252 | 1100
03-Feb-11 22:15:00 | 1849.199951 | 1100
03-Feb-11 22:30:00 | 1748.91333 | 1100
03-Feb-11 22:45:00 | 1644.456055 | 1100
03-Feb-11 23:00:00 | 1521.880615 | 1100
03-Feb-11 23:15:00 | 1618.043335 | 1100
03-Feb-11 23:30:00 | 1534.033081 | 1100
03-Feb-11 23:45:00 | 1553.428711 | 1100
04-Feb-11 00:00:00 | 1496.153687 | 1100
04-Feb-11 00:15:00 | 1510.682617 | 1100
04-Feb-11 00:30:00 | 1622.880859 | 1100
04-Feb-11 00:45:00 | 1689.74585 | 1100
04-Feb-11 01:00:00 | 1651.352295 | 1100
04-Feb-11 01:15:00 | 1601.497803 | 1100
04-Feb-11 01:30:00 | 1549.303711 | 1100
04-Feb-11 01:45:00 | 1610.088379 | 1100
04-Feb-11 02:00:00 | 1603.553223 | 1100
04-Feb-11 02:15:00 | 1594.270508 | 1100
04-Feb-11 02:30:00 | 1586.989258 | 1100
04-Feb-11 02:45:00 | 1582.786377 | 1100
04-Feb-11 03:00:00 | 1582.740967 | 1100
04-Feb-11 03:15:00 | 1545.039307 | 1100
04-Feb-11 03:30:00 | 1500.921875 | 1100
 | Valley Import Flow | Valley Import Limit
04-Feb-11 03:45:00 | 1466.856323 | 1100
04-Feb-11 04:00:00 | 1480.053711 | 1100
04-Feb-11 04:15:00 | 1489.409546 | 1100
04-Feb-11 04:30:00 | 1433.001221 | 1100
04-Feb-11 04:45:00 | 1377.779785 | 1100
04-Feb-11 05:00:00 | 1377.447876 | 1100
04-Feb-11 05:15:00 | 1367.251221 | 1100
04-Feb-11 05:30:00 | 1251.230469 | 1100
04-Feb-11 05:45:00 | 1204.219116 | 1100
04-Feb-11 06:00:00 | 1228.439697 | 1100
04-Feb-11 06:15:00 | 1273.313599 | 1100
04-Feb-11 06:30:00 | 1294.094727 | 1100
04-Feb-11 06:45:00 | 1320.793213 | 1100
04-Feb-11 07:00:00 | 1346.321533 | 1100
04-Feb-11 07:15:00 | 1357.376831 | 1100
04-Feb-11 07:30:00 | 1369.937256 | 1100
04-Feb-11 07:45:00 | 1378.694824 | 1100
04-Feb-11 08:00:00 | 1392.162354 | 1100
04-Feb-11 08:15:00 | 1417.030884 | 1100
04-Feb-11 08:30:00 | 1432.884033 | 1100
04-Feb-11 08:45:00 | 1451.051758 | 1100
04-Feb-11 09:00:00 | 1477.065918 | 1100
04-Feb-11 09:15:00 | 1497.769287 | 1100
04-Feb-11 09:30:00 | 1517.001465 | 1100
04-Feb-11 09:45:00 | 1523.43103 | 1100
04-Feb-11 10:00:00 | 1526.356201 | 1100
04-Feb-11 10:15:00 | 1518.080566 | 1100
04-Feb-11 10:30:00 | 1495.317139 | 1100
04-Feb-11 10:45:00 | 1460.501953 | 1100
04-Feb-11 11:00:00 | 1461.445435 | 1100
04-Feb-11 11:15:00 | 1438.696777 | 1100
04-Feb-11 11:30:00 | 1421.834961 | 1100
04-Feb-11 11:45:00 | 1563.196899 | 1100
04-Feb-11 12:00:00 | 1558.641479 | 1100
04-Feb-11 12:15:00 | 1432.938721 | 1100

## Slide 20: 2011 Valley Import Flows & Limits – page 4
 | Valley Import Flow | Valley Import Limit
04-Feb-11 12:30:00 | 1266.707031 | 1100
04-Feb-11 12:45:00 | 1224.592041 | 1100
04-Feb-11 13:00:00 | 1174.795166 | 1100
04-Feb-11 13:15:00 | 1128.531494 | 1100
04-Feb-11 20:30:00 | 1104.595947 | 1100
04-Feb-11 20:45:00 | 1106.836182 | 1100
04-Feb-11 21:00:00 | 1114.66748 | 1100
04-Feb-11 21:15:00 | 1129.417725 | 1100
04-Feb-11 21:30:00 | 1126.991455 | 1100
04-Feb-11 21:45:00 | 1116.093506 | 1100
04-Feb-11 22:00:00 | 1113.962036 | 1100
04-Feb-11 22:15:00 | 1103.31665 | 1100
05-Feb-11 00:15:00 | 1194.519531 | 1100
05-Feb-11 04:45:00 | 1103.687622 | 1100
05-Feb-11 06:00:00 | 1101.609131 | 1100
05-Feb-11 06:15:00 | 1136.228394 | 1100
05-Feb-11 06:30:00 | 1162.859375 | 1100
05-Feb-11 06:45:00 | 1195.491699 | 1100
05-Feb-11 07:00:00 | 1212.395752 | 1100
05-Feb-11 07:15:00 | 1225.537842 | 1100
05-Feb-11 07:30:00 | 1240.073486 | 1100
05-Feb-11 07:45:00 | 1246.150391 | 1100
05-Feb-11 08:00:00 | 1240.183716 | 1100
05-Feb-11 08:15:00 | 1219.201782 | 1100
05-Feb-11 08:30:00 | 1194.91333 | 1100
05-Feb-11 08:45:00 | 1170.34375 | 1100
05-Feb-11 09:00:00 | 1136.563477 | 1100
05-Feb-11 10:15:00 | 1105.019531 | 1100
09-Feb-11 16:15:00 | 1129.848511 | 1100
09-Feb-11 16:45:00 | 1106.03186 | 1100
09-Feb-11 17:30:00 | 1112.869629 | 1100
09-Feb-11 19:30:00 | 1109.869873 | 1100
09-Feb-11 19:45:00 | 1125.979736 | 1100
09-Feb-11 20:00:00 | 1136.512207 | 1100
09-Feb-11 20:15:00 | 1145.505371 | 1100
 | Valley Import Flow | Valley Import Limit
09-Feb-11 20:30:00 | 1155.619141 | 1100
09-Feb-11 20:45:00 | 1152.880859 | 1100
09-Feb-11 21:00:00 | 1141.250488 | 1100
09-Feb-11 21:15:00 | 1132.595459 | 1100
09-Feb-11 21:30:00 | 1118.546631 | 1100
10-Feb-11 06:00:00 | 1134.932617 | 1100
10-Feb-11 06:15:00 | 1254.30127 | 1100
10-Feb-11 06:30:00 | 1339.328857 | 1100
10-Feb-11 06:45:00 | 1400.408203 | 1100
10-Feb-11 07:00:00 | 1420.045898 | 1100
10-Feb-11 07:15:00 | 1390.805298 | 1100
10-Feb-11 07:30:00 | 1351.725952 | 1100
10-Feb-11 07:45:00 | 1280.405029 | 1100
10-Feb-11 08:00:00 | 1251.802002 | 1100
10-Feb-11 08:15:00 | 1286.385742 | 1100
10-Feb-11 08:30:00 | 1276.454834 | 1100
10-Feb-11 08:45:00 | 1253.48584 | 1100
10-Feb-11 09:00:00 | 1239.680054 | 1100
10-Feb-11 09:15:00 | 1227.309082 | 1100
10-Feb-11 09:30:00 | 1210.897461 | 1100
10-Feb-11 09:45:00 | 1191.294434 | 1100
10-Feb-11 10:00:00 | 1161.834473 | 1100
10-Feb-11 10:15:00 | 1136.381226 | 1100
10-Feb-11 10:30:00 | 1104.778442 | 1100
10-Feb-11 21:00:00 | 1114.162476 | 1100
11-Feb-11 06:30:00 | 1125.252808 | 1100
11-Feb-11 06:45:00 | 1156.460693 | 1100
11-Feb-11 07:00:00 | 1107.830078 | 1100
11-Feb-11 07:15:00 | 1104.907715 | 1100
24-Feb-11 22:00:00 | 1175.785522 | 1100