| NPRR Number | 394 | NPRR Title | Outage Reporting |
| --- | --- | --- | --- |
| Date |  | October 17, 2011 |  |
| Submitter’s Information |  |  |  |
| Name |  | Isabel Flores |  |
| E-mail Address |  | iflores@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | 512-248-6531 |  |
| Cell Number |  | 512-565-9117 |  |
| Market Segment |  | Not applicable |  |

Comments

ERCOT submits these comments to address concerns raised at the 10/12/11 WMS meeting regarding Nodal Protocol Revision Request (NPRR) 394.  The comments revise the definition of Forced Derate to be the greater of ten MW or five percent of a Resource’s seasonal net maximum sustainable rating as provided in the Resource Asset Registration Form (RARF).  These comments replace the 10/12/11 ERCOT comments.

Revised Proposed Protocol Language

- 2.1	Definitions

- Forced Derate

The portion of the Resource removed from service which exceeds the greater of ten MW or five percent of its seasonal net maximum sustainable rating provided through the Resource registration process.  For Qualified Scheduling Entities (QSEs) representing Wind-powered Generation Resources (WGRs), the loss of a portion of the capacity shall be due to the unavailability of a portion of the equipment and shall not include capacity changes due to changes in wind speed at the WGR facility.

- 3.1.4.8	Deratings

The Resource Entity or its designee must enter material deratings that are expected to last more than 48 hours in the ERCOT Outage Scheduler.  A derating is considered to be material when the portion of the Resource’s capacity removed from service exceeds the greater of ten MW or five percent of its seasonal net maximum sustainable rating provided through the Resource registration process.  For QSEs representing Wind-powered Generation Resources (WGRs), the loss of a portion of the capacity shall be due to the unavailability of a portion of the equipment and shall not include capacity changes due to wind speed variations at the WGR facility.