NPGRTF Meeting Notes

September 20th 2011

Attendance:

Frank Owens		TMPA (TO)			Matt Stout                        ERCOT

Dylan Preas		LCRA (TO)	                             Yvette Landin                   ERCOT

Jeff Sims		CPS Energy (TO)			Rick Keetch                      Reliant (QSE)

Andrew Gallo                   Austin Energy (TO)

Brenda Hampton             Luminant (QSE)

- Matt Stout started the meeting at 9:30 with the ERCOT Antitrust Admonition.

- Frank gave update from ROS. No assignments

- Reviewed Prior meeting notes with no changes.

- The group reviewed the Task List for possible conflicts. The group reviewed a draft NPRR and NOGRR on Inadvertent Interchange and Inadvertent Energy Clarification. NPGRTF submitted the draft NPRR and NOGRR. The group reviewed possible conflict with FAC-003 and NOG 3.7.2 with reporting of vegetation related outages. Submitted guide language to Texas RE for clarification. The group reviewed proposed changes to Transmission Operator term and definition. The group submitted proposed language to ERCOT Legal for clarification.

Action items for the group, assignments were made to develop and bring back for next meeting one draft NOGRR and review several possibly conflicts.

Future Meeting Dates (ALL) 10/18, 11/15.