| NPRR Number | 327 | NPRR Title | State Estimator Data Redaction Methodology |
| --- | --- | --- | --- |
| Date |  | September 21, 2011 |  |
| Submitter’s Information |  |  |  |
| Name |  | Alex Sills |  |
| E-mail Address |  | asills@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | 512-248-3128 |  |
| Cell Number |  |  |  |
| Market Segment |  | N/A |  |

Comments

ERCOT submits these comments to express concern regarding the ad-hoc complaint process dictated in paragraph (7) of Section 6.5.7.1.13, Data Inputs and Outputs for the Real-Time Sequence and SCED, of NPRR327, State Estimator Data Redaction Methodology.  While this process can be implemented, its impact is heavily dependent on the reaction of the market to the output of the defined redaction methodology.  If many Market Participants protest to the amount of information disclosed in the reports in paragraph (7) of Section 6.5.7.1.13, the volume of complaints to be managed by ERCOT through the ad-hoc process could become overwhelming.  ERCOT recommends an overall less contentious redaction methodology which would not require a Protocol-defined ad-hoc process to address confidentiality concerns.

Below is an outline of the assumptions used by ERCOT in developing the Impact Analysis report for NPRR327.

- Ad-hoc Business Process

  - ERCOT has assumed that it would have to support one ad-hoc request per week.

  - ERCOT assumes that all ad-hoc requests are submitted via ERCOT helpdesk and ERCOT Account Managers.

  - Section 6.5.7.1.13, Data Inputs and Outputs for the Real-Time Sequence and SCED, states that “ERCOT will remove the report as soon as practicable and review the element according to Section 3.20.1, Methodology For Redaction of State Estimator Data.  ERCOT shall validate the request as soon as practicable, and repost the element as soon as it is determined that it no longer meets the redaction criteria.” ERCOT assumes that this analysis of the redacted element is unique to each request.

  - ERCOT will make available two days of State Estimator reports on the Market Information System (MIS) Secure Area.

  - If an ad hoc request is made to remove an element:

    - ERCOT will remove all posted State Estimator reports containing the element in question from the MIS Secure Area.

    - ERCOT will not repost the removed State Estimator reports to the MIS Secure Area or make them available by Market Participant request.

    - ERCOT will not re-rerun historically posted State Estimator reports with the ad hoc requested element redacted.

- Quarterly Business Process

  - ERCOT assumes that the quarterly review of the publish list will initially be revised by a market working group under the Wholesale Market Subcommittee (WMS) for recommendation, then considered at WMS, and subsequently approved by the Technical Advisory Committee (TAC).

  - Section 3.20.1 Process for Redacting State Estimator Output for Real-Time Publication, provides a schedule for TAC to review and approve the publish list.  ERCOT notes that if there are any circumstances where approval is not received within this timeline, ERCOT will continue to post using the latest approved publish list until TAC approves a new list.

  - Each quarter’s publish list will use the prior quarter’s publish list as the starting point.  Only new lines, transformers, and names changes are analyzed through the redaction process.  All loads are re-evaluated each quarter.

  - The quarterly publish list will include all elements to be made available in the State Estimator reports. The reports may vary from the approved publish list due to the Market Participant ad-hoc removal requests resulting from prevailing conditions.

- ERCOT will send market notices:

  - When an element is removed from State Estimator reports due to an ad hoc request.

  - When an element is re-added to State Estimator reports from the resolution of an ad hoc request.

  - When a new publish list is effective after the TAC quarterly review and approval. In addition to the quarterly publish list, the ERCOT market notice will include a current list of the State Estimator elements that are redacted through the ad-hoc process.

ERCOT also proposes additional revisions to provide clarification of the language in NPRR327.  The proposed changes are not intended to affect the intent of the language as approved by PRS on 7/21/2011.

Revised Proposed Protocol Language

3.20	Process for Redacting State Estimator Data for Real-Time Publication

(1)	State Estimator data that is published on the ERCOT Market Information System (MIS) Secure Area in Real-Time shall exclude information (including but not limited to, voltages, transmission flows and transformer flows) from which Resource-specific output levels or offer curves could continually and systematically be derived.

(2)	The appropriate Technical Advisory Committee (TAC) subcommittee shall develop a recommended list of State Estimator elements including transmission lines, transformers and Loads to be redacted using the methodology described in Section 3.20.1, Methodology For Redaction of State Estimator Data.  TAC shall consider the recommended list at its regularly scheduled meetings in February, May, August, and November.

(3)	ERCOT shall develop a publish list of State Estimator elements not included in the approved redacted list.  ERCOT shall filter reports according to the publish list to provide redacted Real-Time State Estimator data as described in Section 6.5.7.1.13, Data Inputs and Outputs for the Real-Time Sequence and SCED.

(4)	Distribution Service Providers (DSPs) and Transmission Service Providers (TSPs) will have access to all State Estimator data in Real-Time and the data will not be subject to the redaction methodology as described in Section 3.20.1.

- 3.20.1	Methodology For Redaction of State Estimator Data

(1)	This method seeks to introduce at least two transmission flow unknowns at, or near, every generation plant and Load station, as identified in Section 3.20.2, Methodology of Identification of Redacted Load, electrical connection.

(2)	The State Estimator data for the following Transmission Elements shall be redacted:

(a)	Generator Step Up (GSU) transformers;

(b)	Radial lines serving generating plants;

(c)	Transformers serving redacted Load; and

(d)	Radial lines serving redacted Load.

(3)	The State Estimator data for the Transmission Elements determined using any of the following methods shall be redacted:

(a)	A transmission branch path that provides connection from the plant generation bus or redacted Load to another plant generation bus or redacted Load where the same owner exists on both ends;

(b)	A transmission branch path that provides connection from at least three independently owned generation plants or redacted Load to a common bus;

(c)	A transmission branch path that provides connection from plant generation bus to substation Load whose summer peak value is equal to 25% of generation plant capability; or

(d)	A transmission branch path that provides connection from redacted Load to substation Load whose summer peak value is equal to 25% of redacted Load.

3.20.2 	Methodology of Identification of Redacted Load

(1)	The following Loads will be considered redacted Load:

(a)	Individual Load on Electrical Buses for station codes that have ten or fewer Electric Service Identifiers (ESI IDs) in DSP or TSP competitive areas;

(b)	Any Non-Opt-In Entity (NOIE) Load unless the NOIE informs ERCOT of the substation or Electrical Buses that can be published and does not conflict with Section 1.3.1, Restrictions on Protected Information.

6.5.7.1.13	Data Inputs and Outputs for the Real-Time Sequence and SCED

(1)	Inputs:  The following information must be provided as inputs to the Real-Time Sequence and SCED.  ERCOT may require additional information as required, including:

(a)	Real-Time data from TSPs including status indication for each point if that data element is stale for more than 20 seconds;

(i)	Transmission Electrical Bus voltages;

(ii)	MW and MVAr pairs for all transmission lines, transformers, and reactors;

(iii)	Actual breaker and switch status for all modeled devices; and

(iv)	Tap position for auto-transformers;

(b)	State Estimator results (MW and MVAr pairs and calculated MVA) for all modeled Transmission Elements;

(c)	Transmission Element ratings from TSPs;

(i)	Data from the Network Operations Model:

(A)	Transmission lines – Normal, Emergency, and 15-Minute Ratings (MVA); and

(B)	Transformers and Auto-transformers – Normal, Emergency, and 15-Minute Ratings (MVA) and tap position limits;

(ii)	Data from QSEs:

(A)	Generator Step-Up (GSU) transformers tap position;

(B)	Resource HSL (from telemetry); and

(C)	Resource LSL (from telemetry); and

(d)	Real-Time weather, from WGRs, and where available from TSPs or other sources.  ERCOT may elect to obtain other sources of weather data and may utilize such information to calculate the dynamic limit of any Transmission Element.

(2)	ERCOT shall validate the inputs of the Resource Limit Calculator as follows:

(a)	The calculated SURAMP and SDRAMP are each greater than or equal to zero; and

(b)	Other provision specified under Section 3.18, Resource Limits in Providing Ancillary Service.

(3)	Outputs for ERCOT Operator information and possible action include:

(a)	Operator notification of any change in status of any breaker or switch;

(b)	Lists of all breakers and switches not in their normal position;

(c)	Operator notification of all Transmission Element overloads detected from telemetered or State-Estimated data;

(d)	Operator notification of all Transmission Element security violations; and

(e)	Operator summary displays:

(i)	Transmission system status changes;

(ii)	Overloads;

(iii) 	System security violations; and

(iv)	Base Points.

(4)	Every hour, ERCOT shall post on the MIS Secure Area the following information:

(a)	Status of all breakers and switches used in the NSA except breakers and switches connecting Resources to the ERCOT Transmission Grid;

(b)	All binding transmission constraints and the contingency or overloaded element pairs that caused such constraint; and

(c)	Shift Factors by Resource Node.

(5)	Sixty days after the applicable Operating Day, ERCOT shall post on the MIS Secure Area, the following information:

(a)	Hourly transmission line flows and voltages from the State Estimator, excluding transmission line flows and voltages for Private Use Networks; and

(b)	Hourly transformer flows, voltages and tap positions from the State Estimator, excluding transformer flows, voltages, and tap positions for Private Use Networks.

(6)	Notwithstanding paragraph (5) above, ERCOT, in its sole discretion, shall release relevant State Estimator data less than 60 days after the Operating Day if it determines the release is necessary to provide complete and timely explanation and analysis of unexpected market operations and results or system events including, but not limited to, pricing anomalies, recurring transmission congestion, and system disturbances.  ERCOT’s release of data under this paragraph shall be limited to intervals associated with the unexpected market or system event as determined by ERCOT.  The data release shall be made available simultaneously to all Market Participants.

(7)	Notwithstanding paragraph (5) above, ERCOT shall post a redacted version of the State Estimator data every five minutes to the MIS Secure Area with a validation check to indicate if the State Estimator does not reach a valid solution.  The State Estimator data shall include power flow and voltage information for transmission lines and transformers.  ERCOT shall only disclose State Estimator data in Real-Time for elements in the publish list as described in Section 3.20, Process for Redacting State Estimator Data for Real-Time Publication.  If a Market Participant determines that publishing an element of the State Estimator data, as described in Section 3.20, allows systematic and continual derivation of Resource-specific output levels and Resource Status, the Market Participant may request ERCOT remove the element from the publish list and the request will be posted on the MIS Secure Area.  ERCOT will remove the report containing the questionable element from the MIS Secure Area as soon as practicable.  ERCOT shall review the element according to Section 3.20.1, Methodology For Redaction of State Estimator Data.  Once ERCOT determines the element no longer meets the criteria for redaction in Section 3.20.1, ERCOT shall resume posting the removed element in the report.

(8)	Every five minutes, ERCOT shall post on the MIS Secure Area from the State Estimator, individual Load on Electrical Buses utilizing the methodology described in 3.20.2, Methodology of Identification of Redacted Load, sum of Load in each Load Zone and total Load on Electrical Buses in the ERCOT System.

(9)	Every hour, ERCOT shall post on the MIS Public Area, the sum of ERCOT generation, and flow on the DC Ties, all from the State Estimator.