| NPRR Number | 377 | NPRR Title | Alternate Inputs to Base Point Deviation Charge |
| --- | --- | --- | --- |
| Date |  | September 21, 2011 |  |
| Submitter’s Information |  |  |  |
| Name |  | M Wagner |  |
| E-mail Address |  | mwagner@edisonmission.com |  |
| Company |  | Edison Mission Marketing & Trading |  |
| Phone Number |  | 617-529-3127 |  |
| Cell Number |  |  |  |
| Market Segment |  | Independent Generator |  |

Comments

| Overall Market Benefit |  |
| --- | --- |
| Overall Market Impact |  |
| Consumer Impact |  |

Recognizing that this NPRR has already been approved by PRS in august 2011, we submit the following questions for clarification based on the language contained in PRS Report dated August 18, 2011.

- What data is ERCOT using for the AVGBP5M?  Is the intent to use Updated Desired Base Point (UDBP) from the ERCOT Operations Systems?  If so, will the ramping in the EMS system be conformed to the 5 minute assumption of UDBP in this settlement change? As we understand it currently, UDBP in Operations ramps over four minutes. The changes proposed by ERCOT in the settlement formulas assume a 5 minute UDBP ramp. It would be extremely helpful to have UDBP in Operations and UDBP in settlement be consistent.

- How are SCED intervals that are less than five minutes in duration handled in these calculations?  This NPRR changes appear to be based on an assumption of exact 5 minute intervals for SCED over the 15 minute Settlement Interval.

- How will PR1, PR2 and KP will be determined. Does ERCOT intend to set these variables itself? It might be good to have these values be TAC approved.

- No equation for AVGTG5M is provided. How is this calculated? How does it work for SCED intervals less than 5 minutes long?  The “old” NPRR language appeared to handle SCED intervals less than 5 minutes long (because it was based on SCED intervals, not on 5 minute clock intervals). If intervals are less than 5 minutes long, will they be excluded?

- TWTG no longer seems time weighted since the time is defined as five minutes without respect to the actual length of the SCED interval. Does this need to be redefined or is this a commitment from Operations for SCED operations at only a five minute interval?

Revised Proposed Protocol Language