| NPRR Number | 415 | NPRR Title | Inadvertent Interchange and Inadvertent Energy Clarification |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | October 20, 2011 |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Nodal Protocol Section Requiring Revision |  | 6.5.4, Inadvertent Energy Account |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) modifies language in Section 6.5.4 related to inadvertent energy. |  |  |
| Reason for Revision |  | The term “Inadvertent Interchange” as used in the North American Electric Reliability Corporation (NERC) Reliability Standards (i.e., BAL-006, Inadvertent Interchange) does not apply to the ERCOT interconnection because ERCOT is not synchronously connected to other interconnections. The term used in the ERCOT Region that describes the difference between scheduled and actual energy across the Direct Current Ties (DC Ties) is “inadvertent energy” as described in Section 6.5.4 and Section 3.8, Managing Daily Inadvertent Energy for the SPP DC Ties, of the Operating Procedure Manual, DC Tie Desk. This NPRR modifies the language related to energy across the DC Ties to remain consistent with the Operating Guides, the Operating Procedure Manual, DC Tie Desk, NERC Reliability Standards and the equation used by ERCOT Independent System Operator (ISO) to calculate Area Control Area (ACE). |  |  |
| Credit Impacts |  | To be determined. |  |  |
| Procedural History |  | - On 9/21/11, NPRR415 was posted. - On 10/20/11, PRS considered NPRR415. |  |  |
| PRS Decision |  | On 10/20/11, PRS unanimously voted to recommend approval of NPRR415 as submitted. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 10/20/11, there was no discussion. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | Describe qualitative benefits - Clarifies the use of the terms for scheduled and actual energy. - All Entities in the ERCOT Region benefit from consistent and clarified language. |
|  | 2 |  |
|  | 3 |  |
|  | 4 |  |
|  | 5 |  |

| Sponsor |  |
| --- | --- |
| Name | Frank Owens on behalf of Nodal Protocol and Guides Resolution Task Force (NPGRTF) |
| E-mail Address | fowens@texasmpa.org |
| Company | Texas Municipal Power Agency |
| Phone Number | 936-873-1120 |
| Cell Number | 979-204-7725 |
| Market Segment | Municipal |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | 512-248-3867 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

Proposed Protocol Language Revision

6.5.4	Inadvertent Energy Account

ERCOT shall track any differences between the scheduled energy and the actual metered value at each Direct Current Tie (DC Tie) in an “Inadvertent Energy Account” between ERCOT and each interconnected non-ERCOT Control Area.  ERCOT shall coordinate operation of each DC Tie with the DC Tie operator such that the Inadvertent Energy Account is maintained as close to zero as possible.  Corrections of inadvertent energy between ERCOT and the other NERC-interconnected non-ERCOT Control Areas must comply with the NERC scheduling protocols and the ERCOT Operating Guides.  ERCOT shall establish procedures to correct Inadvertent Energy Accounts with non-ERCOT Control Areas that are not subject to NERC scheduling protocols.