| NPRR Number | 417 | NPRR Title | TDSP Submittal of Consumption and Demand Values for AMS ESI IDs |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | October 20, 2011 |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Nodal Protocol Section Requiring Revision |  | 10.3.3.3, Submission of Settlement Quality Meter Data to ERCOT |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) documents an existing market process where the Transmission and/or Distribution Service Providers (TDSPs) are providing consumption and demand data for Advanced Metering System (AMS) Electric Service Identifiers (ESI IDs) so the data can be utilized in the implementation of NPRR251, Synchronization of PRR845, Definition for IDR Meters and Optional Removal of IDR Meters at a Premise Where an Advanced Meter Can be Provisioned. |  |  |
| Reason for Revision |  | This NPRR provides language changes needed to support the implementation of NPRR251. This NPRR also documents an existing market process in support of the solution for reporting on AMS ESI IDs that exceed the Interval Data Recorder (IDR) Meter Mandatory Installation Requirements. |  |  |
| Credit Impacts |  | To be determined. |  |  |
| Procedural History |  | - On 10/4/11, NPRR417 and an Impact Analysis were posted. - On 10/19/11, RMS comments were posted. - On 10/20/11, PRS considered NPRR417. |  |  |
| PRS Decision |  | On 10/20/11, PRS voted to recommend approval of NPRR417 as submitted. There were three abstentions from the Independent Generator (2) and Independent Power Marketer (IPM) Market Segments. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 10/20/11, ERCOT Staff explained that NPRR417 documents an existing market process, which would offer a cost effective solution for implementation of NPRR251 by utilizing non-IDR data that TDSPs are currently providing for Advanced Meters. There was discussion regarding the need to replace an Advanced Meter with an IDR Meter once the IDR threshold was reached. Clarification was provided that the Advanced Meter may not actually be replaced when it reaches the threshold, but that the methodology used for Settlement would be different. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | Allows for the use of existing non-IDR 867_03, Monthly Usage, information being submitted by the TDSP for AMS ESI IDs in support of implementing NPRR251. |
|  | 2 | The TDSPs are sending in non-IDR transactions once a month as agreed upon in the original Advanced Metering Implementation Team (AMIT) meetings and Market Advanced Readings and Settlements Task Force (MARS TF) discussions. This NPRR does not change any existing practices performed by the TDSPs. |
|  | 3 | Allows ERCOT to make changes to existing code when developing a solution for NPRR251, which results in a lower cost solution to deliver the functionality. |
|  | 4 |  |
|  | 5 |  |

| Sponsor |  |
| --- | --- |
| Name | Don Tucker |
| E-mail Address | dtucker@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-3913 |
| Cell Number | 512-560-2378 |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | 512-248-3867 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| RMS 101911 | Endorsed NPRR417 as submitted. |

Proposed Protocol Language Revision

- 10.3.3.3	Submission of Settlement Quality Meter Data to ERCOT

(1)	Settlement Quality Meter Data shall be submitted to ERCOT on a periodic cycle, but no later than monthly:

(a) 	For provisioned Advanced Meters, Settlement Quality Meter Data will be submitted using an ERCOT specified file format for the interval data only, which will be used for Settlement.

(i)	The monthly non-interval total consumption and demand (if applicable) values for these ESI IDs shall be provided to ERCOT and Load Serving Entity (LSEs) using the appropriate Texas Standard Electronic Transactions (TX SETs) in order to:

(A)	Effectuate the registration transactions outlined in Section 15, Customer Registration; and

(B)	Determine if a Premise has become subject to the IDR Meter Mandatory Installation Requirements.

(ii)	These non-interval total consumption and demand values will not be used for Settlement.

(b) 	For all other meters, Settlement Quality Meter Data will be submitted using the appropriate TX SET.

(2)	Each TSP or DSP shall ensure that consumption meter data submitted to ERCOT is in intervals of:

(a)	15-minutes for those ESI IDs and RIDs served by IDRs; and

(b)	 Monthly or on an ERCOT-approved meter reading cycle for non-IDRs.

(3)	The Settlement Quality Meter Data submitted by TSP or DSP must be in kWh and kVArh values (as applicable).