| NPRR Number | 420 | NPRR Title | Correct South Hub Back to Original Definition |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Tabled |
| Date of Decision |  | October 20, 2011 |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Nodal Protocol Section Requiring Revision |  | 3.5.2.2, South 345 kV Hub (South 345) |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) corrects changes made by NPRR175, Hub Bus List Clarification, that inadvertently deleted the Sandow switching station (formerly SDSES) from the Hub and added two additional Fayette stations to the calculation. |  |  |
| Reason for Revision |  | The purpose of the trading Hubs was to create trading points that are not significantly impacted by local market volatility and that do not change in definition. The addition of the two Fayette stations triples the impact of the prices at that location on the Hub and the removal of the Sandow switching station appears to be an error. |  |  |
| Credit Impacts |  | To be determined. |  |  |
| Procedural History |  | - On 10/5/11, NPRR420 was posted. - On 10/14/11, ERCOT Comments were posted. - On 10/20/11, PRS considered NPRR420. |  |  |
| PRS Decision |  | On 10/20/11, PRS unanimously voted to table NPRR420. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 10/20/11, it was noted that NPRR420 will be withdrawn. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | Market Benefits: - Corrects an error that was made by NPRR175. - Creates more rational prices at the south Hub. |
|  | 2 |  |
|  | 3 |  |
|  | 4 |  |
|  | 5 |  |

| Sponsor |  |
| --- | --- |
| Name | Clayton Greer |
| E-mail Address | Clayton.greer@morganstanley.com |
| Company | Morgan Stanley |
| Phone Number | 512-497-2986 |
| Cell Number | 512-639-3993 |
| Market Segment | Independent Power Marketer (IPM) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | 512-248-4513 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| ERCOT 101411 | Corrected the name for the “Sandow” Hub Bus. |

Proposed Protocol Language Revision

3.5.2.2	South 345 kV Hub (South 345)

(1)	The South 345 kV Hub is composed of the following Hub Buses:

|  | ERCOT Operations |  |  |
| --- | --- | --- | --- |
| No. | Hub Bus | kV | Hub |
| 1 | AUSTRO | 345 | SOUTH |
| 2 | BLESSING | 345 | SOUTH |
| 3 | CAGNON | 345 | SOUTH |
| 4 | COLETO | 345 | SOUTH |
| 5 | CLEASP | 345 | SOUTH |
| 6 | NEDIN | 345 | SOUTH |
| 7 | FAYETT | 345 | SOUTH |
| 8 | GARFIE | 345 | SOUTH |
| 9 | GUADG | 345 | SOUTH |
| 10 | HAYSEN | 345 | SOUTH |
| 11 | HILLCTRY | 345 | SOUTH |
| 12 | HOLMAN | 345 | SOUTH |
| 13 | KENDAL | 345 | SOUTH |
| 14 | LA_PALMA | 345 | SOUTH |
| 15 | LON_HILL | 345 | SOUTH |
| 16 | LOSTPI | 345 | SOUTH |
| 17 | LYTTON_S | 345 | SOUTH |
| 18 | MARION | 345 | SOUTH |
| 19 | PAWNEE | 345 | SOUTH |
| 20 | RIOHONDO | 345 | SOUTH |
| 21 | RIONOG | 345 | SOUTH |
| 22 | SALEM | 345 | SOUTH |
| 23 | SANDOW | 345 | SOUTH |
| 24 | SANMIGL | 345 | SOUTH |
| 25 | SKYLINE | 345 | SOUTH |
| 26 | STP | 345 | SOUTH |
| 27 | CALAVERS | 345 | SOUTH |
| 28 | BRAUNIG | 345 | SOUTH |
| 29 | WHITE_PT | 345 | SOUTH |
| 30 | ZORN | 345 | SOUTH |

(2)	The South 345 kV Hub Price is the simple average of the Hub Bus prices for each hour of the Settlement Interval of the DAM in the Day-Ahead and is the simple average of the time-weighted Hub Bus prices for each 15-minute Settlement Interval in Real-Time, for each Hub Bus included in this Hub.

(3)	The Day-Ahead Settlement Point Price of the Hub for a given Operating Hour is calculated as follows:

DASPP South345	=	Σhb(HUBDF hb, South345 * DAHBP hb, South345) , if HB South345≠0

DASPP South345	=	DASPPERCOT345Bus, if HB South345=0

Where:

DAHBP hb, South345	=	(HBDF b, hb, South345 * DALMP b, hb, South345)

HUBDF hb, South345	=	IF(HB South345=0, 0, 1 / HB South345)

HBDF b, hb, South345	=	IF(B hb, South345=0, 0, 1 / B hb, South345)

The above variables are defined as follows:

| Variable | Unit | Definition |
| --- | --- | --- |
| DASPP South345 | $/MWh | Day-Ahead Settlement Point PriceThe DAM Settlement Point Price at the Hub, for the hour. |
| DAHBP hb, South345 | $/MWh | Day-Ahead Hub Bus Price at Hub BusThe DAM energy price at Hub Bus hb for the hour. |
| DALMP b, hb, South345 | $/MWh | Day-Ahead Locational Marginal Price at Electrical Bus of Hub BusThe DAM LMP at Electrical Bus b that is a component of Hub Bus hb for the hour. |
| HUBDF hb, South345 | none | Hub Distribution Factor per Hub BusThe distribution factor of Hub Bus hb. |
| HBDF b, hb, South345 | none | Hub Bus Distribution Factor per Electrical Bus of Hub BusThe distribution factor of Electrical Bus b that is a component of Hub Bus hb. |
| b | none | An energized Electrical Bus that is a component of a Hub Bus. |
| B hb, South345 | none | The total number of energized Electrical Buses in Hub Bus hb. |
| hb | none | A Hub Bus that is a component of the Hub. |
| HB South345 | none | The total number of Hub Buses in the Hub with at least one energized component in each Hub Bus. |

(4)	The Real-Time Settlement Point Price of the Hub for a given 15-minute Settlement Interval is calculated as follows:

RTSPP South345	=	Σhb(HUBDF hb, South345 * (Σy(RTHBP hb, South345, y * TLMP y) / (ΣyTLMP y))), if HB South345≠0

RTSPP South345	=	RTSPPERCOT345Bus, if HB South345=0

Where:

RTHBP hb, South345, y	=	(HBDF b, hb, South345 * RTLMP b, hb, South345, y)

HUBDF hb, South345	=	IF(HB South345=0, 0, 1 / HB South345)

HBDF b, hb, South345	=		IF(B hb, South345=0, 0, 1 / B hb, South345)

The above variables are defined as follows:

| Variable | Unit | Description |
| --- | --- | --- |
| RTSPP South345 | $/MWh | Real-Time Settlement Point PriceThe Real-Time Settlement Point Price at the Hub, for the 15-minute Settlement Interval. |
| RTHBP hb, South345, y | $/MWh | Real-Time Hub Bus Price at Hub Bus per SCED intervalThe Real-Time energy price at Hub Bus hb for the SCED interval y. |
| RTLMP b, hb, South345, y | $/MWh | Real-Time Locational Marginal Price at Electrical Bus of Hub Bus per intervalThe Real-Time LMP at Electrical Bus b that is a component of Hub Bus hb, for the SCED interval y. |
| TLMP y | second | Duration of SCED interval per intervalThe duration of the portion of the SCED interval y within the 15-minute Settlement Interval |
| HUBDF hb, South345 | none | Hub Distribution Factor per Hub BusThe distribution factor of Hub Bus hb. |
| HBDF b, hb, South345 | none | Hub Bus Distribution Factor per Electrical Bus of Hub BusThe distribution factor of Electrical Bus b that is a component of Hub Bus hb. |
| y | none | A SCED interval in the 15-minute Settlement Interval. The summation is over the total number of SCED runs that cover the 15-minute Settlement Interval. |
| b | none | An energized Electrical Bus that is a component of a Hub Bus. |
| B hb, South345 | none | The total number of energized Electrical Buses in Hub Bus hb. |
| hb | none | A Hub Bus that is a component of the Hub. |
| HB South345 | none | The total number of Hub Buses in the Hub with at least one energized component in each Hub Bus. |