| NPRR Number | 351 | NPRR Title | Calculate and Post Projected Non-Binding LMPs for the Next 15 Minutes |
| --- | --- | --- | --- |
| Date |  | November 2, 2011 |  |
| Submitter’s Information |  |  |  |
| Name |  | Eric Goff |  |
| E-mail Address |  | egoff@reliant.com |  |
| Company |  | Reliant Energy Retail Services, LLC |  |
| Phone Number |  |  |  |
| Cell Number |  | 512-284-4908 |  |
| Market Segment |  | Independent Retail Electric Provider |  |

Comments

Reliant agrees with the Comments from the Steel Mills and TIEC that the Steel Mill appeal of NPRR 351 be granted, but requests that TAC seek additional clarifications that are important to the eventual outcome of this NPRR.

As mentioned at PRS on 10/24/2011, we continue to express reservation around implanting SCED Look-Ahead without answering key questions about how this first step will be implemented.  While we are supportive generally of the more efficient dispatch offered by SCED Look-Ahead, we feel that there are important questions to answer as part of the process suggested by ERCOT in this NPRR.  Knowing the answers to these at least some of these questions is imperative prior to passing this NPRR on to the Board.  For example, what assumptions will be made about wind generation? Will ERCOT assume that wind generators will follow base points? Will the base points match the wind forecast? At what point will the SCED look-ahead cease using telemetered ramp rates and start using registered ramp rates? How often do generators modify their ramp rates in real time?  Will there be state estimator inputs into the look-ahead process?  Will the dynamic ratings processor use a weather forecast to adjust dynamic ratings? If it doesn’t, this could lead to error in the non-binding forecast.  If a future loading condition over the next hour will result in a binding constraint, will SCED look-ahead attempt to solve it, or will it only solve what is currently binding?  Will ERCOT override HDLs and LDLs for forecasted insecure states? If it doesn’t, but does in real-time, this could result in error just when prices are rising in a local area.  Will operators be able to see forecasted base points? Is it appropriate for them to do so in a non-binding market? Are forecasted base points public information after 60 days?

Therefore, Reliant recommends the following motion to TAC, consistent with the Steel Mill comments this morning:

- TAC encourages WMS and PRS to continue discussions with ERCOT on the details of the “look ahead” SCED through workshops, special meetings, or other means.

- TAC instructs PRS to either approve or reject NPRR 351 at their next scheduled meeting on November 17, 2011 and report back to TAC at the December 1, 2011 TAC meeting.

- TAC requests that ERCOT provide, more information to PRS at their next scheduled meeting on November 17, 2011 (or to the next TAC meeting if the PRS meeting is too soon) about their intentions on how to actually implement this NPRR in regards to:

  - Wind forecasts

  - Wind base points

  - Ramp rates

  - State estimator inputs

  - Dynamic ratings

  - Binding constraints

  - LDLs and HDLs

  - Disclosure of forecasted base points to operators and the market

In addition, we offer modifications to the title and cover page for PRS consideration in order to bring the cover page in line with current thinking on this NPRR.  We’re happy for PRS or others to revise this, but wanted to offer these as a starting point for revision of the cover page.

| Revised Cover Page Language |  |  |  |
| --- | --- | --- | --- |
| NPRR Number | 351 | NPRR Title | SCED Look-Ahead Step 1: Pricing: Calculate Non-Binding Prices and Basepoints for Initial Research into Look-Ahead SCED and allow Consumers to have a Forward Price Projection |
| Revision Description |  | Using the inputs specified in this Nodal Protocol Revision Request (NPRR), ERCOT will calculate prices and base points over the next hour, using an hour-long optimization instead of a five-minute optimization. These calculated prices and base points will initially be non-binding, although it is anticipated that these will become binding as Security-Constrained Economic Dispatch (SCED) Look-Ahead progresses in future phases. Not covered by this NPRR are the larger pieces of SCED Look-Ahead, like Real-Time commitment of generators and Load Resources (possibly replacing or eliminating the Non-Spinning Reserve (Non-Spin) product), Real-Time co-optimization of energy and Ancillary Services (including determining when the co-optimization occurs), whether to charge make-whole charges and to whom they should be charged to, and how these revisions will support the overall market design and Resource adequacy requirements. |  |
| Reason for Revision |  | ERCOT expects this NPRR will be the first step of a multi-phase implementation of SCED Look-Ahead, with the results of this NPRR primarily being used for research purposes to determine how to best calculate prices and base points for future periods. In addition, the ERCOT Steel Mills and at least one retailer have expressed a strong desire to use the results to make Real-Time decisions on how to consume power in Real-Time based on prices. Primarily, this will be used to determine the accuracy (and improve it, if possible) of the SCED Look-Ahead Real-Time Dispatch process. At issue will be whether the improved algorithm delivers better results than the current one. There are a number of areas to analyze, including: - The predictability of the wind generation over the next hour. - How near-term Load growth and generator Dispatch will create binding contingencies over the next hour. - What sort of uplift costs will be created by the process, if any, once it becomes binding. |  |
| Overall Market Benefit |  | Market response to Real-Time prices assures reduced overall cost to consumers and allows Generation Resource owners opportunities to better use their equipment. In addition, this NPRR will allow Market Participants to begin to assess how a part of the changing Resource Dispatch will affect them, and ERCOT and Market Participants can identify ways to improve the forecast methodology. |  |
| Overall Market Impact |  | It is possible, although hopefully unlikely, that this process will lead to unreliable price and base point forecasts. If this is the case, then the effort will have been wasted. However, the only way to be sure that the SCED Look-Ahead process will work is to try it and find out. |  |
| Consumer Impact |  | Posting of estimates of future Locational Marginal Prices (LMPs) facilitates consumers’ ability to reduce their consumption in response to high market prices. Furthermore, projecting non-binding prices will assist Retail Electric Providers (REPs) in designing and implementing effective demand response programs for residential and small business consumers using Direct Load Control (DLC), etc. |  |
| Credit Implications |  | Yes. Potentially reduces credit exposure of Load Serving Entities (LSEs) who have Loads that can respond to high prices. |  |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 | Will result in a new system in place in production that will be used for research purposes and price projections. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | Market Information System (MIS) User Interface - new information to be obtained from the MIS. | Unknown. |
|  | 2 | Analysis of SCED Look-Ahead results |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | ERCOT has stated that this is a necessary first step to achieve SCED Look-Ahead, which is a policy goal of the Public Utility Commission of Texas (PUCT). |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

Revised Proposed Protocol Language

None at this time.