Date: 	October 20, 2011

To:	Technical Advisory Committee (TAC) Representatives

From:	Sandy Morris, Protocol Revision Subcommittee (PRS) Chair

Re:	Consideration of Nodal Protocol Revision Requests (NPRRs)

The PRS met and discussed several revision requests and presents the following NPRRs to the TAC for consideration this month.

Unless indicated otherwise, all Market Segments were present for the vote.  In addition, unless stated otherwise, the ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision requests and do not believe they require changes to credit monitoring activity or the calculation of liability.

NPRRs Recommended for Approval

  - NPRR377, Alternate Inputs to Base Point Deviation Charge [ERCOT].

Proposed Effective Date:  Upon System Implementation – Priority High; Rank 35

ERCOT Impact Analysis:  $150k - $165k; no impacts to ERCOT staffing; impacts to Energy Management System (EMS), Commercial Systems Integration (CSI), Settlements and Billing (S&B), Extracts and Reporting (EIS), and ERCOT Storage; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR will align the Adjusted Aggregated Base Points (AABP) formula with the inputs to the Generation Resource Energy Deployment Performance (GREDP) measure.  The current formula for AABP inaccurately assesses Base Point Deviation charges for under and over generation when shortened Security-Constrained Economic Dispatch (SCED) intervals occur.  Additionally, this NPRR includes bill determinants to track the over and under generated volumes and correct language for bill determinants P1 and P2.

Procedural History:  NPRR377 was posted on 6/7/11.  On 6/23/11, PRS unanimously voted to table NPRR377.  On 8/18/11, PRS unanimously voted to recommend approval of NPRR377 as amended by the 8/8/11 ERCOT comments and as revised by PRS.  On 9/22/11, PRS unanimously voted to table NPRR377 for one month.  On 10/20/11, PRS unanimously voted to endorse and forward the 8/18/11 PRS Report as amended by the 9/20/11 and 10/13/11 ERCOT comments and the Impact Analysis to TAC with a recommended priority of High and rank of 35.

  - NPRR401, Clarification of Timing for a Generation Resource to be Considered Self-Committed [ERCOT].

Proposed Effective Date:  January 1, 2012

ERCOT Impact Analysis:   No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; minor impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR removes language that broadly allows Qualified Scheduling Entities (QSEs) to self-commit between the time Reliability Unit Commitment (RUC) executes and the time that the QSE receives the RUC instruction, but does not speak to the Settlement treatment and can result in conflicting commitment information.  This NPRR also clarifies the timing by which a QSE may self-commit a Generation Resource, specifically the timing of the self-commitment required in order for the Generation Resource to be considered self-committed by a RUC process and in Settlement of that same RUC process.

Procedural History:  NPRR401 was posted on 8/3/11.  On 8/18/11, PRS unanimously voted to table NPRR401 for one month.  On 9/22/11, PRS unanimously voted to recommend approval of NPRR401 as amended by the 9/1/11 ERCOT comments.  On 10/20/11, PRS unanimously voted to endorse and forward the 9/22/11 PRS Report and Impact Analysis for NPRR401 to TAC.

  - NPRR403, Revised FASD Calculation for TX SET Version 4.0 Release [Market Coordination Team (MCT)].

Proposed Effective Date:  Upon System Implementation of PR11002_01, Texas SET 4.0.

ERCOT Impact Analysis:  No budgetary impacts (costs will be managed under PR11002_01); no impacts to ECOT staffing; minor impacts to Siebel and PaperFree; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR revises the First Available Switch Date (FASD) calculation to include the availability of same day switches on Saturday.

Procedural History:  NPRR403 was posted on 8/15/11.  On 9/22/11, PRS unanimously voted to recommend approval of NPRR403 as submitted.  There was one abstention from the Independent Generator Market Segment.  On 10/20/11, PRS unanimously voted to endorse and forward the 9/22/11 PRS Report and Impact Analysis for NPRR403 to TAC.

  - NPRR404, Clarification of Form of Notification of Suspension of Operations [ERCOT].

Proposed Effective Date:  January 1, 2012

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR removes an obsolete reference to excess energy payment options from the form of Notification of Suspension of Operations in Section 22, Attachment E, Notification of Suspension of Operations.

Procedural History:  NPRR404 was posted on 8/25/11.  On 9/22/11, PRS unanimously voted to recommend approval of NPRR404 as amended by the 9/20/11 ERCOT comments and as revised by PRS.  On 10/20/11, PRS unanimously voted to endorse and forward the 9/22/11 PRS Report as revised by PRS and Impact Analysis for NPRR404 to TAC.

  - NPRR406, Clarification of the Timeline for Calculating the Value of X at Minimum Energy Level [ERCOT].

Proposed Effective Date:  January 1, 2012

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies that the effective date for the value of X as applied to fuel at the minimum energy level is described in the Verifiable Cost Manual.

Procedural History:  NPRR406 was posted on 9/2/11.  On 9/22/11, PRS unanimously voted to recommend approval of NPRR406 as submitted.  On 10/20/11, PRS unanimously voted to endorse and forward the 9/22/11 PRS Report and Impact Analysis for NPRR406 to TAC.

Revision Requests Rejected and Failed Motions

  - NPRR418, Reporting of Resource Forced Outages [ERCOT].

Proposed Effective Date:  Not applicable.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR will require all Resource Forced Outages to be entered into the Outage Scheduler.

Procedural History:  NPRR418 was posted on 10/5/11.  On 10/20/11, PRS voted to reject NPRR418.  There were two opposing votes from the Municipal Market Segment and six abstentions from the Investor Owned Utility (IOU) (3), Cooperative (2) and Municipal Market Segments.  Credit review not applicable.

Revision Requests Withdrawn (no TAC action required)

  - NPRR371, Telemetered LSL for QSGR [Topaz] – Urgent.

Proposed Effective Date:  Not applicable.

ERCOT Impact Analysis:  Not applicable.

Revision Description:  This NPRR will allow Quick Start Generation Resources (QSGRs) to immediately telemeter the physical Low Sustained Limit (LSL) upon a SCED energy deployment.

Procedural History:  NPRR371 was posted on 5/31/11.  On 6/2/11, the motion to grant NPRR371 Urgent status failed via PRS email vote.  On 6/23/11, PRS voted to grant NPRR371 Urgent status.  There were five opposing votes from the Independent Generator, IOU, Cooperative, Consumer, and Independent Power Marketer (IPM) Market Segments.  PRS then unanimously voted to table NPRR371.  On 10/3/11, the submitter filed a notice of withdrawal for NPRR371.  Credit review not applicable.

Status of Pending Revision Requests (For Information Purposes Only):

Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the November 17, 2011 PRS Meeting

  - NPRR327, State Estimator Data Redaction Methodology [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  $155k - $175k (system implementation); $240k - $260k (annual recurring O&M); staffing impacts of one full-time equivalent (FTE) for Operations Support and one FTE for Enterprise Information Management departments; system impacts to EMS, Current Day Reports (CDR), Market Information System (MIS), Information Systems Manager (ISM), and Network Modeling and Management System (NMMS); ERCOT business functions will need to be updated to implement post and redaction requirements; no impacts to ERCOT grid operations or practices.

Revision Description:  This NPRR inserts language to define a redaction methodology for the posting of State Estimator data.

Procedural History:  NPRR327 was posted on 2/22/11.  On 3/24/11, PRS unanimously voted to table NPRR327.  On 7/21/11, PRS unanimously voted to recommend approval of NPRR327 as amended by the 7/21/11 Morgan Stanley comments and as revised by PRS.  On 8/18/11, PRS unanimously voted to table NPRR327.  On 9/22/11, PRS unanimously voted to table NPRR327.

  - NPRR351, Calculate and Post Projected Non-Binding LMPs for the Next 15 Minutes [WMS].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis (preliminary):  $200k - $250k; no ERCOT staffing impacts; system impacts to Market Management System (MMS), EMS, MIS, CDR, and ISM; ERCOT business processes will need to be updated; no impacts to grid operations or practices.

Revision Description:  This NPRR provides that for each SCED process, ERCOT shall calculate a rolling 15-minute projection of Resource High Dispatch Limits (HDLs) and Low Dispatch Limits (LDLs), total generation requirement, and the Locational Marginal Prices (LMPs) for each Resource Node, Hub, Load Zone and Electrical Bus.

Procedural History:  NPRR351 was posted on 4/13/11.  On 5/19/11, PRS unanimously voted to table NPRR351 for one month.  On 6/23/11, PRS voted to reject NPRR351 via roll call vote.  There were five opposing votes from the Municipal (3), IOU (1), and Consumer Market Segments and eight abstentions from the Cooperative, IOU, Independent Generator (2), Independent Retail Electric Provider (IREP), and IPM (3) Market Segments.  On 8/4/11, TAC voted via roll call vote to grant the ERCOT Steel Mills appeal and remand NPRR351 to PRS; to direct PRS to work with ERCOT to resolve any questions needed to complete the Impact Analysis; to request that ERCOT perform an Impact Analysis; and to direct PRS to recommend action on NPRR351 to TAC after the completion of the Impact Analysis.  There were three abstentions from the IPM Market Segment.  On 8/18/11, PRS voted to recommend approval of NPRR351 as revised by PRS for the sole purpose of ERCOT’s preparation of an Impact Analysis for PRS review.  There was one opposing vote from the Independent Generator Market Segment.  On 9/22/11, PRS unanimously voted to table NPRR351 for one month, to request that ERCOT prepare comments outlining the impacts associated with Option 2 (as defined in the 9/21/11 ERCOT comments) and provide examples; and to request that WMS review NPRR351 and provide input by the 10/20/11 PRS meeting.  On 10/20/11, PRS voted via roll call vote to table NPRR351 to allow further discussion in a workshop and further specify inputs, optimization, and outputs for NPRR351.  There were nine opposing votes from the Consumer (5), Cooperative (2), Independent Generator and Municipal Market Segments and two abstentions from the IPM and Municipal Market Segments.  A motion to grant NPRR351 Urgent status then failed via roll call vote.  There were nine opposing votes from the Municipal, Independent Generator (2), IPM (3), IREP and IOU (2) Market Segments and two abstentions from the Consumer and IREP Market Segments.

  - NPRR385, Security Violation Analysis and Reporting and Negative Price Floor [Luminant Energy].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis (preliminary):  $75k - $90k (system implementation); $950k - $1M (annual recurring O&M); staffing impacts of one FTE for Mid Term Planning and seven FTEs for Operations Support departments; impacts to MMS, EMS, Price Verification Tool and MIS; business functions and grid operations and practices will need to be updated.  Revision Description:  This NPRR adds review, analysis and reporting requirements to the Network Security Analysis (NSA) process to provide Market Participants with information related to the causes of recurring security violations and possible solutions developed by ERCOT to address those violations.  Additionally, this NPRR adds an administrative Real-Time Settlement Point Price floor of negative $251/MWh for Resource Nodes and Hubs.

Procedural History:  NPRR385 as posted on 6/14/11.  On 7/21/11, PRS unanimously voted to recommend approval of NPRR385 as amended by the 6/21/11 Luminant Energy Company LLC comments.  On 8/18/11, PRS voted to table NPRR385 for one month.  There was one opposing vote from the Independent Generator Market Segment.  On 9/22/11, PRS unanimously voted to table NPRR385.  Positive credit implications.

  - NPRR393, SCED Constraint Management Transparency [J. Aron].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis (preliminary):  $15k - $20k (system implementation); $950k - $1M (annual recurring O&M); staffing impacts of two FTEs for Operations Support and six FTEs for System Operations departments; impacts to MIS; business functions will need to be updated to implement posting requirements; no impacts on ERCOT grid operations and practices.

Revision Description:  This NPRR creates a reporting requirement to provide transparency into SCED constraint management decisions.

Procedural History:  NPRR393 was posted on 7/14/11.  On 7/20/11, the motion to grant NPRR393 Urgent status failed via PRS email vote.  On 8/18/11, PRS unanimously voted to recommend approval of NPRR393 as submitted.  On 9/22/11, PRS unanimously voted to table NPRR393.

  - NPRR405, Clarification of DC Tie Load Into Operational Systems and Processes [EDF Trading].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR clarifies that Direct Current Tie (DC Tie) exports are to be treated as Load.

Procedural History:  NPRR405 was posted on 8/29/11.  On 9/22/11, PRS voted to table NPRR405.  There was one abstention from the IPM Market Segment.  On 10/20/11, PRS voted to recommend approval of NPRR405 as submitted.  There was one opposing vote from the Consumer Market Segment and two abstentions from the Independent Generator and Municipal Market Segments.  Credit review is pending.

  - NPRR407, Credit Monitoring Posting Requirements [Tenaska].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR adds language to require posting of current and previously effective credit parameters to the MIS Certified Area.

Procedural History:  NPRR407 was posted on 9/6/11.  On 9/22/11, PRS unanimously voted to table NPRR407.  On 10/20/11, PRS unanimously voted to recommend approval of NPRR407 as amended by the 10/4/11 Tenaska comments and as revised by PRS.  Credit review is pending.

  - NPRR408, Clarification of ERCOT Authority to Deny Energization of Non-Compliant Generators [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies ERCOT’s authority to deny energization of a new or materially changed All-Inclusive Generation Resource if ERCOT determines the Resource Entity cannot demonstrate that the Resource would be able to comply with technical standards in the Protocols, the Planning Guide, the Nodal Operating Guides, and Other Binding Documents.

Procedural History:  NPRR408 was posted on 9/6/11.  On 9/22/11, PRS unanimously voted to table NPRR408.  On 10/20/11, PRS voted to recommend approval of NPRR408 as amended by the 10/19/11 Topaz comments.  There was one abstention from the Independent Generator Market Segment.  Credit review is pending.

  - NPRR413, Oklaunion Exemption Calculation Verification [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Less than $5k; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR adds details to describe the ERCOT adjustment process when Oklaunion-exempt Load exceeds the actual net output of the Oklaunion Resource and adds the requirement to designate a non-exempt QSE.

Procedural History:  NPRR413 was posted on 9/12/11.  On 10/20/11, PRS unanimously voted to recommend approval of NPRR413 as submitted.  Credit review is pending.

  - NPRR414, Clarification of Pre-DAM RUC Instruction Sequence [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies the treatment of RUC instructions for instances in which ERCOT issues instructions prior to the closing of the DAM submission window and to clarify how a QSE may self-commit in such a scenario.

Procedural History:  NPRR402 was posted on 8/8/11.  On 10/20/11, PRS unanimously voted to recommend approval of NPRR414 as revised by PRS.  Credit review is pending.

  - NPRR415, UFE Calculation Clarifications [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies language in the Unaccounted for Energy (UFE) calculation.

Procedural History:  NPRR415 was posted on 9/12/11.  On 10/20/11, PRS unanimously voted to recommend approval of NPRR415 as submitted.  Credit review is pending.

  - NPRR417, TDSP Submittal of Consumption and Demand Values for AMS ESI IDs [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR documents an existing market process where the Transmission and/or Distribution Service Providers (TDSPs) are providing consumption and demand data for Advanced Metering System (AMS) Electric Service Identifiers (ESI IDs) so the data can be utilized in the implementation of NPRR251, Synchronization of PRR845, Definition for IDR Meters and Optional Removal of IDR Meters at a Premise Where an Advanced Meter Can be Provisioned.  .

Procedural History:  NPRR417 was posted on 10/4/11.  On 10/20/11, PRS voted to recommend approval of NPRR417 as submitted.  There were three abstentions from the IPM and Independent Generator (2) Market Segments.  Credit review is pending.

Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee

- NPRR190, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description: This NPRR adds language to acknowledge the existence of Generation Resources that have no or minimal injection onto the ERCOT System that qualify either as distributed generation or are registered with the Public Utility Commission of Texas (PUCT) according to P.U.C. Subst. R. 25.109, Registration of Power Generation Companies and Self-Generators, as a self-generator but yet are required to participate with ERCOT for reliability purposes.

Procedural History:  NPRR190 was posted on 7/24/09.  On 8/25/09, PRS unanimously voted to table NPRR190 for one month.  On 9/17/09, PRS unanimously voted to table NPRR190 for one month.  On 10/22/09, PRS unanimously voted to table NPRR190 for one month.  On 11/19/09, PRS unanimously voted to table NPRR190.  On 12/17/09, PRS unanimously voted to table NPRR190 indefinitely.  On 9/23/10, PRS unanimously voted to table NPRR190 for one month.  On 10/21/10, PRS unanimously voted to table NPRR190 for one month.  On 11/18/10, PRS unanimously voted to table NPRR190.  Credit review is pending.

  - NPRR366, Generation Resource Power Factor Criteria Clarification [LCRA].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR adjusts the power factor criteria for Generation Resources to align with actual Generation Resource capabilities.

Procedural History:  NPRR366 was posted on 5/4/11.  On 5/19/11, PRS unanimously voted to table NPRR366.  Credit review is pending

  - NPRR378, Posting of the ERCOT Short-Term Load Forecast and the Aggregated HDL and LDL Used in SCED [Floyd Trefny].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR adds a requirement for ERCOT to post on the MIS the ERCOT Short-Term Load Forecast (STLF) for the current SCED; the STLF for the next or prompt five-minute SCED interval; and the STLF effective within 15 minutes.  This NPRR also clarifies SCED up/down reserves and adds capacity for the aggregate sum of the HDLs and LDLs for the On-Line Generation Resources in each five-minute SCED interval.

Procedural History:  NPRR378 was posted on 6/8/11.  On 6/23/11, PRS voted to reject NPRR378 via roll call vote.  On 8/4/11, TAC voted to grant the ERCOT Steel Mills appeal and remand NPRR378 to PRS; to direct PRS to work with ERCOT to resolve any questions needed to complete the Impact Analysis; to request that ERCOT perform an Impact Analysis; and to direct PRS to recommend action on NPRR378 to TAC after the completion of the Impact Analysis.  There were two abstentions from the IPM Market Segment.  On 8/18/11, PRS unanimously voted to table NPRR378.  Credit review pending.

  - NPRR381, Registration Requirements for Interconnecting Entities [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis (Preliminary):  $18k; no impacts to ERCOT staffing; impacts to Siebel, MMS, and Market Participant Identity Management (MPIM); existing ERCOT business functions can accommodate this NPRR; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR creates a new type of Market Participant called an “Interconnecting Entity” (IE) and requires Entities who wish to interconnect a new Resource or make certain changes to a Resource to register with ERCOT and to comply with ERCOT standards and procedures during the interconnection or change process.

Procedural History:  NPRR381 was posted on 6/8/11.  On 6/23/11, PRS unanimously voted to table NPRR381.  On 8/18/11, PRS unanimously voted to table NPRR381.  Credit review is pending.

  - NPRR394, Outage Reporting [Edison Mission].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR clarifies that material derates for Resources are greater than 10MW.

Procedural History:  NPRR394 was posted on 7/14/11.  On 8/18/11, PRS unanimously voted to table NPRR394.  Credit review is pending.

  - NPRR397, Balance of the Day Ancillary Service Market [Morgan Stanley].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR allows the Supplemental Ancillary Service Market (SASM) to be operated as a balance of the day market for Ancillary Services.

Procedural History:  NPRR397 was posted on 8/1/11.  On 8/18/11, PRS unanimously voted to table NPRR397.  Credit review is pending.

  - NPRR402, Clarification of Pre-DAM RUC Instruction Sequence [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies the treatment of RUC instructions for instances in which ERCOT issues instructions prior to the closing of the DAM submission window and to clarify how a QSE may self-commit in such a scenario.

Procedural History:  NPRR402 was posted on 8/8/11.  On 9/22/11, PRS unanimously voted to table NPRR402.  Credit review is pending.

  - NPRR409, Outage Planning Criteria Clarifications and Enhancements to Narrow Gap Between Real-Time Operations and Outage Planning [Luminant Energy].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR adds a new definition of Outage Planning Contingencies; revises factors used by ERCOT to evaluate requests for Generation and Transmission Outages received from Market Participants to allow for 90th percentile variation of weather driven Load, generation availability, and transmission line ratings of dynamically rated lines; ensures that Outage planning studies do not double count generation capacity as being available simultaneously for both congestion management and Ancillary Services including Responsive Reserve (RRS), Regulation Up (Reg-Up), and Non-Spinning Reserve (Non-Spin), unless ERCOT Operations has processes in place to allow for location specific deployment of the Ancillary Service reserves for congestion management purposes; and ensures that, if in Real-Time operations ERCOT determines that a generic constraint definition and associated transfer limit(s) is required for secure operation of the ERCOT System, then this same generic constraint shall be similarly modeled in Outage planning studies.

Procedural History:  NPRR409 was posted on 9/7/11.  On 9/22/11, PRS unanimously voted to table NPRR409.  Credit review is pending.

  - NPRR410, Definition of an Energy Storage Resource [Xtreme Power].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR creates a definition for an Energy Storage Resource and creates an Energy Storage Load Zone for each Energy Storage Resource capable of storing and generating one MW or greater.

Procedural History:  NPRR410 was posted on 9/7/11.  On 9/22/11, PRS unanimously voted to table NPRR410.  Credit review is pending.

  - NPRR412, Quick Start Generation Resource Compliance Metric Adjustments [STEC].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR clarifies the requirements regarding the performance criteria of a QSGR.

Procedural History:  NPRR412 was posted on 9/12/11.  On 10/20/11, PRS unanimously voted to table NPRR412.  Credit review is pending.

  - NPRR416, Removal of the RUC Clawback Charge for Resources Other than RMR Units [Exelon, Calpine].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR removes the 50% and 100% RUC Clawback Charge for units with Three-Part Supply Offers in the DAM.  However, it leaves intact the language intended to hold Reliability Must-Run (RMR) Units at costs for energy revenues.    Procedural History:  NPRR416 was posted on 9/21/11.  On 10/20/11, PRS unanimously voted to table NPRR416 for one month and to request that ERCOT submit comments regarding its concerns over behavioral issues with respect to the 50% RUC Clawback Charge and the implications of removing the charge on RUC execution.  Credit review is pending.

  - NPRR419, Revise Real-Time Energy Imbalance and RMR Adjustment Charge [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  $25k - $30k; ongoing O&M expense of $867/year; no impacts to ERCOT staffing; impacts to S&B; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR revises the Real-Time Energy Imbalance equations to determine intermediate data elements for the Resource’s share of the generation site total revenues; revises the Resource Node, Load Zone, and Hub Real-Time Energy Imbalance equations to determine volumetric imbalance for each QSE and Settlement Point; and revises the RMR Adjustment Charge to charge the QSE for the revenues paid in accordance with the energy imbalance calculation.

Procedural History:  NPRR419 was posted on 10/5/11.  On 10/20/11, PRS unanimously voted to table NPRR419.  Credit review is pending.

  - NPRR420, Correct South Hub Back to Original Definition [Morgan Stanley].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR corrects changes made by NPRR175, Hub Bus List Clarification, that inadvertently deleted the Sandow switching station (formerly SDSES) from the Hub and added two additional Fayette stations to the calculation.

Procedural History:  NPRR420 was posted on 10/5/11.  On 10/20/11, PRS unanimously voted to table NPRR420.  Credit review is pending.

New Revision Requests Scheduled for Consideration at the November 17, 2011 PRS Meeting

  - NPRR421, Clarification of RMR Notifications [Edison Mission].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR updates the Protocols to ensure that ERCOT issues Market Notices to Market Participants contemporaneously with ERCOT’s activities with RMR Unit and Must-Run Alternative (MRA) Resource owners.

Procedural History:  NPRR420 was posted on 10/24/11.  Credit review is pending.