DRAFT

Minutes of the Special Reliability and Operations Subcommittee (ROS) Meeting/Workshop

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Friday, October 21, 2011 – 9:30 a.m.

Attendance

Members:

| Armke, James | Austin Energy |  |
| --- | --- | --- |
| Ashley, Kristy | Exelon Generation | Alt. Rep. for D. Vander Laan |
| DeTullio, David | Air Liquide |  |
| DeWitt, Charles | Lower Colorado River Authority | Alt. Rep. for B. Hatfield |
| Donohoo, Ken | Oncor Electric Delivery |  |
| Garrett, Mark | Direct Energy | Via Teleconference |
| Gedrich, Brian | NextEra Energy |  |
| Greer, Clayton | Morgan Stanley |  |
| Gutierrez, Fernando | BP Energy |  |
| Jones, Randy | Calpine |  |
| Keetch, Rick | Reliant Energy Retail Services |  |
| Kunkel, Dennis | AEP Service Corporation |  |
| Moore, John | South Texas Electric Cooperative |  |
| Rocha, Paul | CenterPoint Energy |  |
| Ryno, Randy | Brazos Electric Power Cooperative |  |
| Schwarz, Brad | E.ON Climate and Renewables |  |
| Williams, Blake | CPS Energy |  |
| Wittmeyer, Bob | Residential Consumer |  |

The following proxies were assigned:

- Harry Holloway to Brian Gedrich

- Tony Marsh to Rick Keetch

- Bob Wittmeyer to David DeTullio

Guests:

| Albers, David | Brazos Electric Power Cooperative | Via Teleconference |
| --- | --- | --- |
| Barnes, Bill | J Aron | Via Teleconference |
| Beckmann, Dwight | BEPC |  |
| Bern, Alan | Oncor Electric Delivery |  |
| Bevill, Jennifer | AEP SC |  |
| Bojorquez, Bill | Sharyland Utilities |  |
| Bowen, Kenneth | CPS Energy | Via Teleconference |
| Brandt, Adrianne | Austin Energy |  |
| Brown, Jeff | Shell | Via Teleconference |
| Calhoun, Brad | CNP |  |
| Caraway, Shannon | Luminant Energy |  |
| Carlson, Trent | JP Morgan | Via Teleconference |
| Chen, Hongru | Exelon | Via Teleconference |
| Cochran, Seth | DC Energy |  |
| Comstock, Read | Direct Energy | Via Teleconference |
| Cook, Tim | LS Power | Via Teleconference |
| Crews, Curtis | Texas Reliability Entity | Via Teleconference |
| Goff, Eric | Reliant |  |
| Davison, Brian | PUCT |  |
| Dinh, Linh | Siemens PTE | Via Teleconference |
| Garrett, Mark | Direct Energy | Via Teleconference |
| Grubbs, David | Garland Power and Light | Via Teleconference |
| Haentsch, Hagen | Oncor | Via Teleconference |
| Hall, Mike | CNP |  |
| Hampton, Brenda | Luminant |  |
| Hassink, Paul | AEPSC |  |
| Hastings, David | SESCO | Via Teleconference |
| Hellinghausen, Bill | EDF Trading | Via Teleconference |
| Helyer, Scott | Tenaska | Via Teleconference |
| Hemschot, Christopher |  | Via Teleconference |
| Henry, Jack | Siemens Energy |  |
| Holland, Mike | Oncor | Via Teleconference |
| Horvath, Julius | LoneStar Transmission |  |
| Hudson, Anthony | TNMP | Via Teleconference |
| Jampani, Srinivas | Luminant | Via Teleconference |
| John, Ebby | CenterPoint Energy | Via Teleconference |
| Jones, Brad | Luminant |  |
| Jones, Mike | Infinite Energy | Via Teleconference |
| Juricek, Mike | Oncor | Via Teleconference |
| Kee, David | CPS Energy |  |
| Khayat, Maribel | CenterPoint Energy | Via Teleconference |
| Kolodziej, Eddie | Customized Energy Solutions |  |
| Krishnaswamy, Vikram | Constellation | Via Teleconference |
| Lane, Rob | Luminant |  |
| Li, Young | Potomac Economics | Via Teleconference |
| Looney, Sherry | Luminant | Via Teleconference |
| Mathew, Paul | CenterPoint Energy | Via Teleconference |
| Morris, Sandy | LCRA |  |
| Muñoz, Manual | CenterPoint Energy | Via Teleconference |
| Noth, Mike | LCRA |  |
| Penney, David | Texas Reliability Entity |  |
| Ren, Rachel | Texas Reliability Entity | Via Teleconference |
| Schaufele, Blake | BP | Via Teleconference |
| Taba, Monica | FERC | Via Teleconference |
| Woods, Brad | LCRA TSC |  |

ERCOT Staff:

| Albracht, Brittney |  |  |
| --- | --- | --- |
| Bauld, Amanda |  | Via Teleconference |
| Bigbee, Nathan |  | Via Teleconference |
| Billo, Jeff |  |  |
| Boswell, Bill |  | Via Teleconference |
| Conto, Jose |  | Via Teleconference |
| Gnanam, Prabhu |  | Via Teleconference |
| Hobbs, Kristi |  | Via Teleconference |
| Huang, Fred |  | Via Teleconference |
| Matlock, Robert |  | Via Teleconference |
| Ngai, Chris |  | Via Teleconference |
| Opheim, Calvin |  | Via Teleconference |
| Ragsdale, Kenneth |  | Via Teleconference |
| Reed, Bobby |  |  |
| Shaw, Pamela |  | Via Teleconference |
| Solis, Stephen |  | Via Teleconference |
| Surendran, Resmi |  |  |
| Thompson, Chad |  |  |
| Wise, Joan |  | Via Teleconference |

Unless otherwise indicated, all Market Segments were present for a vote.

ROS Chair Ken Donohoo called the ROS meeting to order at 9:33 a.m.

Antitrust Admonition

Mr. Donohoo directed attention to the displayed ERCOT Antitrust Admonition and noted the requirement to comply with the ERCOT Antitrust Guidelines.  A copy of the guidelines was available for review.

Agenda Review

There were no changes to the agenda.

ROS Procedures Review (see Key Documents)

Mr. Donohoo reviewed the current ROS Procedures and noted ROS’ responsibilities.  Mr. Donohoo also noted that the Regional Planning Guide (RPG) Charter and processes were last reviewed in 2009.

Identification of Operating versus Planning Gap/ Current Planning Criteria (see Key Documents)

Mr. Donohoo reviewed the second part of the May 17, 2011 ERCOT Board Resolution regarding a recommendation for addressing gaps between operations and planning processes to be able to identify constraints not resolvable by Security Constrained Economic Dispatch (SCED).  Mr. Donohoo reviewed the ERCOT planning criteria, planning process, transmission planning sensitivities and identified potential gaps; Mr. Donohoo observed that ERCOT planning criteria is based on reliability.

Paul Rocha expressed concern that ROS has not voted that there are indeed gaps in operations versus planning, and that the gaps identified in Mr. Donohoo’s presentation are such gaps; that ROS may determine that there are indeed gaps and make a recommendation; and that organizations cannot know and plan for every contingency.  Mr. Donohoo agreed that there exists a perception that there are gaps between operations and planning; that ROS has not voted a list of gaps; and that time must be taken to consider the factors.

Market Participants discussed that 2011 is the first year that planning and operations cases were drawn from the same database, and have a 97 percent convergence rate; whether perceived differences are real or not; whether planning or operation processes need to be adjusted; and that given the nascence of the Nodal Market, whether revisions to either planning or operation processes are premature.  It was noted that the May 17, 2011 Board resolution was written before the cases were available for review.

Regarding the ERCOT Staff presentations for the day’s workshop, Dan Woodfin noted that efforts were made to sort questions and comments received from Market Participants into general categories, and that presentations were designed with a viewpoint of addressing background educational issues.

SCED Overview and Results (see Key Documents)

Chad Thompson provided an overview of Real-Time congestion management; what contingencies and constraints are considered; actions used to maintain system security; the difference between a constraint irresolvable by SCED versus an N-1 insecure state; and noted that SCED Irresolvable conditions are not typically the result of an N-1 insecure state.  Mr. Thompson also responded to questions and comments provided by Market Participants via the ROS listserv.  Bob Wittmeyer requested that the total number of intervals where the Maximum Shadow Price Cap was reached, since the start of the Nodal Market, be calculated.

Resmi Surendran reviewed interactions between markets and money transfers due to Real-Time irresolvable constraints.  Mandy Bauld reviewed Settlement processes and reminded Market Participants of information that is already posted and available to them.  Bill Hellinghausen requested that monthly congestion reporting to ROS include total Congestion Revenue Right (CRR) revenues, total congestion, and how much congestion was managed in versus out of SCED, and offered that those figures would assist Market Participants in understanding CRR participation.

Operational Reliability Requirements (see Key Documents)

Bill Blevins reviewed the definitions for System Operating Limits (SOLs) and Interconnection Reliability Operating Limits (IROLs); and the purposes of Standard TOP-002, Transmission Operations Planning, and Standard TOP-004, Operations.  Mr. Blevins reviewed the use of Real-Time Contingency Analysis (RTCA) in SCED; reminded Market Participants that Mitigation Plans are designed to be enacted post-contingency and are not pre-emptive congestion management actions; and provided examples of Mitigation Plans applicable to congestion irresolvable by SCED.

Comparison of North American Electric Reliability Corporation (NERC) Standards to PGRR011, Planning Criteria Clarifications and Enhancements To Narrow The Gap Between Operations and Planning/Congestion Monitoring and Reporting (see Key Documents)

Jeff Billo provided a comparison of NERC Standards to PGRR011, and reported on binding Constraints for September 2011, noting that Each month ERCOT calculates the congestion cost on all SCED congestion by multiplying the shadow price by the congested element rating and summing for the month, and that the top ten congested elements for each month and Year-to-Date are reported to ROS in the monthly System Planning report.

Probabilistic Planning Process Changes for NERC

Mr. Woodfin reminded Market Participants that at the December 2008 NERC Planning Committee, the formation of a task force was approved to evaluate approaches and models for composite generation and transmission reliability assessment, and to provide a common set of probabilistic reliability indices and recommend probabilistic-based work products that could be used to supplement the NERC’s long term reliability assessments; and that at the December 2010 meeting, the Planning Committee approved recommendation of the task force, including the requirement that all metric reporting areas (i.e. ERCOT) will conduct a probability analysis pursuant to the Methodology and Metrics document approved by the Planning Committee and report the metric results to the NERC Reliability Assessment Subcommittee (RAS).

Mr. Woodfin provided an overview of the planned analysis and its relationship with PGRR011, and noted that a Request for Proposal is now out for a vendor to do the study, as ERCOT does not yet have the resources, and that it is anticipated that that a tool will be brought in-house for future use each year.  Clayton Greer requested that Mr. Woodfin provide the presentation to the Generation Adequacy Task Force (GATF).

Revision Requests (see Key Documents)

PGRR011

NOGRR078, Real-Time Security Analysis Language Clean Up to Reconcile Operating Guides with Current Operation Practice

NPRR409, Outage Planning Criteria Clarifications and Enhancements to Narrow Gap Between Real-Time Operations and Outage Planning

ROS took no action on these items.

Remaining Questions/ROS Action Items

Impact Assessment (Costs/Benefits) of PGRR011

Generation Adequacy Interaction

Interaction with Economic Planning

Mr. Donohoo joined Market Participants in thanking ERCOT Staff for their presentations and requested that Market Participants send their follow-up questions across the ROS e-mail exploder within the following week.  Mr. Donohoo offered to combine the questions into a list for discussion at the November 10, 2011 ROS meeting.

Adjournment

Mr. Donohoo adjourned the October 21, 2011 Special ROS meeting/workshop at 4:15 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2011/10/20111021-ROS