| NOGRR Number | 084 | NOGRR Title | Daily Grid Operations Summary Report |
| --- | --- | --- | --- |
| Date Posted |  | October 27, 2011 |  |

| Requested Resolution | Normal |
| --- | --- |
| Nodal Operating Guide Section Requiring Revision | 9.3.10, Daily Grid Operations Report (new) |
| Protocol Section(s) Requiring Revision, if any | None. |
| Revision Description | This Nodal Operating Guide Revision Request (NOGRR) creates a summary level report of daily operational information to be posted on the Market Information System (MIS) Public Area. |
| Reason for Revision | This NOGRR creates a report that will provide summary level data of the daily operations information which is currently provided hourly or more frequently for which the downloading of this data is extremely cumbersome. Restores visibility of operational data which was provided in the zonal market. |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | Qualitative benefits: - Data transparency. - Summarized data. Data is difficult to consume as an individual download user (non machine/web services user) when there are between 24 and 288 files posted a day per report impacted. - Provides user with a comprehensive overview of the days operational parameters. - Provides transparency to information that is not currently available for grid operations. - Narrows the gap in information available between operations and planning. |
|  | 2 | Benefit calculations to support quantifiable benefits: - Expected to save 150 Market Participants at least one hour a day at $65 per hour. |
|  | 3 | Impacts to market segments: - Consistent transparency between information that was available in zonal and the current Nodal information. - Provides model validation information. - Provides market validation for information that is provided in additional forums (i.e., contingency files, Reliability Unit Commitment (RUC) postings and High Dispatch Limit (HDL) or Low Dispatch Limit (LDL) postings). - Cross check and analysis for Demand management programs. |
|  | 4 |  |
|  | 5 |  |

| Sponsor |  |
| --- | --- |
| Name | Jackie Ashbaugh on behalf of the MIS User Group (MISUG) |
| E-mail Address | JAshbaugh@ercot.com |
| Company | ERCOT |
| Phone Number | (512) 248-3937 |
| Cell Number |  |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | 512-248-3867 |

Proposed Guide Language Revision

9.3.10	Daily Grid Operations Report

For each Operating Day, ERCOT shall post to the MIS Public Area on the following Business Day, a summary level report of the prior day’s operational information that shall include the following data elements:

(a)	Peak Load;

(b)	Peak hour;

(c)	Planned peak (Note: From the day ahead forecast);

(d)	Planned peak hour (Note: From the day ahead forecast);

(e)	Amount, duration, time deployed and recall for each deployment of  Responsive Reserve (RRS)  for Generation Resources and Controllable Load Resources ;

(f)	Amount, duration, time deployed and recall for each deployment of  Responsive Reserve (RRS)  for Load Resources;

(g)	Amount, duration, time deployed and recall for each deployment of EILS;

(h)	Amount, duration, time deployed and recall for each deployment of  Non-Spinning Reserve (Non-Spin); (Note: preference is to break out by online/offline – is this possible? Also – can we have designation of local congestion or capacity?)

(i)	SCED offset (including SCED timestamp, offset timestamp and amount, MW quantity of offset );

(j)	Number of resources with manual  High Dispatch Limit (HDL) and Low Dispatch Limit (LDL) overrides;

(k)	Rating of the overloaded element or Generic Transmission Limit which caused an active SCED constraint;

(l)	Reason for RUC Commitments/Decommitments

Types of reasons:

    - Import limit

    - Thermal constraint

    - Voltage stability

    - Outage Support

    - System Capacity

(m)	RMR resource names, time, duration and reason  for any commitments

(n)	Any constraints not solved in SCED (identify SCED intervals with max shadow price and constraint associated with each of the intervals);

(o)	Any unit trips greater than 450 MW (time of trip); and

(p) 	List of transmission watches, alerts or emergency notifications