| NPRR Number | 334 | NPRR Title | Incorporate Resource Limit for the Amount of Regulation Service that may be Provided from a Generation Resource During any Operating Hour |
| --- | --- | --- | --- |
| Date |  | May 2, 2011 |  |
| Submitter’s Information |  |  |  |
| Name |  | Frank Owens on behalf of the Operations Working Group (OWG) |  |
| E-mail Address |  | fowens@texasmpa.org |  |
| Company |  | Texas Municipal Power Agency |  |
| Phone Number |  | 936-873-1120 |  |
| Cell Number |  | 979-204-7725 |  |
| Market Segment |  | Municipal |  |

Comments

At its April 20, 2011 meeting, the OWG was in consensus that a potential reliability issue exists when a limited number of Resources are providing Regulation Service and was in consensus to recommend that ROS endorse Nodal Protocol Revision Request (NPRR) 334 as submitted.

Revised Proposed Protocol Language

None at this time.