| NPRR Number | 315 | NPRR Title | Revision of Responsive Reserve Measure to Net Dependable Capability |
| --- | --- | --- | --- |
| Date |  | November 9, 2011 |  |
| Submitter’s Information |  |  |  |
| Name |  | Isabel Flores |  |
| E-mail Address |  | iflores@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | 512-248-6531 |  |
| Cell Number |  | 512-565-9117 |  |
| Market Segment |  | ISO |  |

Comments

ERCOT recommends rejection of Nodal Protocol Revision Request (NPRR) 315 since the relief sought by Morgan Stanley creates a greater discrepancy in the amount of Ancillary Services available than what is needed.

ERCOT also submits these comments to respond to the 11/01/11 Morgan Stanley comments/ questions.

- Is the addition of a “dummy” ancillary service simple and relatively costless to create?  This would need to be evaluated via an Impact Analysis in response to an NPRR.

- If the answer to (1) is no, is on line NSRS an acceptable alternative?  ERCOT does not recommend the use of falsely representing the availability of Ancillary Services.

- If so, are there any Protocol, Guide or Procedure documents that need revision?  A revision is needed to define the policy being used.

- Does ERCOT need any additional notification that a QSE is doing this?  Yes.

- Does the effort to inject on-line NSRS capacity into the active SCED stack undo this fix?  This needs to be further evaluated.

Revised Proposed Protocol Language

None.