| PGRR Number | 011 | PGRR Title | Planning Criteria Clarifications and Enhancements To Narrow The Gap Between Operations and Planning |
| --- | --- | --- | --- |

| Date | October 5, 2011 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | John Moore |
| E-mail Address | jmoore@stec.org |
| Company | South Texas Electric Cooperative |
| Phone Number | 361-485-6137 |
| Cell Number |  |
| Market Segment | Cooperative |

Comments

Should some or all of the proposed planning criteria changes be tied to probability measures for specific contingencies or different types of contingencies? Should the proposed changes attempt to anticipate NERC plans to address probabilistic planning?

Do NERC requirements prevent operating the transmission system such that generation adjustments are made after a contingency occurs rather than before?

Are transmission switching operations potential solutions to SCED irresolvable constraints, at least at the 69 kV voltage level?

How are congestion costs allocated: who pays what and who gets what?  Can ERCOT provide increased transparency to this accounting process with a monthly report that identifies all parties and summarizes money paid and money received by each party.

Revised Proposed Guide Language

None at this time.