| PGRR Number | 011 | PGRR Title | Planning Criteria Clarifications and Enhancements To Narrow The Gap Between Operations and Planning |
| --- | --- | --- | --- |

| Date | August 30, 2011 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Rob Lane |
| E-mail Address | Robert.Lane@luminant.com |
| Company | Luminant Energy Company LLC |
| Phone Number | (214) 875-8063 |
| Cell Number |  |
| Market Segment | Investor Owned Utility (IOU) |

Comments

Luminant submits these comments to incorporate language developed at the August 12th and August 26, 2011 joint PLWG/CMWG meetings.  These comments also propose to move the definition of Credible Single Contingency from Section 2.1 to Section 4.1.1.1.  References to the definition have also been replaced.

Additionally, non-substantive administrative changes are also proposed throughout PGRR011.

Proposed Guide Language Revision

2.1	Definitions

Credible Initial Conditions for Transmission Planning

The Normal System for Transmission Planning represents the expected system conditions as defined by the North American Electric Reliability Corporation (NERC) Reliability Standards.

2.2	Acronyms

- DCKT			Double-Circuit Transmission Line

- NOAA			National Oceanic and Atmospheric Administration

4.1.1.1	Credible Contingencies for Transmission Planning

(1)	A single Facility, comprised of transmission line, auto transformer, or other associated pieces of equipment.  This includes multiple equipment that is Outaged or interrupted subsequent to a normally-cleared non-three phase fault;

(2)	A Double-Circuit Transmission Line (DCKT) in excess of 0.5 miles in length (either without a fault or subsequent to a normally-cleared non-three-phase fault) with all other facilities normal;

(3)	Any Generation Resource which may include:

(a)	A Combined-Cycle Train; or

(b)	A WGR Facility in its entirety at its POI.

(4)	Loss of (3) above, followed by System Adjustments and subsequent loss of (1) above;

(5)	Loss of (3) above, followed by System Adjustments and subsequent loss of (2) above;

(6)	Loss of (3) above, followed by System Adjustments and subsequent loss of (3) above;

(7)	Loss of an autotransformer, followed by System Adjustments and subsequent loss of (1) above;

(8)	Loss of an autotransformer, followed by System Adjustments and subsequent loss of (2) above; or

(9)	Loss of an autotransformer, followed by System Adjustments and subsequent loss of (3) above.

4.1.1.2	Planning Assumptions

(1)	Using the Normal System for Transmission Planning models, the performance requirements as described by Section 4.1.1.3, Performance Requirements for Credible Contingencies for Transmission Planning, shall be applied for the upcoming summer and winter seasons and a five-year planning horizon.

(2)	If in Real-Time operations ERCOT determines that a generic constraint definition (e.g., stability limit-driven transfer capability across a defined interface) and associated transfer limit(s) is required for secure operation of the ERCOT System, then this same generic constraint shall be similarly modeled in transmission planning studies.

(3)	The credible contingencies provided in Section 4.1.1.1, Credible Contingencies for Transmission Planning, will be applied for reasonable variations of Load level, generation schedules, planned transmission line Maintenance Outages, and anticipated power transfers.  To support the reliability planning process, the following study conditions may be used as reasonable variations as described above:

(4)	For Load, historical variations of temperature and other non-weather (e.g. economic growth) drivers of ERCOT System peak Load for the upcoming summer and winter seasons and a five-year planning horizon may include, but not limited to:

(a)	90th percentile (i.e., one in ten year) weather-driven variations above expected (i.e., 50th percentile) peak Load conditions based on 30 years of National Oceanic and Atmospheric Administration (NOAA) actual temperature data for the applicable study region as provided and periodically updated by ERCOT.

(b)	Non-weather driven study area Load forecast sensitivities as determined by ERCOT or the Transmission Service Providers (TSPs) for their respective areas. such as, but not limited to:

(i)	Econometric Load growth sensitivities; and/or

(ii)	Non-coincidental Load forecast.

(5)	For generation, historic variations of generation availability that provide Transmission Facility loading (i.e. congestion management) relief may include, but not limited to:

(a)	90th percentile Generation Resource unavailability that reflects Planned Outages, Forced Outages, and operational de-rates of thermal Resources for the appropriate study period as provided and periodically updated by ERCOT.  For the purposes of this evaluation, the studies of loss of a single Generating Resource in a local area, as described in paragraph (3) of Section 4.1.1.1, shall be netted against wide area generation unavailability.

(b)	Complete unavailability of all Wind-powered Generation Resources (WGRs) in both a local and/or wide area.

(6)	Where the TSPs have implemented dynamic transmission line Ratings, 90th percentile temperature-driven variations above expected (i.e., 50th percentile) summer peak Load hour conditions may be used for the applicable study region as provided and periodically updated by ERCOT.

(7)	Where appropriate and to the extent possible, transmission planning studies involving inter-regional transfers conducted by ERCOT or Market Participants will recognize and make provision for:

(a)	Secure delivery of Responsive Reserve (RRS), Regulation Up, Non-Spinning Reserve (Non-Spin) within planning regions (e.g., West Load Zone, North Load Zone, Houston Load Zone, South Load Zone, etc.) as defined and periodically updated by ERCOT.  Generation capacity should not double counted as being available simultaneously for both congestion management and for Ancillary Services unless ERCOT has processes in place to allow for location specific deployment of these Ancillary Service reserves for congestion management purposes; or

(b)	Regularly scheduled maintenance windows of both Transmission Facilities and Generation Resources in applicable study regions.  To facilitate these studies, ERCOT shall provide and periodically update expected generation and transmission maintenance schedules.

(8)	The Transmission Service Providers (TSPs) involved with ERCOT through the process described in Protocol Section 3.11.4, Regional Planning Group Project Review Process, shall plan to resolve any unacceptable study results through the provision of Transmission Facilities; however, in the absence of or until completion of additional Transmission Facilities, the development oemedial Action Plans (RAPs), Special Protection Systems (SPSs), Pre-Contingency Action Plans (PCAPs) or other means as appropriate may be used.

(9)	For proposed transmission solutions with a project cost above $100,000,000, ERCOT shall provide comments on the potential Generation Resource alternative solution.

(10)	Effective dates – Applicable to projects that resolve unacceptable study results associated with Credible Contingencies in paragraph (3)(a) and paragraphs (4) through (9) of Section 4.1.1.1 on 4.1.1.2 as defined in sections 2.1 (3)(a), and 2.1 (4) –

(a)	Identification timing:  up to 24 months after Board approval of this Planning Guide section 4.1.1.2:

(b)	Proposed corrective action plan to resolve any unacceptable study results will be developed up to 12 months after identification timing (e.g. projects, RAPs, SPSs, etc.).

4.1.1.3	Performance Requirements for Credible Contingencies for Transmission Planning

Credible contingencies  as defineddescribed in S4.1.1.12.1, Definitions, of  the following:

(a)	Cascading or uncontrolled Outages;

(b)	 Instability of Generation Resources at multiple plant locations; or

(c)	Interruption of service to firm demand or generation other than that isolated by the credible contingency as described in Section 4.1.1.1, following the execution of all automatic operating actions such as relaying and SPSs.  Furthermore, the loss shall not result in damage to or failure of equipment and, following the execution of specific non-automatic predefined operator-directed actions (i.e., RAPs), such as generation schedule changes or curtailment of interruptible Load, should not result in applicable voltage limits or thermal ratings associated with the Transmission Facility being exceeded.