| NPRR Number | 315 | NPRR Title | Revision of Responsive Reserve Measure to Net Dependable Capability |
| --- | --- | --- | --- |
| Date |  | September 29, 2011 |  |
| Submitter’s Information |  |  |  |
| Name |  | David Kee on behalf of the Performance Disturbance Compliance Working Group (PDCWG) |  |
| E-mail Address |  | dekee@cpsenergy.com |  |
| Company |  | CPS Energy |  |
| Phone Number |  | 210-353-6912 |  |
| Cell Number |  | 210-667-5206 |  |
| Market Segment |  | Municipal |  |

Comments

The reliability impact of this Nodal Protocol Revision Request (NPRR) was reviewed at the September 28, 2011 open meeting of the PDCWG.  There was discussion that revealed that changing the Responsive Reserve calculation per unit to High Emergency Limit (HEL) from High Sustained Limit (HSL) could potentially present reliability concerns.  An alternative to this NPRR was proposed and will be evaluated by ERCOT and the sponsor.  Results of the evaluation will be communicated to the PDCWG and the Reliability and Operations Subcommittee (ROS).  If the solution is acceptable the NPRR will likely be withdrawn.

The sponsor indicated that the issue was not the HEL vs HSL but rather needed an operational ability to adjust his limits without artificially limiting the ability to provide Ancillary Services.

Revised Proposed Protocol Language

None.