## Slide 1: PDCWG Report to ROS
November 10, 2011
Sydney Niemeyer

## Slide 2: ERCOT Frequency Control Performance
October, 2011

## Slide 5
Rolling 12 month average CPS1 = 146.81

## Slide 11
2011 data January through October.

## Slide 15: Recent Frequency Response Performance

## Slide 17: Primary Frequency Response Performance
Previous slide measures PFR using the method required in the NERC BAL-003 field trial.
  Data in the analysis will be used to set ERCOT’s Bias in 2012.
  Standard is out for comment through Dec 8 and ballot Nov 29 through Dec 8.
  Standard sets an Interconnection minimum frequency response obligation.

## Slide 18: PDCWG On-going Work
Provided comments on three documents:
  334NPRR
  315NPRR
  082NOGRR-01
BAL-001-TRE field trial.
  Discussed plan to evaluate various types of generators and provide feedback on performance.
  Solicited participants.
Reviewed recent frequency response performance and GREDP performance in October.