| NPRR Number |  | NPRR Title | ERCOT Actual System Load Reports |  |
| --- | --- | --- | --- | --- |
| Timeline |  | Action |  |  |
| Date of Decision |  |  |  |  |
| Effective Date |  | Upon system implementation. |  |  |
| Priority and Rank Assigned |  |  |  |  |
| Nodal Protocol Sections Requiring Revision |  | 6.3.2 Activities for Real-Time Operations |  |  |
| Revision Description |  |  |  |  |
| Reason for Revision |  |  |  |  |
| Overall Market Benefit |  |  |  |  |
| Overall Market Impact |  |  |  |  |
| Consumer Impact |  | Allows interested parties to see this information at ERCOT. |  |  |
| Credit Impacts |  |  |  |  |
| Procedural History |  |  |  |  |
| PRS Decision |  |  |  |  |
| Summary of PRS Discussion |  |  |  |  |
| TAC Decision |  |  |  |  |
| Summary of TAC Discussion |  |  |  |  |
| Board Decision |  |  |  |  |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | None. | None. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | Better understanding of market to optimize position in market. Understand interactions of different aspects of market. |  |
|  | 2 | Restoring transparency from zonal to Nodal for market data. |  |
|  | 3 | Public visibility into the ERCOT System conditions. |  |
|  | 4 |  |  |
|  | 5 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Jackie Ashbaugh on behalf of the MIS User Group |
| E-mail Address | jashbaugh@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-3937 |
| Cell Number |  |
| Market Segment | N/A |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | 512-248-3867 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

Comments

Proposed Protocol Language Revision

(3)	At the beginning of each hour, ERCOT shall post on the MIS Public Area the following information:

(a)	Changes in ERCOT System conditions that could affect the security and dynamic transmission limits of the ERCOT System, including:

(i)	Changes or expected changes, in the status of Transmission Facilities as recorded in the Outage Scheduler for the remaining hours of the current Operating Day and all hours of the next Operating Day; and

(ii)	Any conditions such as adverse weather conditions as determined from the ERCOT-designated weather service;

(b)	Updated system-wide Load forecasts;

(c)	The quantities of Reliability Must-Run (RMR) Services deployed by ERCOT for each previous hour of the current Operating Day;

(d)	Total ERCOT System Demand, from Real-Time operations, integrated over each Settlement Interval; and

(e)	Actual system load by both load forecast zone and weather zone

(f)	Updated Electrical Bus Load distribution factors and other information necessary to forecast Electrical Bus Loads for each hour of the current Operating Day and all hours of the next Operating Day.