NPGRTF Meeting Notes

October 18, 2011

Attendance:

Matt Stout                        ERCOT			Andrew Gallo                   Austin Energy (TO)

Dylan Preas		LCRA (TO)		Brenda Hampton             Luminant (QSE)

Jeff Sims		CPS Energy (TO)

- Matt started the meeting at 9:30 with the ERCOT Antitrust Admonition.

- Brenda gave update from ROS. No topics specifically related to NPGRTF issues.

- Matt reviewed Prior meeting notes with no changes.

- Discussions:

  - Group reviewed NOGRR080 and NPRR415 dealing with Inadvertent Interchange (Energy).  They are awaiting OWG and PRS review, respectively.  Latest version of NPRR removed interchange definitions.

  - CIP-001 NOGRR74 is tabled at TAC.  This issue was discussed at CIPWG recently.

  - EIP-006 R4 NOGRR76 has been submitted.  Discussed RRO function.  Neither TRE nor ERCOT is registered as the RRO.

  - Discussed the recent NERC Directive #2011-CAG-001, “Directive Regarding Generator Transmission Leads”.

  - Discussed proposed changes to OG 3.7.2 (see below):

3.7.2	NERC Requirements for Reporting Vegetation-Related Line Outages

In ERCOT, transmission owners shall report vegetation-related transmission line Outages greater than or equal to 100 kV for each calendar quarter to the Texas Reliability Entity (Texas RE) by the 20th of the month immediately following the end of the quarter.  The Texas RE shall report results to the North American Electric Reliability Corporation (NERC).  Details of the NERC requirements, including reporting exceptions, can be found in the vegetation management program template located on the Texas RE website.

  - Reviewed summary and future actions for Transmission Operator issue (see separate document).

  - Discussed topic of different Cranking Path definitions in ERCOT and NERC.  ERCOT Black Start plans tend to be focused on the transmission paths (synchronization paths) from the BS unit to the synchronization point.  The new ERCOT definition and the NERC definition are focused on the paths from a generation unit to another generation unit.

- Future Meeting Date (ALL) 11/15.