| NPRR Number | 394 | NPRR Title | Outage Reporting |
| --- | --- | --- | --- |
| Date |  | July 27, 2011 |  |
| Submitter’s Information |  |  |  |
| Name |  | Isabel Flores |  |
| E-mail Address |  | iflores@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | 512-248-6531 |  |
| Cell Number |  | 512-565-9117 |  |
| Market Segment |  | N/A |  |

Comments

ERCOT calculated an estimate to determine the impact of the NPRR394.  Potentially, the amount of derated MWs that are not reported to ERCOT could double.  ERCOT believes this is unacceptable and therefore recommends that NPRR394 be rejected.

| Overall Market Benefit | Creates uncertainty |
| --- | --- |
| Overall Market Impact |  |
| Consumer Impact |  |

Revised Proposed Protocol Language

None at this time.