| NPRR Number | 418 | NPRR Title | Reporting of Resource Forced Outages |
| --- | --- | --- | --- |
| Date Posted |  | October 5, 2011 |  |
| Requested Resolution (Normal or Urgent, and justification for Urgent status) |  | Normal |  |
| Nodal Protocol Sections Requiring Revision |  | 3.1.4.5, Management of Resource or Transmission Forced Outages or Maintenance Outages 3.1.4.6, Notice of Forced Outage or Unavoidable Extension of Planned or Maintenance |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) will require all Resource Forced Outages to be entered into the Outage Scheduler. |  |
| Reason for Revision |  | This NPRR is needed increase operational awareness of ERCOT and provide more accurate and timely responses to Requests for Information (RFIs) to the Public Utility Commission of Texas (PUCT), Texas Reliability Entity (Texas RE) and other regulatory agencies on outaged Resource capacity. The existing Protocols allow a two-hour exemption for Forced Outages on Resources and Transmission Facilities, but during the February 2011 weather event, ERCOT was required to send RFIs to accurately confirm Resource Forced Outages that occurred, as they were not recorded in the ERCOT Outage Scheduler. The lack of timely Resource Forced Outage information hindered operation of the ERCOT System. In addition, the RFI process delayed reporting and created additional work for both ERCOT and Market Participants. |  |
| Credit Implications (Yes or No, and summary of impact) |  | To be determined. |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | Benefits: - Accurate Forced Outage reporting will contribute to a more reliable and efficient operation of the ERCOT System and more importantly provide an increased operational awareness for ERCOT. - Reduce the number of RFIs that are sent out to Market Participants after significant ERCOT System events such as the February 2011 weather event. |
|  | 2 | Impacts to Market Segments: - Potential to create additional work load on the Entities scheduling Resource Outages. However, this impact will be more than offset by the situational awareness provided to the ERCOT System Operators in Real-Time and the reduction on RFIs sent out to Market Participants by ERCOT, Texas RE, PUCT, and other regulatory agencies. - Consumers will benefit from a more reliable ERCOT System as well as increased efficiencies to system operation that will be gained through the enhanced situational awareness |
|  | 3 |  |
|  | 4 |  |
|  | 5 |  |

| Sponsor |  |
| --- | --- |
| Name | Bobby Reed |
| E-mail Address | breed@ercot.com |
| Company | ERCOT |
| Phone Number | (512) 248-4285 |
| Cell Number |  |
| Market Segment | N/A |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | 512.248.4513 |

Comments

Please note that NPRR190, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes, also proposes revisions to Sections 3.1.4.5 and 3.1.4.6.

Proposed Protocol Language Revision

- 3.1.4.5	Management of Resource or Transmission Forced Outages or Maintenance Outages

(1)	In the event of a Forced Outage, after the affected equipment is removed from service, the Resource Entity or QSE, as appropriate, or TSP must notify ERCOT as soon as practicable of its action by:

(a)	For Resource Outages:

(i)	Changing the telemetered Resource Status appropriately, including a text description when it becomes known, of the cause of the Forced Outage;

(ii)	Updating the COP; and

(iii)	Updating the Outage Scheduler with the expected return-to-service time.

(b)	For Transmission Facilities Forced Outages:

(i)	Changing the telemetered status of the affected Transmission Elements; and

(ii)	Updating the Outage Scheduler with the expected return-to-service time.

(2)	Forced Outages may require ERCOT to review and withdraw approval of previously approved or accepted, as applicable, Planned Outage or Maintenance Outage schedules to ensure reliability.

(3)	For Maintenance Outages, the Resource Entity or QSE, as appropriate, or TSP shall notify ERCOT of any Resource or Transmission Facilities Maintenance Outage according to the Maintenance Outage Levels by updating the COP and Outage Scheduler.  ERCOT shall coordinate the removal of Transmission Facilities from service within the defined time frames as specified by the TSP, QSE or Resource Entity in its notice to ERCOT.

(4)	ERCOT may require supporting information describing Forced Outages and Maintenance Outages.  ERCOT may reconsider and withdraw approvals of other previously approved Transmission Facilities Outage or an Outage of a Reliability Resource as a result of Forced Outages or Maintenance Outages, if necessary, in ERCOT’s determination to protect system reliability.  When ERCOT approves a Maintenance Outage, ERCOT shall coordinate timing of the appropriate course of action under these Protocols.

(5)	Removal of a Resource or Transmission Facilities from service under Maintenance Outages must be coordinated with ERCOT.  To minimize harmful impacts to the system in urgent situations, the equipment may be removed immediately from service, provided notice is given immediately, by the Resource Entity or TSP, to ERCOT of such action.

3.1.4.6	Notice of Forced Outage or Unavoidable Extension of Planned or Maintenance Outage Due to Unforeseen Events

(1)	If a Planned or Maintenance Outage is not completed within the ERCOT-approved time frame and the Transmission Facilities or Resources are in such a condition that they cannot be restored at the Outage schedule completion date, the requesting party shall submit to ERCOT a Forced Outage (unavoidable extension) form describing the extension of the Outage and providing a revised return to service date.

(2)	Any Forced Outage of a Transmission Facility that occurs in Real-Time must be entered into the Outage Scheduler if it is to remain an Outage for longer than two hours.

(3)	Any Forced Outage of a Resource that occurs in Real-Time must be entered into the Outage Scheduler as soon as practicable.

(4)	If the QSE is to receive the exemption described in paragraph (5)(d) of Section 8.1.1.4.1, Regulation Service and Generation Resource/Controllable Load Resource Energy Deployment Performance, the QSE will notify ERCOT Operators by voice communication of every Forced Outage, Forced Derate, or Startup Loading Failure within 15 minutes.