| Metering Issues Taskforce (MIT) Event Summary |  |  |
| --- | --- | --- |
| Event Description: Metering Issues Taskforce (MIT) | Date: November 14, 2011 | Completed by: Dwight Page |
| Attendees: Kathy Scott (CNP), Dwight Page (ERCOT), Ed Echols (Oncor), Chris Rowley (TXU), Carole Root (AEP), Gricelda Calzada (AEP), Miles Higgins (Sagemark), Bob Frazier (CNP), Jeff Scott (Brazos), Dwight Page (ERCOT), Sandra Tindall (ERCOT), Don Tucker (ERCOT), Patrick Vinton (ERCOT), Carolyn Reed (CNP), Phil Huang (Constellation), Stephen Bezecny (CNP), Sherry Jia (CNP), Robert Boettger (CNP), Freddie Whitlock (CNP), Marty Downey (TriEagle), Veronica Turner (Champion), Brian Davison (PUCT), Bob Collins (TRE), Herman Millican (AE), Sherry Jia (CNP), Daniel Sumners (CNP), Manuel Munoz (CNP), Ed Echols (Oncor), Tim Cook (LS), Cherron Rinehart (AEP), Brad Calhoun (CNP), Dale Tinnin (CNP) |  |  |
| Antitrust Admonition ERCOT strictly prohibits market participants and their employees who are participating in ERCOT activities from using their participation in ERCOT activities as a forum for engaging in practices or communications that violate the antitrust laws. The ERCOT Board has approved guidelines for members of ERCOT Committees, subcommittees and working Groups to be reviewed and followed by each market participant attending ERCOT meetings. If you have not received a copy of these Guidelines, please send an email to Suzy Clifton at sclifton2@ercot.com to receive a copy. Disclaimer All presentations and materials submitted by Market Participants or any other Entity to ERCOT staff for this meeting are received and posted with the acknowledgement that the information will be considered public in accordance with the ERCOT Websites Content Management Operating Procedure. Introductions – Kathy Scott Elimination of Time Error Correction presentation reviewed by Don Tucker…see key documents attached to this meeting’s agenda. - Bob Collins – how many times has time error correction been applied. Will try and locate documentation previously provided to market, then post to this meeting. Open Discussion - Kathy Scott - NERC Field Trial has been delayed until at least January 2012 and start date is still under discussion - CNP’s concerns are those meters that use the frequency to correct time. - Will TOU and AMS meters be affected? - Response during the meeting was these seem to have no impact by the Time Error Correction elimination - NERC Trial - What will occur with those IDR meters being field read? - What operational impact will occur with manually adjusting time at meter? - Other shops should have those internal discussions - Freddie Whitlock (CNP) - 4500 accounts dependent on frequency…..if going past 45 seconds need field call - Suggest the Field Trial halts if cumulative time error reaches 30 seconds and then ERCOT starts performing Time Error Correction - Don Tucker - Halting the TEC Field Trial when cumulative time error reaches 30 seconds has been discussed and could be the first phase of the Field Trial, though there is other conversation that is setting an expectation that this threshold would be exceeded after commercial market mitigation processes have been put in place. - Dale Tinnin (CNP) indicated they are looking to upgrade the 4500 accounts by the end of 2012 - Gricelda Calzada (AEP) - AEP has a little over 1,000 meters that are dependent on frequency with no plans to change them to AMS or automation. . - No current mitigation plans currently….needs to develop a plan - Ed Echols indicates ONCOR won’t have an issue because they communicate with all meters that have interval data recorders - It was determined that TNMP, Sharyland, and Nueces were not on the call…..Kathy Scott to reach out to them - Don Tucker - NOIEs will be impacted as well - Requested that Jeff Scott (Brazos) reach out other NOIEs as he has the opportunity. - EPS meters will have time maintained by ERCOT as these meters are communicated with daily by ERCOT. - There is an oscillatory nature to the system that does some correction on its own - Kathy Scott - A short term and a long term plan need to be developed - Could the trial be limited to a 30 second threshold - Does Time Error Correction Elimination only apply to ERCOT’s manual corrections – What about automated time correction if systems reach a defined limitation - Determine if changes are needed to guides, protocols, or TDSP’s meter reading processes/procedures to eliminate TDSP’s operational issues - Don Tucker - There is an oscillatory nature to the system - TEC requires ERCOT to issue instructions to generators to adjust frequency - Showed the team this current link for the current system time error: http://www.ercot.com/content/cdr/html/real_time_system_conditions - Action Items - Don to check on when a decision to start study might occur - Don to check on other available parameters of the proposed trial - Don to check on communication plan New issue .. Third party networks AMR or AMI reading reset of the meter’s clock in error Another call is needed…… Kathy Scott to try and locate previous posted Time Correction documents Adjourn -Kathy Scott |  |  |