| NPRR Number | 427 | NPRR Title | Energy Offer Curve Requirements for Generation Resources Assigned Reg-Up and RRS |
| --- | --- | --- | --- |
| Date |  |  |  |
| Submitter’s Information |  |  |  |
| Name |  | John Dumas |  |
| E-mail Address |  | jdumas@ercot.com |  |
| Company |  | ERCOCT |  |
| Phone Number |  | (512) 248-3195 |  |
| Cell Number |  |  |  |
| Market Segment |  |  |  |

Comments

ERCOT submits these comments to clarify paragraph (c) of Section 6.4.3.2, Energy Offer Curve for Responsive Reserve and Regulation Up Capacity  and to NPRR427 “Revision Description.”   ERCOT believes that these comments incorporate the following Protocol requirements:

- The Qualified Scheduling Entity (QSE) must ensure that the Energy Offer Curve for Generation Resources assigned Ancillary Service Resource Responsibility for Responsive Reserve (RRS) and/or Regulation Up (Reg-Up) during the Adjustment Period, regardless of the reason for such assignments (Ancillary Service awards, self-arrangement, or reassignment in accordance with Protocol Section 6.4.6, QSE-Requested Decommitment of Resources and Changes to Ancillary Service Resource Responsibility of Resources), meets the newly established requirements specified in Section 6.4.3.2.

- On the other hand, if the reassignment of the Ancillary Service Resource Responsibility occurs in the Operating Period because of a Forced Outage, Forced Derate or Startup Loading Failure event, the QSE must ensure the Energy Offer Curve for Generation Resources reassigned Ancillary Service Resource Responsibility for RRS and/or Reg-Up during the Operating Period, in accordance with Protocol Section 6.4.6, meets the newly established requirements specified in Section 6.4.3.2, as soon as reasonably practicable after the event.

Revised Cover Page Language

| Revision Description | This NPRR adds a requirement for the Energy Offer Curve to be set at the System-Wide Offer Cap (SWCAP) for the capacity reserved for Responsive Reserve (RRS) Service Ancillary Service Resource Responsibility and Regulation Up (Reg-Up) Ancillary Service Resource Responsibility because of the Day-Ahead Market (DAM) or Supplemental Ancillary Services Market (SASM) Ancillary Service awards, or Self-Arranged Ancillary Service Quantity. If RRS and/or Reg-Up Ancillary Service Resource Responsibility is reassigned to a Generation Resource during the Adjustment Period in accordance with Protocol Section 6.4.6, QSE-Requested Decommitment of Resources and Changes to Ancillary Service Resource Responsibility of Resources, it is expected that the Qualified Scheduling Entity (QSE) shall submit an Energy Offer Curve that meets the requirements of Section 6.4.3.2. Energy Offer Curve for Responsive Reserve and Regulation Up Capacity, for the Generation Resource newly assigned Ancillary Service Resource Responsibility for RRS and/or Reg-Up prior to the end of the Adjustment Period. If the Ancillary Resource Responsibility for RRS and/or Reg-Up is reassigned in accordance with Protocol Section 6.4.6 from a Generation Resource that experiences a Forced Outage, Forced Derate, or Startup Loading Failure during the Operating Period, it is expected that the QSE shall submit an Energy Offer Curve that meets the requirements of Section 6.4.3.2 as soon as reasonably practicable after the event. QSE updates to an Energy Offer Curve entered at the end of the Adjustment Period become effective in ERCOT systems at the next Operating Period. Therefore, if RRS or Reg-Up Ancillary Service Resource Responsibility is moved from one Generation Resource to another in the QSE's portfolio during an Operating Hour, any change to the Energy Offer Curve will be effective in the next Operating Period. There will not be any validation rule put in to verify the rules added by the new Protocol language. The onus is on QSE’s to make the submission/telemetry changes needed to implement the new Protocol language. |
| --- | --- |

Revised Proposed Protocol Language

6.4.3.2	Energy Offer Curve for Responsive Reserve and Regulation Up Capacity

The following applies to Generation Resources that a QSE assigns Responsive Reserve (RRS) and/or Regulation Up (Reg-Up) Ancillary Service Resource Responsibility in its Current Operating Plan (COP) to meet the QSE’s Ancillary Service Supply Responsibility for RRS and/or Reg-Up in each Operating Hour.  This includes RRS and Reg-Up Ancillary Service Resource Responsibility arising as the result of Day-Ahead Market (DAM) or Supplemental Ancillary Services Market (SASM) Ancillary Service awards, or Self-Arranged Ancillary Service Quantity.

(a)	Prior to the end of the Adjustment Period that precedes an Operating Period that includes an Operating Hour during which a Generation Resource is assigned RRS and/or Reg-Up Ancillary Service Resource Responsibility, the QSE shall ensure that a valid Output Schedule or Energy Offer Curve for the Operating Hour has been submitted and accepted by ERCOT.  The Energy Offer Curves submitted by the QSE for these Generation Resources must meet the following requirements:

(i)	All energy output from the Generation Resource’s capacity reserved to provide Reg-Up must be priced at the System-Wide Offer Cap (SWCAP) in $/MWh; and

(ii)	All energy output for the Generation Resource’s capacity reserved to provide RRS must be priced at the SWCAP in $/MWh.

(b)	Paragraph (a) above shall not restrict the ability of the QSE to update the Energy Offer Curves for its Generation Resources in accordance with these Protocols, provided that in those Operating Hours in which a Generation Resource is assigned RRS and/or Reg-Up Ancillary Service Resource Responsibility, the portion of the Energy Offer Curve reserved for these Ancillary Services meet the requirements set forth in paragraph (a) above.

(c)	If, in accordance with Protocol Section 6.4.6, QSE-Requested Decommitment of Resources and Changes to Ancillary Service Resource Responsibility of Resources, the QSE moves RRS and/or Reg-Up Ancillary Service Resource Responsibility from a Generation Resource that experiences a Forced Outage, Forced Derate or Startup Loading Failure during the Operating Period described in paragraph (a) above, the QSE shall ensure that a valid Output Schedule or Energy Offer Curve that meets the requirements of this Protocol section has been submitted as soon as reasonably practicable after the event.