Date: 	November 23, 2011

To:	Technical Advisory Committee (TAC) Representatives

From:	Sandy Morris, Protocol Revision Subcommittee (PRS) Chair

Re:	Consideration of Nodal Protocol Revision Requests (NPRRs)

The PRS met and discussed several revision requests and presents the following NPRRs to the TAC for consideration this month.

Unless indicated otherwise, all Market Segments were present for the vote.  In addition, unless stated otherwise, the ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision requests and do not believe they require changes to credit monitoring activity or the calculation of liability.

NPRRs Recommended for Approval

  - NPRR405, Clarification of DC Tie Load Into Operational Systems and Processes [EDF Trading].

Proposed Effective Date:  February 1, 2012

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies that Direct Current Tie (DC Tie) exports are to be treated as Load.

Procedural History:  NPRR405 was posted on 8/29/11.  On 9/22/11, PRS voted to table NPRR405.  There was one abstention from the Independent Power Marketer (IPM) Market Segment.  On 10/20/11, PRS voted to recommend approval of NPRR405 as submitted.  There was one opposing vote from the Consumer Market Segment and two abstentions from the Independent Generator and Municipal Market Segments.  On 11/17/11, PRS voted to endorse and forward the 10/20/11 PRS Report and Impact Analysis for NPRR405 to TAC.  There was one opposing vote from the Consumer Market Segment and one abstention from the Independent Generator Market Segment.

  - NPRR408, Clarification of ERCOT Authority to Deny Energization of Non-Compliant Generators [ERCOT].

Proposed Effective Date:  February 1, 2012

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies ERCOT’s authority to deny energization of a new or materially changed All-Inclusive Generation Resource if ERCOT determines the Resource Entity cannot demonstrate that the Resource would be able to comply with technical standards in the Protocols, the Planning Guide, the Nodal Operating Guides, and Other Binding Documents.

Procedural History:  NPRR408 was posted on 9/6/11.  On 9/22/11, PRS unanimously voted to table NPRR408.  On 10/20/11, PRS voted to recommend approval of NPRR408 as amended by the 10/19/11 Topaz comments.  There was one abstention from the Independent Generator Market Segment.  On 11/17/11, PRS unanimously voted to endorse and forward the 10/20/11 PRS Report as revised by PRS and Impact Analysis for NPRR408 to TAC.

  - NPRR413, Oklaunion Exemption Calculation Verification [ERCOT].

Proposed Effective Date:  February 1, 2012

ERCOT Impact Analysis:  Less than $5k; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR adds details to describe the ERCOT adjustment process when Oklaunion-exempt Load exceeds the actual net output of the Oklaunion Resource and adds the requirement to designate a non-exempt Qualified Scheduling Entity (QSE).

Procedural History:  NPRR413 was posted on 9/12/11.  On 10/20/11, PRS unanimously voted to recommend approval of NPRR413 as submitted.  On 11/17/11, PRS unanimously voted to endorse and forward the 10/20/11 PRS Report and Impact Analysis for NPRR413 to TAC.

  - NPRR414, Clarification of Pre-DAM RUC Instruction Sequence [ERCOT].

Proposed Effective Date:  February 1, 2012

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies the treatment of Reliability Unit Commitment (RUC) instructions for instances in which ERCOT issues instructions prior to the closing of the Day-Ahead Market (DAM) submission window and to clarify how a QSE may self-commit in such a scenario.

Procedural History:  NPRR414 was posted on 9/12/11.  On 10/20/11, PRS unanimously voted to recommend approval of NPRR414 as revised by PRS.  On 11/17/11, PRS unanimously voted to endorse and forward the 10/20/11 PRS Report as revised by PRS and Impact Analysis for NPRR414 to TAC.

  - NPRR415, UFE Calculation Clarifications [ERCOT].

Proposed Effective Date:  February 1, 2012

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies language in the Unaccounted for Energy (UFE) calculation.

Procedural History:  NPRR415 was posted on 9/12/11.  On 10/20/11, PRS unanimously voted to recommend approval of NPRR415 as submitted.  On 11/17/11, PRS unanimously voted to endorse and forward the 10/20/11 PRS Report and Impact Analysis for NPRR415 to TAC.

  - NPRR417, TDSP Submittal of Consumption and Demand Values for AMS ESI IDs [ERCOT].

Proposed Effective Date:  February 1, 2012

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR documents an existing market process where the Transmission and/or Distribution Service Providers (TDSPs) are providing consumption and demand data for Advanced Metering System (AMS) Electric Service Identifiers (ESI IDs) so the data can be utilized in the implementation of NPRR251, Synchronization of PRR845, Definition for IDR Meters and Optional Removal of IDR Meters at a Premise Where an Advanced Meter Can be Provisioned.

Procedural History:  NPRR417 was posted on 10/4/11.  On 10/20/11, PRS voted to recommend approval of NPRR417 as submitted.  There were three abstentions from the IPM and Independent Generator (2) Market Segments.  On 11/17/11, PRS unanimously voted to endorse and forward the 10/20/11 PRS Report for NPRR417 as revised by PRS and Impact Analysis for NPRR417 to TAC.  Credit review is pending.

  - NPRR426, Standing Non-Spin Deployment in the Operating Hour for Generation Resources Providing On-Line Non-Spin [ERCOT] - Urgent.

Proposed Effective Date:  January 5, 2012

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR requires QSE action that routinely releases certain On-Line Non-Spinning Reserve (Non-Spin) energy to Security-Constrained Economic Dispatch (SCED) without the need for ERCOT to issue a Non-Spin deployment Instruction.  The changes in Section 6.5.7.6.2.3 do not invalidate any other existing requirements contained in this section.  Those Generation Resources not subject to the provisions contained in paragraph (5) of Section 6.5.7.6.2.3 must respond to any Non-Spin deployment or recall Instruction issued by ERCOT Operators in accordance with the TAC-approved procedure to deploy Resources providing Non-Spin Service.

Procedural History:  NPRR426 was posted on 11/9/11.  On 11/17/11, PRS unanimously voted to grant NPRR426 Urgent status.  PRS then unanimously voted to recommend approval of NPRR426 as revised by PRS; an effective date of January 5, 2012; and to forward NPRR426 to TAC.  Credit review is pending.

  - NPRR427, Energy Offer Curve Requirements for Generation Resources Assigned Reg-Up and RRS [ERCOT] - Urgent.

Proposed Effective Date:  January 5, 2012

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR adds a requirement for the Energy Offer Curve to be set at the System-Wide Offer Cap (SWCAP) for the capacity reserved for Responsive Reserve (RRS) Service Ancillary Service Resource Responsibility and Regulation Up (Reg-Up) Ancillary Service Resource Responsibility.  Exemptions are provided for Resources that experience Forced Outages, Forced Derates, or Startup Loading Failures.

Procedural History:  NPRR427 was posted on 11/9/11.  On 11/17/11, PRS unanimously voted to grant NPRR427 Urgent status.  PRS then voted to recommend approval of NPRR427 as revised by PRS; an effective date of January 5, 2012; and to forward NPRR427 to TAC.  There was one opposing vote from the Consumer Market Segment.  Credit review is pending.

  - NPRR428, Energy Offer Curve Requirements for Generation Resources Assigned Non-Spin Responsibility [ERCOT] - Urgent.

Proposed Effective Date:  January 5, 2012

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR adds a requirement for the Energy Offer Curve to be at or above $120 for On-Line Non-Spin capacity and at or above $180 for Off-Line Non-Spin capacity.  Exemptions are provided for Resources that experience Forced Outages, Forced Derates, or Startup Loading Failures.

Procedural History:  NPRR428 was posted on 11/9/11.  On 11/17/11, PRS unanimously voted to grant NPRR428 Urgent status.  PRS then voted to recommend approval of NPRR428 as revised by PRS; an effective date of January 5, 2012; and to forward NPRR428 to TAC.  There was one opposing vote from the Consumer Market Segment.  Credit review is pending.

  - SCR764, Public Access to Select MIS Dashboards [ERCOT].

Proposed Effective Date:  Not applicable.

ERCOT Impact Analysis:  Not applicable.

Revision Description:  System Change Request (SCR) 764 was approved by the ERCOT Board on May 17, 2011.  However, during the development of the phased in dashboard approach, it was determined that the Locational Marginal Price (LMP) ticker functionality is not needed as the information is provided in the existing price reports and the LMP Contour Map.  It is recommended that the LMP Ticker functionality be removed from the Market Information System (MIS) due to the nature of the data already being provided and the low usage of this dashboard.

Procedural History:  SCR764 was approved by the ERCOT Board on 5/17/11.  On 11/8/11, MIS User Group (MISUG) comments were posted in support of the recommendation to remove the LMP Ticker dashboard functionality from the scope of SCR764.  On 11/10/11, ERCOT comments were posted in support of the recommendation to remove the LMP Ticker dashboard functionality from the scope of SCR764.  On 11/21/11, PRS comments were posted in support of the recommendation to remove the LMP Ticker dashboard functionality from the scope of SCR764.  Credit review not applicable.

Revision Requests Rejected and Failed Motions

None.

Revision Requests Withdrawn (no TAC action required)

  - NPRR381, Registration Requirements for Interconnecting Entities [ERCOT].

Proposed Effective Date:  Not applicable.

ERCOT Impact Analysis (Preliminary):  $18k; no impacts to ERCOT staffing; impacts to Siebel, Market Management System (MMS), and Market Participant Identity Management (MPIM); existing ERCOT business functions can accommodate this NPRR; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR proposed to create a new type of Market Participant called an “Interconnecting Entity” (IE) and requires Entities who wish to interconnect a new Resource or make certain changes to a Resource to register with ERCOT and to comply with ERCOT standards and procedures during the interconnection or change process.

Procedural History:  NPRR381 was posted on 6/8/11.  On 6/23/11, PRS unanimously voted to table NPRR381.  On 8/18/11, PRS unanimously voted to table NPRR381.  On 10/20/11, NPRR381 was withdrawn.  Credit review is not applicable.

  - NPRR409, Outage Planning Criteria Clarifications and Enhancements to Narrow Gap Between Real-Time Operations and Outage Planning [Luminant Energy].

Proposed Effective Date:  Not applicable.

ERCOT Impact Analysis:  Not applicable.

Revision Description:  This NPRR proposed to add a new definition of Outage Planning Contingencies; revises factors used by ERCOT to evaluate requests for Generation and Transmission Outages received from Market Participants to allow for 90th percentile variation of weather driven Load, generation availability, and transmission line ratings of dynamically rated lines; ensures that Outage planning studies do not double count generation capacity as being available simultaneously for both congestion management and Ancillary Services including RRS, Reg-Up, and Non-Spin, unless ERCOT Operations has processes in place to allow for location specific deployment of the Ancillary Service reserves for congestion management purposes; and ensures that, if in Real-Time operations ERCOT determines that a generic constraint definition and associated transfer limit(s) is required for secure operation of the ERCOT System, then this same generic constraint shall be similarly modeled in Outage planning studies.

Procedural History:  NPRR409 was posted on 9/7/11.  On 9/22/11, PRS unanimously voted to table NPRR409.  On 11/15/11, NPRR409 was withdrawn.  Credit review is not applicable.

  - NPRR420, Correct South Hub Back to Original Definition [Morgan Stanley].

Proposed Effective Date:  Not applicable.

ERCOT Impact Analysis:  Not applicable.

Revision Description:  This NPRR proposed to correct changes made by NPRR175, Hub Bus List Clarification, that inadvertently deleted the Sandow switching station (formerly SDSES) from the Hub and added two additional Fayette stations to the calculation.

Procedural History:  NPRR420 was posted on 10/5/11.  On 10/20/11, PRS unanimously voted to table NPRR420.  On 11/1/11, NPRR420 was withdrawn.  Credit review is not applicable.

Revision Requests Scheduled for Consideration at the November 29, 2011 Special PRS Meeting

  - NPRR327, State Estimator Data Redaction Methodology [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  (Note: A revised Impact Analysis on the 11/17/11 PRS decision is pending.) $155k - $175k (system implementation); $240k - $260k (annual recurring O&M); staffing impacts of one full-time equivalent (FTE) for Operations Support and one FTE for Enterprise Information Management departments; system impacts to Energy Management System (EMS), Current Day Reports (CDR), MIS, Information Systems Manager (ISM), and Network Modeling and Management System (NMMS); ERCOT business functions will need to be updated to implement post and redaction requirements; no impacts to ERCOT grid operations or practices.

Revision Description:  This NPRR inserts language to define a redaction methodology for the posting of State Estimator data.

Procedural History:  NPRR327 was posted on 2/22/11.  On 3/24/11, PRS unanimously voted to table NPRR327.  On 7/21/11, PRS unanimously voted to recommend approval of NPRR327 as amended by the 7/21/11 Morgan Stanley comments and as revised by PRS.  On 8/18/11, PRS unanimously voted to table NPRR327.  On 9/22/11, PRS unanimously voted to table NPRR327.  On 11/17/11, PRS voted to endorse the 9/22/11 PRS Report as amended by the 11/16/11 Edison Mission Market & Trading comments and to bring the Impact Analysis to the 11/29/11 Special PRS Meeting for consideration.  There were two abstentions from the Independent Retail Electric Provider (IREP) and Generator Market Segments.

  - NPRR351, Calculate and Post Projected Non-Binding LMPs for the Next 15 Minutes [WMS].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis (preliminary):  $200k - $250k; no ERCOT staffing impacts; system impacts to MMS, EMS, MIS, CDR, and ISM; ERCOT business processes will need to be updated; no impacts to grid operations or practices.

Revision Description:  This NPRR provides that for each SCED process, ERCOT shall calculate a rolling 15-minute projection of Resource High Dispatch Limits (HDLs) and Low Dispatch Limits (LDLs), total generation requirement, and the LMPs for each Resource Node, Hub, Load Zone and Electrical Bus.

Procedural History:  NPRR351 was posted on 4/13/11.  On 5/19/11, PRS unanimously voted to table NPRR351 for one month.  On 6/23/11, PRS voted to reject NPRR351 via roll call vote.  There were five opposing votes from the Municipal (3), Investor-Owned Utility (IOU) (1), and Consumer Market Segments and eight abstentions from the Cooperative, IOU, Independent Generator (2), IREP, and IPM (3) Market Segments.  On 8/4/11, TAC voted via roll call vote to grant the ERCOT Steel Mills appeal and remand NPRR351 to PRS; to direct PRS to work with ERCOT to resolve any questions needed to complete the Impact Analysis; to request that ERCOT perform an Impact Analysis; and to direct PRS to recommend action on NPRR351 to TAC after the completion of the Impact Analysis.  There were three abstentions from the IPM Market Segment.  On 8/18/11, PRS voted to recommend approval of NPRR351 as revised by PRS for the sole purpose of ERCOT’s preparation of an Impact Analysis for PRS review.  There was one opposing vote from the Independent Generator Market Segment.  On 9/22/11, PRS unanimously voted to table NPRR351 for one month, to request that ERCOT prepare comments outlining the impacts associated with Option 2 (as defined in the 9/21/11 ERCOT comments) and provide examples; and to request that WMS review NPRR351 and provide input by the 10/20/11 PRS meeting.  On 10/20/11, PRS voted via roll call vote to table NPRR351 to allow further discussion in a workshop and further specify inputs, optimization, and outputs for NPRR351.  There were nine opposing votes from the Consumer (5), Cooperative (2), Independent Generator and Municipal Market Segments and two abstentions from the IPM and Municipal Market Segments.  A motion to grant NPRR351 Urgent status then failed via roll call vote.  There were nine opposing votes from the Municipal, Independent Generator (2), IPM (3), IREP and IOU (2) Market Segments and two abstentions from the Consumer and IREP Market Segments.  On 11/3/11, TAC unanimously voted via roll call vote to grant the 10/20/11 ERCOT Steel Mills appeal and to remand NPRR351 to PRS as revised by TAC; to encourage WMS and PRS to continue discussions with ERCOT on the details of the SCED Look-Ahead project through workshops, special meetings, or other means; to instruct PRS to vote on either recommending approval or rejecting NPRR351 by the January 2012 PRS meeting and to report back to TAC; and to request that ERCOT provide more information to PRS at the 11/17/11 PRS meeting (or prior to the next TAC meeting if the PRS meeting is too soon) about its intentions on how to actually implement this NPRR in regards to wind forecasts, wind base points, ramp rates, State Estimator inputs, Dynamic Ratings, binding constraints, LDLs and HDLs, and the disclosure of forecasted base points to operators and the market.  On 11/17/11, PRS unanimously voted to table NPRR351 until the 11/29/11 Special PRS meeting.

Status of Pending Revision Requests (For Information Purposes Only):

Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the December 15, 2011 PRS Meeting

  - NPRR385, Security Violation Analysis and Reporting and Negative Price Floor [Luminant Energy].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis (preliminary):  $75k - $90k (system implementation); $900k - $1M (annual recurring Operations and Management (O&M)); staffing impacts of one FTE for Mid-Term Planning and seven FTEs for Operations Support departments; impacts to MMS, EMS, Price Verification Tool and MIS; business functions and grid operations and practices will need to be updated.

Revision Description:  This NPRR adds review, analysis and reporting requirements to the Network Security Analysis (NSA) process to provide Market Participants with information related to the causes of recurring security violations and possible solutions developed by ERCOT to address those violations.  Additionally, this NPRR adds an administrative Real-Time Settlement Point Price floor of negative $251/MWh for Resource Nodes and Hubs.

Procedural History:  NPRR385 as posted on 6/14/11.  On 7/21/11, PRS unanimously voted to recommend approval of NPRR385 as amended by the 6/21/11 Luminant Energy Company LLC comments.  On 8/18/11, PRS voted to table NPRR385 for one month.  There was one opposing vote from the Independent Generator Market Segment.  On 9/22/11, PRS unanimously voted to table NPRR385.  Positive credit implications.

  - NPRR393, SCED Constraint Management Transparency [J. Aron].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis (preliminary):  $15k - $20k (system implementation); $950k - $1M (annual recurring O&M); staffing impacts of two FTEs for Operations Support and six FTEs for System Operations departments; impacts to MIS; business functions will need to be updated to implement posting requirements; no impacts on ERCOT grid operations and practices.

Revision Description:  This NPRR creates a reporting requirement to provide transparency into SCED constraint management decisions.

Procedural History:  NPRR393 was posted on 7/14/11.  On 7/20/11, the motion to grant NPRR393 Urgent status failed via PRS email vote.  On 8/18/11, PRS unanimously voted to recommend approval of NPRR393 as submitted.  On 9/22/11, PRS unanimously voted to table NPRR393.  On 11/17/11, PRS unanimously voted to table NPRR393.

  - NPRR407, Credit Monitoring Posting Requirements [Tenaska].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR adds language to require posting of current and previously effective credit parameters to the MIS Certified Area.

Procedural History:  NPRR407 was posted on 9/6/11.  On 9/22/11, PRS unanimously voted to table NPRR407.  On 10/20/11, PRS unanimously voted to recommend approval of NPRR407 as amended by the 10/4/11 Tenaska comments and as revised by PRS.  On 11/17/11, PRS unanimously voted to table NPRR407 pending development of the Impact Analysis.  Credit review is pending.

  - NPRR421, Clarification of RMR Notifications [Edison Mission].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR updates the Protocols to ensure that ERCOT issues Market Notices to Market Participants contemporaneously with ERCOT’s activities with Reliability Must-Run (RMR) Unit and Must-Run Alternative (MRA) Resource owners.

Procedural History:  NPRR421 was posted on 10/24/11.  On 11/17/11, PRS voted to recommend approval of NPRR421 as amended by the 11/9/11 Luminant Energy comments and as revised by PRS.  There were two opposing votes from the IOU and IREP Market Segments and one abstention from the Municipal Market Segment.  Credit review is pending.

  - NPRR422, Public DAM Shift Factors [MISUG].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR creates a new report to provide Day-Ahead Shift Factors on the MIS Public Area.

Procedural History:  NPRR422 was posted on 10/27/11.  On 11/17/11, PRS unanimously voted to recommend approval of NPRR422 as amended by the 11/16/11 MIS User Group comments.  Credit review is pending.

  - NPRR423, Add Voltage Support Requirement for IRRs and Allow SCADA Control of Static VAr Devices if Approved by ERCOT (formerly “Add Voltage Support Requirement for IRRs and Allow Manual Control of Static VAr Devices if Approved by ERCOT”) [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR includes Intermittent Renewable Resources (IRRs) in the voltage requirement and clarifies the reactive requirement to be the same as Wind-powered Generation Resources (WGRs). This NPRR also proposes that switchable static Volt-Ampere reactive (VAr) devices can be Supervisory Control and Data Acquisition (SCADA) controlled if approved by ERCOT.

Procedural History:  NPRR423 was posted on 11/2/11.  On 11/17/11, PRS unanimously voted to recommend approval of NPRR423 as amended by the 11/14/11 Oncor Electric Delivery comments and as revised by PRS.  Credit review is pending.

Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee

- NPRR190, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description: This NPRR adds language to acknowledge the existence of Generation Resources that have no or minimal injection onto the ERCOT System that qualify either as distributed generation or are registered with the Public Utility Commission of Texas (PUCT) according to P.U.C. Subst. R. 25.109, Registration of Power Generation Companies and Self-Generators, as a self-generator but yet are required to participate with ERCOT for reliability purposes.

Procedural History:  NPRR190 was posted on 7/24/09.  On 8/25/09, PRS unanimously voted to table NPRR190 for one month.  On 9/17/09, PRS unanimously voted to table NPRR190 for one month.  On 10/22/09, PRS unanimously voted to table NPRR190 for one month.  On 11/19/09, PRS unanimously voted to table NPRR190.  On 12/17/09, PRS unanimously voted to table NPRR190 indefinitely.  On 9/23/10, PRS unanimously voted to table NPRR190 for one month.  On 10/21/10, PRS unanimously voted to table NPRR190 for one month.  On 11/18/10, PRS unanimously voted to table NPRR190.  Credit review is pending.

  - NPRR366, Generation Resource Power Factor Criteria Clarification [LCRA].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR adjusts the power factor criteria for Generation Resources to align with actual Generation Resource capabilities.

Procedural History:  NPRR366 was posted on 5/4/11.  On 5/19/11, PRS unanimously voted to table NPRR366.  Credit review is pending

  - NPRR378, Posting of the ERCOT Short-Term Load Forecast and the Aggregated HDL and LDL Used in SCED [Floyd Trefny].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR adds a requirement for ERCOT to post on the MIS the ERCOT Short-Term Load Forecast (STLF) for the current SCED; the STLF for the next or prompt five-minute SCED interval; and the STLF effective within 15 minutes.  This NPRR also clarifies SCED up/down reserves and adds capacity for the aggregate sum of the HDLs and LDLs for the On-Line Generation Resources in each five-minute SCED interval.

Procedural History:  NPRR378 was posted on 6/8/11.  On 6/23/11, PRS voted to reject NPRR378 via roll call vote.  On 8/4/11, TAC voted to grant the ERCOT Steel Mills appeal and remand NPRR378 to PRS; to direct PRS to work with ERCOT to resolve any questions needed to complete the Impact Analysis; to request that ERCOT perform an Impact Analysis; and to direct PRS to recommend action on NPRR378 to TAC after the completion of the Impact Analysis.  There were two abstentions from the IPM Market Segment.  On 8/18/11, PRS unanimously voted to table NPRR378.  Credit review pending.

  - NPRR394, Outage Reporting [Edison Mission].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR clarifies that material derates for Resources are greater than 10MW.

Procedural History:  NPRR394 was posted on 7/14/11.  On 8/18/11, PRS unanimously voted to table NPRR394.  On 11/17/11, PRS unanimously voted to table NPRR394.  Credit review is pending.

  - NPRR397, Balance of the Day Ancillary Service Market [Morgan Stanley].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR allows the Supplemental Ancillary Service Market (SASM) to be operated as a balance of the day market for Ancillary Services.

Procedural History:  NPRR397 was posted on 8/1/11.  On 8/18/11, PRS unanimously voted to table NPRR397.  Credit review is pending.

  - NPRR402, Clarification of Pre-DAM RUC Instruction Sequence [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies the treatment of RUC instructions for instances in which ERCOT issues instructions prior to the closing of the DAM submission window and to clarify how a QSE may self-commit in such a scenario.

Procedural History:  NPRR402 was posted on 8/8/11.  On 9/22/11, PRS unanimously voted to table NPRR402.  Credit review is pending.

  - NPRR410, Definition of an Energy Storage Resource [Xtreme Power].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR creates a definition for an Energy Storage Resource and creates an Energy Storage Load Zone for each Energy Storage Resource capable of storing and generating one MW or greater.

Procedural History:  NPRR410 was posted on 9/7/11.  On 9/22/11, PRS unanimously voted to table NPRR410.  Credit review is pending.

  - NPRR412, Quick Start Generation Resource Compliance Metric Adjustments [STEC].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR clarifies the requirements regarding the performance criteria of a Quick Start Generation Resource (QSGR).

Procedural History:  NPRR412 was posted on 9/12/11.  On 10/20/11, PRS unanimously voted to table NPRR412.  Credit review is pending.

  - NPRR416, Removal of the RUC Clawback Charge for Resources Other than RMR Units [Exelon, Calpine].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR removes the 50% and 100% RUC Clawback Charge for units with Three-Part Supply Offers in the DAM.  However, it leaves intact the language intended to hold RMR Units at costs for energy revenues.

Procedural History:  NPRR416 was posted on 9/21/11.  On 10/20/11, PRS unanimously voted to table NPRR416 for one month and to request that ERCOT submit comments regarding its concerns over behavioral issues with respect to the 50% RUC Clawback Charge and the implications of removing the charge on RUC execution.  On 11/17/11, PRS unanimously voted to table NPRR416.  Credit review is pending.

  - NPRR419, Revise Real-Time Energy Imbalance and RMR Adjustment Charge [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  $25k - $30k; ongoing O&M expense of $867/year; no impacts to ERCOT staffing; impacts to Settlements & Billing (S&B); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR revises the Real-Time Energy Imbalance equations to determine intermediate data elements for the Resource’s share of the generation site total revenues; revises the Resource Node, Load Zone, and Hub Real-Time Energy Imbalance equations to determine volumetric imbalance for each QSE and Settlement Point; and revises the RMR Adjustment Charge to charge the QSE for the revenues paid in accordance with the energy imbalance calculation.

Procedural History:  NPRR419 was posted on 10/5/11.  On 10/20/11, PRS unanimously voted to table NPRR419.  Credit review is pending.

  - NPRR424, Reactive Capability Testing Requirements for IRRs [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR defines the reactive capability testing requirement for IRRs.

Procedural History:  NPRR424 was posted on 11/2/11.  On 11/17/11, PRS unanimously voted to table NPRR424.  Credit review is pending.

  - NPRR425, Creation of a Wind Resource Group for GREDP and Base Point Deviation Evaluation [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  $350k - $380k; no impacts to ERCOT staffing; impacts to Registration Systems, NMMS, S&B, MMS, EMS, EI, CDR, and ISM; updates to ERCOT business functions required; provides improved visibility to evaluate Reactive Capability and quantify Dynamic Response of WGRs.

Revision Description:  This NPRR provides that WGRs meeting registration requirements will be evaluated for Generation Resource Energy Deployment Performance (GREDP) and Base Point Deviation as groups of WGRs rather than individual WGRs.

Procedural History:  NPRR425 was posted on 11/2/11.  On 11/17/11, PRS unanimously voted to table NPRR425. Credit review is pending.

  - SCR767, Non-Spin Deployment Criteria [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  $25k - $30k; no impacts to ERCOT staffing; impacts to MMS; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This SCR adds the ability to deploy all On-Line Non-Spinning Reserve (Non-Spin).

Procedural History:  SCR767 was posted on 11/2/11.  On 11/17/11, PRS unanimously voted to table SCR767.  Credit review not applicable.

  - SCR768, Automatic Non-Spin Redeployment and Deployment Based on Resource Availability [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  $30k - $35k; no impacts to ERCOT staffing; impacts to MMS; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This SCR modifies the MMS Automatic Redeployment function such that it accounts for the delay involved in deployment of Off-Line Non-Spin Resources.

Procedural History:  SCR768 was posted on 11/2/11.  On 11/17/11, PRS unanimously voted to table SCR768.  Credit review not applicable.

New Revision Requests Scheduled for Consideration at the December 15, 2011 PRS Meeting

None.