| NPRR Number | 428 | NPRR Title | Energy Offer Curve Requirements for Generation Resources Assigned Non-Spin Responsibility |
| --- | --- | --- | --- |
| Date |  | November 30, 2011 |  |
| Submitter’s Information |  |  |  |
| Name |  | Clif Lange |  |
| E-mail Address |  | clif@stec.org |  |
| Company |  | South Texas Electric Coop., Inc. |  |
| Phone Number |  | (361) 485-6206 |  |
| Cell Number |  |  |  |
| Market Segment |  | Cooperative |  |

Comments

South Texas Electric Coop., Inc. (STEC) files these comments on top of the ERCOT comments of November 29, 2011 to address the limitations that the language recommended by PRS appears to create for Entities that may desire to re-allocate their Non-Spinning Reserve (Non-Spin) Ancillary Service Resource Responsibilities.  The language as revised at PRS appears to limit this ability to instances where a Resource experiences a Forced Outage, Forced Derate or Startup Loading Failure.

STEC’s proposed language below would additionally allow a Qualified Scheduling Entity (QSE) to re-allocate their Non-Spin Ancillary Service Resource Responsibilities in any instance seen desirable or necessary by the QSE, including instances in which the Ancillary Services may become undeliverable.  This change will have no immediate price reversal or depression impact on the market.

This impact may be explained as follows:

The Energy Offer Curve of portions of units from which the Ancillary Service Resource Responsibility is moved remain at the appropriate Non-Spin floor until they can be adjusted and the Energy Offer Curve of portions of units to which the Ancillary Service Resource Responsibility is moved remain at their current level (which may be less than the offer floor) until they can be adjusted to be above the Non-Spin offer floor.  When the swap is between two On-Line Resources, nothing changes for SCED since both On-Line Non-Spin is already in Security-Constrained Economic Dispatch (SCED) until and only if one or both Energy Offer Curves are adjusted.  If swapping Off-Line Non-Spin that is not deployed by ERCOT for current On-Line Non-Spin, again nothing changes for SCED until and only if the On-Line Energy Offer Curve is adjusted.  If swapping On-Line Non-Spin for current Off-Line Non-Spin that is not deployed by ERCOT, then nothing changes in SCED until and only if the Energy Offer Curve for the On-Line Non-Spin is adjusted at the end of the Adjustment Period.  In STEC's view, this slight delay in any possible price impact which would have no immediate price reversal issue is more than offset by the benefit of QSEs retaining the current flexibility of moving and thus optimizing its allocation of Ancillary Service Resource Responsibility amongst units.

Revised Cover Page Language

| Revision Description | This Nodal Protocol Revision Request (NPRR) adds a requirement for the Energy Offer Curve to be at or above $120 for On-Line Non-Spinning Reserve (Non-Spin) capacity and at or above $180 for Off-Line Non-Spin capacity. If Non-Spin Ancillary Service Resource Responsibility is reassigned to a Generation Resource during the Adjustment Period in accordance with Section 6.4.6, QSE-Requested Decommitment of Resources and Changes to Ancillary Service Resource Responsibility of Resources, the Qualified Scheduling Entity (QSE) shall submit an Energy Offer Curve that meets the requirements of Section 6.4.3.1 for the Generation Resource newly assigned Ancillary Service Resource Responsibility for Non-Spin prior to the end of the Adjustment Period. If the Ancillary Service Resource Responsibility for Non-Spin is reassigned in accordance with Section 6.4.6 from one Generation Resource to another, the QSE shall submit an Energy Offer Curve that meets the requirements of Section 6.4.3.1 as soon as reasonably practicable after the event; however, once Off-Line Non-Spin is Dispatched by ERCOT, Off-Line Non-Spin Ancillary Service Resource Responsibility cannot be moved unless the Generation Resource experiences a Forced Outage, Forced Derate, or Startup Loading Failure. QSE updates to an Energy Offer Curve entered at the end of the Adjustment Period become effective in ERCOT systems at the next Operating Period. Therefore, if Non-Spin is moved from one Generation Resource to another in the QSE's portfolio during an Operating Hour, any change to the Energy Offer Curve will be effective in the next Operating Period. There will not be any validation rules to verify the requirements added by this NPRR. The onus is on all QSEs to make the submission/telemetry changes needed to implement these new requirements. |
| --- | --- |

Revised Proposed Protocol Language

6.4.3.1	Energy Offer Curve for Non-Spinning Reserve Capacity

The following applies to Generation Resources that a QSE assigns Non-Spinning Reserve (Non-Spin) Ancillary Service Resource Responsibility in its Current Operating Plan (COP) to meet the QSE’s Ancillary Service Supply Responsibility for Non-Spin and includes both On-Line and Off-Line Non-Spin assignments arising as the result of Day-Ahead Market (DAM) or Supplemental Ancillary Services Market (SASM) Ancillary Service awards, or Self-Arranged Ancillary Service Quantity.

(a)	Prior to the end of the Adjustment Period for an Operating Hour during which a Generation Resource is assigned Non-Spin Ancillary Service Resource Responsibility, the QSE shall ensure that a valid Output Schedule or Energy Offer Curve for the Operating Hour has been submitted and accepted by ERCOT.  The Energy Offer Curves submitted by the QSE for these Generation Resources must meet the following requirements:

(i)	If the Generation Resource is providing On-Line Non-Spin capacity, the energy from this capacity may not be offered at less than $120 per MWh; or

(ii)	If the Generation Resource is providing Off-Line Non-Spin capacity, the energy from this capacity may not be offered at less than $180 per MWh.

(b)	Paragraph (a) above shall not restrict the ability of the QSE to update the Energy Offer Curves for its Generation Resources in accordance with these Protocols provided that in those Operating Hours in which a Generation Resource is assigned Non-Spin Ancillary Service Resource Responsibility, the portion of the Energy Offer Curve reserved for this Ancillary Service meets those requirements.

(c)	If, in accordance with Section 6.4.6, QSE-Requested Decommitment of Resources and Changes to Ancillary Service Resource Responsibility of Resources, the QSE moves Non-Spin Ancillary Service Resource Responsibility from one Generation Resource to another, the QSE shall ensure that a valid Output Schedule or Energy Offer Curve that meets the requirements of this Section has been submitted as soon as reasonably practicable after the event; however, once Off-Line Non-Spin is Dispatched by ERCOT, Off-Line Non-Spin Ancillary Service Resource Responsibility cannot be moved unless the Generation Resource experiences a Forced Outage, Forced Derate, or Startup Loading Failure.

(d)		For the portion of the Non-Spin Ancillary Service Resource Responsibility provided from power augmentation participating as Off-Line, the criteria described in paragraph (a)(ii) above applies.

(e) 	To ensure that the Energy Offer Curves submitted in accordance with this section meets the requirement for a monotonically increasing Energy Offer Curve, the energy offer for capacity reserved for Responsive Reserve (RRS) and Regulation Up (Reg-Up) must also be offered by the QSE at no less than the minimums set forth in paragraph (a) above.